## Default Data
Natural gas LCV (GJ/1000Nm3)
Apr | 33.6074 |  | conversion factor kcal to MJ |  | 238.846
May | 34.1119
Jun | 33.9452
Transformers conversion factors
|  | current transformer factor | voltage transformer factor | overall conversion factor
| EAF 50 | 120 | 350 | 42000
| EAF 100 #3 | 120 | 350 | 42000
| EAF 100 #5 | 200 | 350 | 70000
| LF | 100 | 350 | 35000
Emission factors
| Natural gas | tCO2/GJ | 0.0561
| coal | tCO2/GJ | 0.0983
| electricity | tCO2/MWh | 1.09
Baseline specific NG consumption for the SP1, [m3/t ]steel]
# | Furnace | m3/t
1 | thermal #9,TS | 388.7
2 | thermal #10, TS | 388.7
3 | thermal #1, TS | 373
4 | thermal #2, TS | 373
5 | heating #10, FPS | 931.4
6 | heating #9, FPS | 861.5
7 | heating #8, FPS | 861.5
8 | heating #7, FPS | 1005.3
9 | thermal #30, FPS | 694.4
10 | thermal #18, FPS | 381.4
11 | thermal #19, FPS | 381.4
12 | thermal #20, FPS | 381.4
13 | thermal #21, FPS | 694.4
14 | thermal #32, FPS | 381.4
15 | heating #33, FPS | 682
16 | thermal #37, FPS | 240
17 | thermal #4, TS | 373
18 | heating #34, FPS | 682
19 | heating #35, FPS | 682
20 | heating #36, FPS | 682
21 | thermal #38, FPS | 240
22 | heating #1, FPS | 861.5
23 | thermal #17, TS | 464.5
24 | thermal #18, TS | 464.5
Baseline factors for the SP2
| efficiency of the coal boilers |  | % | 80.9%
| specific heat consumption |  | GJ/t | 4.176
| specific electricity consumption |  | MWh/t | 2.8e-05
Baseline factors for the SP3
| specific electricity consumption |  | MWh/t | 1.03
Baseline factors for the SP4
| installed capacity of the press’ serving motors before reconstruction |  | MW | 12
Note on B5: Your User Name: data from "spravka"
Note on E53: Your User Name: data from spravka

## Furnaces (SP1)
Natural Gas consumpton and semi-products production
| thermal #9,TS |  | thermal #10, TS |  | thermal #1, TS |  | thermal #2, TS |  | heating #10, FPS |  | heating #9, FPS |  | heating #8, FPS |  | heating #7, FPS |  | thermal #30, FPS |  | thermal #18, FPS |  | thermal #19, FPS |  | thermal #20, FPS |  | thermal #32, FPS |  | thermal #21, FPS |  | heating #33, FPS |  | thermal #37, FPS |  | thermal #4, TS |  | heating #34, FPS |  | heating #35, FPS |  | heating #36, FPS |  | heating #38, FPS |  | heating #1, FPS |  | heating #17, TS |  | heating #18, TS
| tonnes | Nm3 | tonnes | Nm3 | tonnes | Nm3 | tonnes | Nm3 | tonnes | Nm3 | tonnes | Nm3 | tonnes | Nm3 | tonnes | Nm3 | tonnes | Nm3 | tonnes | Nm3 | tonnes | Nm3 | tonnes | Nm3 | tonnes | Nm3 | tonnes | Nm3 | tonnes | Nm3 | tonnes | Nm3 | tonnes | Nm3 | tonnes | Nm3 | tonnes | Nm3 | tonnes | Nm3 | tonnes | Nm3 | tonnes | Nm3 | tonnes | Nm3 | tonnes | Nm3
Apr | 295.5 | 31301 | 285.7 | 32471 | 993.41 | 61091 | 413 | 58103 | 2367.9 | 208078 | 1477.4 | 120886 | 844.1 | 64775 | 679.8 | 47699 | 322.25 | 81182 | 511.28 | 54095 | 570.43 | 78858 | 433.07 | 59297 | 495.24 | 83921 | 460.54 | 72027 | 859.8 | 80596 | 271.9 | 17651 | 258.9 | 57410 | 911.9 | 72115 | 790.03 | 65922 | 244.6 | 12579 | 320.05 | 14736 | 788.5 | 49203 | 340.23 | 16405 | 254 | 19789
May | 269.44 | 36485 | 274.01 | 35923 | 688.85 | 65855 | 550.74 | 51427 | 2352 | 215842 | 1500.5 | 122378 | 1427.8 | 113105 | 440.5 | 58585 | 672.4 | 93822 | 558 | 60814 | 465.8 | 43875 | 601.8 | 71780 | 561.7 | 90987 | 395.87 | 64324 | 941.1 | 77740 | 324.8 | 18465 | 468.2 | 54896 | 844.3 | 82783 | 968.86 | 65982 | 23.4 | 828 | 260.7 | 11198 | 229.8 | 46978 | 254.4 | 12524 | 286 | 15717
Jun | 362.075 | 31060 | 289.8 | 34451 | 582.05 | 57952 | 556.7 | 53458 | 2100.4 | 187645 | 1709.3 | 122873 | 1744.7 | 171298 | 0 | 0 | 736.81 | 91426 | 497.6 | 45614 | 541.5 | 55902 | 521.5 | 64456 | 735.1 | 96225 | 541.93 | 81120 | 692.1 | 66441 | 248.2 | 13880 | 440.2 | 47214 | 681.6 | 77752 | 665.5 | 70213 | 97.7 | 10040 | 230.7 | 16112 | 280.5 | 43768 | 265.55 | 21450 | 317.7 | 19483
Total (3months) | 927.015 | 98846 | 849.51 | 102845 | 2264.31 | 184898 | 1520.44 | 162988 | 6820.3 | 611565 | 4687.2 | 366137 | 4016.6 | 349178 | 1120.3 | 106284 | 1731.46 | 266430 | 1566.88 | 160523 | 1577.73 | 178635 | 1556.37 | 195533 | 1792.04 | 271133 | 1398.34 | 217471 | 2493 | 224777 | 844.9 | 49996 | 1167.3 | 159520 | 2437.8 | 232650 | 2424.39 | 202117 | 365.7 | 23447 | 811.45 | 42046 | 1298.8 | 139949 | 860.18 | 50379 | 857.7 | 54989
Project emissions
| thermal #9,TS | thermal #10, TS | thermal #1, TS | thermal #2, TS | heating #10, FPS | heating #9, FPS | heating #8, FPS | heating #7, FPS | thermal #30, FPS | thermal #18, FPS | thermal #19, FPS | thermal #20, FPS | thermal #21, FPS | thermal #32, FPS | heating #33, FPS | thermal #37, FPS | thermal #4, TS | heating #34, FPS | heating #35, FPS | heating #36, FPS | heating #38, FPS | heating #1, FPS | heating #17, TS | heating #18, TS
| tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2
Apr | 59.0142 | 61.2201 | 115.1796 | 109.546 | 392.3054 | 227.9157 | 122.1253 | 89.9306 | 153.0587 | 101.9895 | 148.677 | 111.7972 | 135.798 | 158.2227 | 151.9538 | 33.2788 | 108.2395 | 135.9639 | 124.2878 | 23.7162 | 27.7829 | 92.7662 | 30.9296 | 37.3097
May | 69.8206 | 68.7451 | 126.0254 | 98.4148 | 413.0525 | 234.1923 | 216.4467 | 112.1129 | 179.5453 | 116.3785 | 83.9627 | 137.3639 | 123.0955 | 174.12 | 148.7695 | 35.3361 | 105.0534 | 158.4201 | 126.2684 | 1.5845 | 21.4294 | 89.9008 | 23.9669 | 30.0773
Jun | 59.1483 | 65.6059 | 110.3594 | 101.8013 | 357.3368 | 233.99 | 326.2068 | 0 | 174.1047 | 86.8638 | 106.4555 | 122.7451 | 154.4787 | 183.2435 | 126.5252 | 26.432 | 89.9107 | 148.065 | 133.7083 | 19.1194 | 30.6825 | 83.3484 | 40.8477 | 37.1019
Total | 187.9831 | 195.571 | 351.5643 | 309.7622 | 1162.6947 | 696.0979 | 664.7789 | 202.0435 | 506.7086 | 305.2318 | 339.0952 | 371.9062 | 413.3723 | 515.5862 | 427.2485 | 95.0469 | 303.2036 | 442.4491 | 384.2645 | 44.4201 | 79.8948 | 266.0155 | 95.7443 | 104.489
Grand Total | 8465.1721
Baseline emissions
| thermal #9,TS | thermal #10, TS | thermal #1, TS | thermal #2, TS | heating #10, FPS | heating #9, FPS | heating #8, FPS | heating #7, FPS | thermal #30, FPS | thermal #18, FPS | thermal #19, FPS | thermal #20, FPS | thermal #31, FPS | thermal #32, FPS | heating #33, FPS | thermal #37, FPS | thermal #4, TS | heating #34, FPS | heating #35, FPS | heating #36, FPS | heating #38, FPS | heating #1, FPS | heating #17, TS | heating #18, TS
| tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2 | tCO2
Apr | 216.556 | 209.3741 | 698.6111 | 290.4404 | 4158.1269 | 2399.67 | 1371.0312 | 1288.472 | 421.8915 | 367.6526 | 410.1863 | 311.4131 | 602.9416 | 356.1185 | 1105.554 | 123.0321 | 182.0703 | 1172.5456 | 1015.8419 | 314.5133 | 144.8196 | 1280.7228 | 297.959 | 222.4424
May | 200.4222 | 203.8216 | 491.7029 | 393.1196 | 4192.2079 | 2473.777 | 2353.9212 | 847.4437 | 893.5249 | 407.2716 | 339.9769 | 439.2402 | 526.0555 | 409.9722 | 1228.2574 | 149.1752 | 334.2023 | 1101.9209 | 1264.4878 | 30.54 | 119.7351 | 378.8563 | 226.1372 | 254.2266
Jun | 268.0118 | 214.513 | 413.4375 | 395.4311 | 3725.4524 | 2804.2346 | 2862.311 | 0 | 974.3298 | 361.4114 | 393.2964 | 378.7702 | 716.6278 | 533.9098 | 898.864 | 113.4368 | 312.6797 | 885.2272 | 864.3173 | 126.8878 | 105.4386 | 460.1813 | 234.8945 | 281.0242
Total | 684.99 | 627.7087 | 1603.7516 | 1078.9911 | 12075.7872 | 7677.6816 | 6587.2634 | 2135.9157 | 2289.7463 | 1136.3356 | 1143.4596 | 1129.4236 | 1845.6249 | 1300.0005 | 3232.6755 | 385.6441 | 828.9523 | 3159.6937 | 3144.647 | 471.9411 | 369.9933 | 2119.7604 | 758.9907 | 757.6932
Grand Total | 56546.6708
Emission Reductions |  | 48081.4987

## Vacuumator (SP2)
Month | Month | Vacuumed steel | Baseline heat | Baseline electricity | Project Electricity consumption | Baseline emissions | Project emissions | Emission Reductions
|  | [t] | [tCO2] | [tCO2] | MWh | [tCO2] | [tCO2] | [tCO2]
Apr | 1899-12-31 | 9917.67 | 5032.3998 | 0.24881 | 14.768 | 5032.6487 | 16.0971 | 5016.5515
May | 1900-01-07 | 9744.11 | 4944.3324 | 0.24446 | 14.31 | 4944.5769 | 15.5979 | 4928.979
Jun | 1900-01-08 | 10011.97 | 5080.2493 | 0.25118 | 14.233 | 5080.5005 | 15.514 | 5064.9865
Total | Total | 29673.75 | 15056.9816 | 0.74446 | 43.311 | 15057.7261 | 47.209 | 15010.5171

## Ladle Furnace (SP3)
Month | Electrosteel, [tonnes] | Electricity consumption at EAFs, [MWh] | Electricity consumption at LF, [MWh] | Baseline emissions, [tCO2] | Project emissions, [tCO2] | ER, [tCO2]
Apr | 10917.79 | 6714.016 | 1227.78 | 12257.4028 | 8656.5576 | 3600.8452
May | 10746.081 | 6657.457 | 1319.379 | 12064.6251 | 8694.7512 | 3369.8739
Jun | 10758.152 | 6625.876 | 1334.83 | 12078.1773 | 8677.1695 | 3401.0077
Total | 32422.023 | 19997.349 | 3881.989 | 36400.2052 | 26028.4784 | 10371.7268

## Press (SP4)
Month | working hours, [h] | Electricity consumption, [MWh] | Baseline emissions, [tCO2] | Project emissions, [tCO2] | ER, [tCO2]
Apr | 402.92 | 180.022 | 5270.1936 | 196.224 | 5073.9696
May | 382.58 | 182.683 | 5004.1464 | 199.1245 | 4805.0219
Jun | 388.25 | 175.937 | 5078.31 | 191.7713 | 4886.5387
Total | 1173.75 | 538.642 | 15352.65 | 587.1198 | 14765.5302

## ER 2Q2011
Baseline emissions
SP1 | tCO2 | 56546.6708
SP2 | tCO2 | 15057.7261
SP3 | tCO2 | 36400.2052
SP4 | tCO2 | 15352.65
Total | tCO2 | 123357.2521
Project emissions
SP1 | tCO2 | 8465.1721
SP2 | tCO2 | 47.209
SP3 | tCO2 | 26028.4784
SP4 | tCO2 | 587.1198
Total | tCO2 | 35127.9793
Emission reductions
SP1 | tCO2 | 48081.4987
SP2 | tCO2 | 15010.5171
SP3 | tCO2 | 10371.7268
SP4 | tCO2 | 14765.5302
Total | tCO2 | 88229.2728