## Exp
Kursas | 3.4528 | LTL/EUR
| Inesticijos / Investment |  | Tiekėjas/Supplier | Dokumentas/Document | Data/Date
Elektrinės/WEC
3x E-82 | 29348800 | 86.94% | Enercon Gmbh. | Sutartis | 2011-02-24
Design | 463000 | 1.371% | UAB "Idmava", UAB "Intuva", UAB "ST projektai" darbuotojų atlyginimas ir kt. | Sutartys
Roads construction | 885000 | 2.622% | UAB "Žiežmarių hidrostatyba" | Sutartis | 2011-05-20
Cabeling | 1700000 | 5.036% | UAB "Voltas" | Sutartis | 2011-06-17
Grid connection fee | 685000 | 2.029% | AB "VST" | Sutartis | 2011-06-29
Project management | 477000 | 1.413% | UAB "Statybų auditas" UAB "Imdava", darbutojų atlyginimas |  | 2011.04.29, 2011.05.30
Reserve | 200000 | 0.5924%
Total costs LTL | 33758800 | 100%

## IRR
Number of turbines | 3 | units
Turbine's capacity | 2000 | kW
Energy tariff till 2020 | 0.3 | Lt/kWh
Energy tariff after 2020 | 0.1454 | Lt/kWh
Total production | 14905.58 | MWh/y
ERUs price | 8 | Euro
ERUs amount | 9331 | ERU/y
Project value | 33758800 | LTL
Bonds | 23358800 | LTL | 69.19%
Own capital | 10400000 | LTL | 30.81%
|  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
YEAR | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | Total:
I. INCOME
Income for energy sale |  | 4471674 | 4471674 | 4471674 | 4471674 | 4471674 | 4471674 | 4471674 | 4471674 | 4471674 | 2167271.332 | 2167271.332 | 2167271.332 | 2167271.332 | 2167271.332 | 2167271.332 | 2167271.332 | 2167271.332 | 2167271.332 | 2167271.332 | 2167271.332 | 64085050.652
Income from ERUs sale |  | LTL 2012: 64436.1536
Total income per year | 0 | 4536110.1536 | 4471674 | 4471674 | 4471674 | 4471674 | 4471674 | 4471674 | 4471674 | 4471674 | 2167271.332 | 2167271.332 | 2167271.332 | 2167271.332 | 2167271.332 | 2167271.332 | 2167271.332 | 2167271.332 | 2167271.332 | 2167271.332 | 2167271.332 | 64149486.8056
II. OPERATION EXPENSES
EPK contract |  | 0 | 0 | 617591.8395 | 617591.8395 | 617591.8395 | 617591.8395 | 617591.8395 | 617591.8395 | 617591.8395 | 617591.8395 | 617591.8395 | 617591.8395 | 617591.8395 | 617591.8395 | 617591.8395 | 617591.8395 | 617591.8395 | 617591.8395 | 617591.8395 | 617591.8395 | 11116653.1108
Insurance |  | 111525.44 | 105655.68 | 99785.92 | 93916.16 | 88046.4 | 82176.64 | 76306.88 | 70437.12 | 64567.36 | 58697.6 | 52827.84 | 46958.08 | 41088.32 | 35218.56 | 29348.8 | 23479.04 | 17609.28 | 11739.52 | 5869.76 | 0 | 1115254.4
Wages |  | 95000 | 95000 | 95000 | 95000 | 95000 | 95000 | 95000 | 95000 | 95000 | 95000 | 95000 | 95000 | 95000 | 95000 | 95000 | 95000 | 95000 | 95000 | 95000 | 95000 | 1900000
Other O&M |  | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 6000000
Depreciation |  | 1687940 | 1687940 | 1687940 | 1687940 | 1687940 | 1687940 | 1687940 | 1687940 | 1687940 | 1687940 | 1687940 | 1687940 | 1687940 | 1687940 | 1687940 | 1687940 | 1687940 | 1687940 | 1687940 | 1687940 | 33758800
Total Opertaion expenses per year | 0 | 2194465.44 | 2188595.68 | 2800317.7595 | 2794447.9995 | 2788578.2395 | 2782708.4795 | 2776838.7195 | 2770968.9595 | 2765099.1995 | 2759229.4395 | 2753359.6795 | 2747489.9195 | 2741620.1595 | 2735750.3995 | 2729880.6395 | 2724010.8795 | 2718141.1195 | 2712271.3595 | 2706401.5995 | 2700531.8395 | 53890707.5108
III. FINANCIAL EXPENSES
Shareholders contribution | 10400000
Loan residue, % | bar: LTL 2012 to 30.81% 2024
Loan redemption |  | 1868704 | 1868704 | 1868704 | 1868704 | 1868704 | 1868704 | 1868704 | 1868704 | 1868704 | 1868704 | 1868704 | 1868704 | 1868704
Loan residue | 23358800 | 21490096 | 19621392 | 17752688 | 15883984 | 14015280 | 12146576 | 10277872 | 8409168 | 6540464 | 4671760 | 2803056 | 934352 | -934352
Interest rates,% |  | 7.5% | 7.5% | 7.5% | 7.5% | 7.5% | 7.5% | 7.5% | 7.5% | 7.5% | 7.5% | 7.5% | 7.5% | 7.5%
interest payments |  | 1751910 | 1611757.2 | 1471604.4 | 1331451.6 | 1191298.8 | 1051146 | 910993.2 | 770840.4 | 630687.6 | 490534.8 | 350382 | 210229.2 | 70076.4 | [7 empty] | 11842911.6
Total Financial expenses per year | 0 | 3620614 | 3480461.2 | 3340308.4 | 3200155.6 | 3060002.8 | 2919850 | 2779697.2 | 2639544.4 | 2499391.6 | 2359238.8 | 2219086 | 2078933.2 | 1938780.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11842911.6
Total Expences | 0 | 3946375.44 | 3800352.88 | 4271922.1595 | 4125899.5995 | 3979877.0395 | 3833854.4795 | 3687831.9195 | 3541809.3595 | 3395786.7995 | 3249764.2395 | 3103741.6795 | 2957719.1195 | 2811696.5595 | 2735750.3995 | 2729880.6395 | 2724010.8795 | 2718141.1195 | 2712271.3595 | 2706401.5995 | 2700531.8395 | 65733619.1108
Profit (loss) | 0 | 589734.7136 | 671321.12 | 199751.8405 | 345774.4005 | 491796.9605 | 637819.5205 | 783842.0805 | 929864.6405 | 1075887.2005 | -1082492.9075 | -936470.3475 | -790447.7875 | -644425.2275 | -568479.0675 | -562609.3075 | -556739.5475 | -550869.7875 | -545000.0275 | -539130.2675 | -533260.5075 | -1584132.3052
Taxes | 0 | 88460.207 | 100698.168 | 29962.7761 | 51866.1601 | 73769.5441 | 95672.9281 | 117576.3121 | 139479.6961 | 161383.0801 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 858868.8716
Profit after taxes | 0 | 501274.5066 | 570622.952 | 169789.0644 | 293908.2404 | 418027.4164 | 542146.5924 | 666265.7684 | 790384.9444 | 914504.1204 | -1082492.9075 | -936470.3475 | -790447.7875 | -644425.2275 | -568479.0675 | -562609.3075 | -556739.5475 | -550869.7875 | -545000.0275 | -539130.2675 | -533260.5075 | -2443001.1768
Acumulated profit | 0 | 501274.5066 | 1071897.4586 | 1241686.523 | 1535594.7634 | 1953622.1799 | 2495768.7723 | 3162034.5407 | 3952419.4852 | 4866923.6056 | 3784430.6981 | 2847960.3506 | 2057512.5631 | 1413087.3357 | 844608.2682 | 281998.9607 | -274740.5868 | -825610.3743 | -1370610.4018 | -1909740.6693 | -2443001.1768
EBITDA (with CO2) | 0 | 4029584.7136 | 3971018.32 | 3359296.2405 | 3365166.0005 | 3371035.7605 | 3376905.5205 | 3382775.2805 | 3388645.0405 | 3394514.8005 | 1095981.8925 | 1101851.6525 | 1107721.4125 | 1113591.1725 | 1119460.9325 | 1125330.6925 | 1131200.4525 | 1137070.2125 | 1142939.9725 | 1148809.7325 | 1154679.4925
EBITDA (without CO2) | 0 | 3965148.56 | 3971018.32 | 3359296.2405 | 3365166.0005 | 3371035.7605 | 3376905.5205 | 3382775.2805 | 3388645.0405 | 3394514.8005 | 1095981.8925 | 1101851.6525 | 1107721.4125 | 1113591.1725 | 1119460.9325 | 1125330.6925 | 1131200.4525 | 1137070.2125 | 1142939.9725 | 1148809.7325 | 1154679.4925
Profit before TAX (with CO2) | 0 | 589734.7136 | 671321.12 | 199751.8405 | 345774.4005 | 491796.9605 | 637819.5205 | 783842.0805 | 929864.6405 | 1075887.2005 | -1082492.9075 | -936470.3475 | -790447.7875 | -644425.2275 | -568479.0675 | -562609.3075 | -556739.5475 | -550869.7875 | -545000.0275 | -539130.2675 | -533260.5075
Profit before TAX (without CO2) | 0 | 525298.56 | 671321.12 | 199751.8405 | 345774.4005 | 491796.9605 | 637819.5205 | 783842.0805 | 929864.6405 | 1075887.2005 | -1082492.9075 | -936470.3475 | -790447.7875 | -644425.2275 | -568479.0675 | -562609.3075 | -556739.5475 | -550869.7875 | -545000.0275 | -539130.2675 | -533260.5075
Taxes (with CO2) | 0 | 88460.207 | 100698.168 | 29962.7761 | 51866.1601 | 73769.5441 | 95672.9281 | 117576.3121 | 139479.6961 | 161383.0801 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxes (without CO2) | 0 | 78794.784 | 100698.168 | 29962.7761 | 51866.1601 | 73769.5441 | 95672.9281 | 117576.3121 | 139479.6961 | 161383.0801 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Profit after TAX (with CO2) | 0 | 501274.5066 | 570622.952 | 169789.0644 | 293908.2404 | 418027.4164 | 542146.5924 | 666265.7684 | 790384.9444 | 914504.1204 | -1082492.9075 | -936470.3475 | -790447.7875 | -644425.2275 | -568479.0675 | -562609.3075 | -556739.5475 | -550869.7875 | -545000.0275 | -539130.2675 | -533260.5075
Profit after TAX (without CO2) | 0 | 446503.776 | 570622.952 | 169789.0644 | 293908.2404 | 418027.4164 | 542146.5924 | 666265.7684 | 790384.9444 | 914504.1204 | -1082492.9075 | -936470.3475 | -790447.7875 | -644425.2275 | -568479.0675 | -562609.3075 | -556739.5475 | -550869.7875 | -545000.0275 | -539130.2675 | -533260.5075
Cash flow (with CO2) | 0 | 408970.7136 | 490557.12 | 18987.8405 | 165010.4005 | 311032.9605 | 457055.5205 | 603078.0805 | 749100.6405 | 895123.2005 | -1263256.9075 | -1117234.3475 | -971211.7875 | -825189.2275 | 1119460.9325 | 1125330.6925 | 1131200.4525 | 1137070.2125 | 1142939.9725 | 1148809.7325 | 1154679.4925
Cash flow (without CO2) | 0 | 344534.56 | 490557.12 | 18987.8405 | 165010.4005 | 311032.9605 | 457055.5205 | 603078.0805 | 749100.6405 | 895123.2005 | -1263256.9075 | -1117234.3475 | -971211.7875 | -825189.2275 | 1119460.9325 | 1125330.6925 | 1131200.4525 | 1137070.2125 | 1142939.9725 | 1148809.7325 | 1154679.4925
Cumulative (with CO2) | 0 | 408970.7136 | 899527.8336 | 918515.6741 | 1083526.0746 | 1394559.0351 | 1851614.5556 | 2454692.6362 | 3203793.2767 | 4098916.4772 | 2835659.5697 | 1718425.2222 | 747213.4347 | -77975.7928 | 1041485.1397 | 2166815.8323 | 3298016.2848 | 4435086.4973 | 5578026.4698 | 6726836.2023 | 7881515.6948
Cumulative (without CO2) | 0 | 344534.56 | 835091.68 | 854079.5205 | 1019089.921 | 1330122.8815 | 1787178.402 | 2390256.4826 | 3139357.1231 | 4034480.3236 | 2771223.4161 | 1653989.0686 | 682777.2811 | -142411.9464 | 977048.9861 | 2102379.6787 | 3233580.1312 | 4370650.3437 | 5513590.3162 | 6662400.0487 | 7817079.5412
| -33758800 | 3941124.5066 | 3870320.152 | 3329333.4644 | 3313299.8404 | 3297266.2164 | 3281232.5924 | 3265198.9684 | 3249165.3444 | 3233131.7204 | 1095981.8925 | 1101851.6525 | 1107721.4125 | 1113591.1725 | 1119460.9325 | 1125330.6925 | 1131200.4525 | 1137070.2125 | 1142939.9725 | 1148809.7325 | 1154679.4925
| -33758800 | 3886353.776 | 3870320.152 | 3329333.4644 | 3313299.8404 | 3297266.2164 | 3281232.5924 | 3265198.9684 | 3249165.3444 | 3233131.7204 | 1095981.8925 | 1101851.6525 | 1107721.4125 | 1113591.1725 | 1119460.9325 | 1125330.6925 | 1131200.4525 | 1137070.2125 | 1142939.9725 | 1148809.7325 | 1154679.4925
PROJECT IRR (with CO2), % | #N/A | #N/A | #N/A | #N/A | -27.68% | -18.69% | -12.39% | -7.828% | -4.441% | -1.865% | -1.127% | -0.4458% | 0.1776% | 0.7438% | 1.256% | 1.718% | 2.133% | 2.507% | 2.844% | 3.147% | 3.421%
PROJECT IRR (without CO2), % | #N/A | #N/A | #N/A | #N/A | -27.73% | -18.74% | -12.43% | -7.867% | -4.476% | -1.898% | -1.159% | -0.4766% | 0.1477% | 0.7149% | 1.228% | 1.69% | 2.107% | 2.482% | 2.819% | 3.123% | 3.397%
Note on B6: Arturas: Remiantis Enercon prognoze - 4% tech.availability, tinklu nuostoliai 2%

## Sensitivity
Sensitivity analysis
Tariff variation range | -20% | -10% | 0% | 10% | 20%
Energy tariff after 2020, LTL/MWh | 116.32 | 130.86 | 145.4 | 159.94 | 174.48
Project IRR (including ERUs income) | 1.95 | 2.74 | 3.4206 | 4.03 | 4.59
Energy production variation range | -20% | -10% | 0% | 10% | 20%
Energy output, MWh/year | 11924.464 | 13415.022 | 14905.58 | 16396.138 | 17886.696
Project IRR (including ERUs income) | -0.16 | 1.73 | 3.4206 | 5 | 6.52
ERUs price variation range | -20% | -10% | 0% | 10% | 20%
ERUs price, Euro | 6.4 | 7.2 | 8 | 8.8 | 9.6
Project IRR (including ERUs income) | 3.42 | 3.42 | 3.4206 | 3.42 | 3.43
| -20% | -10% | 0% | 10% | 20%
Energy tariff after 2020 | 1.95 | 2.74 | 3.4206 | 4.03 | 4.59 | Bendrų investicijų dydis
Annual electricity output | -0.16 | 1.73 | 3.4206 | 5 | 6.52 | Energijos gamyba
ERUs sale price | 3.42 | 3.42 | 3.4206 | 3.42 | 3.43 | TMV pardavimo kaina
Benchmark | 7.77 | 7.77 | 7.77 | 7.77 | 7.77 | Etaloninė vertė

## Assumptions
Assumptions used for Pakruojo wind power park project calculations
· Capacity factor – 0,284% (based on Enercon's calculations);
· The purchase price of the produced energy – 0,30 LTL/kWh (Resolution No. O3-27 of the State price and Energy Control Commission of 21 February 2008). Feed-in tariff is valid until Y2020. Following Y2020 generated electricity shall be sold at Lithuanian wholesale electricity market. Wholesale electricity price is based on average market price in Y2010, declared by market operator of Lithuania (Baltpool);
· The purchase price of the ERU – 8 EUR (based on Bluenext exchange statistic during baseline setting);
· Amortization of the wind power station fleet – 20 years (based on turbine manufacturer's data);
· Projects O&М expenses include wages, insurance, accounting and legal expenses, maintenance and other (reserve for unforeseen expenses).
· The profit tax established by Lithuanian government currently amounts to 15% and shall be valid for the entire project period;
· It is supposed that there shall be no additional, unforeseen expenses;
· Currently there is no information on the assumptions that may arise and have a significant impact on the project profitability.
· Deviations during sensitivity analysis were assessed following the Tool for the Demonstration and Assessment of Additionality version 06.0.1. Variation range is based on the level +20% and -20%.
· On the end of project lifetime period (after 20 years), the fixed assets of the company shall amount to 0 LTL. Old turbines as well as foundations will be dismantled for its residue values.
· Projects fixed assets were calculated based on preliminary commercial offers (wind turbines, roads, connection to electricity network, project documentation and other costs)
· Applied interest rates are based on contract with commercial bank and loan agreement with shareholder.
· EPK expences are based on standard Enercon GmbH O&M contract conditions. 0 Euro/kWh first 2 years and 0,012 Euro/kWh from 3rd year. All other risks will be covered by the insurance agreement between Vildara,UAB and insurance company. No additional equipment repair costs shall be incurred;
· Sebsitivity analysis results are based on the changes of tariff after 2020 (Sheet IRR, cell B5), power generation (Sheet IRR, cell B6) and price of ERU (Sheet IRR, cell B7)
· An interest rate for new loans to non-financial corporations is applied for projects benchmark IRR (period between 2008.05.01 and 2008.10.31)