## Monthly data
Date | Period | kWh per month to VST | kWh per month SCADA | Difference | % | % |  | kWh per month from VST |  | Month | VE POS | VE el. energy | Total | Quarter | Month | LAR POS | LAR el. energy | Total | Quarter
2009-11-30 | November | [5 empty] | kWh per month from VST
2009-12-31 | December |  |  |  | #DIV/0! | [9 empty] | 2008-Gruodis | 179653.64 | 66171.72 | 245825.36 | 245825.36
2010-01-31 | January |  |  |  | #DIV/0! |  |  |  |  | 2009-Sausis | 273094.76 | 61293.34 | 334388.1 |  | 2009-Sausis | 364083.88 | 81714.92 | 445798.8
2010-02-28 | February |  |  |  | #DIV/0! |  |  |  |  | 2009-Vasaris | 181215.28 | 40671.92 | 221887.2 |  | 2009-Vasaris | 241591.62 | 54222.78 | 295814.4
2010-03-31 | March |  |  |  | #DIV/0! |  |  |  |  | 2009-Kovas | 188333.31 | 42269.49 | 230602.8 | 786878.1 | 2009-Kovas | 251081.35 | 56352.65 | 307434 | 1049047.2
2010-04-30 | April |  |  |  | #DIV/0! |  |  |  |  | 2009-Balandis | 175190.48 | 39319.72 | 214510.2 |  | 2009-Balandis | 233559.95 | 52420.15 | 285980.1
2010-05-31 | May |  |  |  | #DIV/0! |  |  |  |  | 2009-Gegužė | 232218.76 | 52119.14 | 284337.9 |  | 2009-Gegužė | 309588.76 | 69484.04 | 379072.8
2010-06-30 | June |  |  |  | #DIV/0! |  |  | 26417 |  | 2009-Birželis | 238294.77 | 53482.83 | 291777.6 | 790625.7 | 2009-Birželis | 317689.03 | 71302.07 | 388991.1 | 1054044
2010-07-31 | July |  |  |  | #DIV/0! |  | 26417 | 7333 |  | 2009-Liepa | 181239.78 | 40677.42 | 221917.2 |  | 2009-Liepa | 241624.45 | 54230.15 | 295854.6
2010-08-31 | August |  |  |  | #DIV/0! |  | 5925 | 6099 |  | 2009-Rugpjūtis | 200561.76 | 45014.04 | 245575.8 |  | 2009-Rugpjūtis | 267384.56 | 60011.74 | 327396.3
2010-09-30 | September | 4757573 | 1446634 | -258486 | -5.4331 | -5.7453 | 7604 | 543 |  | 2009-Rugsėjis | 292984.18 | 65757.32 | 358741.5 | 826234.5 | 2009-Rugsėjis | 390601.31 | 87666.49 | 478267.8 | 1101518.7
2010-10-31 | October |  | 3052453 |  | #DIV/0! |  | 543 | 1290 |  | 2009-Spalis | 296379.78 | 66519.42 | 362899.2 |  | 2009-Spalis | 395126.65 | 88682.15 | 483808.8
2010-11-30 | November | 2906987 | 2965639 | 58652 | 2.0176 | 1.9777 | 1290 | 335 |  | 2009-Lapkritis | 391619.33 | 87894.97 | 479514.3 |  | 2009-Lapkritis | 522098.67 | 117179.73 | 639278.4
2010-12-31 | December | 3050175 | 3109599 | 59424 | 1.9482 | 1.911 | 431 | 6215 |  | 2009-Gruodis | 257847.05 | 57871.15 | 315718.2 | 1158131.7 | 2009-Gruodis | 343756.38 | 77152.62 | 420909 | 1543996.2
SUM2010 |  | 10714735 | 10574325 | -140410 |  | -1.3278 | 6215 | 48232 |  | SUM2009 | 2908979.24 | 652890.76 | 3561870 |  | SUM2009 | 3878186.61 | 870419.49 | 4748606.1
2011-01-31 | January | 3546434 | 3615826 | 69392 | 1.9567 | 1.9191 | 48425 | 613 |  | 2010-Sausis | 159019.04 | 169985.87 | 329004.91 |  | 2010-Sausis | 212000.15 | 226620.85 | 438621
2011-02-28 | February | 4039803 | 4124902 | 85099 | 2.1065 | 2.0631 | 613 | 1169 |  | 2010-Vasaris | 110195.07 | 117794.73 | 227989.8 |  | 2010-Vasaris | 146909.8 | 157041.51 | 303951.31
2011-03-31 | March | 4107729 | 4181055 | 73326 | 1.7851 | 1.7538 | 1169 | 1378 |  | 2010-Kovas | 185160.51 | 197930.2 | 383090.71 | 940085.42 | 2010-Kovas | 246851.63 | 263875.88 | 510727.51 | 1253299.82
2011-04-30 | April | 2545036 | 2611505 | 66469 | 2.6117 | 2.5452 | 1378 | 1343 |  | 2010-Balandis | 113330.99 | 121146.92 | 234477.91 |  | 2010-Balandis | 151090.58 | 161510.62 | 312601.2
2011-05-31 | May | 2531461 | 2584284 | 52823 | 2.0867 | 2.044 | 1343 | 960 |  | 2010-Gegužė | 111153.67 | 118819.44 | 229973.11 |  | 2010-Gegužė | 148186.96 | 158406.75 | 306593.71
2011-06-30 | June | 2376698 | 2437767 | 61069 | 2.5695 | 2.5051 | 960 | 418 |  | 2010-Birželis | 89628.27 | 95809.53 | 185437.8 | 649888.82 | 2010-Birželis | 119490.73 | 127731.47 | 247222.2 | 866417.11
2011-07-31 | July | 1615412 | 1651129 | 35717 | 2.211 | 2.1632 | 418 | 1481 |  | 2010-Liepa | 63576.99 | 67961.61 | 131538.6 |  | 2010-Liepa | 84759.46 | 90604.94 | 175364.4
2011-08-31 | August | 2809732 | 2879425 | 69693 | 2.4804 | 2.4204 | 1481 | 1144 |  | 2010-Rugpjūtis | 106379.25 | 113715.75 | 220095 |  | 2010-Rugpjūtis | 141822.33 | 151603.18 | 293425.51
2011-09-30 | September | 3172221 | 3243166 | 70945 | 2.2364 | 2.1875 | 1144 | 647 |  | 2010-Rugsėjis | 185179.79 | 197950.81 | 383130.6 | 734764.2 | 2010-Rugsėjis | 246877.15 | 263903.16 | 510780.31 | 979570.22
2011-10-31 | October | 3981342 | 4073354 | 92012 | 2.3111 | 2.2589 | 647 | 814 |  | 2010-Spalis | 190145.03 | 203258.48 | 393403.51 |  | 2010-Spalis | 253497.27 | 270979.84 | 524477.11
2011-11-30 | November | 3017486 | 3086573 | 69087 | 2.2896 | 2.2383 | 814 | 1669 |  | 2010-Lapkritis | 181466.34 | 193981.26 | 375447.6 |  | 2010-Lapkritis | 241927.28 | 258611.92 | 500539.2
2011-12-31 | December | 5706682 | 5835571 | 128889 | 2.2586 | 2.2087 | 1669 | 5180 |  | 2010-Gruodis | 164024.15 | 175336.16 | 339360.31 | 1108211.42 | 2010-Gruodis | 218673.63 | 233754.57 | 452428.2 | 1477444.51
SUM2011 |  | 39450036 | 40324557 | 874521 |  | 2.1687 | 5180 | 16816 |  |  | 1659259.1 | 1773690.76 | 3432949.86 | 3432949.86 |  | 2212086.97 | 2364644.69 | 4576731.66 | 4576731.66
2012-01-31 | January | 3812264 | 3890982 | 78718 | 2.0649 | 2.0231 | 16816 | 756 |  | 2011-Sausis | 195023.41 | 208473.3 | 403496.71 |  | 2011-Sausis | 260000.66 | 277931.74 | 537932.4
2012-02-28 | February | 3413276 | 3486551 | 73275 | 2.1468 | 2.1016 | 756 | 2349 |  | 2011-Vasaris | 0 | 0 | 0 |  | 2011-Vasaris | 0 | 0 | 0
2012-03-31 | March | 3781964 | 3852288 | 70324 | 1.8595 | 1.8255 | 2349 |  |  | 2011-Kovas | 0 | 0 | 0 | 403496.71 | 2011-Kovas | 0 | 0 | 0 | 537932.4
2012-04-30 | April | 2777069 | 2840750 | 63681 | 2.2931 | 2.2417 |  |  |  | 2011-Balandis | 0 | 0 | 0 |  | 2011-Balandis | 0 | 0 | 0
2012-05-31 | May | 1969050 | 2019813 | 50763 | 2.578 | 2.5133 |  |  |  | 2011-Gegužė | 0 | 0 | 0 |  | 2011-Gegužė | 0 | 0 | 0
2012-06-30 | June | 2304508 | 2361986 | 57478 | 2.4942 | 2.4335 |  |  |  | 2011-Birželis | 0 | 0 | 0 | 0 | 2011-Birželis | 0 | 0 | 0 | 0
2012-07-31 | July | 1977281 | 2027261 | 49980 | 2.5277 | 2.4654 |  |  |  | 2011-Liepa | 0 | 0 | 0 |  | 2011-Liepa | 0 | 0 | 0
2012-08-31 | August | 2365371 | 2412847 | 47476 | 2.0071 | 1.9676 |  |  |  | 2011-Rugpjūtis | 0 | 0 | 0 |  | 2011-Rugpjūtis | 0 | 0 | 0
2012-09-30 | September | 3236650 | 3313979 | 77329 | 2.3892 | 2.3334 |  |  |  | 2011-Rugsėjis | 0 | 0 | 0 | 0 | 2011-Rugsėjis | 0 | 0 | 0 | 0
2012-10-31 | October |  |  |  | #DIV/0! |  |  |  |  | 2011-Spalis | 0 | 0 | 0 |  | 2011-Spalis | 0 | 0 | 0
2012-11-30 | November |  |  |  | #DIV/0! |  |  |  |  | 2011-Lapkritis | 0 | 0 | 0 |  | 2011-Lapkritis | 0 | 0 | 0
2012-12-31 | December |  |  |  | #DIV/0! |  |  |  |  | 2011-Gruodis | 0 | 0 | 0 | 0 | 2011-Gruodis | 0 | 0 | 0 | 0
SUM2012 |  | 25637433 | 26206457 | 569024 |  | 2.21 |  |  |  |  | 195023.41 | 208473.3 | 403496.71 | 403496.71 |  | 260000.66 | 277931.74 | 537932.4 | 537932.4
2.2117
Note on J14: Project Management: prideta 96kWh per daug

## Monitoring protocol 2010-12
Monitoring Protocol 2010-2012
| 2010 | 2011 | 2012
Project constant:
Emission factor EFy, tCO2/MWh | 0.654 | 0.654 | 0.654
Actual data:
Net power generation EGy, kWh, Mockiai | 10666503 | 39433220 | 25626685
Annual Emission reduction, tCO2, Mockiai | 6975.893 | 25789.3259 | 16 759,852
Total emission reduction, tCO2e, | 6976 | 25789 | 16760
Total cumulative emission reduction, tCO2e | 6976 | 32765 | 49 525

## Annual report_2010
Annual Report, Mockiai, 2010
| Actual power production (kWh) | Active power consumption (kWh) | Net power production (kWh)
January | 0 | 0 | 0
February | 0 | 0 | 0
March | 0 | 0 | 0
April | 0 | 0 | 0
May | 0 | 0 | 0
June | 0 | 26417 | -26417
July | 0 | 7333 | -7333
August | 0 | 6099 | -6099
September | 4757573 | 543 | 4755740
October |  | 1290
November | 2906987 | 335 | 2906652
December | 3050175 | 6215 | 3043960
Total 2010 | 10714735 | 48232 | 10666503

## Annual report_2011
Annual Report, Mockiai, 2011
| Actual power production (kWh)* | Active power consumption (kWh)* | Net power production (kWh)
January | 3546434 | 613 | 3545821
February | 4039803 | 1169 | 4038634
March | 4107729 | 1378 | 4106351
April | 2545036 | 1343 | 2543693
May | 2531461 | 960 | 2530501
June | 2376698 | 418 | 2376280
July | 1615412 | 1481 | 1613931
August | 2809732 | 1144 | 2808588
September | 3172221 | 647 | 3171574
October | 3981342 | 814 | 3980528
November | 3017486 | 1669 | 3015817
December | 5706682 | 5180 | 5701502
Total 2010 | 39450036 | 16816 | 39433220

## Annual report_2012
Annual Report, Mockiai, 2012
| Actual power production (kWh)* | Active power consumption (kWh)* | Net power production (kWh)
January | 3812264 | 756 | 3811508
February | 3413276 | 2349 | 3410927
March | 3781964 | 657 | 3781307
April | 2777069 | 974 | 2776095
May | 1969050 | 618 | 1968432
June | 2304508 | 1683 | 2302825
July | 1977281 | 1909 | 1975372
August | 2365371 | 1554 | 2363817
September | 3236650 | 248 | 3236402
October
November
December
Total 2012 | 25637433 | 10748 | 25626685