## Wind invest budget
Wind park investment budget |  | Enercon
Name: | Silale |  |  | Exchange rate | / EUR | 3.4528
Turbines: |  | 7
Capacity of one turbine (MW): |  | 2
Total output (MW): | 0 | 14
|  | thEUR | th EUR/MW
Land | Land
| Total land | 0 | 0
Development cost | Planning, design, studies | 400
Developers fee / price of the project
| Total development | 400 | 28.5714
Civil works | Roads and erection areas | 700
| Foundations | 1400
| Buildings |  | 0
| Total civil works | 2100 | 150
Wind turbines | WT | 21399
| Total WT | 21399 | 1528.5
Electricity and communication | El&com inside the wind park (incl distribution area) | 400
| El&com lines outside the windpark area until the connection point | 0
| High voltage substation | 1500
| Connection fee | 400
| Total El&com | 2300 | 164.2857
Management | Project management | 116
| Owners supervision | 100
| Total Management | 216 | 15.4286
Consultancy | Financial | 15
| Legal | 50
| Technical | 30
| JI | 25
| Total consult | 120 | 8.5714
Financial costs | interest during erection | 650
| loan fees, mortgages fees | 300
| Total fin costs | 950 | 67.8571
Insurance | Insurance | 0 | 0
| Total insurance | 0 | 0
Other |  | 100
| Total total | 27585 | 1970.3571
Deductions | Grant
Prepayments
Revenues during construction period
Total deductions
| Total Net Investment | 27585 | 1970.3571

## Monthly (hidden)
Silale launching
(th EUR) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Month/year | 2006-01-01 | 2006-02-01 | 2006-03-01 | 2006-04-01 | 2006-05-01 | 2006-06-01 | 2006-07-01 | 2006-08-01 | 2006-09-01 | 2006-10-01 | 2006-11-01 | 2006-12-01 | 2007-01-01 | 2007-02-01 | 2007-03-01 | 2007-04-01 | 2007-05-01 | 2007-06-01 | 2007-07-01 | 2007-08-01
WTG | 2006-08-01: 828.6078; 2006-11-01: 1250
Development costs | 2006-09-01: 112.778; 2007-01-01: 32.1247
Grid connection | 2006-08-01: 434.43
Electricity and communication
Road construction
Other (construction?) | [8 empty] | 1.4481 | 1.4481 | 1.4481 | 1.4481 | 1.4481 | 1.4481 | 1.4481 | 1.4481 | 1.4481 | 1.4481 | 1.4481 | 1.4481
Administration costs + Fin consultancy | [8 empty] | 6.095 | 11.8034 | 6.011 | 3.694 | 3.933 | 4.8236 | 4.8236 | 4.8236 | 4.8236 | 4.8236 | 4.8236 | 4.8236
Financial costs
Total outflow | [7 empty] | 1263.0378 | 120.3212 | 13.2515 | 1257.4591 | 5.1421 | 37.5057 | 6.2717 | 6.2717 | 6.2717 | 6.2717 | 6.2717 | 6.2717 | 6.2717
VAT refund | 2006-10-01: 192.6668; 2006-11-01: 18.3541; 2006-12-01: 2.0214; 2007-01-01: 191.8158; 2007-02-01: 0.78439; 2007-03-01: 5.7212; 2007-04-01: 0.95669; 2007-05-01: 0.95669; 2007-06-01: 0.95669; 2007-07-01: 0.95669; 2007-08-01: 0.95669
Equity input
Debt capital input
Total inflow | [7 empty] | 0 | 0 | 192.6668 | 18.3541 | 2.0214 | 191.8158 | 0.78439 | 5.7212 | 0.95669 | 0.95669 | 0.95669 | 0.95669 | 0.95669
Cash flow of the period | [7 empty] | -1263.0378 | -120.3212 | 179.4153 | -1239.105 | -3.1207 | 154.3101 | -5.4873 | -0.55045 | -5.315 | -5.315 | -5.315 | -5.315 | -5.315
Cumulative cash flow | [7 empty] | -1263.0378 | -1383.359 | -1203.9437 | -2443.0487 | -2446.1695 | -2291.8594 | -2297.3467 | -2297.8971 | -2303.2121 | -2308.5271 | -2313.842 | -2319.157 | -2324.4719
Note on J7: Priit Tinits: 10%, incl VAT
Note on M7: Priit Tinits: Enercon (15%), incl VAT
Note on K8: Priit Tinits: Lietuvos Energetikos institutas
Note on O8: Priit Tinits: Vindlita
Note on J9: Priit Tinits: Lietuvos Energija (I don't know exactly when was it paid
Note on K12: Priit Tinits: Other
Note on B13: Priit Tinits: Accounting, salaries, monthly consultation fees (UP, 4energia, legal, Empower etc)
Note on L13: Priit Tinits: + UP fee
Note on N13: Priit Tinits: Legal fee for M.Matonis 2000 LTL from Dec 06
Note on P13: Priit Tinits: 4energia fee from Feb 07

## Financial Projection
Silale Wind Park - Financial Projection
Total Installed Capacity (MW) |  |  | 13.8
Yearly Net Production (MWh/y) |  |  | 35957 |  | Energy Price Until 2020 (EUR/MWh) |  |  |  | 86.886 |  | CO2 income (€/ton) |  |  | 11
Average usage of capacity |  |  | 29.74% |  | Energy Price After 2020 |  |  |  | 65 | 3% | CO2 coefficient (ton/MWh) |  |  | 0.626
Economically Useful Lifetime (years) |  |  | 20 |  | Green Certificate Income per kWh After 2020 |  |  |  | 0 | 0% | CO2 commission |  |  | 10%
Depreciation (yearly) |  |  | 5% |  | Yearly Increase of Running Costs |  |  |  | 3%
[5 empty] | Insurance Cost |  |  |  | 0.4%
Total Investment |  |  | 27585 |  | S&M per MWh produced (if applicable) |  |  |  | 12
Irredeemable Aid |  |  | 0 |  | Land Rental (thEUR/WT) |  |  |  | 3
Net Investment |  |  | 27585
[5 empty] | NPV of Equity Investment (th €) |  |  |  | -5529.6452 | 8%
Equity Capital |  |  | 8275.5 | 30% | IRR of the Project |  |  |  | 4.773%
Debt Capital |  |  | 19309.5 | 70% | IRR of the Project w/o ERU income |  |  |  | 4.66%
Repayment Term of the Debt (years) |  |  | 12 |  | IRR of the Equity Investment |  |  |  | 1.269%
Interest Rate of Debt Capital |  |  | 8% |  | Average DSCR |  |  |  | 0.88805
[5 empty] | Sum S&M/total cost |  |  |  | 42.98%
[5 empty] | Sensitivity analysis (change in total investment, %) |  |  |  | 0%
[5 empty] | Sensitivity analysis (change in production, %) |  |  |  | 0%
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Revenues
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
(th EUR) | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
|  |  | 25% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 75%
Tariff of Green Energy (EUR per MWh) |  |  | 86.886 | 86.886 | 86.886 | 86.886 | 86.886 | 86.886 | 86.886 | 86.886 | 86.886 | 86.886 | 65 | 66.95 | 68.9585 | 71.0273 | 73.1581 | 75.3528 | 77.6134 | 79.9418 | 82.3401 | 84.8103 | 87.3546
Sales of Electrical Power |  |  | 781.04 | 3124.1601 | 3124.1601 | 3124.1601 | 3124.1601 | 3124.1601 | 3124.1601 | 3124.1601 | 3124.1601 | 3124.1601 | 2337.205 | 2407.3211 | 2479.5408 | 2553.927 | 2630.5448 | 2709.4612 | 2790.745 | 2874.4673 | 2960.7014 | 3049.5224 | 2355.7561
Emission Reduction Income |  |  | 1: 55.71; 2: 222.8399
Terminal Value |  |  | 21: 0
Total Income |  |  | 836.75 | 3347 | 3124.1601 | 3124.1601 | 3124.1601 | 3124.1601 | 3124.1601 | 3124.1601 | 3124.1601 | 3124.1601 | 2337.205 | 2407.3211 | 2479.5408 | 2553.927 | 2630.5448 | 2709.4612 | 2790.745 | 2874.4673 | 2960.7014 | 3049.5224 | 2355.7561
S&M Costs |  |  | 107.871 | 444.4285 | 457.7614 | 471.4942 | 485.639 | 500.2082 | 515.2145 | 530.6709 | 546.591 | 562.9888 | 579.8784 | 597.2748 | 615.193 | 633.6488 | 652.6583 | 672.238 | 692.4052 | 713.1773 | 734.5726 | 756.6098 | 584.4811
Insurance Costs |  |  | 27.585 | 110.34 | 110.34 | 110.34 | 110.34 | 110.34 | 110.34 | 110.34 | 110.34 | 110.34 | 110.34 | 110.34 | 110.34 | 110.34 | 110.34 | 110.34 | 110.34 | 110.34 | 110.34 | 110.34 | 82.755
Administrative Costs |  |  | 12 | 48 | 49.44 | 50.9232 | 52.4509 | 54.0244 | 55.6452 | 57.3145 | 59.0339 | 60.805 | 62.6291 | 64.508 | 66.4432 | 68.4365 | 70.4896 | 72.6043 | 74.7824 | 77.0259 | 79.3367 | 81.7168 | 63.1262
Own Consumption and Reactive Energy |  |  | 0.75 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 2.25
Land Rental |  |  | 5.25 | 21 | 21.63 | 22.2789 | 22.9473 | 23.6357 | 24.3448 | 25.0751 | 25.8274 | 26.6022 | 27.4002 | 28.2222 | 29.0689 | 29.941 | 30.8392 | 31.7644 | 32.7173 | 33.6988 | 34.7098 | 35.7511 | 27.6177
Energy Trading Costs |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Unexpected Costs |  |  | 7.5 | 15.45 | 15.9135 | 16.3909 | 16.8826 | 17.3891 | 17.9108 | 18.4481 | 19.0016 | 19.5716 | 20.1587 | 20.7635 | 21.3864 | 22.028 | 22.6888 | 23.3695 | 24.0706 | 24.7927 | 25.5365 | 26.3026 | 20.3188
EBITDA |  |  | 675.794 | 2704.7815 | 2466.0752 | 2449.7329 | 2432.9003 | 2415.5627 | 2397.7049 | 2379.3115 | 2360.3662 | 2340.8526 | 1533.7985 | 1583.2126 | 1634.1092 | 1686.5327 | 1740.5289 | 1796.1449 | 1853.4295 | 1912.4326 | 1973.2058 | 2035.8021 | 1575.2073
Adjusted EBITDA (with success fee and CIT) |  |  | -26909.206 | 2704.7815 | 2466.0752 | 2449.7329 | 2432.9003 | 2415.5627 | 2397.7049 | 2375.37 | 2350.7904 | 2325.1282 | 1533.7985 | 1583.2126 | 1628.6282 | 1671.1686 | 1722.4649 | 1764.6101 | 1751.4599 | 1809.7949 | 1858.8693 | 1909.4158 | 1471.1091
Depreciation |  |  | 344.8125 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1034.4375
Financial Costs |  |  | 386.19 | 1525.2932 | 1443.4539 | 1354.8685 | 1258.9808 | 1155.1888 | 1042.841 | 921.2322 | 789.5989 | 647.1148 | 492.8854 | 325.9425 | 145.2382 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Income Before Taxes (EBT) |  |  | -55.2085 | -199.7617 | -356.6287 | -284.3856 | -205.3305 | -118.8761 | -24.3861 | 78.8293 | 191.5173 | 314.4879 | -338.3369 | -121.9798 | 109.6211 | 307.2827 | 361.2789 | 416.8949 | 474.1795 | 533.1826 | 593.9558 | 656.5521 | 540.7698
Income Tax |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.2527 | 82.3797 | 79.9774 | 89.0934 | 98.4828 | 81.1155
4e Success fee |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9415 | 9.5759 | 15.7244 | 0 | 0 | 5.4811 | 15.3641 | 18.0639 | 20.2821 | 19.59 | 22.6603 | 25.2431 | 27.9035 | 22.9827
4E Performance fee |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Income |  |  | -55.2085 | -199.7617 | -356.6287 | -284.3856 | -205.3305 | -118.8761 | -24.3861 | 74.8878 | 181.9415 | 298.7635 | -338.3369 | -121.9798 | 104.14 | 291.9186 | 343.2149 | 385.3601 | 372.2099 | 430.5449 | 479.6193 | 530.1658 | 436.6716
|  | 1.08% | -0.6671% | -2.414% | -4.309% | -3.436% | -2.481% | -1.436% | -0.2947% | 0.9049% | 2.199% | 3.61% | -4.088% | -1.474% | 1.258% | 3.528% | 4.147% | 4.657% | 4.498% | 5.203% | 5.796% | 6.406% | 5.277%
Debt Financing: |  |  | 1 | 5 | 9 | 13 | 17 | 21 | 25 | 29 | 33 | 37 | 41 | 45 | 49 | 53
|  |  | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
27585
Loan Amount |  | 19309.5
Outstanding Principal at the Beginning of Year |  |  | 19309.5 | 19066.1649 | 18043.1741 | 16935.8561 | 15737.2594 | 14439.8598 | 13035.5128 | 11515.4024 | 9869.986 | 8088.9344 | 6161.0669 | 4074.2811 | 1815.477
Total Loan Payment |  |  | -629.5251 | -2548.2839 | -2550.772 | -2553.4652 | -2556.3803 | -2559.5358 | -2562.9514 | -2566.6486 | -2570.6505 | -2574.9823 | -2579.6712 | -2584.7466 | -1960.7152
Interest Payment |  |  | -386.19 | -1525.2932 | -1443.4539 | -1354.8685 | -1258.9808 | -1155.1888 | -1042.841 | -921.2322 | -789.5989 | -647.1148 | -492.8854 | -325.9425 | -145.2382
Capital Repayment |  |  | -243.3351 | -1022.9907 | -1107.318 | -1198.5967 | -1297.3996 | -1404.347 | -1520.1104 | -1645.4164 | -1781.0516 | -1927.8675 | -2086.7858 | -2258.8041 | -1815.477
Outstanding Principal at the End of Year |  |  | 19066.1649 | 18043.1741 | 16935.8561 | 15737.2594 | 14439.8598 | 13035.5128 | 11515.4024 | 9869.986 | 8088.9344 | 6161.0669 | 4074.2811 | 1815.477 | 2.2737e-12
Debt Service Ratio (DSCR) |  |  |  | 1.0614 | 0.9668 | 0.95938 | 0.9517 | 0.94375 | 0.93552 | 0.92548 | 0.91447 | 0.90297 | 0.59457 | 0.61252 | 0 | 0.88805
Cash Flow: |  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
Net Income |  |  | -110.9185 | -366.8916 | -133.7888 | -284.3856 | -205.3305 | -118.8761 | -24.3861 | 74.8878 | 181.9415 | 298.7635 | -338.3369 | -121.9798 | 104.14 | 291.9186 | 343.2149 | 385.3601 | 372.2099 | 430.5449 | 479.6193 | 530.1658 | 436.6716
Principal Repayment |  |  | -243.3351 | -1022.9907 | -1107.318 | -1198.5967 | -1297.3996 | -1404.347 | -1520.1104 | -1645.4164 | -1781.0516 | -1927.8675 | -2086.7858 | -2258.8041 | -1815.477 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Depreciation |  |  | 344.8125 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1379.25 | 1034.4375
Yearly Cash Flow | 0 | 0 | -8284.9411 | -10.6323 | 138.1432 | -103.7323 | -123.4801 | -143.9731 | -165.2465 | -191.2785 | -219.8601 | -249.8541 | -1045.8727 | -1001.5339 | -332.087 | 1671.1686 | 1722.4649 | 1764.6101 | 1751.4599 | 1809.7949 | 1858.8693 | 1909.4158 | 1471.1091
Cumulative Cash Flow (Before Dividends) |  | 0 | -8284.9411 | -8295.5735 | -8157.4303 | -8261.1626 | -8384.6427 | -8528.6158 | -8693.8623 | -8885.1408 | -9105.0009 | -9354.855 | -10400.7277 | -11402.2616 | -11734.3486 | -10063.18 | -8340.7151 | -6576.105 | -4824.6452 | -3014.8502 | -1155.9809 | 753.4349 | 2224.544
Shareholder transactions
Equity placing / Divided payment |  |  | -8275.5 | -1659.898 | -1496.4233 | -1602.0367 | -1546.5954 | -1485.9651 | -1419.6993 | -1350.0787 | -1275.0021 | -1193.075 | -1639.8726 | -1488.1417 | -1329.5642 | -1197.8753 | -1161.9012 | -1132.3449 | -1141.5671 | -1100.6568 | -1066.241 | -1030.7928
Effective tax rate |  |  | 0.31579 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987
Income tax |  |  |  | -3075.3012 | -3034.0376 | -3065.0226 | -3101.9062 | -3144.9112 | -3194.2705 | -3251.4057 | -3317.0782 | -3391.7099 | -3704.1135 | -4003.2729 | -4102.4678 | -3603.2875 | -3088.785 | -2561.6937 | -2038.5304 | -1497.9423 | -942.6956 | -372.3506
Cash after dividend payment |  |  |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000
Check |  |  |  | -3560.3743 | -3626.9694 | -3594.1033 | -3736.141 | -3897.7395 | -4079.8924 | -4283.6565 | -4512.9207 | -4770.0701 | -5056.7416 | -5910.8469 | -6302.3167 | -5262.0172 | -4090.0289 | -2882.0664 | -1644.5477 | -416.2511 | 852.9557 | 2156.5783
IRR for shareholder |  | 2010: #NUM!
average
ROE |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
ROA |  | 0.3241% | -0.2001% | -0.7242% | -1.293% | -1.031% | -0.7444% | -0.4309% | -0.0884% | 0.2715% | 0.6596% | 1.083% | -1.227% | -0.4422% | 0.3775% | 1.058% | 1.244% | 1.397% | 1.349% | 1.561% | 1.739% | 1.922%

## Estimate (hidden)
2006
| I estimate | II | III | IV | Total
INCOME, EUR
Long term average production, MWh/y |  |  |  |  | 0
Production, MWh |  |  |  |  | 0
Electricity price, EUR/MWh |  |  |  |  | 0
Electricity |  |  |  |  | 0
CO2 |  |  |  |  | 0
Total |  |  |  |  | 0
0 |  |  |  |  | 0
COSTS, EUR |  |  |  |  | 0
Wind park
Service and maintenance
Insurance
JI verification |  |  |  |  | 0
JI fee |  |  |  |  | 0
Security |  |  |  |  | 0
Communications |  |  |  |  | 0
Own consumption and reactive power |  |  |  |  | 0
Other maintenance and repair, small parts and tools |  |  |  |  | 0
Land lease and tax |  |  |  |  | 0
Total |  |  |  |  | 0
0 |  |  |  |  | 0
Management costs |  |  |  |  | 0
Fixed fee to 4energia |  |  |  |  | 0
Premium fee to 4energia
Legal and tax consultancy
Technical consultancy |  |  |  |  | 0
Operation back-up |  |  |  |  | 0
Book keeping, audit |  |  |  |  | 0
Others |  |  |  |  | 0
Total |  |  |  |  | 0
0 |  |  |  |  | 0
Operating Profit |  |  |  |  | 0
0 |  |  |  |  | 0
Depreciation
Fixed assets
Total |  |  |  |  | 0
0 |  |  |  |  | 0
Profit before finance |  |  |  |  | 0
0
Financial income and cost |  |  |  |  | 0
Owners loan interest
Other
Total
0
Net profit |  |  |  |  | 0

## Actual (hidden)
2006
| I actual | II actual | III actual | IV actual | Total actual
INCOME, EUR
Long term average production, MWh/y
Production, MWh |  |  |  |  | 0
Electricity price, EUR/MWh |  |  |  |  | 0
Electricity |  |  |  |  | 0
CO2 |  |  |  |  | 0
Total |  |  |  |  | 0
0
COSTS, EUR |  |  |  |  | 0
Wind park
Service and maintenance
Insurance
JI verification |  |  |  |  | 0
JI fee |  |  |  |  | 0
Security |  |  |  |  | 0
Communications |  |  |  |  | 0
Own consumption and reactive power |  |  |  |  | 0
Other maintenance and repair, small parts and tools |  |  |  |  | 0
Land lease and tax |  |  |  |  | 0
Total |  |  |  |  | 0
0
Management costs |  |  |  |  | 0
Fixed fee to 4energia |  |  |  |  | 0
Premium fee to 4energia
Legal and tax consultancy
Technical consultancy |  |  |  |  | 0
Operation back-up |  |  |  |  | 0
Book keeping, audit |  |  |  |  | 0
Others |  |  |  |  | 0
Total |  |  |  |  | 0
0
Operating Profit |  |  |  |  | 0
0
Depreciation
Fixed assets
Total |  |  |  |  | 0
0
Profit before finance |  |  |  |  | 0
Financial income and cost |  |  |  |  | 0
Owners loan interest
Other
Total
Net profit |  |  |  |  | 0

## Estimate vs Actual (hidden)
Silale income budget | 2006
| I estimate | I actual | I deviation | II estimate | II actual | II deviation | III estimate | III actual | III deviation | IV estimate | IV actual | IV deviation | Total estimate | Total actual | Total deviation
INCOME, EUR
Long term average production, MWh/y | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
Production, MWh | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
Electricity price, EUR/MWh | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
Electricity | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
CO2 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
Total | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
COSTS, EUR | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
Wind park | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
Service and maintenance | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
Insurance | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
JI verification | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
JI fee | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
Security | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
Communications | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
Own consumption and reactive power | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
Other maintenance and repair, small parts and tools | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
Land lease and tax | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
Total | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
Management costs | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
Fixed fee to 4energia | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
Premium fee to 4energia | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
Legal and tax consultancy | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
Technical consultancy | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
Operation back-up | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
Book keeping, audit | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
Others | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
Total | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
Operating Profit | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
Depreciation | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
Fixed assets | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
Total | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
Profit before finance | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
Financial income and cost | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
Owners loan interest | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
Other | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
Total | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!
0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
Net profit | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0!

## Sensitivity
|  | Investment | 27585
|  | Project IRR | 4.773%
|  | change | 0% |  |  | Date | AVIR | VILIBOR
Investment variation range | -10% | -5% | 0% | 5% | 10% | 2008-06-30 | 7.51% | 6.71%
Investments, € th | 24826.5 | 26205.75 | 27585 | 28964.25 | 30343.5 | 2008-07-31 | 7.43% | 6.79%
Project IRR | 5.284% | 5.202% | 4.773% | 4.143% | 3.54% | 2008-08-31 | 7.56% | 6.71%
[6 empty] | 2008-09-30 | 8.14% | 7.08%
[6 empty] | 2008-10-31 | 8.3% | 8.83%
Energy production variation range | -10% | -5% | 0% | 5% | 10% | 2008-11-30 | 9.69% | 9.2%
Energy output, MWh/year | 32361.3 | 34159.15 | 35957 | 37754.85 | 39552.7 | 2008-12-31 | 9.93% | 10.68%
Project IRR | 3.342% | 4.077% | 4.773% | 5.203% | 5.301%
Benchmark | 9.93% | 9.93% | 9.93% | 9.93% | 9.93%
|  | change | 0%
|  | MWh/y | 35957
|  | Project IRR | 4.773%

## Data sources
Data | Value | Source
Annual production | 35 374 MWh | EMD report, dated 25.11.2008
Total investment cost | 1 970 th€/MW | Enercon GmbH offer for Mockia wind park, dated 18.06.2008
Subsidy | 86,89 EUR/MWh | Resolution No. O3-27 of the State price and Energy Control Commission of 21 February 2008 (http://www.regula.lt/lt/elektra/tarifai/viap_kainos.php)
Annual maintenance cost | 12 €/MWh + 3% yearly increase | Enercon GmbH EPK offer dated 10.2008. Fixed maintenance cost will be adjusted by inflation rate every year.
Insurance cost | 0,4% of total investment | CNA Ltd policy no 310-16033 for Virtsu II wind park 01.03.2008-20.03.2009
Management cost | 35 374 €/year (2008), increased by inflation rate every year | Management agreement between 4energia UAB and Vejo elektra UAB, 10.12.2008
4e success fee | 5% of the profit | Management agreement between 4energia UAB and Vejo elektra UAB, 10.12.2008
IRR benchmark | 9.93% | AVIR, december 2008 (http://www.lb.lt/stat_pub/statbrowser.aspx?group=7279&lang=lt)
Yearly increase of running costs | 3% | Prognosed average inflation rate
Energy price after 2020 | 65 EUR/MWh | Management's conservative estimation based on NENA and EIA electricity market forecasts
Applied interest rate | 8% | Interest rate and discount rate are estimated 8% by management

## ERUs
ERU generation | 2011 | 2012 | Total
| 7503.0273 | 22509.082 | 30012.1093
Annual MWh | 35957