## Alternative 1.1
Alternative 1.1. Introduction of the Coke Oven Gas CHP without JI incentive (PDD, Section B.2., step 1): In this scenario CHP will be constructed on site of the HCP. The main revenue will come from the two sources: • Export of the electricity to the grid; • Stopping import of the electricity from the grid.
INDEX | U/M
Electricity production
steam production on coke plant auxiliaries | Gcal | 93537
electricity production, including: | MWh | 82432
coke plant auxiliaries | MWh | 16000
CHP auxiliaries | MWh | 12000
electricity to the grid | MWh | 54432
Tariffs
rate of exchange | EUR/UAH | 6.74
rate of exchange | UAH/EUR | 0.14837
Discunt rate (NBU rate) | % | 10%
tarrif for the electricity purchasing from the grid in the absence of the project | Euro/MWh | 57.8635
| UAH/MWh | 390
tarrif for the electricity selling to the grid after project implementation | Euro/MWh | 40.0593
| UAH/MWh | 270
manufacturing cost for the electricity production at the CHP | Euro/MWh | 10.1187
| UAH/MWh | 68.2
manufacturing cost of the steam producing at the CHP | EUR/Gcal | 6.1098
| UAH/Gcal | 41.18
manufacturing cost of the steam producing in the existing Boiler house | EUR/Gcal | 9.7923
| UAH/Gcal | 66
service water tarrif in the absence of the project | Euro/m3 | 0.17092
| UAH/m3 | 1.152
service water costs in the absence of the project | Euro/a | 92906.749
| UAH/a | 626191.488
Investment costs
Investment cost, including: | Euro | 22932818.9911
| UAH | 154567200
design works | Euro | 387240.3561
| UAH | 2610000
boiler department's equipment costs | Euro | 6759643.9169
| UAH | 45560000
turbine department's equipment costs | Euro | 7449554.8961
| UAH | 50210000
construction costs | Euro | 1344213.6499
| UAH | 9060000
water treatment unit | Euro | 833234.4214
| UAH | 5616000
auxilary equipment | Euro | 145400.5935
| UAH | 980000
equipment for the grid connection | Euro | 1988130.5638
| UAH | 13400000
balancing and commissioning | Euro | 203264.095
| UAH | 1370000
VAT 20% | Euro | 3822136.4985
| UAH | 25761200
project lifetime | years | 30

## Alternative 1.3
Alternative 1.3. COG is used for heat energy production (PDD, Section B.2., step 1): In this scenario electricity will be imported from the grid. The new boiler house with higher capacity will be constructed. COG currently flared and burned in the old boiler house will be directed to the new boiler(s). Steam will be used on site (as it is now) and sold to the external consumers. In addition to the new boiler house, steam and condensate pipelines to external consumers should be constructed. In that case fossil fuel consumption for steam generation at external sites would be stopped and ERU could be generated.
INDEX | U/M
steam production
steam production, including: | Gcal | 338770.79
coke plant auxiliaries | Gcal | 93537
external consumers | Gcal | 245233.79
Tariffs
rate of exchange | EUR/UAH | 6.74
| UAH/EUR | 0.14837
Discunt rate (NBU rate) | % | 10%
tarrif for the heat energy selling to external consumers | EUR/Gcal | 10.3858
| UAH/Gcal | 70
service water tarrif in the absence of the project | Euro/m3 | 0.17092
| UAH/m3 | 1.152
service water costs in the absence of the project | Euro/a | 92906.749
| UAH/a | 626191.488
manufacturing cost of the steam producing in the new Boiler house | EUR/Gcal | 6.1098
| UAH/Gcal | 41.18
manufacturing cost of the steam producing in the existing Boiler house | EUR/Gcal | 9.7923
| UAH/Gcal | 66
Investment costs
Investment cost, including: | Euro | 10708842.73
| UAH | 72177600
design works | Euro | 387240.3561
| UAH | 2610000
boiler department's equipment costs | Euro | 6759643.9169
| UAH | 45560000
turbine department's equipment costs | Euro | 0
| UAH | 0
construction costs | Euro | 676557.8635
| UAH | 4560000
water treatment unit | Euro | 833234.4214
| UAH | 5616000
auxilary equipment | Euro | 145400.5935
| UAH | 980000
equipment for the grid connection | Euro | 0
| UAH | 0
balancing and commissioning | Euro | 121958.457
| UAH | 822000
VAT 20% | Euro | 1784807.1217
НДС 20% | UAH | 12029600
project lifetime | years | 30

## summary cashflow
CHP
INDEX
| 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039
investment costs |  | -11466409.4955 | -11466409.4955
operation cash flow
electricity costs savings on-site |  |  |  | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139
profit from electricity sales to grid |  |  |  | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142
savings on costs from heat energy on own needs |  |  |  | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086
service water costs savings on site |  |  |  | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749
total cashflow 1 | 0 | -11466409.4955 | -11466409.4955 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858 | 2831002.5858
discounted cashflow | 0 | -11466409.4955 | -10424008.6323 | 2339671.5585 | 2126974.1441 | 1933612.8582 | 1757829.8711 | 1598027.1556 | 1452751.9596 | 1320683.5996 | 1200621.4542 | 1091474.0493 | 992249.1357 | 902044.6688 | 820040.608 | 745491.4619 | 677719.5108 | 616108.6462 | 560098.7692 | 509180.6993 | 462891.5448 | 420810.4953 | 382554.9957 | 347777.2688 | 316161.1535 | 287419.2304 | 261290.2095 | 237536.5541 | 215942.3219 | 196311.2017 | 178464.7288 | 162240.6626 | 147491.5114
accumulated cashflow | 0 | -11466409.4955 | -22932818.9911 | -20101816.4053 | -17270813.8196 | -14439811.2338 | -11608808.6481 | -8777806.0623 | -5946803.4766 | -3115800.8908 | -284798.305 | 2546204.2807 | 5377206.8665 | 8208209.4522 | 11039212.038 | 13870214.6237 | 16701217.2095 | 19532219.7953 | 22363222.381 | 25194224.9668 | 28025227.5525 | 30856230.1383 | 33687232.724 | 36518235.3098 | 39349237.8955 | 42180240.4813 | 45011243.0671 | 47842245.6528 | 50673248.2386 | 53504250.8243 | 56335253.4101 | 59166255.9958 | 61997258.5816
accumulated discounted cashflow | 0 | -11466409.4955 | -21890418.1279 | -19550746.5694 | -17423772.4253 | -15490159.5671 | -13732329.6959 | -12279577.7363 | -10958894.1367 | -9758272.6825 | -8666798.6332 | -7674549.4974 | -6772504.8286 | -5952464.2206 | -5206972.7587 | -4529253.2479 | -3913144.6018 | -3353045.8325 | -2843865.1332 | -2380973.5884 | -1960163.0931 | -1577608.0974 | -1229830.8286 | -913669.6751 | -626250.4446 | -364960.2351 | -127423.6811 | 88518.6408 | 284829.8426 | 463294.5714 | 625535.234 | 773026.7454 | 773026.7454
PV of the projects benefits |  | 24261472.0289
PV of the investments |  | 21890418.1279
NPV | 2371053.901 | 2371053.901
IRR | 11.21% | 11.21%
PB | 24.9225 | 10.1006
PI=(PV of the project benefits/PV of the investments) |  | 1.1083
Steam Boiler House
INDEX
| 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039
investment costs | 0 | -5354421.365 | -5354421.365
operation cash flow
profit from heat energy sales to external consumers |  |  |  | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537
savings on costs from heat energy on own needs |  |  |  | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086
service water costs savings on site |  |  |  | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749
total cashflow 1 | 0 | -5354421.365 | -5354421.365 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112 | 1485967.0112
discounted cashflow | 0 | -5354421.365 | -4867655.7864 | 1228071.9101 | 1116429.0092 | 1014935.4629 | 922668.6026 | 838789.6388 | 762536.0352 | 693214.5775 | 630195.0704 | 572904.6095 | 520822.3723 | 473474.8839 | 430431.7126 | 391301.5569 | 355728.6881 | 323389.7165 | 293990.6513 | 267264.2285 | 242967.4804 | 220879.5277 | 200799.5706 | 182545.0642 | 165950.0584 | 150863.6894 | 137148.8086 | 124680.7351 | 113346.1228 | 103041.9298 | 93674.4816 | 85158.6197 | 77416.927
accumulated cashflow | 0 | -5354421.365 | -10708842.73 | -9222875.7187 | -7736908.7075 | -6250941.6962 | -4764974.685 | -3279007.6737 | -1793040.6625 | -307073.6512 | 1178893.36 | 2664860.3712 | 4150827.3825 | 5636794.3937 | 7122761.405 | 8608728.4162 | 10094695.4275 | 11580662.4387 | 13066629.45 | 14552596.4612 | 16038563.4725 | 17524530.4837 | 19010497.495 | 20496464.5062 | 21982431.5174 | 23468398.5287 | 24954365.5399 | 26440332.5512 | 27926299.5624 | 29412266.5737 | 30898233.5849 | 32384200.5962 | 33870167.6074
accumulated discounted cashflow | 0 | -5354421.365 | -10222077.1513 | -8994005.2412 | -7877576.232 | -6862640.7691 | -5939972.1665 | -5101182.5277 | -4338646.4924 | -3645431.915 | -3015236.8445 | -2442332.235 | -1921509.8627 | -1448034.9788 | -1017603.2662 | -626301.7093 | -270573.0212 | 52816.6953 | 346807.3466 | 614071.5751 | 857039.0556 | 1077918.5832 | 1278718.1539 | 1461263.218 | 1627213.2764 | 1778076.9658 | 1915225.7744 | 2039906.5094 | 2153252.6322 | 2256294.562 | 2349969.0436 | 2435127.6633 | 2512544.5903
PV of the projects benefits |  | 12734621.7416
PV of the investments |  | 10222077.1513
NPV | 2512544.5903 | 2512544.5903
IRR | 12.69% | 12.69%
PB | 11.1 | 9.2066
PI | 9.7395 | 1.2458
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31

## sensitivity analysis 1.1
CHP Electricity price from the grid 10% increase
INDEX
| 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039
investment costs |  | -11466409.4955 | -11466409.4955
operation cost
electricity costs savings on-site |  |  |  | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163 | 856498.5163
profit from electricity sell to grid |  |  |  | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142
savings on costs from heat energy on own needs |  |  |  | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086
service water costs savings on site |  |  |  | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749
total cashflow 1 | 0 | -11466409.4955 | -11466409.4955 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881 | 2923584.1881
discounted cashflow | 0 | -11466409.4955 | -10424008.6323 | 2416185.2794 | 2196532.0722 | 1996847.3384 | 1815315.7622 | 1650287.0565 | 1500260.9605 | 1363873.6004 | 1239885.0913 | 1127168.2648 | 1024698.4226 | 931544.0205 | 846858.2005 | 769871.0913 | 699882.8103 | 636257.1003 | 578415.5457 | 525832.3143 | 478029.3766 | 434572.1606 | 395065.6005 | 359150.5459 | 326500.4963 | 296818.633 | 269835.1209 | 245304.6554 | 223004.2321 | 202731.1201 | 184301.0183 | 167546.3803 | 152314.8912
accumulated cashflow | 0 | -11466409.4955 | -22932818.9911 | -20009234.803 | -17085650.6148 | -14162066.4267 | -11238482.2386 | -8314898.0504 | -5391313.8623 | -2467729.6742 | 455854.5139 | 3379438.7021 | 6303022.8902 | 9226607.0783 | 12150191.2665 | 15073775.4546 | 17997359.6427 | 20920943.8309 | 23844528.019 | 26768112.2071 | 29691696.3953 | 32615280.5834 | 35538864.7715 | 38462448.9596 | 41386033.1478 | 44309617.3359 | 47233201.524 | 50156785.7122 | 53080369.9003 | 56003954.0884 | 58927538.2766 | 61851122.4647 | 64774706.6528
accumulated discounted cashflow | 0 | -11466409.4955 | -21890418.1279 | -19474232.8484 | -17277700.7762 | -15280853.4378 | -13465537.6756 | -11965276.7152 | -10601403.1147 | -9361518.0234 | -8234349.7586 | -7209651.3361 | -6278107.3156 | -5431249.1151 | -4661378.0238 | -3961495.2135 | -3325238.1132 | -2746822.5675 | -2220990.2532 | -1742960.8766 | -1308388.716 | -913323.1155 | -554172.5696 | -227672.0733 | 69146.5597 | 338981.6805 | 584286.3359 | 807290.5681 | 1010021.6882 | 1194322.7065 | 1361869.0868 | 1514183.9779 | 1514183.9779
PV of the projects benefits |  | 25054889.1623
PV of the investments |  | 21890418.1279
NPV | 3164471.0344 | 3164471.0344
IRR | 11.6% | 11.6%
PB | 24.924 | 9.8441
PI |  | 1.1446
CHP Electricity price to the grid 10% increase
INDEX
| 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039
investment costs |  | -11466409.4955 | -11466409.4955
operation cost
electricity costs savings on-site |  |  |  | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139
profit from electricity sell to grid |  |  |  | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528 | 1847780.6528
savings on costs from heat energy on own needs |  |  |  | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086
service water costs savings on site |  |  |  | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749
total cashflow 1 | 0 | -11466409.4955 | -11466409.4955 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243 | 3049053.6243
discounted cashflow | 0 | -11466409.4955 | -10424008.6323 | 2519879.0284 | 2290799.1167 | 2082544.6515 | 1893222.4105 | 1721111.2823 | 1564646.6202 | 1422406.0184 | 1293096.3804 | 1175542.164 | 1068674.6945 | 971522.4496 | 883202.2269 | 802911.1153 | 729919.1958 | 663562.9052 | 603239.0048 | 548399.0952 | 498544.632 | 453222.3928 | 412020.3571 | 374563.961 | 340512.6918 | 309556.9925 | 281415.4478 | 255832.2252 | 232574.7502 | 211431.5911 | 192210.5374 | 174736.8521 | 158851.6838
accumulated cashflow | 0 | -11466409.4955 | -22932818.9911 | -19883765.3668 | -16834711.7424 | -13785658.1181 | -10736604.4938 | -7687550.8694 | -4638497.2451 | -1589443.6208 | 1459610.0036 | 4508663.6279 | 7557717.2522 | 10606770.8766 | 13655824.5009 | 16704878.1252 | 19753931.7496 | 22802985.3739 | 25852038.9982 | 28901092.6226 | 31950146.2469 | 34999199.8712 | 38048253.4955 | 41097307.1199 | 44146360.7442 | 47195414.3685 | 50244467.9929 | 53293521.6172 | 56342575.2415 | 59391628.8659 | 62440682.4902 | 65489736.1145 | 68538789.7389
accumulated discounted cashflow | 0 | -11466409.4955 | -21890418.1279 | -19370539.0995 | -17079739.9828 | -14997195.3312 | -13103972.9207 | -11539326.3005 | -10116920.2821 | -8823823.9017 | -7648281.7377 | -6579607.0432 | -5608084.5937 | -4724882.3668 | -3921971.2514 | -3192052.0557 | -2528489.1504 | -1925250.1457 | -1376851.0504 | -878306.4184 | -425084.0256 | -13063.6686 | 361500.2924 | 702012.9842 | 1011569.9767 | 1292985.4244 | 1548817.6497 | 1781392.3999 | 1992823.991 | 2185034.5283 | 2359771.3805 | 2518623.0643 | 2518623.0643
PV of the projects benefits |  | 26130152.4744
PV of the investments |  | 21890418.1279
NPV | 4239734.3465 | 4239734.3465
IRR | 12.13% | 12.13%
PB | 24.9258 | 9.5213
PI |  | 1.1937
CHP electricity production cost increase 10%
| 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039
investment costs |  | -11466409.4955 | -11466409.4955
operation cost
electricity costs savings on-site |  |  |  | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003 | 747727.003
profit from electricity sell to grid |  |  |  | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371 | 1574651.5371
savings on costs from heat energy on own needs |  |  |  | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445
service water costs savings on site |  |  |  | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749
total cashflow 1 | 0 | -11466409.4955 | -11466409.4955 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335 | 2702585.4335
discounted cashflow | 0 | -11466409.4955 | -10424008.6323 | 2233541.6806 | 2030492.4369 | 1845902.2154 | 1678092.9231 | 1525539.021 | 1386853.6554 | 1260776.0504 | 1146160.0458 | 1041963.678 | 947239.7073 | 861127.0066 | 782842.7333 | 711675.2121 | 646977.4655 | 588161.3323 | 534692.1203 | 486083.7457 | 441894.3143 | 401722.1039 | 365201.9126 | 332001.7387 | 301819.7625 | 274381.6023 | 249437.8202 | 226761.6548 | 206146.9589 | 187406.3263 | 170369.3875 | 154881.2614 | 140801.1467
accumulated cashflow | 0 | -11466409.4955 | -22932818.9911 | -20230233.5576 | -17527648.124 | -14825062.6905 | -12122477.257 | -9419891.8234 | -6717306.3899 | -4014720.9564 | -1312135.5228 | 1390449.9107 | 4093035.3442 | 6795620.7777 | 9498206.2113 | 12200791.6448 | 14903377.0783 | 17605962.5119 | 20308547.9454 | 23011133.3789 | 25713718.8125 | 28416304.246 | 31118889.6795 | 33821475.1131 | 36524060.5466 | 39226645.9801 | 41929231.4136 | 44631816.8472 | 47334402.2807 | 50036987.7142 | 52739573.1478 | 55442158.5813 | 58144744.0148
accumulated discounted cashflow | 0 | -11466409.4955 | -21890418.1279 | -19656876.4473 | -17626384.0103 | -15780481.795 | -14102388.8719 | -12715535.2165 | -11454759.1661 | -10308599.1203 | -9266635.4423 | -8319395.735 | -7458268.7284 | -6675425.9951 | -5963750.783 | -5316773.3175 | -4728611.9852 | -4193919.8649 | -3707836.1192 | -3265941.8049 | -2864219.701 | -2499017.7884 | -2167016.0497 | -1865196.2872 | -1590814.6849 | -1341376.8647 | -1114615.2099 | -908468.251 | -721061.9247 | -550692.5372 | -395811.2759 | -255010.1292 | -255010.1292
PV of the projects benefits |  | 23160947.0197
PV of the investments |  | 21890418.1279
NPV | 1270528.8918 | 1270528.8918
IRR | 10.65% | 10.65%
PB | 24.9201 | 10.4855
PI |  | 1.058
CHP service water cost increase 10%
INDEX
| 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039
investment costs |  | -11466409.4955 | -11466409.4955
operation cost
electricity costs savings on-site |  |  |  | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139 | 763916.9139
profit from electricity sell to grid |  |  |  | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142 | 1629729.6142
savings on costs from heat energy on own needs |  |  |  | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086
service water costs savings on site |  |  |  | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239 | 102197.4239
total cashflow 1 | 0 | -11466409.4955 | -11466409.4955 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607 | 2840293.2607
discounted cashflow | 0 | -11466409.4955 | -10424008.6323 | 2347349.8022 | 2133954.3656 | 1939958.5142 | 1763598.6493 | 1603271.4993 | 1457519.5449 | 1325017.7681 | 1204561.6073 | 1095056.0067 | 995505.4606 | 905004.9642 | 822731.7856 | 747937.9869 | 679943.6245 | 618130.5677 | 561936.8797 | 510851.7088 | 464410.6444 | 422191.4949 | 383810.4499 | 348918.5908 | 317198.7189 | 288362.4718 | 262147.7016 | 238316.0924 | 216650.9931 | 196955.4482 | 179050.4075 | 162773.0977 | 147975.5434
accumulated cashflow | 0 | -11466409.4955 | -22932818.9911 | -20092525.7304 | -17252232.4698 | -14411939.2091 | -11571645.9485 | -8731352.6878 | -5891059.4272 | -3050766.1665 | -210472.9059 | 2629820.3548 | 5470113.6154 | 8310406.8761 | 11150700.1367 | 13990993.3974 | 16831286.658 | 19671579.9187 | 22511873.1793 | 25352166.44 | 28192459.7007 | 31032752.9613 | 33873046.222 | 36713339.4826 | 39553632.7433 | 42393926.0039 | 45234219.2646 | 48074512.5252 | 50914805.7859 | 53755099.0465 | 56595392.3072 | 59435685.5678 | 62275978.8285
accumulated discounted cashflow | 0 | -11466409.4955 | -21890418.1279 | -19543068.3257 | -17409113.96 | -15469155.4458 | -13705556.7966 | -12248037.2517 | -10923019.4836 | -9718457.8763 | -8623401.8697 | -7627896.4091 | -6722891.4449 | -5900159.6593 | -5152221.6723 | -4472278.0479 | -3854147.4802 | -3292210.6004 | -2781358.8916 | -2316948.2472 | -1894756.7523 | -1510946.3023 | -1162027.7115 | -844828.9925 | -556466.5208 | -294318.8192 | -56002.7268 | 160648.2663 | 357603.7145 | 536654.122 | 699427.2197 | 847402.7631 | 847402.7631
PV of the projects benefits |  | 24341092.3903
PV of the investments |  | 21890418.1279
NPV | 2450674.2624 | 2450674.2624
IRR | 11.25% | 11.25%
PB | 24.9226 | 10.0741
PI |  | 1.112

## sensitivity analysis 1.3
Steam Boiler House heat price to external consumers increase 10%
INDEX
| 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039
investment costs | 0 | -5354421.365 | -5354421.365
operation cost
profit from heat energy selling to external consumers |  |  |  | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009 | 1303304.8009
savings on costs from heat energy on own needs |  |  |  | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086
service water costs savings on site |  |  |  | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749
total cashflow 1 | 0 | -5354421.365 | -5354421.365 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584 | 1740660.8584
discounted cashflow | 0 | -5354421.365 | -4867655.7864 | 1438562.6929 | 1307784.2663 | 1188894.7875 | 1080813.4432 | 982557.6756 | 893234.2506 | 812031.1369 | 738210.1245 | 671100.1131 | 610091.0119 | 554628.1927 | 504207.4479 | 458370.4072 | 416700.3702 | 378818.5183 | 344380.4712 | 313073.1556 | 284611.9597 | 258738.1452 | 235216.4956 | 213833.1778 | 194393.798 | 176721.6346 | 160656.0314 | 146050.9377 | 132773.5797 | 120703.2543 | 109730.2311 | 99754.7556 | 90686.1414
accumulated cashflow | 0 | -5354421.365 | -10708842.73 | -8968181.8715 | -7227521.0131 | -5486860.1547 | -3746199.2963 | -2005538.4378 | -264877.5794 | 1475783.279 | 3216444.1374 | 4957104.9959 | 6697765.8543 | 8438426.7127 | 10179087.5712 | 11919748.4296 | 13660409.288 | 15401070.1464 | 17141731.0049 | 18882391.8633 | 20623052.7217 | 22363713.5801 | 24104374.4386 | 25845035.297 | 27585696.1554 | 29326357.0139 | 31067017.8723 | 32807678.7307 | 34548339.5891 | 36289000.4476 | 38029661.306 | 39770322.1644 | 41510983.0228
accumulated discounted cashflow | 0 | -5354421.365 | -10222077.1513 | -8783514.4584 | -7475730.1921 | -6286835.4046 | -5206021.9614 | -4223464.2857 | -3330230.0352 | -2518198.8983 | -1779988.7738 | -1108888.6607 | -498797.6487 | 55830.544 | 560037.9918 | 1018408.399 | 1435108.7692 | 1813927.2875 | 2158307.7587 | 2471380.9143 | 2755992.874 | 3014731.0192 | 3249947.5148 | 3463780.6926 | 3658174.4906 | 3834896.1252 | 3995552.1566 | 4141603.0942 | 4274376.6739 | 4395079.9282 | 4504810.1593 | 4604564.9149 | 4695251.0563
PV of the projects benefits |  | 14917328.2077
PV of the investments |  | 10222077.1513
NPV | 4695251.0563 | 4695251.0563
IRR | 14.89% | 14.89%
PB |  | 8.1522
PI | 10.4588 | 1.4593
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Steam Boiler House savings on cost from heat energy on needs increase 10%
INDEX
| 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039
investment costs | 0 | -5354421.365 | 1: -5354421.365
operation cost
profit from heat energy selling to external consumers |  |  |  | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537
savings on costs from heat energy on own needs |  |  |  | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395 | 378894.2395
service water costs savings on site |  |  |  | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749
total cashflow 1 | 0 | -5354421.365 | -5354421.365 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421 | 1520411.9421
discounted cashflow | 0 | -5354421.365 | -4867655.7864 | 1256538.7951 | 1142307.9956 | 1038461.8142 | 944056.1947 | 858232.9043 | 780211.7311 | 709283.392 | 644803.0836 | 586184.6214 | 532895.1104 | 484450.1004 | 440409.1822 | 400371.9838 | 363974.5307 | 330885.937 | 300805.3973 | 273459.4521 | 248599.5019 | 225999.5472 | 205454.1338 | 186776.4853 | 169796.8048 | 154360.7316 | 140327.9378 | 127570.8526 | 115973.5023 | 105430.4567 | 95845.8697 | 87132.6088 | 79211.4626
accumulated cashflow | 0 | -5354421.365 | -10708842.73 | -9188430.7879 | -7668018.8458 | -6147606.9036 | -4627194.9615 | -3106783.0194 | -1586371.0773 | -65959.1352 | 1454452.8069 | 2974864.749 | 4495276.6911 | 6015688.6332 | 7536100.5753 | 9056512.5174 | 10576924.4595 | 12097336.4016 | 13617748.3437 | 15138160.2858 | 16658572.228 | 18178984.1701 | 19699396.1122 | 21219808.0543 | 22740219.9964 | 24260631.9385 | 25781043.8806 | 27301455.8227 | 28821867.7648 | 30342279.7069 | 31862691.649 | 33383103.5911 | 34903515.5332
accumulated discounted cashflow | 0 | -5354421.365 | -10222077.1513 | -8965538.3562 | -7823230.3606 | -6784768.5465 | -5840712.3518 | -4982479.4475 | -4202267.7164 | -3492984.3244 | -2848181.2408 | -2261996.6194 | -1729101.509 | -1244651.4086 | -804242.2265 | -403870.2427 | -39895.712 | 290990.225 | 591795.6223 | 865255.0744 | 1113854.5763 | 1339854.1234 | 1545308.2572 | 1732084.7425 | 1901881.5473 | 2056242.2789 | 2196570.2167 | 2324141.0693 | 2440114.5716 | 2545545.0283 | 2641390.898 | 2728523.5069 | 2807734.9694
PV of the projects benefits |  | 13029812.1208
PV of the investments |  | 10222077.1513
NPV | 2807734.9694 | 2807734.9694
IRR | 12.99% | 12.99%
PB | 11.1 | 9.0434
PI | 9.9547 | 1.2747
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Steam Boiler House production cost of heat energy increase 10%
INDEX
| 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039
investment costs | 0 | -5354421.365 | 1: -5354421.365
operation cost
profit from heat energy selling to external consumers |  |  |  | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019 | 898778.2019
savings on costs from heat energy on own needs |  |  |  | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445 | 287300.1445
service water costs savings on site |  |  |  | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749 | 92906.749
total cashflow 1 | 0 | -5354421.365 | -5354421.365 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953 | 1278985.0953
discounted cashflow | 0 | -5354421.365 | -4867655.7864 | 1057012.4755 | 960920.4323 | 873564.0293 | 794149.1176 | 721953.7432 | 656321.5848 | 596655.9862 | 542414.5329 | 493104.1208 | 448276.4734 | 407524.0668 | 370476.4243 | 336796.7494 | 306178.8631 | 278344.421 | 253040.3827 | 230036.7116 | 209124.2832 | 190112.9848 | 172829.9861 | 157118.1692 | 142834.6993 | 129849.7266 | 118045.206 | 107313.8237 | 97558.0215 | 88689.1105 | 80626.4641 | 73296.7855 | 66633.4414
accumulated cashflow | 0 | -5354421.365 | -10708842.73 | -9429857.6346 | -8150872.5393 | -6871887.444 | -5592902.3486 | -4313917.2533 | -3034932.1579 | -1755947.0626 | -476961.9673 | 802023.1281 | 2081008.2234 | 3359993.3188 | 4638978.4141 | 5917963.5094 | 7196948.6048 | 8475933.7001 | 9754918.7954 | 11033903.8908 | 12312888.9861 | 13591874.0815 | 14870859.1768 | 16149844.2721 | 17428829.3675 | 18707814.4628 | 19986799.5581 | 21265784.6535 | 22544769.7488 | 23823754.8442 | 25102739.9395 | 26381725.0348 | 27660710.1302
accumulated discounted cashflow | 0 | -5354421.365 | -10222077.1513 | -9165064.6758 | -8204144.2436 | -7330580.2143 | -6536431.0967 | -5814477.3534 | -5158155.7687 | -4561499.7825 | -4019085.2497 | -3525981.1289 | -3077704.6554 | -2670180.5887 | -2299704.1643 | -1962907.4149 | -1656728.5518 | -1378384.1309 | -1125343.7481 | -895307.0366 | -686182.7533 | -496069.7686 | -323239.7824 | -166121.6132 | -23286.9139 | 106562.8127 | 224608.0187 | 331921.8424 | 429479.8639 | 518168.9744 | 598795.4384 | 672092.2239 | 738725.6653
PV of the projects benefits |  | 10960802.8166
PV of the investments |  | 10222077.1513
NPV | 738725.6653 | 738725.6653
IRR | 10.81% | 10.81%
PB |  | 10.3729
PI | 13.6815 | 1.0723
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Steam Boiler House
INDEX
ПОКАЗАТЕЛЬ | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039
investment costs/капитальные затраты Steam Boiler House | 0 | -5354421.365 | 1: -5354421.365
operation cost/операционные затраты
profit from heat energy selling to external consumers/прибыль от продажи пара внешним потребителям |  |  |  | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537 | 1048610.9537
savings on costs from heat energy on own needs/экономия затрат на поизводство тепловой энергии на собственные нужды |  |  |  | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086 | 344449.3086
total cashflow 1/сведенный денежный поток 1 | 0 | -5354421.365 | -5354421.365 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623 | 1393060.2623
discounted cashflow/дисконтированный денежный поток | 0 | -5354421.365 | -4867655.7864 | 1151289.473 | 1046626.7936 | 951478.9033 | 864980.8212 | 786346.2011 | 714860.1828 | 649872.8934 | 590793.5395 | 537085.0359 | 488259.1235 | 443871.9305 | 403519.9368 | 366836.3062 | 333487.5511 | 303170.501 | 275609.5463 | 250554.133 | 227776.4846 | 207069.5314 | 188245.0286 | 171131.8442 | 155574.4038 | 141431.2762 | 128573.8874 | 116885.3522 | 106259.4111 | 96599.4646 | 87817.6951 | 79834.2683 | 72576.6075
accumulated cashflow/аккумулированный денежный поток | 0 | -5354421.365 | -10708842.73 | -9315782.4677 | -7922722.2054 | -6529661.9431 | -5136601.6808 | -3743541.4185 | -2350481.1563 | -957420.894 | 435639.3683 | 1828699.6306 | 3221759.8929 | 4614820.1552 | 6007880.4174 | 7400940.6797 | 8794000.942 | 10187061.2043 | 11580121.4666 | 12973181.7289 | 14366241.9912 | 15759302.2534 | 17152362.5157 | 18545422.778 | 19938483.0403 | 21331543.3026 | 22724603.5649 | 24117663.8272 | 25510724.0894 | 26903784.3517 | 28296844.614 | 29689904.8763 | 31082965.1386
accumulated discounted cashflow/аккумулированный дисконтированный денежный поток | 0 | -5354421.365 | -10222077.1513 | -9070787.6784 | -8024160.8848 | -7072681.9815 | -6207701.1603 | -5421354.9593 | -4706494.7765 | -4056621.8831 | -3465828.3436 | -2928743.3077 | -2440484.1842 | -1996612.2537 | -1593092.3169 | -1226256.0107 | -892768.4596 | -589597.9586 | -313988.4122 | -63434.2792 | 164342.2054 | 371411.7368 | 559656.7654 | 730788.6096 | 886363.0134 | 1027794.2895 | 1156368.177 | 1273253.5292 | 1379512.9403 | 1476112.4049 | 1563930.1 | 1643764.3683 | 1716340.9759
NPV | 1716340.9759 | 1716340.9759
IRR | 11.85% | 11.85%
PB/срок окупаемости | 7.8023 | 8.8023
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31