# Determination Report

JSC “Surgutneftegas”

Determination of the

Report No. RUSSIA-det/0240/2012

Revision No. 01

Construction of gas piston power plants for utilization of associated petroleum gas at oilfields developed by OJSC “Surgutneftegas” in Khanty-Mansiysk Autonomous Okrug

BUREAU VERITAS CERTIFICATION

| Date of first issue: | Organizational unit: |
| --- | --- |
| 13/04/2012 | Bureau Veritas Certification Holding SAS |
| Client: | Client ref.: |
| Gazprom Marketing & Trading Limited (GM&T) | Julia Elmgren |
| Summary: |
| Bureau Veritas Certification has made the “Construction of gas piston power plants for utilization of associated petroleum gas at oilfields developed by OJSC “Surgutneftegas” in Khanty-Mansiysk Autonomous Okrug” project of JSC«Surgutneftegas” located in Khanty-Mansiysk Autonomous Okrug, Russian Federation on the basis of UNFCCC criteria for the JI, as well as criteria given to provide for consistent project operations, monitoring and reporting. UNFCCC criteria refer to Article 6 of the Kyoto Protocol, the JI rules and modalities and the subsequent decisions by the JI Supervisory Committee, as well as the host country criteria. The determination scope is defined as an independent and objective review of the project design document, the project’s baseline study, monitoring plan and other relevant documents, and consisted of the following three phases: i) desk review of the project design and the baseline and monitoring plan; ii) follow-up on-site interviews with project stakeholders; iii) resolution of outstanding issues and the issuance of the final determination report and opinion. The overall determination, from Contract Review to Determination Report & Opinion, was conducted using Bureau Veritas Certification internal procedures. The first output of the determination process is a list of Corrective Actions Requests (CAR) and Clarification Requests (CL), presented in Appendix A. Taking into account this output, the project proponent revised its project design document. In summary, it is Bureau Veritas Certification’s opinion that the project correctly applies Guidance on criteria for baseline setting and monitoring and meets the relevant UNFCCC requirements for the JI and the relevant host country criteria. |
| Report No.: | Subject Group: |  | No distribution without permission from the Client or responsible organizational unit |
| RUSSIA-det/0240/2011 | JI |  |  |
| Project title: |  |  |
| Construction of gas piston power plants for utilization of associated petroleum gas at oilfields developed by OJSC “Surgutneftegas” in Khanty-Mansiysk Autonomous Okrug |  | Limited distribution |
| Work carried out by: |  |  |
| Daniil Ukhanov – Team Leader, Lead Verifier Elena Mazlova - Specialist |  | Unrestricted distribution |
| Work verified by: |  |  |
| Leonid Yaskin – Internal Technical Reviewer |  |
| Work approved by: |  |
| Leonid Yaskin – Operational Manager |
| Date of this revision: | Rev. No.: | Number of pages: |
| 13/04/2014 | 01 | 48 |

Abbreviations

| AIE | Accredited Independent Entity |
| --- | --- |
| BVC | Bureau Veritas Certification |
| CAR | Corrective Action Request |
| CL | Clarification Request |
| CO2 | Carbon Dioxide |
| DDR | Draft Determination Report |
| EIA | Environmental Impact Assessment |
| ERU | Emission Reduction Unit |
| GHG | Greenhouse House Gas(es) |
| GM&T | Gazprom Marketing & Trading Limited |
| GPPP | Gas Piston Power Plant |
| JI | Joint Implementation |
| JISC | Joint Implementation Supervisory Committee |
| PDD | Project Design Document |
| JSC | Joint Stock Company |
| PP | Project Participant |
| RF | Russian Federation |
| SNG | JSC “Surgutneftegas” |
| tCO2e | Tonnes CO2 equivalent |
| UNFCCC | United Nations Framework Convention for Climate Change |

Table of Contents	Page

1	Introduction	4

1.1	Objective	4

1.2	Scope	4

1.3	Determination team	4

2	Methodology	5

2.1	Review of Documents	5

2.2	Follow-up Interviews	6

2.3	Resolution of Clarification and Corrective Action Requests	6

3	project description	7

4	Determination conclusions	9

4.1	Project approvals by Parties involved (19-20)	10

4.2	Authorization of project participants by Parties involved (21)	10

4.3	Baseline setting (22-26)	10

4.4	Additionality (27-31)	11

4.5	Project boundary (32-33)	12

4.6	Crediting period (34)	12

4.7	Monitoring plan (35-39)	13

4.8	Leakage (40-41)	14

4.9	Estimation of emission reductions or enhancements of net

removals(42-47)	14

4.10	Environmental impacts (48)	15

4.11	Stakeholder consultation (49)	15

4.12	Determination regarding small scale projects (50-57)	15

4.13	Determination regarding land use, land-use change and forestry (LULUCF) projects (58-64)	15

4.14	Determination regarding programmes of activities (65-73)	15

5	SUMMARY and report oF how due accouNt was taken of COMMENTS RECEIVED PURSUANT TO PARAGRAPH 32 OF THE JI GUIDELINES	16

6	DETERMINATION opinion	16

7	references	17

DETERMINATION PROTOCOL	18

# INTRODUCTION

Gazprom Marketing & Trading Limited (hereafter referred as ‘GM&T’) has commissioned Bureau Veritas Certification to determine JSC «Construction of gas piston power plants for utilization of associated petroleum gas at oilfields developed by OJSC «Surgutneftegas» in Khanty-Mansiysk Autonomous Okrug» project of JSC «Surgutneftegas» (hereafter referred ‘the project’) located in Khanty-Mansiysk Autonomous Okrug, Russian Federation.

This report summarizes the findings of the determination of the project, performed on the basis of UNFCCC criteria, as well as criteria given to provide for consistent project operations, monitoring and reporting.

## Objective

The determination serves as project design verification and is a requirement of all projects. The determination is an independent third party assessment of the project design. In particular, the project's baseline, the monitoring plan (MP), and the project’s compliance with relevant UNFCCC and host country criteria are determined in order to confirm that the project design, as documented, is sound and reasonable, and meets the stated requirements and identified criteria. Determination is seen necessary to provide assurance to stakeholders of the quality of the project and its intended generation of emissions reductions units (ERUs).

UNFCCC criteria refer to Article 6 of the Kyoto Protocol, the JI rules and modalities and the subsequent decisions by the JI Supervisory Committee, as well as the host country criteria.

## Scope

The determination scope is defined as an independent and objective review of the project design document, the project’s baseline study and monitoring plan and other relevant documents. The information in these documents is reviewed against Kyoto Protocol requirements, UNFCCC rules and associated interpretations.

The determination is not meant to provide any consulting towards the Client. However, stated requests for clarifications and/or corrective actions may provide input for improvement of the project design.

## Determination team

The determination team consists of the following personnel:

Daniil Ukhanov

Bureau Veritas Certification 	Team Leader, Climate Change Lead Verifier

Elena Mazlova

Bureau Veritas Certification Specialist

This determination report was reviewed by:

Leonid Yaskin

Bureau Veritas Certification,	Internal reviewer

# Methodology

The overall determination, from Contract Review to Determination Report & Opinion, was conducted using Bureau Veritas Certification internal procedures.

In order to ensure transparency, a determination protocol was customized for the project, according to the version 01 of the Joint Implementation Determination and Verification Manual, issued by the Joint Implementation Supervisory Committee at its 19 meeting on 04/12/2009. The protocol shows, in a transparent manner, criteria (requirements), means of determination and the results from determining the identified criteria. The determination protocol serves the following purposes:

- It organizes, details and clarifies the requirements a JI project is expected to meet;

- It ensures a transparent determination process where the determiner will document how a particular requirement has been determined and the result of the determination.

The completed determination protocol is enclosed in Appendix A to this report.

## Review of Documents

The original Project Design Document (PDD) v.1.0 dated 29/02/2012 submitted by GM&T for determination and additional background documents related to the project design and baseline, i.e. country Law, Guidelines for users of the joint implementation project design document form, Guidance on criteria for baseline setting and monitoring, Kyoto Protocol to be checked by an Accredited Independent Entity were reviewed and corrective action requests were reported.

To address Bureau Veritas Certification corrective action requests, GM&T revised the original PDD and resubmitted it as v.1.1 on 28/03/2012 followed by v.1.2 dated 11/04/2012.

The determination findings presented in this report relate to the project as described in the PDD versions 1.0, 1.1, and 1.2.

## Follow-up Interviews

On 11/04/2012 Bureau Veritas Certification performed off-site interview with project stakeholders to confirm selected information and to resolve issues identified in the document review. GM&T representative was interviewed (see References) as he has necessary authorization to represent OJSC Surgutneftegas in accordance with /4/. The main topics of the interviews are summarized in Table 1.

Table 1   Interview topics

| Interviewed organization | Interview topics |
| --- | --- |
| Project participants: Surgutneftegas GM&T | The project history; status of the projects as on today. Documented evidence of prior consideration. License agreements. Alternatives for selecting baseline. Commissioning dates. Investments in the project with breakdown by items. Primary data on electric energy production and APG consumption. Organizational and management system for emission monitoring. Monitoring procedures and equipment. Air Emissions Permits and Environment Impact Assessment. Familiarization with GTPP on oil fields. |

## Resolution of Clarification and Corrective Action Requests

If Bureau Veritas Certification, in assessing the PDD and supporting documents, identifies issues that need to be corrected, clarified or improved with regard to JI project requirements, it should raise these issues and inform the project participants of these issues in the form of:

- Corrective action request (CAR), requesting the project participants to correct a mistake in the published PDD that is not in accordance with the (technical) process used for the project or relevant JI project requirement or that shows any other logical flaw;

- Clarification request (CL), requesting the project participants to provide additional information for Bureau Veritas Certification to assess compliance with the JI project requirement in question;

- Forward action request (FAR), informing the project participants of an issue, relating to project implementation but not project design, that needs to be reviewed during the first verification of the project.

Bureau Veritas Certification should make an objective assessment as to whether the actions taken by the project participants, if any, satisfactorily resolve the issues raised, if any, and should conclude its findings of the determination.

To guarantee the transparency of the determination process, the concerns raised are documented in more detail in the determination protocol in Appendix A.

# Project Description (quoted from PDD v.1.2)

Brief description of the project

The project involves the construction of 6 gas piston power plants (hereinafter GPPP) near oilfields developed by OJSC “Surgutneftegas” in the Khanty-Mansiysk Autonomous Okrug, Russian Federation. Associated petroleum gas is used as a fuel at the GPPPs. The project allows OJSC “Surgutneftegas” to avoid flaring of associated petroleum gas (hereinafter APG) by utilizing it for the purposes of electricity generation.

Purpose of the project

The main purposes of the project are:

- Increasing of the APG utilization level;

- Covering on-site power demand of oilfields developed by OJSC “Surgutneftegas” with own-generated electricity;

- Improving the environmental situation near the oilfields;

- Reducing greenhouse gas (GHG) emissions.

Situation existing prior to the starting date of the project

APG

Prior to the project implementation associated petroleum gas was burned mainly in flares. Only small quantities of APG were used for internal needs. APG was flared under suboptimal conditions, i.e. part of APG was not oxidized and was released into the atmosphere (also known as soot flaring). At the time of decision making to implement the project, APG flaring was common practice at oilfields in Russia.

Electricity

Prior to the project implementation the on-site power demand of OJSC “Surgutneftegas” oilfields was covered only by electricity from the external power grid of Integrated Power System “Urals” (hereinafter  IPS “Urals”).

Baseline scenario

The baseline scenario can be described as follows; in the absence of the project, APG consumed by all GPPPs would be flared. On-site power demand of the OJSC “Surgutneftegas” oilfields would be supplied by electricity from the IPS “Urals” grid.

The baseline scenario also includes fugitive methane emissions due to incomplete combustion of APG in flares. This is due to the flare combustion efficiency, which is lower than combustion in piston engines.  This means that not all methane in the APG will be converted into CO2, and thus is released to the atmosphere uncombusted.

Expected results of the project:

- Coverage of Surgutneftegas power needs by own generated electricity;

- Reduction of electricity consumption from the power grid by 217 ths. MWh/year;

- Increase of APG utilization level;

- Environmental conditions near flares will be improved

- Mitigation of negative environmental impacts, including reduction of GHG emissions by average 135,831 tonnes of СО2/year.

Project scenario

Under the project scenario, six GPPPs with the total installed capacity of 35.9 MW are installed. The GPPPs are fuelled with APG from oilfields developed by OJSC “Surgutneftegas.  The GPPPs are designed to cover on-site power demand of these oilfields. Implementation of the project will lead to significant increase of APG utilization and reduction of power supply from Integrated Power System (IPS) “Urals” grid. IPS “Urals” is one of six IPS in the Unified Power System of the Russian Federation.

Brief history of the Project (including its JI component)

In late 2001 OJSC “Surgutneftegas” started implementation of GTPP construction project which was implemented with involvement of Kyoto Mechanisms. Considering opportunities to enhance financial attractiveness of GPPPs construction OJSC “Surgutneftegas” appealed to the Marrakesh accords which underlined mechanisms of Joint Implementation. By the time of the decision making Yukos Oil Company already started implementation of APG utilization project which intended to sell a part of emission reductions to Japan. As a result OJSC “Surgutneftegas” took into account possibility of JI revenues prior to the project implementation. As no legislative acts or regulation regarding JI mechanisms existed at the time in Russia no special JI consideration protocols or acts were created.

In 2005 the completed project design developed by “SurgutNIPIneft” was received for the first GPPP located at Vostochno-Elovoe oilfield, project designs for the remaining GPPPs were completed in 2006 and 2007 respectively. All GPPPs received all necessary state approvals (Glavgosexpertiza). Construction and commissioning of the first GPPP were completed in March 2006 and the last in September 2009 as evidenced by the Construction Completion Act.

In early 2010 when regulatory regime became more transparent and Sberbank announced the first contest for host-country JI project approval, OJSC “Surgutneftegas” and Gazprom Marketing & Trading Ltd. (GM&T) started cooperation on commercializing of carbon credits generated by the company’s APG utilization JI projects. 26th July 2011 OJSC “Surgutneftegas” and Gazprom Marketing & Trading Ltd. (GM&T) concluded an Emission Reduction Purchase Agreement and commenced development of Project Design Documentation on this project titled “Construction of gas piston power plants for utilization of associated petroleum gas at oilfields developed by Surgutneftegas in Khanty-Mansiysk Autonomous Okrug”.

# Determination conclusions

In the following sections, the conclusions of the determination are stated.

The findings from the desk review of the original project design documents and the findings from interviews during the follow up communications are described in the Determination Protocol in Appendix A.

The Corrective Action Requests are stated, where appropriate, in the following sections and are further documented in the Determination Protocol in Appendix A. The determination of the Project resulted in 12 Corrective Action Requests and 2 Clarification Requests.

The number between brackets at the end of each section corresponds to the DVM paragraph.

Outstanding issues related to general description to the project, PP’s response and the AIE conclusion are summarized in Appendix A (refer to CAR 01 and CAR 02).

The issued CARs concern:

CAR 01 – the titles of project participants in Table A.3;

CAR 02 – the justification of power generation values.

## Project approvals by Parties involved (19-20)

The project has no approval by the Parties involved – Russian Federation (Host) and United Kingdom. This was reported in CAR 03 which remains pending.

## Authorization of project participants by Parties involved (21)

The participation of JSC “Surgutneftegas” and GM&T listed as project participant in the PDD is not authorized by the Parties involved yet.

The authorization is deemed to be carried out through the issuance of the project approval.

## Baseline setting (22-26)

PDD explicitly indicates that using a methodology for baseline setting and monitoring developed in accordance with appendix B of the JI guidelines (hereinafter referred to as JI specific approach) was the selected approach for identifying the baseline.

JI specific approach

PDD provides a detailed theoretical description in a complete and transparent manner, as well as justification, that the baseline is established:

- By listing and describing future scenarios available for the project owner JSC «Surgutneftegas» and selecting the most plausible. Seven alternative scenarios (AS) were listed and described as follows:

AS1: Continuation of gas flaring in flare units and purchasing electricity from the power grid;

AS2: Construction of APG fuelled Gas Piston Power Plants;

AS3: Transportation and sale of APG to end users and purchasing electricity from the power grid;

AS4: Processing of APG at APG processing plant and purchasing electricity from the power grid;

AS5: Construction of a new APG processing plant and purchasing electricity from the power grid;

AS6: Injection of APG into oil wells and purchasing electricity from the power grid;

AS7: Implementation of the project without involving of JI mechanism.

Based on the AS analysis taking into account the results of the investment analysis of AS2 presented in Section B.2, a conclusion is made that AS1 is the most plausible alternative for all GPPPs.

- Taking into account sectoral reform initiatives, local fuel availability, the economic situation in the project sector, availability of capital for the implementation of alternatives, local availability of technologies and techniques, skills and know-how regarding alternatives.

- In a transparent manner with regard to the choice of the JI specific approach and related methodologies (one by NII Atmosphere), assumptions, parameters, data sources and key factors for baseline setting, which are listed in tabular format in Section B.1 and summarized in Annex 2.

- Taking into account of the uncertainty and using a conservative assumption with regard to the multi-project electricity grid emission factor.

- In such a way that ERUs cannot be earned for decreases in activity levels outside the project or due to force majeure.

- By drawing on the list of standard variables contained in appendix B to “Guidance on criteria for baseline setting and monitoring”.

Outstanding issues related to Baseline setting (22-26), PP’s response and the AIE conclusion are summarized in Appendix A (refer to CAR 04 – CAR 10 and CL 01).

The issued CARs and CL concern:

CAR 04 – the theoretical description of the used approach;

CAR 05 – the loading of Surgut Gas Processing Plant;

CAR 06 – the statement concerning the APG processing plants;

CAR 07 – the description of baseline;

CAR 08 – the volumetric fraction of hydrocarbon of type h;

CAR 09 – the condition of “soot firing”;

CAR 10 – the power losses in the external grid;

CL 01 – the justification of values of power losses.

## Additionality (27-31)

It is explicitly indicated that the version 05.2 of the CDM “Tool for the demonstration and assessment of additionality” was used.

To prove additionality investment analysis of the project activity without JI registration and common practice analysis were applied.

Investment analysis is performed in terms of calculation of the project IRR and comparing it with the benchmark which was justified equal 15%.  The calculation showed that for the used input data and without JI registration the project IRR is below the discount rate, to wit the project is not financially attractive.

The sensitivity analysis of ±10% changes of key variables confirmed that the conclusion regarding the financial non-attractiveness is robust to reasonable variations in the critical assumptions

The project activity is asserted to have been not the common practice in the Khanty-Mansiysk Autonomous Okrug. Similar activities were implemented as JI projects.

Outstanding issues related to Additionality (27-31), PP’s response and the AIE conclusion are summarized in Appendix A (refer to CAR 11).

The issued CAR concerns: input data for the investment analysis (CAR 11).

## Project boundary (32-33)

JI specific approach

The project boundary encompasses all anthropogenic emissions by sources of greenhouse gases  as listed in Table B.3-1 which are:(i) under the control of the project participants; (ii) reasonably attributable to the project; and (iii)  significant.

The delineation of the project boundary and the gases and sources included are appropriately described and justified in the PDD. CO2 emissions from the power plants of the electricity grid “Ural” and CH4 emissions from the incomplete oxidation of methane at APG combustion in flares are the two sources of baseline emissions. The only source of project emissions is the full oxidation of the amount of the hydrocarbons which was not burnt at flaring. CO2 emissions from APG flaring are balanced with the same at APG combustion in gas turbines.

Based on the assessment of the project documentation, the AIE hereby confirms that the identified boundary and the selected sources and gases are justified for the project activity.

## Crediting period (34)

The PDD reports the starting date of the project as 15/03/2005 being the date of the contract signing for supply the equipment for the first GPPP at – Vostochno-Elovoe oilfield.

The PDD states the expected operational lifetime of the project in years and months, which is 15 years or 180 months, as defined by the life cycle of gas piston engines.

The PDD states the length of the crediting period in years and months, which is 5 years/60 months, and its starting date as 01/01/2008, which is after the date the first emission reductions or enhancements of net removals are generated by the project.

## Monitoring plan (35-39)

The PDD, in its monitoring plan section, explicitly indicates that JI specific approach was the selected approach.

JI specific approach

The monitoring plan adequately specifies the indicators, constants and variables used that are reliable, valid and provide transparent picture of the emission reductions to be monitored.

The monitoring plan describes:

- data to be monitored: continuously volume of associated petroleum gas consumed by GPPP i in a year y, annual power output by GPPP i in a year y, volume of associated petroleum gas consumed by GPPP i in a year y; annually volumetric fraction of hydrocarbon of type h in associated petroleum gas consumed by GPPP i in a year y.

- the period in which they will be monitored: continuously or annually;

- formulae for estimation of project and baseline emissions;

- all decisive factors for the control and reporting of project performance:   2tp statistics forms; quality control (QC) and quality assurance (QA) procedures; the operational and management structure that will be applied in implementing the monitoring plan.

The monitoring plan draws on the list of standard variables contained in appendix B of “Guidance on criteria for baseline setting and monitoring” developed by the JISC, as appropriate (project and baseline emissions and their components, and relevant emission factors).

The monitoring plan explicitly and clearly distinguishes:

- Data and parameters that are not monitored throughout the crediting period, but are determined only once (and thus remain fixed throughout the crediting period), and that are available already at the stage of determination, such as grid emission factor, methane density at standard conditions, GWP for methane;

- Data and parameters that are not monitored throughout the crediting period, but are determined only once (and thus remain fixed throughout the crediting period), but that are not already available at the stage of determination, such as underburning factor for flaring;

- Data and parameters that are monitored throughout the crediting period (please see above).

The monitoring plan describes the method employed for data monitoring including its frequency and recording, namely the gas measuring system for monitoring APG consumption, electric meters for monitoring electric energy supply, and chromatograph for measuring APG composition.

The monitoring plan outlines the quality assurance and control procedures for the monitoring process.

The monitoring plan clearly identifies the responsibilities and the authority regarding the monitoring activities. Responsibilities concern inter alia data collection, data storing and archiving estimation of emission reduction, and monitoring report preparation and approval.

On the whole, the monitoring report reflects good monitoring practices appropriate to the project type.

## Leakage (40-41)

JI specific approach

Leakage conservatively equals zero.

Outstanding issues related to Leakage (40-41), PP’s response and the AIE conclusion are summarized in Appendix A (refer to CAR 12).

The issued CAR concerns: potential leakage assessment (CAR 12).

## Estimation of emission reductions or enhancements of net removals (42-47)

JI specific approach

The PDD indicates the assessment of emissions in the baseline scenario and in the project scenario as the approach chosen to estimate the emission reductions generated by the project.

The PDD provides the ex ante estimates of emission reductions from the project (within the project boundary), which are 679,153 tCO2e for the crediting period;

The estimates referred to above are given:

(a)  On an annual basis;

(b)  From 01/01/2008 to 31/12/2012 covering the whole fist crediting period;

(c)  On a source-by-source basis;

(d)  For CO2 and CH4 as GHG emitted.

(e)  In tonnes of CO2 equivalent, using global warming potentials defined by decision 2/CP.3.

The formulae used for calculating the estimates referred above, which are Formulae in Sections D.1.1.2, D.1.1.4 and D.1.4 are consistent throughout the PDD.

For calculating the estimates referred to above, key factors defined in the monitoring plan influencing the project and baseline emissions were taken into account, as appropriate.

The estimation referred to above is based on conservative assumptions and the most plausible scenario in a transparent manner.

The estimates referred to above are consistent throughout the PDD.

The PDD Section E includes an illustrative ex ante emissions calculation.

## Environmental impacts (48)

PDD provides exact references to the documentation on the environmental impacts of each project GTPP including: environmental impact assessments (parts of the project design, OVOS), state environmental expertise conclusions, state expertise conclusions, permits for air emissions.

## Stakeholder consultation (49)

Russian legislation does not require local stakeholder consultation. No negative responses to a publication in the local daily newspaper were received.

Outstanding issues related to Leakage (40-41), PP’s response and the AIE conclusion are summarized in Appendix A (refer to CL 02).

The issued CAR concerns: public hearings (CL 02).

## Determination regarding small scale projects (50-57) (Not applicable)

## Determination regarding land use, land-use change and forestry (LULUCF) projects (58-64) (Not applicable)

## Determination regarding programmes of activities (65-73) (Not applicable)

# SUMMARY and report oF how due accouNt was taken of COMMENTS RECEIVED PURSUANT TO PARAGRAPH 32 OF THE JI GUIDELINES

No comments, pursuant to paragraph 32 of the JI Guidelines, were received.

# DETERMINATION opinion

Bureau Veritas Certification has performed a determination of the «Construction of gas piston power plants for utilization of associated petroleum gas at oilfields developed by OJSC «Surgutneftegas» in Khanty-Mansiysk Autonomous Okrug» project. The determination was performed on the basis of UNFCCC criteria and host country criteria and also on the criteria given to provide for consistent project operations, monitoring and reporting.

The determination consisted of the following three phases: i) a desk review of the project design and the baseline and monitoring plan; ii) follow-up on-site interviews with project participants; iii) the resolution of outstanding issues and the issuance of the final determination report and opinion.

Using investment analysis and common practice analysis the project participants proved that the project activity itself is not the baseline scenario.

Emission reductions attributable to the project are hence additional to any that would occur in the absence of the project activity. Given that the project is implemented and maintained as designed, the project is likely to achieve the estimated amount of emission reductions.

The review of the project design documentation and the subsequent follow-up interviews have provided Bureau Veritas Certification with sufficient evidence to determine the fulfillment of stated criteria.

The determination revealed two pending issues related to the current determination stage of the project: the issue of the written approval of the project and the authorization of the project participant by the host Party.  If the written approval and the authorization by the host Party are awarded, it is our opinion that the project as described in the Project Design Document, Version 1.2 meets all the relevant UNFCCC requirements for the determination stage and the relevant host Party criteria.

The determination is based on the information made available to us and the engagement conditions detailed in this report.

# references

# Category 1 Documents:

Documents provided by GM&T that relate directly to the GHG components of the project.

|  | PDD “Construction of gas piston power plants for utilization of associated petroleum gas at oilfields developed by OJSC “Surgutneftegas” in Khanty-Mansiysk Autonomous Okrug” project of JSC«Surgutneftegas”, Versions 1.0, 1.1, 1.2. Supporting documentation: SNG_ER_model_v_1_2 Investment analysis GPPP_v.1.1 |
| --- | --- |

# Category 2 Documents:

# Background documents related to the design and/or methodologies employed in the design or other reference documents.

|  | JI Guidelines; |
| --- | --- |
|  | Guidelines for Users of the JI PDD Form (Version 04), JISC; |
|  | Guidance on criteria for baseline setting and monitoring (Version 02), JISC; |
|  | Certificate from OJSC Surgutneftegas dd. 30.03.2012 #01-61-02-29-599; |
|  | Note on training of GPPPs staff; |
|  | Note on economical parameters from OJSC Surgutneftegas; |
|  | Note on flaring efficiency for gas flaring units of OJSC Surgutneftegas; |
|  | Production data of OJSC Surgutneftegas oilfields; |
|  | Technical requirements of GPPP for Vatlor oilfield; |
|  | Acts of associated petroleum gas composition measurements for six oilfields in 2008-2011; |
|  | Federal Law #174 “on ecological expertise”. |

# Persons interviewed:

# List persons interviewed during the determination or persons that contributed with other information that are not included in the documents listed above.

|  | G. Berdin – GM&T, Carbon Project Manager, Russia. |
| --- | --- |

Please do not delete the Bookmark named “numPages” on this last page in the report.

# Appendix A

# DETERMINATION PROTOCOL

# Table 1

# Check list for determination, according JOINT IMPLEMENTATION DETERMINATION AND VERIFICATION MANUAL (Version 01)

| DVM Paragraph | Check Item | Initial finding | Draft Conclusion | Final Conclusion |
| --- | --- | --- | --- | --- |
| General description of the project |
| Title of the project |
| - | Is the title of the project presented? | The title of the project is: “Construction of gas piston power plants for utilization of associated petroleum gas at oilfields developed by OJSC “Surgutneftegas” in Khanty-Mansiysk Autonomous Okrug”. |  | OK |
| - | Is the sectoral scope to which the project pertains presented? | The sectoral scopes are: (1) Energy industries (renewable/non-renewable sources), (10) Fugitive emissions from fuels (solid, oil and gas). |  | OK |
| - | Is the current version number of the document presented? | PDD Version 1.0. |  | OK |
| - | Is the date when the document was completed presented? | PDD dated 29/02/2012. |  | OK |
| Description of the project |
| - | Is the purpose of the project included with a concise, summarizing explanation (max. 1-2 pages) of the: a) Situation existing prior to the starting date of the project; b) Baseline scenario; and c) Project scenario (expected outcome, including a technical description)? | PDD Section A.2 defines the main purposes of the project as follows: Increasing of the APG utilization level; Covering on-site power demand of “Surgutneftegas” oilfields with own-generated electricity; Improving the environmental near the oilfields; Reducing greenhouse gas (GHG) emissions. Requirements a), b), c) to the content of Section A.2 are met. |  | OK |
| - | Is the history of the project (incl. its JI component) briefly summarized? | The history of the project (incl. its JI component) is briefly summarized. |  | OK |
| Project participants |
| - | Are project participants and Party(ies) involved in the project listed? | Party(ies) and project participants involved in the project are listed as follows: Party A the Russian Federation and its legal entity Open Joint Stock Company “Surgutneftegas”; Party B UK and its legal entity “Gazprom Marketing&Trading Ltd”. |  | OK |
| - | Is the data of the project participants presented in tabular format? | The data of the project participants are presented in due tabular format. |  | OK |
| - | Is contact information provided in Annex 1 of the PDD? | Contact information is provided in Annex 1 of the PDD. CAR 01. The titles of project participants in Table A.3 and Annex 1 should not differ. Please correct. | CAR 01 | OK |
| - | Is it indicated, if it is the case, if the Party involved is a host Party? | Russian Federation is indicated as Host Party. |  | OK |
| Technical description of the project |
| Location of the project |
| - | Host Party(ies) | Russian Federation. |  | OK |
| - | Region/State/Province etc. | Tyumen Region, Khanty-Mansiysk Autonomous Okrug. |  | OK |
| - | City/Town/Community etc. | Surgut city. |  | OK |
| - | Detail of the physical location, including information allowing the unique identification of the project. (This section should not exceed one page) | Description of the physical locations of GPPPs is indicated in the Table A.4.1.4-1. the provided geographical coordinates have been provided by OJSC Surgutneftegas. |  | OK |
| Technologies to be employed, or measures, operations or actions to be implemented by the project |
| - | Are the technology(ies) to be employed, or measures, operations or actions to be implemented by the project, including all relevant technical data and the implementation schedule described? | PDD Section A.4.3 provides relevant technical data of main equipment installed and actions to be implemented by the project as well as the project implementation schedule. CAR 02. Please provide to the AIE evidences of actual and forecasted power generation and APG consumption in 2008-2012 as well as acts of commissioning of GPPPs. | CAR 02 | OK |
| Brief explanation of how the anthropogenic emissions of greenhouse gases by sources are to be reduced by the proposed JI project, including why the emission reductions would not occur in the absence of the proposed project, taking into account national and/or sectoral policies and circumstances |
| - | Is it stated how anthropogenic GHG emission reductions are to be achieved? (This section should not exceed one page) | Section A.3 reasonably reads: “Overall, the project realization will lead to the reduction of the GHG emissions, out of which the primary ones are СО2 and CH4. Reduction of GHG emissions as a result of the project realization will occur due to: Substitution of electricity produced with fossil fuels combustion by the existing thermal power plants in power grid of Integrated Power System “Urals” by electricity produced by GTPPs running on associated petroleum gas with simultaneous reduction of APG flaring; Reduction of fugitive CH4 emissions from under burning of methane in flares”. |  | OK |
| - | Is it provided the estimation of emission reductions over the crediting period? | The estimation of emission reductions over the crediting period is provided. |  | OK |
| - | Is it provided the estimated annual reduction for the chosen credit period in tCO2e? | The estimated annual reduction for the chosen credit period is provided in tCO2e. |  | OK |
| - | Are the data from questions above presented in tabular format? | The data from questions above are presented in tabular format. Refer to Table A.4.3.1. |  | OK |
| Estimated amount of emission reductions over the crediting period |
| - | Is the length of the crediting period Indicated? | The length of the crediting period is indicated as 5 years. |  | OK |
| - | Are estimates of total as well as annual and average annual emission reductions in tonnes of CO2 equivalent provided? | Total as well as annual and average annual emission reductions in tonnes of CO2 equivalent are provided in accordance with the calculated values in the spreadsheet provided to the verifier. |  | OK |
| Project approvals by Parties |
| 19 | Have the DFPs of all Parties listed as “Parties involved” in the PDD provided written project approvals? | CAR 03. The project has no written approvals by the Parties involved. The project approval by the Host Party will be provided after approval of the project by the Host party. | CAR 03 | - |
| 19 | Does the PDD identify at least the host Party as a “Party involved”? | Host Party involved is the Russian Federation. |  | OK |
| 19 | Has the DFP of the host Party issued a written project approval? | Conclusion is pending a response to CAR 03. | Pending | - |
| 20 | Are all the written project approvals by Parties involved unconditional? | Yes, the written project approvals by Parties involved are unconditional. |  | OK |
| Authorization of project participants by Parties involved |
| 21 | Is each of the legal entities listed as project participants in the PDD authorized by a Party involved, which is also listed in the PDD, through: − A written project approval by a Party involved, explicitly indicating the name of the legal entity? or − Any other form of project participant authorization in writing, explicitly indicating the name of the legal entity? | The project participants OJSC “Surgutneftegas” and “Gazprom Marketing&Trading Ltd” will likely be authorized with the issue of the relevant project approvals. Conclusion is pending a response to CAR 03. | Pending | OK |
| Baseline setting |
| 22 | Does the PDD explicitly indicate which of the following approaches is used for identifying the baseline? − JI specific approach − Approved CDM methodology approach | It is explicitly indicated in the PDD Section B.1 that a JI specific approach is applied. |  | OK |
| JI specific approach only |
| 23 | Does the PDD provide a detailed theoretical description in a complete and transparent manner? | A detailed theoretical description is absent in Section B.1. Instead of it, after declaring of Option (a) choosing the approach is applied without any descriptions. CAR 04. Please provide a detailed theoretical description of the used approach in a complete and transparent manner. | CAR 04 | OK |
| 23 | Does the PDD provide justification that the baseline is established: (a) By listing and describing plausible future scenarios on the basis of conservative assumptions and selecting the most plausible one? (b) Taking into account relevant national and/or sectoral policies and circumstance? − Are key factors that affect a baseline taken into account? (c) In a transparent manner with regard to the choice of approaches, assumptions, methodologies, parameters, date sources and key factors? (d) Taking into account of uncertainties and using conservative assumptions? (e) In such a way that ERUs cannot be earned for decreases in activity levels outside the project or due to force majeure? (f) By drawing on the list of standard variables contained in appendix B to “Guidance on criteria for baseline setting and monitoring”, as appropriate? | Baseline is established: By listing and describing plausible future scenarios available for the project owner OJSC ”Surgutneftegas” and selecting the most plausible one. Seven alternative scenarios (AS) were listed as follows: AS1: Continuation of gas flaring in flare units and purchasing electricity from the power grid; AS2: Construction of APG fuelled Gas Turbine Power Plants; AS3: Transportation and sale of APG to end users and purchasing electricity from the power grid; AS4: Processing of APG at APG processing plant and purchasing electricity from the power grid; AS5: Construction of a new APG processing plant and purchasing electricity from the power grid; AS6: Injection of APG into oil wells and purchasing electricity from the power grid; AS7: Implementation of the project without JI registration. Based on the alternatives analysis taking into account the results of the investment analyses of AS7 presented in Section B.2, a conclusion is made that AS1 presents the most plausible baseline scenario. Taking into account relevant national and/or sectoral policies and circumstance regarding APG utilization (refer to Section B.2 Sub-steps 1b and 4a) as well as key factors that affect a baseline. In a basically transparent manner with regard to the choice of the JI specific approach and related assumptions, parameters, data sources and key factors for baseline setting, which are listed in tabular format in Section B.1 and summarized in Annex 2. N/A. In such a way that ERUs cannot be earned for decreases in activity levels outside the project or due to force majeure. By drawing on the list of standard variables contained in appendix B to “Guidance on criteria for baseline setting and monitoring”. CAR 05. Please justify the statement that Surgut Gas Processing Plant (SGPP) was 100% loaded starting from 2001 up to 2011. CAR 06. The statement “The most APG processing plants constructed in the same or border regiuons are implementing as Kyoto projects…” supported by reference is incorrect. All the referenced JI projects do not envisage constructing the APG processing plants. CAR 07. Please provide a detailed theoretical description of the baseline in a complete and transparent manner as required by Guidance for users of the JI PDD form, Section B.1, Step 1, a). CAR 08. Please justify the representativeness of ‘volumetric fraction of hydrocarbon of type h in associated petroleum gas consumed by GPPP i in a year y’ monitored once per year. Please take note: composition of associated petroleum gas changes considerably during the day and even an hour. Therefore, annual monitoring of this parameter lacks representativeness. Please also indicate which volumetric fraction of hydrocarbon of type h in APG consumed by GPPP i in a year y was indicated in the table of Section B.1. CAR 09. Please provide evidence that the baseline flares fall under condition of NII Atmosphere Methodology allowing consideration of “soot firing” with the underburning factor 0,035. CAR 10. The applied value of the power losses in the external power grid (12%) is incorrect, as this value means the part of electrical transmission losses occurred in IPS Ural compare with the total losses in all Russian grid. Please correct. CL 01. Please provide justifications for the values of power losses in the power network of OJSC “Surgutneftegas” for 2008 – 2012. | CAR 05 CAR 06 CAR 07 CAR 08 CAR 09 CAR 10 CL 01 | OK OK OK OK OK OK OK |
| 24 | If selected elements or combinations of approved CDM methodologies or methodological tools for baseline setting are used, are the selected elements or combinations together with the elements supplementary developed by the project participants in line with 23 above? | N/A |  | OK |
| 25 | If a multi-project emission factor is used, does the PDD provide appropriate justification? | The values of the grid emission factor for IPS Ural are taken from the EBRD study positively verified by Tuv Sud. It is observed that according to this study the Combined Margin (CM) of IPS Ural which is used for estimation of baseline emissions increases in 2009 -2012 from 0,576 to 0,649 tCO2/MWh due to increase of the Build Margin (BM) from 0,512 to 0,650 tCO2/MWh. This trend does not correspond to the planned capacity additions in IPS Ural in 2010-2012 on Combined Cycle Gas Turbine Power Plants with a low BM < 0,400 tCO2/MWh. In the study, addition of new coal fired power plants was probably considered in 2012 what is far from the reality. The AIE observes, however, that the average for 2008-2012 value of CM from the study will be 598 tCO2/MWh what is conservatively lower than the value 606 tCO2/MWh in the positively determined PDD of JI0216 “Installation of two CCGT-400 at Surgutskaya TPP-2, OGK-4, Tyumen area, Russia”. This is why the values of the URAL grid emission factor in the present PDD are deemed to be positively determined. |  | OK |
| Approved CDM methodology approach only_Paragraphs 26(a) – 26(d)_Not applicable |
| Additionality |
| JI specific approach only |
| 28 | Does the PDD indicate which of the following approaches for demonstrating additionality is used? (a) Provision of traceable and transparent information showing the baseline was identified on the basis of conservative assumptions, that the project scenario is not part of the identified baseline scenario and that the project will lead to emission reductions or enhancements of removals; (b) Provision of traceable and transparent information that an AIE has already positively determined that a comparable project (to be) implemented under comparable circumstances has additionality; (c) Application of the most recent version of the “Tool for the demonstration and assessment of additionality. (allowing for a two-month grace period) or any other method for proving additionality approved by the CDM Executive Board”. | It is explicitly indicated that the latest version 05.2 of the CDM “Tool for the demonstration and assessment of additionality” was used. In accordance with paragraph (3) of the tool project proponents should “provide evidence that the incentive from the CDM was seriously considered in the decision to proceed with the project activity. This evidence shall be based on (preferably official, legal and/or other corporate) documentation that was available at, or prior to, the start of the project activity”. Such evidence is referred to in PDD on page 3, footer 2. |  | OK |
| 29 (a) | Does the PDD provide a justification of the applicability of the approach with a clear and transparent description? | PDD provides a justification of the applicability of the CDM Tool with reference to Paragraph 2 of the Annex I to the “Guidance on criteria for baseline setting and monitoring”, version 03. A clear and transparent description of the Tool steps is provided. The same alternatives to the JI project activity as in Section B.1 are defined. They all are consistent with mandatory laws and regulations as justified in Step 1 of the tool. |  | OK |
| 29 (b) | Are additionality proofs provided? | To prove additionality investment analysis of the project activity without JI registration and common practice analysis were applied. Investment analysis is performed on excel spreadsheet made available to AIE, in terms of calculation of the project IRR and comparing it with the benchmark which was set equal 15%. The calculation shows that for the used input data and without JI registration the project IRR is below the discount rate, that is the project is not financially attractive. The sensitivity analysis of ±10% changes of investments, operational expenses and electricity prices confirmed that the conclusion regarding the financial non-attractiveness is robust to reasonable variations in the critical assumptions. The project activity is asserted to have been not the common practice in the Khanty-Mansiysk Autonomous Okrug. Similar activities were implemented as JI projects. All in all, a conclusion is made in PDD that the project activity is additional. CAR 11. Please provide appropriate justifications to the AIE concerning: the values of investments applied in investment analysis; lifetime of the project’s main equipment; grid electricity cost purchased by Surgutneftegas; operational expenses. | CAR 11 | OK |
| 29 (c) | Is the additionality demonstrated appropriately as a result? | With pending CAR 11 the additionality is not demonstrated. |  | OK |
| 30 | If the approach 28 (c) is chosen, are all explanations, descriptions and analyses made in accordance with the selected tool or method? | N/A |  | OK |
| Approved CDM methodology approach only_ Paragraphs 31(a) – 31(e)_Not applicable |
| Project boundary (applicable except for JI LULUCF projects) |
| JI specific approach only |
| 32 (a) | Does the project boundary defined in the PDD encompass all anthropogenic emissions by sources of GHGs that are: (i) Under the control of the project participants? (ii) Reasonably attributable to the project? (iii) Significant? | The project boundary defined in the PDD encompasses all anthropogenic emissions by sources of GHGs that are (i) under the control of the project participants, (ii) reasonably attributable to the project, and (iii) significant. These are: Baseline CO2 emissions from power generation in the grid in baseline scenario; Baseline CH4 emissions from methane underburning in flares; Project CO2 emissions due to the complete oxidation of methane that would underburnt in flares in baseline scenario. |  | OK |
| 32 (b) | Is the project boundary defined on the basis of a case-by-case assessment with regard to the criteria referred to in 32 (a) above? | Project boundary is defined on the basis of case-by-case assessment of different emission sources. |  | OK |
| 32 (c) | Are the delineation of the project boundary and the gases and sources included appropriately described and justified in the PDD by using a figure or flow chart as appropriate? | Delineation of the project boundary and the gases and sources included are appropriately described and justified in the PDD by using Figure B.3-1. |  | OK |
| 32 (d) | Are all gases and sources included explicitly stated, and the exclusions of any sources related to the baseline or the project are appropriately justified? | All gases and sources included are explicitly stated; refer to 32 (a) above. |  | OK |
| Approved CDM methodology approach only_Paragraph 33_ Not applicable |
| Crediting period |
| 34 (a) | Does the PDD state the starting date of the project as the date on which the implementation or construction or real action of the project will begin or began? | 15/03/2005 being the date of the contract signing for supplying of the first GPPP at Vostochno-Elovoe oilfield. |  | OK |
| 34 (a) | Is the starting date after the beginning of 2000? | Refer to 34 (a). |  | OK |
| 34 (b) | Does the PDD state the expected operational lifetime of the project in years and months? | Operational lifetime is defined as 15 years (180 months). Conclusion is pending a response to CAR 11. | Pending | OK |
| 34 (c) | Does the PDD state the length of the crediting period in years and months? | The length of crediting period is defined as 5 years (60 months). |  | OK |
| 34 (c) | Is the starting date of the crediting period on or after the date of the first emission reductions or enhancements of net removals generated by the project? | Starting day is after the date of the first emission reductions generated by the project. |  | OK |
| 34 (d) | Does the PDD state that the crediting period for issuance of ERUs starts only after the beginning of 2008 and does not extend beyond the operational lifetime of the project? | The crediting period is defined as from 01/01/2008 till 31/12/2012. |  | OK |
| 34 (d) | If the crediting period extends beyond 2012, does the PDD state that the extension is subject to the host Party approval? Are the estimates of emission reductions or enhancements of net removals presented separately for those until 2012 and those after 2012? | N/A |  | OK |
| Monitoring plan |
| 35 | Does the PDD explicitly indicate which of the following approaches is used? − JI specific approach − Approved CDM methodology approach | It is explicitly indicated that a JI specific approach is chosen. |  | OK |
| JI specific approach only |
| 36 (a) | Does the monitoring plan describe: − All relevant factors and key characteristics that will be monitored? − The period in which they will be monitored? − All decisive factors for the control and reporting of project performance? | The monitoring plan describes: data to be monitored: continuously volume of associated petroleum gas consumed by GPPP i in a year y, annual power output by GPPP I in a year y, volume of associated petroleum gas consumed by GPPP i in a year y; annually volumetric fraction of hydrocarbon of type h in associated petroleum gas consumed by GPPP i in a year y, volumetric fraction of hydrocarbon (methane) of type h in associated petroleum gas consumed by GPPP i in a year y (refer to D.1.1.1 and D.1.1.3); the period in which they will be monitored: continuously or annually; all decisive factors for the control and reporting of project performance: 2tp statistics forms; quality control (QC) and quality assurance (QA) procedures; the operational and management structure that will be applied in implementing the monitoring plan. Conclusion is pending a response to CAR 08. |  | OK |
| 36 (b) | Does the monitoring plan specify the indicators, constants and variables used that are reliable, valid and provide transparent picture of the emission reductions or enhancements of net removals to be monitored? | The monitoring plan specifies indicators, constants and variables used that are reliable, valid and provide transparent picture of the emission reductions to be monitored. For data to be monitored, please refer to 36(a) above. For constants please refer to the next paragraph. |  | OK |
| 36 (b) | If default values are used: − Are accuracy and reasonableness carefully balanced in their selection? − Do the default values originate from recognized sources? − Are the default values supported by statistical analyses providing reasonable confidence levels? − Are the default values presented in a transparent manner? | Constants used are the default values of the parameters as follows: grid emission factor, methane density at standard conditions, GWP for methane. The default values originate from recognized sources and are presented in a transparent manner. N/A for statistical analysis. |  | OK |
| 36 (b) (i) | For those values that are to be provided by the project participants, does the monitoring plan clearly indicate how the values are to be selected and justified? | N/A |  | OK |
| 36 (b) (ii) | For other values, − Does the monitoring plan clearly indicate the precise references from which these values are taken? − Is the conservativeness of the values provided justified? | The monitoring plan provides clearly indicates the precise references from which these default values are taken (refer to footnotes 39-41). N/A for justification of the conservativeness of the values. |  | OK |
| 36 (b) (iii) | For all data sources, does the monitoring plan specify the procedures to be followed if expected data are unavailable? | Available ex ante data is used. |  | OK |
| 36 (b) (iv) | Are International System Unit (SI units) used? | International System Units (SI units) are used. |  | OK |
| 36 (b) (v) | Does the monitoring plan note any parameters, coefficients, variables, etc. that are used to calculate baseline emissions or net removals but are obtained through monitoring? | The monitoring plan notes such parameters as follows: electricity supply by GPPP, APG consumption by GPPP, APG composition including methane fraction, losses in electric networks. |  | OK |
| 36 (b) (v) | Is the use of parameters, coefficients, variables, etc. consistent between the baseline and monitoring plan? | There is consistency between parameters, coefficients, variables, etc. used in baseline and monitoring plan. |  | OK |
| 36 (c) | Does the monitoring plan draw on the list of standard variables contained in appendix B of “Guidance on criteria for baseline setting and monitoring”? | The monitoring plan draws on the list of standard variables contained in appendix B of “Guidance on criteria for baseline setting and monitoring”. |  | OK |
| 36 (d) | Does the monitoring plan explicitly and clearly distinguish: (i) Data and parameters that are not monitored throughout the crediting period, but are determined only once (and thus remain fixed throughout the crediting period), and that are available already at the stage of determination? (ii) Data and parameters that are not monitored throughout the crediting period, but are determined only once (and thus remain fixed throughout the crediting period), but that are not already available at the stage of determination? (iii) Data and parameters that are monitored throughout the crediting period? | Description of the monitoring plan in Section D.1 explicitly and clearly distinguishes: (i) Refer to 36 (b). (ii) underburning factor for flaring; (iii) Refer to 36 (a). |  | OK |
| 36 (e) | Does the monitoring plan describe the methods employed for data monitoring (including its frequency) and recording? | Yes, the methods used (gas measuring complexes, electric meters, chromatographs) and data collection frequency (continuously or monthly) and recording (electronic/paper) are clearly defined in the monitoring plan |  | OK |
| 36 (f) | Does the monitoring plan elaborate all algorithms and formulae used for the estimation/calculation of baseline emissions/removals and project emissions/removals or direct monitoring of emission reductions from the project, leakage, as appropriate? | The formulae are presented in Section D.1.1.2, Section D.1.1.4 and Section D.1.4. |  | OK |
| 36 (f) (i) | Is the underlying rationale for the algorithms/formulae explained? | The underlying rationale for the algorithms/formulae does not need explanation. |  | OK |
| 36 (f) (ii) | Are consistent variables, equation formats, subscripts etc. used? | Consistent variables, equation formats, subscripts etc. are used. |  | OK |
| 36 (f) (iii) | Are all equations numbered? | Yes. |  | OK |
| 36 (f) (iv) | Are all variables, with units indicated defined? | Yes. |  | OK |
| 36 (f) (v) | Is the conservativeness of the algorithms/procedures justified? | N/A |  | OK |
| 36 (f) (v) | To the extent possible, are methods to quantitatively account for uncertainty in key parameters included? | N/A |  | OK |
| 36 (f) (vi) | Is consistency between the elaboration of the baseline scenario and the procedure for calculating the emissions or net removals of the baseline ensured? | There is consistency between the elaboration on the baseline scenario and calculating the baseline emission in the monitoring plan and on spreadsheet. |  | OK |
| 36 (f) (vii) | Are any parts of the algorithms or formulae that are not self-evident explained? | N/A. |  | OK |
| 36 (f) (vii) | Is it justified that the procedure is consistent with standard technical procedures in the relevant sector? | Yes, the monitoring is in line with current operational routines. |  | OK |
| 36 (f) (vii) | Are references provided as necessary? | N/A |  | OK |
| 36 (f) (vii) | Are implicit and explicit key assumptions explained in a transparent manner? | All key assumptions are explained in a transparent manner if needed. |  | OK |
| 36 (f) (vii) | Is it clearly stated which assumptions and procedures have significant uncertainty associated with them, and how such uncertainty is to be addressed? | N/A |  | OK |
| 36 (f) (vii) | Is the uncertainty of key parameters described and, where possible, is an uncertainty range at 95% confidence level for key parameters for the calculation of emission reductions or enhancements of net removals provided? | The meters are recording the consumption of APG and the generated electric energy continuously. The issue of uncertainty range and confidence interval is irrelevant for such measurements. Chromatograph tests are carried out by the certified laboratory. |  | OK |
| 36 (g) | Does the monitoring plan identify a national or international monitoring standard if such standard has to be and/or is applied to certain aspects of the project? Does the monitoring plan provide a reference as to where a detailed description of the standard can be found? | Monitoring plan refers to Federal law #102-FZ dd. 11.06.2008 “On uniformity of measurements” as well as to Resolutions of the Russian State Statistical Committee: dd. 17.09.2010 #319 On the establishment of the statistical tools for the arrangement of statistical monitoring over the environmental and agriculture” (version dd. 23.03.2011); dd. 19.10.2009 #230 On the establishment of statistical tools for the arrangement by the Federal Water Resources Agency of the statistical monitoring of water usage; dd. 28.01.2011 #17 On the establishment of statistical tools for the arrangement by the Federal Service for Supervision of Natural Resource Usage of the statistical monitoring of production and consumption wastes. |  | OK |
| 36 (h) | Does the monitoring plan document statistical techniques, if used for monitoring, and that they are used in a conservative manner? | N/A |  | OK |
| 36 (i) | Does the monitoring plan present the quality assurance and control procedures for the monitoring process, including, as appropriate, information on calibration and on how records on data and/or method validity and accuracy are kept and made available upon request? | QC/QA procedures are outlined in PDD Section D.2. These are routine enterprise procedures. |  | OK |
| 36 (j) | Does the monitoring plan clearly identify the responsibilities and the authority regarding the monitoring activities? | The operational and management structure that the project participants(s) will implement in order to monitor emission reduction generated by the project is described in sufficient detail in PDD Section D.3. |  | OK |
| 36 (k) | Does the monitoring plan, on the whole, reflect good monitoring practices appropriate to the project type? If it is a JI LULUCF project, is the good practice guidance developed by IPCC applied? | Monitoring techniques are in line with current operation routines. |  | OK |
| 36 (l) | Does the monitoring plan provide, in tabular form, a complete compilation of the data that need to be collected for its application, including data that are measured or sampled and data that are collected from other sources but not including data that are calculated with equations? | Tables D.1.1.1 and D.1.1.3 provide compilation of all data needed to monitor project and baseline emissions. |  | OK |
| 36 (m) | Does the monitoring plan indicate that the data monitored and required for verification are to be kept for two years after the last transfer of ERUs for the project? | Yes, it indicates in Section D.1 and in section D.3. |  | OK |
| 37 | If selected elements or combinations of approved CDM methodologies or methodological tools are used for establishing the monitoring plan, are the selected elements or combination, together with elements supplementary developed by the project participants in line with 36 above? | N/A |  | OK |
| Approved CDM methodology approach only_Paragraphs 38(a) – 38(d)_Not applicable |
| Applicable to both JI specific approach and approved CDM methodology approach_Paragraph 39_Not applicable |
| Leakage |
| JI specific approach only |
| 40 (a) | Does the PDD appropriately describe an assessment of the potential leakage of the project and appropriately explain which sources of leakage are to be calculated and which can be neglected? | CAR 12. Please describe the assessment of the potential leakage of the project in appropriate sections of PDD. Please explain which sources of leakage are to be calculated and which can be neglected. | CAR 12 | OK |
| 40 (b) | Does the PDD provide a procedure for an ex ante estimate of leakage? | N/A |  | OK |
| Approved CDM methodology approach only_Paragraph 41_Not applicable |
| Estimation of emission reductions or enhancements of net removals |
| 42 | Does the PDD indicate which of the following approaches it chooses? (a) Assessment of emissions or net removals in the baseline scenario and in the project scenario (b) Direct assessment of emission reductions | Assessment of emissions in the baseline scenario and in the project scenario is chosen. |  | OK |
| 43 | If the approach (a) in 42 is chosen, does the PDD provide ex ante estimates of: (a) Emissions or net removals for the project scenario (within the project boundary)? (b) Leakage, as applicable? (c) Emissions or net removals for the baseline scenario (within the project boundary)? (d) Emission reductions or enhancements of net removals adjusted by leakage? | PDD provides ex ante estimates of: (a) Emissions for the project scenario (Section E.1); (b) Leakage (Section E.2) – pending a response to CAR 12; (c) Emissions for the baseline scenario (Section E.4); (d) Emission reductions adjusted by leakage (Section E.6). |  | OK |
| 44 | If the approach (b) in 42 is chosen, does the PDD provide ex ante estimates of: (a) Emission reductions or enhancements of net removals (within the project boundary)? (b) Leakage, as applicable? (c) Emission reductions or enhancements of net removals adjusted by leakage? | N/A |  | OK |
| 45 | For both approaches in 42 (a) Are the estimates in 43 or 44 given: (i) On a periodic basis? (ii) At least from the beginning until the end of the crediting period? (iii) On a source-by-source/sink-by-sink basis? (iv) For each GHG? (v) In tones of CO2 equivalent, using global warming potentials defined by decision 2/CP.3 or as subsequently revised in accordance with Article 5 of the Kyoto Protocol? (b) Are the formula used for calculating the estimates in 43 or 44 consistent throughout the PDD? (c) For calculating estimates in 43 or 44, are key factors influencing the baseline emissions or removals and the activity level of the project and the emissions or net removals as well as risks associated with the project taken into account, as appropriate? (d) Are data sources used for calculating the estimates in 43 or 44 clearly identified, reliable and transparent? (e) Are emission factors (including default emission factors) if used for calculating the estimates in 43 or 44 selected by carefully balancing accuracy and reasonableness, and appropriately justified of the choice? (f) Is the estimation in 43 or 44 based on conservative assumptions and the most plausible scenarios in a transparent manner? (g) Are the estimates in 43 or 44 consistent throughout the PDD? (h) Is the annual average of estimated emission reductions or enhancements of net removals calculated by dividing the total estimated emission reductions or enhancements of net removals over the crediting period by the total months of the crediting period and multiplying by twelve? | Estimates in 43 are given on the periodic basis, from the beginning until the end of the crediting period, in tones of CO2 equivalent. The formulae used in PDD are consistent. Key factors influencing the baseline emissions and the activity level of the project and the project emissions are taken into account, as appropriate. Data sources used for calculating the estimates are clearly identified, reliable and transparent. Default values of grid emission factor, and underburning factor are taken from identified sources. Estimation in 43 is based on conservative assumptions and the most plausible scenario in a transparent manner. Estimates in 43 are consistent throughout the PDD. The annual average of estimated emission reductions calculated by dividing the total estimated emission reductions over the crediting period by the total months of the crediting period and multiplying by twelve. |  | OK |
| 46 | If the calculation of the baseline emissions or net removals is to be performed ex post, does the PDD include an illustrative ex ante emissions or net removals calculation? | Illustrative ex-ante estimation of emission reduction is made on the excel spreadsheet made available to AIE. | Pending | OK |
| Approved CDM methodology approach only_Paragraphs 47(a) – 47(b)_Not applicable |
| Environmental impacts |
| 48 (a) | Does the PDD list and attach documentation on the analysis of the environmental impacts of the project, including transboundary impacts, in accordance with procedures as determined by the host Party? | Section F.1 of PDD includes the list of documentation on the analysis of the environmental impacts of the projects (for every oilfield). Due to the changes in the environmental legislation only two GPPPs Vostochno-Elovaya (1-st and 2-d stage) and Vostochno-Surgutskaya (1-st stage) were received two expert conclusions (of environmental expertise and state expertise). The rest power plants received the only state expertise results that are in line with current legislation. The project has no transboundary impacts. |  | OK |
| 48 (b) | If the analysis in 48 (a) indicates that the environmental impacts are considered significant by the project participants or the host Party, does the PDD provide conclusion and all references to supporting documentation of an environmental impact assessment undertaken in accordance with the procedures as required by the host Party? | Russian legislation does not use the term “significant environmental impacts”. |  | OK |
| Stakeholder consultation |
| 49 | If stakeholder consultation was undertaken in accordance with the procedure as required by the host Party, does the PDD provide: (a) A list of stakeholders from whom comments on the projects have been received, if any? (b) The nature of the comments? (c) A description on whether and how the comments have been addressed? | CL 02. Please clarify were where any public hearings for the first two oil fields Vostochno-Elovaya (1-st and 2-d stage) and Vostochno-Surgutskaya (1-st stage) designed before the changes in Federal Law #174 “On the Environmental Expertise” have come to force. | CL 02 | OK |
| Determination regarding small-scale projects (additional elements for assessment)_Paragraphs 50 - 57_Not applicable |
| Determination regarding land use, land-use change and forestry projects _Paragraphs 58 – 64(d)_Not applicable |
| Determination regarding programmes of activities_Paragraphs 66 – 73_Not applicable |

# Table 2	Resolution of Corrective Action and Clarification Requests

| Draft report clarifications and corrective action requests by validation team | Ref. to checklist question in table 1 | Summary of project participant response | Determination team conclusion |
| --- | --- | --- | --- |
| CAR 01. The titles of project participants in Table A.3 and Annex 1 should not differ. Please correct. | A.3 | Response 1 dated 22.03.2012 to CAR 01 Consistency between the titles of project participants in Table A.3 and Annex 1 was provided. Please review. | Conclusion on Response 1 CAR is closed based on due corrections made to PDD. Please correct the word Surgutneftegas in Annex 1. |
| CAR 02. Please provide to the AIE evidences of actual and forecasted power generation and APG consumption in 2008-2012 as well as acts of commissioning of GPPPs. | A.4.2 | Response 1 dated 22.03.2012 to CAR 02 Please review the attached evidences: - “production data.pdf” for actual and forecasted power generation and APG consumption in 2008-2012; - folder “Completed facility acceptance reports” for acts of commissioning. Response 2 dated 11.04.2012 to CAR 02 Commissioning date for Zapadno-Sakhalinskaya GPPP in the Table A.4.2-9 was corrected to December 2008. Please review. | Conclusion on Response 1 The provided act of commissioning for Zapadno-Sakhalinskaya GPPP is dated 22.12.2008 whereas in Table A.4.2-9 commissioning date is November 2008. CAR is not closed. Conclusion on Response 2 CAR is closed based on due corrections made to PDD. |
| CAR 03. The project has no written approvals by the Parties involved. | 19 | Response 1 dated 22.03.2012 to CAR 03 Written project approvals will be issued by the Ministry of Economical Development of Russian Federation based on an expert statement issued by the AIE. Once the Approval is received, both the PDD and the determination report will be updated and the determination will become final. | Conclusion on Response 1 Response is accepted by the AIE. CAR is not closed. |
| CAR 04. Please provide a detailed theoretical description of the used approach in a complete and transparent manner. | 23 | Response 1 dated 22.03.2012 to CAR 04 A detailed theoretical description of the used approach in a complete and transparent manner was provided. Please review the updated Section B.1 of PDD. | Conclusion on Response 1 CAR is closed based on due corrections made to PDD. |
| CAR 05. Please justify the statement that Surgut Gas Processing Plant (SGPP) was 100% loaded starting from 2001 up to 2011. | 23 | Response 1 dated 22.03.2012 to CAR 05 Please review the attached evidence (file name “note on Surgut GPP.pdf”). | Conclusion on Response 1 The document “note on Surgut GPP.pdf” was not provided to the AIE. |
| CAR 06. The statement “The most APG processing plants constructed in the same or border regions are implementing as Kyoto projects…” supported by reference is incorrect. All the referenced JI projects do not envisage constructing the APG processing plants. | 23 | Response 1 dated 22.03.2012 to CAR 06 The statement that “The most APG processing plants constructed in the same or border regions are implementing as Kyoto projects…” was removed from the PDD as it not supported by evidences. Please review the updated Section B.1 of PDD. | Conclusion on Response 1 CAR is closed based on due corrections made to PDD. |
| CAR 07. Please provide a detailed theoretical description of the baseline in a complete and transparent manner as required by Guidance for users of the JI PDD form, Section B.1, Step 1, a). | 23 | Response 1 dated 22.03.2012 to CAR 07 Please refer to the response to CAR 04 above. | Conclusion on Response 1 CAR is closed based on due corrections made to PDD. |
| CAR 08. Please justify the representativeness of ‘volumetric fraction of hydrocarbon of type h in associated petroleum gas consumed by GPPP i in a year y’ monitored once per year. Please take note: composition of associated petroleum gas changes considerably during the day and even an hour. Therefore, annual monitoring of this parameter lacks representativeness. Please also indicate which volumetric fraction of hydrocarbon of type h in APG consumed by GPPP i in a year y was indicated in the table of Section B.1. | 23 | Response 1 dated 22.03.2012 to CAR 07 Standard deviation with confidence interval 95% among available historical data on methane fraction ( the main component which influences amounts of ERs) is less than 5%. Thus it can be concluded that uncertainty of APG composition is quite low. Please review the attached calculation and data confirming APG compositions (file names “APG composition.xls” and folder “APG composition certificates”). Response 2 dated 11.04.2012 to CAR 08 The folder “APG composition certificates” was provided. Please also review the updated excel file “APG composition”. The sample was extended (2011 data included) to provide stronger confidence. The calculation and the PDD were also updated. Please review. | Conclusion on Response 1 The folder “APG composition certificates” was not provided to the AIE. CAR is not closed. Conclusion on Response 2 CAR is closed based on the document review. |
| CAR 09. Please provide evidence that the baseline flares fall under condition of NII Atmosphere Methodology allowing consideration of “soot firing” with the underburning factor 0,035. | 23 | Response 1 dated 22.03.2012 to CAR 09 As it is seen from the attached evidence (file name “note on flaring efficiency.pdf”) non-soot flaring is prohibited by technical documentation but the calculation also confirms that amount of APG consumed by the GPPPs would be flared under conditions of soot combustion. According to the clause 6.4.2 of the NII Atmosphere methodology soot flaring occurs when the speed of APG in flare is less than 0.2 of acoustic speed (According to the appendix G of the methodology acoustic speed of APG is 406 m/s ). Accordingly, if speed of APG in flare is less than 81.2 m/s than it is soot flaring. Please review the attached calculations of speed of APG in flare units for all GPPPs (file name “calculation of flaring efficiency”). As it is seen from the evidence, acoustic speed of APG in flare units is significantly lower than 81.2 m/s, thus fall under condition of “soot flaring”. | Conclusion on Response 1 The justification is accepted by the AIE. CAR is closed. |
| CAR 10. The applied value of the power losses in the external power grid (12%) is incorrect, as this value means the part of electrical transmission losses occurred in IPS Ural compare with the total losses in all Russian grid. Please correct. | 23 | Response 1 dated 22.03.2012 to CAR 10 The approach for calculating of ERs from grid electricity substitution was revised. The Demand-Side Carbon Emission Factor (Table 5-2, Page 5-3 of the EBRD report “Development of the electricity carbon emission factors for Russia”) was applied. Losses in power grids were excluded from the calculation as inapplicable. Please review the updated PDD v.1.1. | Conclusion on Response 1 CAR is closed based on due corrections made to PDD. |
| CAR 11. Please provide appropriate justifications to the AIE concerning: the values of investments applied in investment analysis; lifetime of the project’s main equipment; grid electricity cost purchased by Surgutneftegas; operational expenses. | 29 (b) | Response 1 dated 22.03.2012 to CAR 11 Please review the attached evidences: - “note on economical parameters.pdf” for values of investments, grid electricity cost and operational expenses; - “confirmation of the lifetime (Vatlor).pdf” (clause 25.6). All GPPPs in the project have the same life time – 25 years. Technical specification for Vatlorskaya GPPP was provided as an example. Specifications for all other GPPPs may be provided on request. | Conclusion on Response 1 CAR is closed based on the document review. |
| CAR 12. Please describe the assessment of the potential leakage of the project in appropriate sections of PDD. Please explain which sources of leakage are to be calculated and which can be neglected. | 40 (a) | Response 1 dated 22.03.2012 to CAR 12 The assessment of potential leakage of the project was added to the PDD. Please review the updated Section B.3 of the PDD. | Conclusion on Response 1 CAR is closed based on due corrections made to PDD. |
| CL 01. Please provide justifications for the values of power losses in the power network of OJSC “Surgutneftegas” for 2008 – 2012. | 23 | Response 1 dated 22.03.2012 to CL 01 Response to this CAR is irrelevant as power losses were excluded from PDD. | Conclusion on Response 1 CL is closed based on due corrections made to PDD. |
| CL 02. Please clarify were where any public hearings for the first two oil fields Vostochno-Elovaya (1-st and 2-d stage) and Vostochno-Surgutskaya (1-st stage) designed before the changes in Federal Law #174 “On the Environmental Expertise” have come to force. | 49 | Response 1 dated 22.03.2012 to CL 02 There were no public hearings for the first two oil fields Vostochno-Elovaya (1-st and 2-d stage) and Vostochno-Surgutskaya (1-st stage). According to the Article 24 (Chapter IV) of the Federal Law #174, public hearings are necessary only for objects listed in Articles 11 and 12 of the same Law. As GPPPs are not listed in articles 11 and 12, public hearings were not necessary and thus, not implemented. Please review the attached Federal Law #174 (file name “Federal Law #174.doc”). | Conclusion on Response 1 CL is closed based on due clarifications received. |