- Determination Report

OJSC “Far Eastern Generating Company”

Determination of the

Retrofitting of Khabarovsk Power Plant (CHPP-1)

Report No. RUSSIA-det/0109/2010

Revision No. 01

BUREAU VERITAS CERTIFICATION

| Date of first issue: |  |  |  | Organizational unit: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 06/02/2011 |  |  |  | Bureau Veritas Certification Holding SAS |  |  |  |
| Client: |  |  |  | Client ref.: |  |  |  |
| Gazprom Marketing & Trading Limited (GM&T) |  |  |  | Julia Elmgren |  |  |  |
| Summary: |  |  |  |  |  |  |  |
| Bureau Veritas Certification has made the determination of the “Retrofitting of Khabarovsk Power Plant” project of OJSC “Far Eastern Generating Company” located on the territory of Khabarovsk CHPP-1, located in Khabarovsk city, Khabarovsk region, Russian Federation on the basis of UNFCCC criteria for the JI, as well as criteria given to provide for consistent project operations, monitoring and reporting. UNFCCC criteria refer to Article 6 of the Kyoto Protocol, the JI rules and modalities and the subsequent decisions by the JI Supervisory Committee, as well as the host country criteria. The determination scope is defined as an independent and objective review of the project design document, the project’s baseline study, monitoring plan and other relevant documents, and consisted of the following three phases: i) desk review of the project design and the baseline and monitoring plan; ii) follow-up interviews with project stakeholders; iii) resolution of outstanding issues and the issuance of the final determination report and opinion. The overall determination, from Contract Review to Determination Report & Opinion, was conducted using Bureau Veritas Certification internal procedures. The first output of the determination process is a list of Corrective Actions Requests (CAR), presented in Appendix A. Taking into account this output, the project proponent revised its project design document. In summary, it is Bureau Veritas Certification’s opinion that the project correctly applies Guidance on criteria for baseline setting and monitoring and meets the relevant UNFCCC requirements for the JI and the relevant host country criteria. |  |  |  |  |  |  |  |
| Report No.: |  | Subject Group: |  |  |  | No distribution without permission from the Client or responsible organizational unit |  |
| RUSSIA-det/0109/2010 |  | JI |  |  |  |  |  |
| Project title: |  |  |  |  |  |  |  |
| “Retrofitting of Khabarovsk Power Plant” |  |  |  |  |  | Limited distribution |  |
| Work carried out by: |  |  |  |  |  |  |  |
| Leonid Yaskin – Team Leader, Lead verifier |  |  |  |  |  | Unrestricted distribution |  |
| Work verified by: |  |  |  |  |  |  |  |
| Ivan Sokolov – Internal Technical Reviewer |  |  |  |  |  |  |  |
| Work approved by: |  |  |  |  |  |  |  |
| Flavio Gomes – Operational Manager |  |  |  |  |  |  |  |
| Date of this revision: | Rev. No.: |  | Number of pages: |  |  |  |  |
| 06/02/2011 | 01 |  | 49 |  |  |  |  |

Abbreviations

| AIE | Accredited Independent Entity |
| --- | --- |
| BVC | Bureau Veritas Certification |
| CAR | Corrective Action Request |
| CL | Clarification Request |
| CHPP | Combined Heat and Power Plant (in Russian -ТЭЦ) |
| CO2 | Carbon Dioxide |
| DDR | Draft Determination Report |
| DR | Document Review |
| EIA | Environmental Impact Assessment |
| ERU | Emission Reduction Unit |
| GHG | Greenhouse House Gas(es) |
| GM&T | Gazprom Marketing & Trading Limited |
| JI | Joint Implementation |
| JISC | Joint Implementation Supervisory Committee |
| PDD | Project Design Document |
| OJSC | Open Joint Stock Company |
| PP | Project Participant |
| RF | Russian Federation |
| tCO2e | Tonnes CO2 equivalent |
| UNFCCC | United Nations Framework Convention for Climate Change |

Table of Contents	Page

1	Introduction	…..…….4

1.1	Objective	4

1.2	Scope	4

1.3	Determination team	4

2	Methodology	5

2.1	Review of Documents	5

2.2	Follow-up Interviews	6

2.3	Resolution of Clarification and Corrective Action Requests	6

3	DETERMINATION conclusions	7

3.1	Project approvals by Parties involved (19-20)	7

3.2	Authorization of project participants by Parties involved (21)	7

3.3	Baseline setting (22-26)	7

3.4	Additionality (27-31)	8

3.5	Project boundary (32-33)	9

3.6	Crediting period (34)	10

3.7	Monitoring plan (35-39)	10

3.8	Leakage (40-41)	12

3.9	Estimation of emission reductions or enhancements of net removals (42-47)	12

3.10	Environmental impacts (48)	13

3.11	Stakeholder consultation (49)	13

3.12	Determination regarding small scale projects (50-57) (Not applicable)	14

3.13	Determination regarding land use, land-use change and forestry (LULUCF) projects (58-64) (Not applicable)	14

3.14	Determination regarding programmes of activities (65-73)(Not applicable)	14

4	SUMMARY and report oF how due accouNt was taken of COMMENTS RECEIVED PURSUANT TO PARAGRAPH 32 OF THE JI GUIDELINES	14

5	DETERMINATION opinion	14

6	references	15

Appendix A: company PROJECT DETERMINATION Protocol

17

# INTRODUCTION

Gazprom Marketing & Trading Limited (hereafter referred as ‘GM&T) has commissioned Bureau Veritas Certification to determine OJSC “Far Eastern Generating Company” JI project  “Retrofitting of Khabarovsk Power Plant” (hereafter referred ‘the project’) located on the territory of Khabarovsk CHPP-1, located in Khabarovsk city, Khabarovsk region, Russian Federation.

This report summarizes the findings of the determination of the project, performed on the basis of UNFCCC criteria, as well as criteria given to provide for consistent project operations, monitoring and reporting.

## Objective

The determination serves as project design verification and is a requirement of all projects. The determination is an independent third party assessment of the project design. In particular, the project's baseline, the monitoring plan (MP), and the project’s compliance with relevant UNFCCC and host country criteria are determined in order to confirm that the project design, as documented, is sound and reasonable, and meets the stated requirements and identified criteria. Determination is a requirement for all JI projects and is seen as necessary to provide assurance to stakeholders of the quality of the project and its intended generation of emissions reductions units (ERUs).

UNFCCC criteria refer to Article 6 of the Kyoto Protocol, the JI rules and modalities and the subsequent decisions by the JI Supervisory Committee, as well as the host country criteria.

## Scope

The determination scope is defined as an independent and objective review of the project design document, the project’s baseline study and monitoring plan and other relevant documents. The information in these documents is reviewed against Kyoto Protocol requirements, UNFCCC rules and associated interpretations.

The determination is not meant to provide any consulting towards the Client. However, stated requests for clarifications and/or corrective actions may provide input for improvement of the project design.

## Determination team

The determination team consists of the following personnel:

Leonid Yaskin

Bureau Veritas Certification 	Team Leader, Climate Change Lead Verifier

This determination report was reviewed by:

Ivan Sokolov

Bureau Veritas Certification,	Internal reviewer

# Methodology

The overall determination, from Contract Review to Determination Report & Opinion, was conducted using Bureau Veritas Certification internal procedures.

In order to ensure transparency, a determination protocol was customized for the project, according to the version 01 of the Joint Implementation Determination and Verification Manual, issued by the Joint Implementation Supervisory Committee at its 19 meeting on 04/12/2009. The protocol shows, in a transparent manner, criteria (requirements), means of determination and the results from determining the identified criteria. The determination protocol serves the following purposes:

- It organizes, details and clarifies the requirements a JI project is expected to meet;

- It ensures a transparent determination process where the determiner will document how a particular requirement has been determined and the result of the determination.

The completed determination protocol is enclosed in Appendix A to this report.

## Review of Documents

The original Project Design Document (PDD) v.1.0 dated 14/12/2010 submitted by GM&T and additional background documents related to the project design and baseline, i.e. country Law, Guidelines for users of the joint implementation project design document form, Guidance on criteria for baseline setting and monitoring, Kyoto Protocol, Clarifications on Determination Requirements to be Checked by an Accredited Independent Entity were reviewed.

To address Bureau Veritas Certification corrective action and clarification requests, GM&T revised the original PDD and resubmitted it as v.1.1 on 29/12/2010 followed by v.1.2 dated 25/01/2011.

The determination findings presented in this report relate to the project as described in the PDD versions 1.1, 1.2 and 1.3.

## Follow-up Interviews

On 31/01/2011 Bureau Veritas Certification performed off-site interviews with project stakeholders to confirm selected information and to resolve issues identified in the document review. Representatives of OJSC “Far Eastern Generating Company” and GM&T were interviewed (see References). The main topics of the interviews are summarized in Table 1.

Table 1   Interview topics

| Interviewed organization | Interview topics |
| --- | --- |
| OJSC “Far Eastern Generating Company” GM&T | - The project history; status of the projects as on today. - Commissioning dates. - Rationale for barrier analysis - Investments in the project with breakdown by items. - Boiler efficiency - Gas consumption in 2008-2009. - Justification of natural gas and coal price. - Organizational and management system for emission monitoring. |
| CONSULTANT | N/A |
| Stakeholders | N/A |

## Resolution of Clarification and Corrective Action Requests

The objective of this phase of the determination is to raise the requests for corrective actions and clarification and any other outstanding issues that needed to be clarified for Bureau Veritas Certification positive conclusion on the project design.

Corrective Action Request (CAR) is issued, where:

(a) The project participants have made mistakes that will influence the ability of the project activity to achieve real, measurable additional emission reductions;

(b) The JI requirements have not been met;

(c) There is a risk that emission reductions cannot be monitored or calculated.

The determination team may also issue Clarification Request (CL), if information is insufficient or not clear enough to determine whether the applicable JI requirements have been met.

The determination team may also issue Forward Action Request (FAR), informing the project participants of an issue that needs to be reviewed during the verification.

To guarantee the transparency of the verification process, the concerns raised are documented in more detail in the verification protocol in Appendix A.

# Determination conclusions

In the following sections, the conclusions of the determination are stated.

The findings from the desk review of the original project design documents and the findings from interviews during the follow up communications are described in the Determination Protocol in Appendix A.

The Clarification and Corrective Action Requests are stated, where applicable, in the following sections and are further documented in the Determination Protocol in Appendix A. The determination of the Project resulted in 5 Corrective Action Requests.

The number between brackets at the end of each section corresponds to the DVM paragraph

## Project approvals by Parties involved (19-20)

The project has no approval by the Host Party, therefore CAR 02 remains pending. The Party other than the Host Party ids not defined yet.

## Authorization of project participants by Parties involved (21)

The participation of OJSC “Far Eastern Generating Company” listed as project participant in the PDD is not authorized by the Parties involved. The authorization is deemed to be carried out through the issuance of the project approval.

## Baseline setting (22-26)

The PDD explicitly indicates that using a methodology for baseline setting and monitoring developed in accordance with appendix B of the JI guidelines (hereinafter referred to as JI specific approach) was the selected approach for identifying the baseline.

JI specific approach

The PDD provides a detailed theoretical description in a complete and transparent manner, as well as justification, that the baseline is established:

- By listing and describing future scenarios available for the project owner OJSC ” Far Eastern Generating Company” and selecting the most plausible one. Hypothetical alternatives like installation of biofuel fired boilers, geothermal, solar, and nuclear steam generation were not considered plausible. Two alternative scenarios for steam generation in boilers were listed and described as follows. Alternative scenario 1: Implementation of the project without involving of JI mechanism; Alternative scenario 2: Business-as-usual scenario, i.e. operation of existing coal fired boilers of BKZ-210-140-F type for the purpose of steam generation without any retrofitting. Based on the Alternatives analysis with taking into account the results of the investment efficiency assessment and barriers analysis presented in Section B.2, a conclusion is made that alternative 2 is the most plausible and credible baseline scenario.

- Taking into account the national sectoral policy stated in “General scheme of location of power-generation objects till 2020 and with a perspective till 2030”. relevant national and/or sectoral policies and circumstance;

- Taking into account key appropriate factors that affect a baseline, such as availability of capital for the project implementation; local availability of project technologies and techniques, skills and know-how regarding gas fired boilers.

- In a transparent manner with regard to the choice of the JI specific approach and related assumptions, parameters, data sources and key factors for baseline setting, which are listed in tabular format in Section B.1.

- In a transparent manner with regard to the sort of coal used in CHPP-1 and the availability of the natural gas.

- Taking into account of the uncertainty and using a conservative assumption with regard to the efficiency of old coal fired and new gas fired boilers.

- In such a way that ERUs cannot be earned for decreases in activity levels outside the project or due to force majeure.

- By drawing on the list of standard variables contained in appendix B to “Guidance on criteria for baseline setting and monitoring”, such as fuel consumption, CO2 emission factor for fuels, NCV for natural gas, boiler thermal efficiency, leakage factors for coal and natural gas production.

- By summarising in Annex 2 the key elements in tabular form as required by Guidelines for Users of JI PDD Form

## Additionality (27-31)

To prove additionality barrier analysis and common practice analysis were applied.

An investment barrier which prevents implementation of the project without JI registration was identified.

Justification of the investment barrier is provided in sufficient detail in Section B.2. Key points of the barrier analysis are:

- Running of Khabarovsk CHPP-1 on natural gas even disregarding investment expenditures is substantially more expensive as compared to operating on coal (refer to Table B.2-1 which relates to switch to gas of the whole CHPP-1).

- The price of the natural gas for the project is set by the only supplier in the region Exxon Neftegas Limited, operator of Sakhalin-1 project. It is significantly higher than the stage regulated price elsewhere in Russia.

- The gas price is linked to the JCC (Japan Customs-cleared Crudeoil) price index and determined in US dollars. This exposes the company to a new set of risks: international oil price volatility and currency fluctuations. With unpredictable gas prices and RUB/USD exchange rate it is more difficult for a company to plan its budget and establish a proper tariff.

- Even if the increased fuel cost would be compensated by the increased tariff, there are no sources to compensate for investments expenditures. Thus, the project faces substantial investment barrier.

- Significant amount of capital expenditure and additional risks described above linked with lack of economic incentives makes the project implementation financially unattractive for the project owner.

- Implementation of the project with involvement of JI mechanism allows the PO to recover the investment expenditures. It was forecasted that sale of the ERU will be more than enough to compensate capital expenditures. Therefore, it was concluded that Kyoto benefits help the project to alleviate the identified investment barrier.

Outcome of the barrier analysis is: The identified investment barrier prevents implementation of the Alternative 1 - The proposed project activity undertaken without being registered as a JI project activity.

The barrier analysis is determined by AIE to be in conformity with the Step 3 of Additionality Tool v.05.2 and CDM Guidelines for objective demonstration and assessment of barriers Version 01.

The common practice analysis has shown that the project activity is not the common practice in Khabarovsk region. This conclusion is determined by AIE through Internet search.

## Project boundary (32-33)

JI specific approach

The project boundary defined in the PDD, which is on Figure B.3-1, encompasses all anthropogenic emissions by sources of greenhouse gases  as listed in Table B.3-1 which are:(i) under the control of the project participants; (ii) reasonably attributable to the project; and (iii)  significant.

The delineation of the project boundary and the gases and sources included are appropriately described and justified in the PDD. CO2 emissions from coal and natural gas combustion were the main source of baseline and project emissions respectively. CH4 emission was the main source of leakage. Emissions of CH4 and N20 from fuel combustion in baseline and project, as well as emissions due to electricity consumption were conservatively neglected.

Based on the assessment of project documentation, the AIE hereby confirms that the identified boundary and the selected sources and gases are justified for the project activity.

## Crediting period (34)

The PDD states the starting date of the project as the date on which the implementation or construction or real action of the project will begin or began, and the starting date is set as 05/05/2005 being the date of making decision to finance the project.

The PDD states the expected operational lifetime of the project in years and months, which is 15 years or 180 months.

The PDD states the length of the crediting period in years and months, which is 5 years/60 months, and its starting date as 01/01/2008, which is on the date the first emission reductions or enhancements of net removals are generated by the project.

## Monitoring plan (35-39)

The PDD, in its monitoring plan section, explicitly indicates that JI specific approach was the selected approach.

JI specific approach

The monitoring plan specifies the indicators, constants and variables used that are reliable, valid and provide transparent picture of the emission reductions to be monitored.

The monitoring plan describes:

- data to be monitored: consumption and NCV of natural gas (D.1.1.1);

- the period in which they will be monitored: continuously or/and monthly;

- all decisive factors for the control and reporting of project performance:   2tp statistics forms; quality control (QC) and quality assurance (QA) procedures; the operational and management structure that will be applied in implementing the monitoring plan.

Constants used are the default values of the parameters as follows:

- CO2 emission factor for natural gas – taken from 2006 IPCC, v.2, ch.2;

- Baseline emission factor taken constant for the whole crediting period and calculated as a weighted average value based on quantities of coal of different grades and crude oil consumed by Khabarovsk CHPP-1 during 2003-2005. Emission factors for coal and crude oil are taken from IPCC v. 2, ch.2;

- Ratio of efficiencies of gas and coal boilers (a conservative value is taken);

- NCV for coal equivalent fuel (by definition 7000 kcal/kg);

- CH4 emission factor for surface mining and gas exploration and provision (calculation of leakage) were taken from IPCC, v.2 ch.4.

The monitoring plan draws on the list of standard variables contained in appendix B of “Guidance on criteria for baseline setting and monitoring” developed by the JISC, as appropriate (project and baseline emissions and their components, and relevant emission factors).

The monitoring plan explicitly and clearly distinguishes:

- Data and parameters that are not monitored throughout the crediting period, but are determined only once (and thus remain fixed throughout the crediting period), and that are available already at the stage of determination, such as:

- CO2 emission factors for coal, crude oil, CH4 and N2O emission factors, coal surface mining and gas production and transportation emission factors, NCV for coal equivalent coal;

- Data and parameters that are not monitored throughout the crediting period, but are determined only once (and thus remain fixed throughout the crediting period), but that are not already available at the stage of determination regarding the PDD, such as:

- Boilers efficiency ratio;

- Data and parameters that are monitored throughout the crediting period, such as:

- quantity of natural gas consumed by reconstructed gas-fired boilers;

- net caloric value of natural gas.

The monitoring plan describes the method employed for data monitoring including its frequency and recording, namely the gas flow meter for monitoring natural gas consumption by the project boilers.

Monitoring plan also provides for the collection and archiving of information on environmental impacts, in accordance with procedures as required by the host Party. References to statistics Forms 2-tp and the relevant Russian regulation are provided.

The monitoring plan presents the quality assurance and control procedures for the monitoring process in terms of calibration of gas flow meters.

The monitoring plan clearly identifies the responsibilities and the authority regarding the monitoring activities. Responsibilities concern inter alia data collection, data storing and archiving estimation of emission reduction, and monitoring report preparation, approval and submission. .

On the whole, the monitoring report reflects good monitoring practices appropriate to the project type.

## Leakage (40-41)

JI specific approach

Project leakage is the net change of CH4 emissions due to gas and coal extraction, processing, transportation and distribution which occur outside the project boundary. Emissions for gas production are higher than for surface coal mining (the project case), therefore the net leakage will be negative and this will result in increasing the emission reduction. According to PDD Section E.6 leakage amounts circa 8 % of emission reduction.

## Estimation of emission reductions or enhancements of net removals (42-47)

JI specific approach

The PDD indicates the assessment of emissions in the baseline scenario and in the project scenario as the approach chosen to estimate the emission reductions generated by the project.

The PDD provides the ex ante estimates of emission reductions from the project (within the project boundary), which are 3,299,458 tons of CO2e for the crediting period;

The estimates referred to above are given:

(a)  On an annual basis;

(b)  From 01/01/2008 to 31/12/2012 covering the whole fist crediting period;

(c)  On a source-by-source basis;

(d)  For CO2 and CH4 as GHG emitted.

(e)  In tonnes of CO2 equivalent, using global warming potentials defined by decision 2/CP.3.

The formulae used for calculating the estimates referred above, which are Formulae (D.1.1.2-1), (D.1.1.4-1), (D.1.3.2-1), (D.1.3.2- 2), and (D.1.4-1) are consistent throughout the PDD.

For calculating the estimates referred to above, key factors defined in the monitoring plain influencing the project and baseline emissions were taken into account, as appropriate.

The estimation referred to above is based on conservative assumptions and the most plausible scenario in a transparent manner.

The estimates referred to above are consistent throughout the PDD.

The annual average of estimated emission reductions over the crediting period is calculated by dividing the total estimated emission reductions over the crediting period by the number of months of the crediting period, and multiplying by twelve.

The PDD Section E includes an illustrative ex ante emissions calculation.

## Environmental impacts (48)

Russian legislation does not require state expertise of technical upgrading projects. The PDD Section F.1 provides the analysis of the environmental impacts of the project, refers to the conducted Environmental Impact Assessment, and lists official environmental permit and approval documents such as Sanitary and hygienic conclusion for the project, Expert conclusion of industrial safety, and Permission on emissions into the atmosphere issued on 11/03/2004 by Gosgortekhnadzor. It is concluded that the project the project leads to a significant decrease of pollutants emissions into the atmosphere and hence to reduction of transboundary effects as well.

## Stakeholder consultation (49)

Russian legislation does not require local stakeholder consultation. No negative responses to a publication in the local daily newspaper were received.

## Determination regarding small scale projects (50-57) (Not applicable)

## Determination regarding land use, land-use change and forestry (LULUCF) projects (58-64) (Not applicable)

## Determination regarding programmes of activities (65-73) (Not applicable)

# SUMMARY and report oF how due accouNt was taken of COMMENTS RECEIVED PURSUANT TO PARAGRAPH 32 OF THE JI GUIDELINES

No comments, pursuant to paragraph 32 of the JI Guidelines, were received.

# DETERMINATION opinion

Bureau Veritas Certification has performed a determination of the “Retrofitting of Khabarovsk Power Plant” project. The determination was performed on the basis of UNFCCC criteria and host country criteria and also on the criteria given to provide for consistent project operations, monitoring and reporting.

The determination consisted of the following three phases: i) a desk review of the project design and the baseline and monitoring plan; ii) follow-up interviews with project stakeholders; iii) the resolution of outstanding issues and the issuance of the final determination report and opinion.

Project participant/s used the latest tool for demonstration of the additionality. In line with this tool, the PDD provides barrier analysis and common practice analysis to determine that the project activity itself is not the baseline scenario.

Emission reductions attributable to the project are hence additional to any that would occur in the absence of the project activity. Given that the project is implemented and maintained as designed, the project is likely to achieve the estimated amount of emission reductions.

The review of the project design documentation and the subsequent follow-up interviews have provided Bureau Veritas Certification with sufficient evidence to determine the fulfillment of stated criteria.

The determination revealed two pending issues related to the current determination stage of the project: the issue of the written approval of the project and the authorization of the project participant by the host Party.  If the written approval and the authorization by the host Party are awarded, it is our opinion that the project as described in the Project Design Document, Version 1.2 meets all the relevant UNFCCC requirements for the determination stage and the relevant host Party criteria.

The determination is based on the information made available to us and the engagement conditions detailed in this report.

# references

- Category 1 Documents:

Documents provided by GM&T that relate directly to the GHG components of the project.

|  | PDD “Retrofitting of Khabarovsk Power Plant” Versions 1.0 - 1.2. Supporting documentation: - Baseline emission and leakage factors calculation - ERcalc v.1.1_13.12.2010 - Comparison analysis of technical-economical parameters of Khabarovsk CHPP-1 at work on coal and gas fuel as for 2005 - Leakage emission factor calculation |
| --- | --- |

- Category 2 Documents:

- Background documents related to the design and/or methodologies employed in the design or other reference documents.

|  | JI Guidelines. |
| --- | --- |
|  | Guidelines for Users of the JI PDD Form (Version 04), JISC. |
|  | Tool for the demonstration and assessment of additionally (Version 05.2), CDM - Executive Board. |
|  | Minutes of project investment decision meeting on 04/05/2005. |
|  | Working note on economic efficiency of fuel switch at Khabarovsk CHPP-1 (discussed at meeting on 04/05/2005). |
|  | Break-down of investments as per boilers commissioning acts. |
|  | Acts of commissioning of boilers 9, 10, 11, 16 and gas pipeline. |
|  | Data on boiler efficiency. |
|  | Regime maps of boilers 9, 10, 11, 16 at operation on coal and gas fuels. |
|  | Acts of gas consumption in 2008 and 2009. |
|  | Gas consumption summary. |
|  | Provisions for gas price in supply contract. |
|  | Coal tariff for Khabarovsk CHPP for 2005. |

- Persons interviewed:

- List persons interviewed during the determination or persons that contributed with other information that are not included in the documents listed above.

|  | M. Sharshun – GM&T, Business Development Manager. |
| --- | --- |
|  | G. Berdin – GM&T Carbon Project Manager – on behalf of OJSC “Far Eastern Generating Company” |

Please do not delete the Bookmark named “numPages” on this last page in the report.

- o0o    -

# Appendix A

# DETERMINATION PROTOCOL

# Check list for determination, according JOINT IMPLEMENTATION DETERMINATION AND VERIFICATION MANUAL (Version 01)

| Guidelines for JI PDD Form Users or DVM Paragraph | Check Item | Initial finding | Response from project participants | Review of project Participants’ action | Conclusion |
| --- | --- | --- | --- | --- | --- |
| Guidelines for JI PDD Form Users Section A General description of the project |  |  |  |  |  |
| A.1. Title of the project |  |  |  |  |  |
| A.1 | Is the title of the project presented? Is the sectoral scope to which project pertains presented? Is the current version number of the document presented? Is the date when the document was completed presented? | The title of the project is: “Retrofitting of Khabarovsk Power Plant” The sectoral scope is Energy industries (renewable/non-renewable sources) (1) PDD version number: 1.0 PDD is dated 14/12/2010. | N/A | N/A | OK |

| A.2 Description of the project |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| A.2 | Is the purpose of the project included with a concise, summarizing explanation (max. 1-2 pages) of the: a) Situation existing prior to the starting date of the project; b) Baseline scenario; and c) Project scenario (expected outcome, including a technical description). Is the history of the project (incl. its JI component) briefly summarized? | The purpose of the project is defined as “to provide the reliable and high quality heat and electricity supply to the residential and industrial consumers of Khabarovsk city. The project also allows to enhance the environmental situation in and near the city and to reduce pollutants emissions in the water basin of the Amur River. Implementation of the project results in lower greenhouse gas emissions and environmental pollution”. Requirements to the content of Section A.2 are met. Early consideration to JI was given at the project owner’s meeting dared 5th May 2005 (refer to footnote 2). | N/A | N/A | OK |
| A.3 Project participants |  |  |  |  |  |
| A.3 | Are project participants and Party(ies) involved in the project listed? Is contact information provided in Annex 1 of the PDD? | Party(ies) and project participants involved in the project are listed as follows: - Party A the Russian Federation and its legal entity OJSC “Far Eastern Generating Company”. - Party B and its legal entity are subject to be determined. The contact information is provided in PDD Annex 1. | N/A | N/A | OK |
| A.4 Technical description of the project |  |  |  |  |  |
| A.4.1 | Location of the project | The project is carried out in the territory of Khabarovsk CHPP-1 located on Khabarovsk city, Khabarovsk region, Russian Federation. | N/A | N/A | OK |
| A.4.1.1 | Host Party(ies) | The Russian Federation. | N/A | N/A | OK |
| A.4.1.2 | Region/State/Province etc. | Khabarovsk region. | N/A | N/A | OK |
| A.4.1.3 | City/Town/Community etc. | Khabarovsk. | N/A | N/A | OK |
| A.4.1.4 | Detail of the physical location, including information allowing the unique identification of the project. (This section should not exceed one page) | Unique identification of the project is provided by indicating geographic latitude and geographic longitude of Khabarossk city with reference to the source of the geo information (refer to footnote 3). | N/A | N/A | OK |
| A.4.2. Technologies to be employed, or measures, operations or actions to be implemented by the project |  |  |  |  |  |
| A.4.2 | Are the technology(ies) to be employed, or measures, operations or actions to be implemented by the project, including all relevant technical data and the implementation schedule described? | PDD Section A.4.3 provides relevant technical data of main equipment installed and actions to be implemented at CHPP-1 as well as the project implementation schedule. The project envisages the switch from coal to natural gas of eight boilers (st. No. 9 -16). Four boilers No. 9-11,16 are commissioned before 2008. They provided in 2008 and 2009 about 50% of the heat production by all plant boilers (refer to excel spreadsheet Fuel calcs 2). The four remaining boilers will not generate emission reductions within the first crediting period. Refurbishment of No. 12-14 is to be completed in 2012 and No. 15 in 2013. The project does not influence general heat capacity of the boilers No. 9-16. After the project implementation the output of heat energy from the retrofitted boilers will remain the same. Electric and heat capacity of the CHPP will not change. Therefore steam turbines and other boilers installed at the plant and used for electricity generation are excluded from the project boundary. CAR 01. Relevant technical parameters of the project boilers such as heat capacity and thermal efficiency are not described in Section A.4.2. | Response 1 to CAR 01 Data for heat capacity and thermal efficiency of the project boilers were added to the Section A.4.2 of the PDD. Please review the Table A.4.2-2 in the Section 4.2 of the PDD. | Response is positively determined. CAR is closed based on amendments made to PDD. | OK |
| A.4.3. Brief explanation of how the anthropogenic emissions of greenhouse gases by sources are to be reduced by the proposed JI project, including why the emission reductions would not occur in the absence of the proposed project, taking into account national and/or sectoral policies and circumstances |  |  |  |  |  |
| A.4.3 | Is it explained briefly how anthropogenic GHG emission reductions are to be achieved? (This section should not exceed one page.) | It is explained in PDD Section A.4.3 that the GHG emission reduction will be achieved due to: - Conversion of heat-generation fuel at CHPP-1 from coal to less carbon intensive natural gas; - Energy saving due to the reduction of boilers own needs after refurbishment. | N/A | N/A | OK |
| A.4.3.1. Estimated amount of emission reductions over the crediting period |  |  |  |  |  |
| A.4.3.1 | Is the length of the crediting period Indicated? Are estimates of total as well as annual and average annual emission reductions in tonnes of CO2 equivalent provided? | The length of the crediting period is indicated to be 2 years. Total as well as annual and average annual emission reductions in tonnes of CO2 equivalent are provided in accordance with the calculated values in the spreadsheet provided to the verifier. | N/A | N/A | OK |
| A.5. Project approval by the Parties involved |  |  |  |  |  |
| A.5 | Is written project approvals by the Parties involved attached? | CAR 02. The project has no approvals by the Parties involved. The project approval by the Host Party will be provided after the determination statement is issued by the AIE. | Response 1 to CAR 02 The project approval by the Host Party will be provided after the determination statement is issued by the AIE. | N/A | Pending |
| DVM |  |  |  |  |  |
| Project approvals by Parties |  |  |  |  |  |
| 19 | Have the DFPs of all Parties listed as “Parties involved” in the PDD provided written project approvals? | No, pending a response to CAR 02. | N/A | N/A | Pending |
| 19 | Does the PDD identify at least the host Party as a “Party involved”? | Host Party involved is the Russian Federation. | N/A | N/A | OK |
| 19 | Has the DFP of the host Party issued a written project approval? | No, pending a response to CAR 02. | N/A | N/A | Pending |
| 20 | Are all the written project approvals by Parties involved unconditional? | Yes, the written project approvals by Parties involved are unconditional. | N/A | N/A | OK |
| Authorization of project participants by Parties involved |  |  |  |  |  |
| 21 | Is each of the legal entities listed as project participants in the PDD authorized by a Party involved, which is also listed in the PDD, through: − A written project approval by a Party involved, explicitly indicating the name of the legal entity? or − Any other form of project participant authorization in writing, explicitly indicating the name of the legal entity? | Legal entity from the Russian Federation involved in the project is OJSC “Far Eastern Generating Company”. This project participant will be authorized with the issue of the relevant project approval. Party B and its legal entity are subject to be determined. Pending a response to CAR 02. | N/A | N/A | Pending |
| Baseline setting |  |  |  |  |  |
| 22 | Does the PDD explicitly indicate which of the following approaches is used for identifying the baseline? − JI specific approach − Approved CDM methodology approach | It is explicitly indicated that a JI specific approach is chosen. | N/A | N/A | OK |
| JI specific approach only |  |  |  |  |  |
| 23 | Does the PDD provide a detailed theoretical description in a complete and transparent manner? | A detailed theoretical description in a complete and transparent manner is provided for the applied JI specific approach. It includes the following steps: - Identification and listing of plausible baseline scenarios; - Identification of the most plausible scenario; - Identification and assessment of leakages in the project and the baseline scenario; - Identification and listing key factors for baseline setting. | N/A | N/A | OK |
| 23 | Does the PDD provide justification that the baseline is established: (a) By listing and describing plausible future scenarios on the basis of conservative assumptions and selecting the most plausible one? (b) Taking into account relevant national and/or sectoral policies and circumstance? − Are key factors that affect a baseline taken into account? (c) In a transparent manner with regard to the choice of approaches, assumptions, methodologies, parameters, data sources and key factors? (d) Taking into account of uncertainties and using conservative assumptions? (e) In such a way that ERUs cannot be earned for decreases in activity levels outside the project or due to force majeure? (f) By drawing on the list of standard variables contained in appendix B to “Guidance on criteria for baseline setting and monitoring”, as appropriate? | Baseline is established: - By listing and describing future scenarios available for the project owner OJSC ” Far Eastern Generating Company” and selecting the most plausible one. Hypothetical alternatives like installation of biofuel fired boilers, geothermal, solar, and nuclear steam generation were not considered plausible. Two alternative scenarios for steam generation in boilers were listed and described as follows. Alternative scenario 1: Implementation of the project without involving of JI mechanism; Alternative scenario 2: Business-as-usual scenario, i.e. operation of existing coal fired boilers of BKZ-210-140-F type for the purpose of steam generation without any retrofitting. Based on the Alternatives analysis with taking into account the results of the investment efficiency assessment and barriers analysis presented in Section B.2, a conclusion is made that alternative 2 is the most plausible and credible baseline scenario. - Taking into account the national sectoral policy stated in “General scheme of location of power-generation objects till 2020 and with a perspective till 2030”. relevant national and/or sectoral policies and circumstance; - Taking into account key appropriate factors that affect a baseline, such as availability of capital for the project implementation; local availability of project technologies and techniques, skills and know-how regarding gas fired boilers. - In a transparent manner with regard to the choice of the JI specific approach and related assumptions, parameters, data sources and key factors for baseline setting, which are listed in tabular format in Section B.1. - In a transparent manner with regard to the sort of coal used in CHPP-1 and the availability of the natural gas. - Taking into account of the uncertainty and using a conservative assumption with regard to the efficiency of old coal fired and new gas fired boilers. - In such a way that ERUs cannot be earned for decreases in activity levels outside the project or due to force majeure. - By drawing on the list of standard variables contained in appendix B to “Guidance on criteria for baseline setting and monitoring”, such as fuel consumption, CO2 emission factor for fuels, NCV for natural gas, boiler thermal efficiency, leakage factors for coal and natural gas production. - By summarising in Annex 2 the key elements in tabular form as required by Guidelines for Users of JI PDD Form. | N/A | N/A | OK |
| 24 | If selected elements or combinations of approved CDM methodologies or methodological tools for baseline setting are used, are the selected elements or combinations together with the elements supplementary developed by the project participants in line with 23 above? | N/A |  |  |  |
| 25 | If a multi-project emission factor is used, does the PDD provide appropriate justification? | N/A |  |  |  |
| Approved CDM methodology approach only_Paragraphs 26(a) – 26(d)_Not applicable |  |  |  |  |  |
| Additionality |  |  |  |  |  |
| JI specific approach only |  |  |  |  |  |
| 28 | Does the PDD indicate which of the following approaches for demonstrating additionality is used? (a) Provision of traceable and transparent information showing the baseline was identified on the basis of conservative assumptions, that the project scenario is not part of the identified baseline scenario and that the project will lead to emission reductions or enhancements of removals; (b) Provision of traceable and transparent information that an AIE has already positively determined that a comparable project (to be) implemented under comparable circumstances has additionality; (c) Application of the most recent version of the “Tool for the demonstration and assessment of additionality. (allowing for a two-month grace period) or any other method for proving additionality approved by the CDM Executive Board”. | It is explicitly indicated that the latest version of the CDM “Tool for the demonstration and assessment of additionality” (Version 05.2) was used. In accordance with paragraph (3) of the tool project proponents should “provide evidence that the incentive from the CDM was seriously considered in the decision to proceed with the project activity. This evidence shall be based on (preferably official, legal and/or other corporate) documentation that was available at, or prior to, the start of the project activity”. Such evidence is referred to in PDD on page 3, footer 2. | N/A | N/A | OK |
| 29 (a) | Does the PDD provide a justification of the applicability of the approach with a clear and transparent description? | PDD provides a justification of the applicability of the CDM Tool with reference to Paragraph 2 of the Annex 1 to the Guidance on criteria for baseline setting and monitoring, version 02. A clear and transparent description of the Tool steps is provided. The same alternatives to the JI project activity as in Section B.1 are defined. They are consistent with mandatory laws and regulations. | N/A | N/A | OK |
| 29 (b) | Are additionality proofs provided? | To prove additionality barrier analysis and common practice analysis were applied. An investment barrier which prevents implementation of the project without JI registration was identified. Justification of the investment barrier is provided in sufficient detail in Section B.2. Key points of the barrier analysis are: - Running of Khabarovsk CHPP-1 on natural gas even disregarding investment expenditures is substantially more expensive as compared to operating on coal (refer to Table B.2-1 which relates to switch to gas of the whole CHPP-1). - The price of the natural gas for the project is set by the only supplier in the region Exxon Neftegas Limited, operator of Sakhalin-1 project. It is significantly higher than the stage regulated price elsewhere in Russia. - The gas price is linked to the JCC (Japan Customs-cleared Crudeoil) price index and determined in US dollars. This exposes the company to a new set of risks: international oil price volatility and currency fluctuations. With unpredictable gas prices and RUB/USD exchange rate it is more difficult for a company to plan its budget and establish a proper tariff. - Even if the increased fuel cost would be compensated by the increased tariff, there are no sources to compensate for investments expenditures. Thus, the project faces substantial investment barrier. - Significant amount of capital expenditure and additional risks described above linked with lack of economic incentives makes the project implementation financially unattractive for the project owner. - Implementation of the project with involvement of JI mechanism allows the PO to recover the investment expenditures. It was forecasted that sale of the ERU will be more than enough to compensate capital expenditures. Therefore, it was concluded that Kyoto benefits help the project to alleviate the identified investment barrier. Outcome of the barrier analysis is: The identified investment barrier prevents implementation of the Alternative 1 - The proposed project activity undertaken without being registered as a JI project activity. The barrier analysis is determined by AIE to be in conformity with the Step 3 of Additionality Tool v.05.2 and CDM Guidelines for objective demonstration and assessment of barriers Version 01. However CAR 01 has to be responded. CAR 03. Please justify transparently that the revenue from the sale of 3,2 MtCO2e (refer to Table A.4.3.1-1) would compensate the investment expenditures for 4 refurbished boilers. AIE Note: information in PDD about 6,5 MtCO2e sold for 1850 mln. RUR is irrelevant to the project. The common practice analysis has shown that the project activity is not the common practice in Khabarovsk region. This conclusion is determined by AIE through Internet search. All in all, a conclusion is made in PDD that the project activity is additional. | Response to CAR 03 At the time of ERPA contract execution the contract price of ERU exceeded 10,6 EUR. Russian operator of carbon credits (Sberbank) also issued recommendations to maintain the prices at or above 10 EUR (http://www.pointcarbon.com/news/1.1467728). Thus, 10 Euro can be considered as the benchmark price for ERUs generated by the project. 4 already refurbished boilers will generate about 3,2 MtCO2e. Sale of this amount of ERUs with price 10 EUR gives 32 mln. EUR revenues. The total cost of refurbishment of 4 boilers including gas pipeline is about 924 mln RUR. (Please refer to the enclosed acts of commissioning to ensure costs – the name of the folder 1. Acts of commissioning). The average official RUR-EUR exchange rate set by Russian Central Bank in 2010 was 40.22 RUR per 1 EUR (for calculations of the average exchange rate please refer to the enclosed file 2. RUR-EUR exchange rate.xls). Sale of the ERUs gives about 1,287.04 mln. RUR (3.2 MtCO2e * 10 EUR Price * 40.22 Exchange rate). Thus, revenues from sale of 3.2 MtCO2e (1,287.04 mln. RUR) are sufficient to compensate investment expenditures for 4 refurbished boilers (924 mln. RUR). The Section B.2 was updated. Please review Sub-step 3a in the Section B.2. | Response is positively determined. CAR is closed based on amendments made to PDD. | OK |
| 29 (c) | Is the additionality demonstrated appropriately as a result? | With the unresolved CAR 03 the additionality of the project activity is not demonstrated. | N/A | N/A | OK |
| 30 | If the approach 28 (c) is chosen, are all explanations, descriptions and analyses made in accordance with the selected tool or method? | Except the issues addressed in CAR 02, all explanations, descriptions and analyses are made in accordance with the used additionality tool. | N/A | N/A | OK |
| Approved CDM methodology approach only_ Paragraphs 31(a) – 31(e)_Not applicable |  |  |  |  |  |
| Project boundary (applicable except for JI LULUCF projects |  |  |  |  |  |
| JI specific approach only |  |  |  |  |  |
| 32 (a) | Does the project boundary defined in the PDD encompass all anthropogenic emissions by sources of GHGs that are: (i) Under the control of the project participants? (ii) Reasonably attributable to the project? (iii) Significant? | The project boundary defined in the PDD encompasses all anthropogenic emissions by sources of GHGs that are (i) under the control of the project participants, (ii) reasonably attributable to the project, and (iii) significant. These are: - CO2 emissions from coal fired boilers in baseline scenario; - CO2 emissions from gas fired boilers in project scenario;; - Leakage due to fuel (coal and natural gas) extraction, processing and transportation. | N/A | N/A | OK |
| 32 (b) | Is the project boundary defined on the basis of a case-by-case assessment with regard to the criteria referred to in 32 (a) above? | Project boundary is defined on the basis of case-by-case assessment of different emission sources. | N/A | N/A | OK |
| 32 (c) | Are the delineation of the project boundary and the gases and sources included appropriately described and justified in the PDD by using a figure or flow chart as appropriate? | Delineation of the project boundary and the gases and sources included are appropriately described and justified in the PDD by using Figure B.3-1. | N/A | N/A | OK. |
| 32 (d) | Are all gases and sources included explicitly stated, and the exclusions of any sources related to the baseline or the project are appropriately justified? | All gases and sources included are explicitly stated; refer to 32 (a) above. Exclusion of CH4 and N2O emission is appropriate as a conservative assumption. Emissions from electricity consumption for boiler own needs are conservatively neglected. | N/A | N/A | OK |
| Approved CDM methodology approach only_Paragraph 33_ Not applicable |  |  |  |  |  |
| Crediting period |  |  |  |  |  |
| 34 (a) | Does the PDD state the starting date of the project as the date on which the implementation or construction or real action of the project will begin or began? | The starting date is defined as 05/05/2005 being the date of the decision making meeting. Refer to footer 2 on page 3. | N/A | N/A | OK |
| 34 (a) | Is the starting date after the beginning of 2000? | Yes. | N/A | N/A | OK |
| 34 (b) | Does the PDD state the expected operational lifetime of the project in years and months? | Operational lifetime is defined as 15 years (180 months). CAR 04. Operational lifetime does not fit information about individual lifetime in the Table on page 6. | Response 1 to CR 04 Operational lifetime was corrected. Please review the Section C.2 of the PDD. | Response is positively determined. CAR is closed based on amendments made to PDD. | OK |
| 34 (c) | Does the PDD state the length of the crediting period in years and months? | The length of crediting period is defined as 5 years (60 months). | N/A | N/A | OK |
| 34 (c) | Is the starting date of the crediting period on or after the date of the first emission reductions or enhancements of net removals generated by the project? | Starting day is 01/01/2011 which is the date of the first emission reductions generated by the project. | N/A | N/A | OK |
| 34 (d) | Does the PDD state that the crediting period for issuance of ERUs starts only after the beginning of 2008 and does not extend beyond the operational lifetime of the project? | The crediting period is defined as from 01/01/2008 till 31/12/2012. | N/A | N/A | OK |
| 34 (d) | If the crediting period extends beyond 2012, does the PDD state that the extension is subject to the host Party approval? Are the estimates of emission reductions or enhancements of net removals presented separately for those until 2012 and those after 2012? | N/A |  |  |  |
| Monitoring plan |  |  |  |  |  |
| 35 | Does the PDD explicitly indicate which of the following approaches is used? − JI specific approach − Approved CDM methodology approach | It is explicitly indicated that a JI specific approach is chosen. | N/A | N/A | OK |
| JI specific approach only |  |  |  |  |  |
| 36 (a) | Does the monitoring plan describe: − All relevant factors and key characteristics that will be monitored? − The period in which they will be monitored? − All decisive factors for the control and reporting of project performance? | The monitoring plan describes: - data to be monitored: consumption and NCV of natural gas (D..1.1.1); - the period in which they will be monitored: continuously or/and monthly; - all decisive factors for the control and reporting of project performance: 2tp statistics forms; quality control (QC) and quality assurance (QA) procedures; the operational and management structure that will be applied in implementing the monitoring plan. | N/A | N/A | OK |
| 36 (b) | Does the monitoring plan specify the indicators, constants and variables used that are reliable, valid and provide transparent picture of the emission reductions or enhancements of net removals to be monitored? | The monitoring plan specifies the indicators, constants and variables used that are reliable, valid and provide transparent picture of the emission reductions to be monitored. For data to be monitored, please refer to 36(a) above. For constants please refer to the next paragraph. | N/A | N/A | OK |
| 36 (b) | If default values are used: − Are accuracy and reasonableness carefully balanced in their selection? − Do the default values originate from recognized sources? − Are the default values supported by statistical analyses providing reasonable confidence levels? − Are the default values presented in a transparent manner? | Constants used are the default values of the parameters as follows: - CO2 emission factors for natural gas and coal (from 2006 IPCC, v.2, ch.2); - Efficiency of gas fired boilers: a conservative value 93,4% is taken; - Efficiency of coal fired boilers: a conservative gross value 89,73% is taken; - Leakage factors for coal and natural gas (from IPCC v.2 ch.4). | N/A | N/A | OK |
| 36 (b) (i) | For those values that are to be provided by the project participants, does the monitoring plan clearly indicate how the values are to be selected and justified? | N/A | N/A | N/A | OK |
| 36 (b) (ii) | For other values, − Does the monitoring plan clearly indicate the precise references from which these values are taken? − Is the conservativeness of the values provided justified? | The monitoring plan provides explicit description of the data sources for all parameters concerned (2006 IPCC, v2, Ch. 2 and 4). The conservativeness of the ratio of gross values of gas and coal fired boiler efficiency values is justified. The ratio underestimates baseline emissions due to not taking into account higher own needs for coal fired boilers. | N/A | N/A | OK |
| 36 (b) (iii) | For all data sources, does the monitoring plan specify the procedures to be followed if expected data are unavailable? | All parameters included in the monitoring plan are to be either monitored under regular operational practice or taken as constants. Means of monitoring are indicated: gas meters. | N/A | N/A | OK |
| 36 (b) (iv) | Are International System Units (SI units) used? | International System Units (SI units) are used. | N/A | N/A | OK |
| 36 (b) (v) | Does the monitoring plan note any parameters, coefficients, variables, etc. that are used to calculate baseline emissions or net removals but are obtained through monitoring? | The monitoring plan notes parameters, coefficients, variables, etc. that are used to calculate baseline emissions net removals based on monitored data of heat generated by gas fired boilers. | N/A | N/A | OK |
| 36 (b) (v) | Is the use of parameters, coefficients, variables, etc. consistent between the baseline and monitoring plan? | There is consistency between parameters, coefficients, variables, etc. used in baseline and monitoring plan. | N/A | N/A | OK |
| 36 (c) | Does the monitoring plan draw on the list of standard variables contained in appendix B of “Guidance on criteria for baseline setting and monitoring”? | The monitoring plan draws on the list of standard variables contained in appendix B of “Guidance on criteria for baseline setting and monitoring” such as such as fuel consumption, CO2 emission factor of fuels, NCV of natural gas, boiler thermal efficiency, leakage factors for coal and natural gas. | N/A | N/A | OK |
| 36 (d) | Does the monitoring plan explicitly and clearly distinguish: (i) Data and parameters that are not monitored throughout the crediting period, but are determined only once (and thus remain fixed throughout the crediting period), and that are available already at the stage of determination? (ii) Data and parameters that are not monitored throughout the crediting period, but are determined only once (and thus remain fixed throughout the crediting period), but that are not already available at the stage of determination? (iii) Data and parameters that are monitored throughout the crediting period? | Description of the monitoring plan in Section D.1 explicitly and clearly distinguishes: (i) Data and parameters that are not monitored throughout the crediting period, but are determined only once (and thus remain fixed throughout the crediting period), and that are available already at the stage of determination regarding the PDD. Refer to natural gas and coal emission factors, leakage factors for coal and natural gas. (ii) Data and parameters that are not monitored throughout the crediting period, but are determined only once (and thus remain fixed throughout the crediting period), but that are not already available at the stage of determination. Refer to gas boiler efficiency. b) Data and parameters that are to be monitored throughout the crediting period. Refer to natural gas consumption and NCV of natural gas. | N/A | N/A | OK |
| 36 (e) | Does the monitoring plan describe the methods employed for data monitoring (including its frequency) and recording? | Yes, the methods used (gas meters, certificate for natural gas) and data collection frequency (continuously or monthly) and recording (electronic/paper) are clearly defined in the monitoring plan | N/A | N/A | OK |
| 36 (f) | Does the monitoring plan elaborate all algorithms and formulae used for the estimation/calculation of baseline emissions/removals and project emissions/ removals or direct monitoring of emission reductions from the project, leakage, as appropriate? | These are Formulae (D.1.1.2-1) for project emissions, (D.1.1.4-1) for baseline emissions, and (D. 1.3.2-1) and (D.1.3.2-2) for leakage. | N/A | N/A | OK |
| 36 (f) (i) | Is the underlying rationale for the algorithms/formulae explained? | Yes. | N/A | N/A | OK |
| 36 (f) (ii) | Are consistent variables, equation formats, subscripts etc. used? | Consistent variables, equation formats, subscripts etc. are used. | N/A | N/A | OK |
| 36 (f) (iii) | Are all equations numbered? | Yes. | N/A | N/A | OK |
| 36 (f) (iv) | Are all variables, with units indicated defined? | Yes. | N/A | N/A | OK |
| 36 (f) (v) | Is the conservativeness of the algorithms/procedures justified? | Conservative (overstated) value of coal fired boiler efficiency is used. | N/A | N/A | OK |
| 36 (f) (v) | To the extent possible, are methods to quantitatively account for uncertainty in key parameters included? | N/A |  |  |  |
| 36 (f) (vi) | Is consistency between the elaboration of the baseline scenario and the procedure for calculating the emissions or net removals of the baseline ensured? | There is consistency between the elaboration on the baseline scenario and calculating the baseline emission in the spreadsheet. | N/A | N/A | OK |
| 36 (f) (vii) | Are any parts of the algorithms or formulae that are not self-evident explained? | N/A | N/A | N/A | OK |
| 36 (f) (vii) | Is it justified that the procedure is consistent with standard technical procedures in the relevant sector? | Yes, the monitoring is in line with current operational routines. | N/A | N/A | OK |
| 36 (f) (vii) | Are references provided as necessary? | References to 2006 IPCC V.2 Ch. 2 and 4 are provided. | N/A | N/A | OK |
| 36 (f) (vii) | Are implicit and explicit key assumptions explained in a transparent manner? | All key assumptions are explained in a transparent manner. | N/A | N/A | OK |
| 36 (f) (vii) | Is it clearly stated which assumptions and procedures have significant uncertainty associated with them, and how such uncertainty is to be addressed? | N/A |  |  |  |
| 36 (f) (vii) | Is the uncertainty of key parameters described and, where possible, is an uncertainty range at 95% confidence level for key parameters for the calculation of emission reductions or enhancements of net removals provided? | The meters are recording the consumption of the natural gas continuously. The issue of uncertainty range and confidence interval is irrelevant for such measurements. | N/A | N/A | OK |
| 36 (g) | Does the monitoring plan identify a national or international monitoring standard if such standard has to be and/or is applied to certain aspects of the project? Does the monitoring plan provide a reference as to where a detailed description of the standard can be found? | Section D reads “There are no special national monitoring standards applicable to the project except federal law #102-FZ dated 11.06.2008 “about standardisation of measurements”. This law is applicable only for one parameter monitored – natural gas consumption as it is the only one parameter of trade (article 1, clause 3, point 7 of the law). All legislation requirements regarding monitoring of this parameter are implemented”. | N/A | N/A | OK |
| 36 (h) | Does the monitoring plan document statistical techniques, if used for monitoring, and that they are used in a conservative manner? | N/A |  |  |  |
| 36 (i) | Does the monitoring plan present the quality assurance and control procedures for the monitoring process, including, as appropriate, information on calibration and on how records on data and/or method validity and accuracy are kept and made available upon request? | QC/QA procedures are specified in PDD Section D.2. They include basic information about the calibration procedures for gas meters. | N/A | N/A | OK |
| 36 (j) | Does the monitoring plan clearly identify the responsibilities and the authority regarding the monitoring activities? | The operational and management structure that the project participants(s) will implement in order to monitor emission reduction generated by the project is described in PDD Section D.4. Rresponsibilities and the authority regarding the monitoring activities are indicated. | N/A | N/A | OK |
| 36 (k) | Does the monitoring plan, on the whole, reflect good monitoring practices appropriate to the project type? If it is a JI LULUCF project, is the good practice guidance developed by IPCC applied? | Monitoring techniques are in line with current operation routines. | N/A | N/A | OK |
| 36 (l) | Does the monitoring plan provide, in tabular form, a complete compilation of the data that need to be collected for its application, including data that are measured or sampled and data that are collected from other sources but not including data that are calculated with equations? | Tables D.1.1.1 and D.1.1.3 provide compilation of all data needed to monitor project and baseline emissions. . | N/A | N/A | OK |
| 36 (m) | Does the monitoring plan indicate that the data monitored and required for verification are to be kept for two years after the last transfer of ERUs for the project? | CAR 05. Section D reads: “The monitoring plan data should be stored for at least 2 years after the end of the crediting period”. This is not in line with Paragraph 41 of the Guidance: “Data monitored and required for determination according to paragraph 37 of the JI guidelines are to be kept for two years after the last transfer of ERUs for the project”. | Response 1 to CAR 05 The Section D.1 was updated according to the Paragraph 41 of the Guidance. Now it reads “The monitoring plan data should be stored for at least 2 years after the last transfer of ERUs for the project”. Please review Section D.1 of the PDD. | Response is positively determined. CAR is closed based on amendments made to PDD. | OK |
| 37 | If selected elements or combinations of approved CDM methodologies or methodological tools are used for establishing the monitoring plan, are the selected elements or combination, together with elements supplementary developed by the project participants in line with 36 above? | N/A |  |  |  |
| Approved CDM methodology approach only_Paragraphs 38(a) – 38(d)_Not applicable |  |  |  |  |  |
| Applicable to both JI specific approach and approved CDM methodology approach_Paragraph 39_Not applicable |  |  |  |  |  |
| Leakage |  |  |  |  |  |
| JI specific approach only |  |  |  |  |  |
| 40 (a) | Does the PDD appropriately describe an assessment of the potential leakage of the project and appropriately explain which sources of leakage are to be calculated and which can be neglected? | PDD describes the assessment leakage from fugitive emissions of natural gas and methane during stages of production/extraction, processing, transportation and distribution. Refer to PDD Sections B.1 and D.1.3. | N/A | N/A | OK |
| 40 (b) | Does the PDD provide a procedure for an ex ante estimate of leakage? | Leakages are calculated by Formulae (D.1.3.2-1) and (D.1.3.2-2). | N/A | N/A | OK |
| Approved CDM methodology approach only_Paragraph 41_Not applicable |  |  |  |  |  |
| Estimation of emission reductions or enhancements of net removals |  |  |  |  |  |
| 42 | Does the PDD indicate which of the following approaches it chooses? (a) Assessment of emissions or net removals in the baseline scenario and in the project scenario (b) Direct assessment of emission reductions | Assessment of emissions in the baseline scenario and in the project scenario is chosen. | N/A | N/A | OK |
| 43 | If the approach (a) in 42 is chosen, does the PDD provide ex ante estimates of: (a) Emissions or net removals for the project scenario (within the project boundary)? (b) Leakage, as applicable? (c) Emissions or net removals for the baseline scenario (within the project boundary)? (d) Emission reductions or enhancements of net removals adjusted by leakage? | PDD provides ex ante estimates of: (a) Emissions for the project scenario (Section E.1); (b) Leakage (Section E.2); (c) Emissions for the baseline scenario (Section E.4); (d) Emission reductions adjusted by leakage (Section E.6). Data presented in Section E correspond to the results of calculations on the excel spreadsheet ERcalc v.1.1_13.12.2010.xlsx made available to AIE. For years 2008 and 2009 the actual natural gas consumption was taken for emission reductions calculations. As four out of eight coal boilers were switched to natural gas before 2008 and the remaining boilers are planned for switching in/after 2012, it is assumed that natural gas consumption for years 2010-2012 will remain at the same level as in years 2008 and 2009. | N/A | N/A | OK |
| 44 | If the approach (b) in 42 is chosen, does the PDD provide ex ante estimates of: (a) Emission reductions or enhancements of net removals (within the project boundary)? (b) Leakage, as applicable? (c) Emission reductions or enhancements of net removals adjusted by leakage? | N/A |  |  |  |
| 45 | For both approaches in 42 (a) Are the estimates in 43 or 44 given: (i) On a periodic basis? (ii) At least from the beginning until the end of the crediting period? (iii) On a source-by-source/sink-by-sink basis? (iv) For each GHG? (v) In tones of CO2 equivalent, using global warming potentials defined by decision 2/CP.3 or as subsequently revised in accordance with Article 5 of the Kyoto Protocol? (b) Are the formula used for calculating the estimates in 43 or 44 consistent throughout the PDD? (c) For calculating estimates in 43 or 44, are key factors influencing the baseline emissions or removals and the activity level of the project and the emissions or net removals as well as risks associated with the project taken into account, as appropriate? (d) Are data sources used for calculating the estimates in 43 or 44 clearly identified, reliable and transparent? (e) Are emission factors (including default emission factors) if used for calculating the estimates in 43 or 44 selected by carefully balancing accuracy and reasonableness, and appropriately justified of the choice? (f) Is the estimation in 43 or 44 based on conservative assumptions and the most plausible scenarios in a transparent manner? (g) Are the estimates in 43 or 44 consistent throughout the PDD? (h) Is the annual average of estimated emission reductions or enhancements of net removals calculated by dividing the total estimated emission reductions or enhancements of net removals over the crediting period by the total months of the crediting period and multiplying by twelve? | - Estimates in 43 are given on the periodic basis, from the beginning until the end of the crediting period, in tones of CO2 equivalent. - The formulae used in PDD are consistent. - Key factors influencing the baseline emissions and the activity level of the project and the emissions are taken into account, as appropriate. - Data sources used for calculating the estimates are clearly identified, reliable and transparent. - Default values of natural gas and coal emission factor and leakage factors are taken from 2006 IPCC V. 2 Ch. 2 and 4. - Estimation in 43 is based on conservative assumptions and the most plausible scenario in a transparent manner. - Estimates in 43 are consistent throughout the PDD. - The annual average of estimated emission reductions calculated by dividing the total estimated emission reductions over the crediting period by the total months of the crediting period and multiplying by twelve. | N/A | N/A | OK |
| 46 | If the calculation of the baseline emissions or net removals is to be performed ex post, does the PDD include an illustrative ex ante emissions or net removals calculation? | Illustrative ex-ante estimation of baseline emissions are made on the excel spreadsheet. | N/A | N/A | OK |
| Approved CDM methodology approach only_Paragraphs 47(a) – 47(b)_Not applicable |  |  |  |  |  |
| Environmental impacts |  |  |  |  |  |
| 48 (a) | Does the PDD list and attach documentation on the analysis of the environmental impacts of the project, including transboundary impacts, in accordance with procedures as determined by the host Party? | PDD Section F.1 refers to the Explanatory Note for the project design and the Environmental Impact Assessment prepared in accordance with procedures of the host Party and being an integral part of the project design documentation. The latter has received the positive conclusion of Glavgosexpertiza #94-2003(F) dated 02.06.2004. Permit for air emissions was issued by Gosgortekhnadzor, Priamorsk branch #12-41/681 dated 11.03.04. All the referenced documents are in AIE possession. Analysis of environmental impact if the project is summarised in Section F.1. The project makes no adverse transboundary effects. | N/A | N/A | OK |
| 48 (b) | If the analysis in 48 (a) indicates that the environmental impacts are considered significant by the project participants or the host Party, does the PDD provide conclusion and all references to supporting documentation of an environmental impact assessment undertaken in accordance with the procedures as required by the host Party? | The project leads to a significant decrease of pollutants emissions into the atmosphere Relevant supporting documentation is referenced in Section F.1. | N/A | N/A | OK |
| Stakeholder consultation |  |  |  |  |  |
| 49 | If stakeholder consultation was undertaken in accordance with the procedure as required by the host Party, does the PDD provide: (a) A list of stakeholders from whom comments on the projects have been received, if any? (b) The nature of the comments? (c) A description on whether and how the comments have been addressed? | Stakeholder consultation is not required by the Russian legislation. Hence public hearings were not organized. The project was announced in 2005 in local mass media. No negative responses were received. | N/A | N/A | OK |
| Determination regarding small-scale projects (additional elements for assessment)_Paragraphs 50 - 57_Not applicable |  |  |  |  |  |
| Determination regarding land use, land-use change and forestry projects _Paragraphs 58 – 64(d)_Not applicable |  |  |  |  |  |
| Determination regarding programmes of activities_Paragraphs 66 – 73_Not applicable |  |  |  |  |  |