## Tabelle1
Emission Reductions - from 2008-01-01 to 2010-03-31
[24 empty] | P1 | P2 | P3 | P4 | P5 | P8 | P11 | P12 | P13 | P14 | P15 | P16 | P17 | P18 | P19 | P23 | P24 | P25 | P26 | P27 | P28 | B1 | B3 | B4 | B14 | B18 | B19 | B46 |  |  | B47 |  |  |  | B49 | B55 | B57
|  |  |  | measured values | [10 empty] | uncertainty weighted values | [7 empty] | ER | PEy | PEME | PEMD | PEUM | CONSELEC,PJ | CEFELEC,PJ | MDFL | MMFL | EffFL | MDELEC | MMELEC | EffELEC | MDHEAT | MMHEAT | EffHEAT | CEFCH4 | CEFNMHC | PCCH4 | PCNMHC | r | GWPCH4 | BEy | BEMR,y | BEUse,y | CMMPJ,y | GWPCH4 | CEFCH4 | GENy |  |  | HEATy |  |  |  | EFelec | EFCO2,Coal | Effheat,coal |  | Effheat,VAH
Date | methane amount sent to winter boilers | methane amount sent to summer boilers | methane amount sent to VAH | methane amount sent to emergency power generator | methane sent to cogene-ration unit | Methane sent to flare | Methane destroyed by flare | Electricity generation by Cogenera-tion Unit | Methane sent to flare | total methane amount utilised |  | methane amount sent to winter boilers | methane amount sent to summer boilers | methane amount sent to VAH | methane amount sent to emergency power generator | methane sent to cogene-ration unit | Methane sent to flare | Methane destroyed by flare | Electricity generation by Cogenera-tion Unit | Methane sent to flare | total methane amount utilised | total methane amount | Emission reductions | Project emissions in year y | Project emissions from energy use to capture and use methane | Project emissions from methane destroyed | Project emissions from uncombusted methane | Additional electricity consumption by project | Carbon emission factor of CONSELEC,PJ | Methane destroyed by flare | Methane sent to flare | Flare/combustion efficiency, determined by the operation hours and the methane content in the exhaust gas | Methane destroyed by power generation | Methane sent to power plant | Efficiency of methane destruction / oxidation in power plant | Methane destroyed by heat generation | Methane sent to heat generation | Efficiency of methane destruction / oxidation in heat plant | Carbon emission factor for combusted methane | Carbon emission factor for combusted non methane hydrocarbons (various) | Concentration of methane in extracted gas | NMHC concentration in coal mine gas | Relative proportion of NMHC compared to methane | Global warming potential of methane | Baseline emissions in year y | Baseline emissions from release of methane into the atmosphere in year y that is avoided by the project activity | Baseline emissions from the production of power, heat or supply to gas grid replaced by the project activity in year y | CMM captured in the project activity in year y | Global warming potential of methane | Carbon emission factor for combusted methane | Electricity generation by project | Electricity generation by Emergency Power Generator | Electricity generation by Cogenera-tion Unit | Heat generation by project | Heat generation by Winter Boilers | Heat generation by Summer Boilers | Heat generation by VAH | CO2 emission factor of the grid | CO2 emission factor of fuel used for captive power or heat | Energy efficiency of winter boilers | Energy efficiency of summer boilers | Energy efficiency of VAH
| m³ | m³ | m³ | m³ | m³ | t CH4 | t CH4 | MWh | m³ | m³ | t | m³ | m³ | m³ | m³ | m³ | t CH4 | t CH4 | MWh | m³ | m³ | t | t CO2eq | t CO2eq | t CO2eq | t CO2eq | t CO2eq | MWh | t CO2eq | t CH4 | t CH4 | % | t CH4 | t CH4 | % | t CH4 | t CH4 | % | t CO2eq / t CH4 | t CO2eq / t NMHC | % | % | - | t CO2eq / t CH4 | t CO2eq | t CO2eq | t CO2eq | t CH4 | t CO2eq / t CH4 | t CO2eq / t CH4 | MWh | MWh | MWh | MWh | MWh | MWh | MWh | t CO2 / MWh | tCO2/MWh | % | % | %
2008-01-01 | 921369.0654 |  | 147921.5368 |  | 0 | 0 | 0 | 0 | 0 | 1069290.6022 | 766.6814 | 872536.505 | 0 | 140081.6953 | 0 | 0 | 0 | 0 | 0 |  | 1012618.2003 | 726.0472 | 15873.5205 | 2062.8817 | 0 | 1986.6468 | 76.235 | 0 | 0.695 | 0 | 0 | n.a. | 0 | 0 | 99.5% | 722.417 | 726.0472 | 99.5% | 2.75 |  |  |  |  | 21 | 17936.4022 | 15246.9922 | 2689.41 | 726.0472 | 21 | 2.75 | 0 | 0 | 0 | 7896.0951 | 6521.1197 | 0 | 1374.9754 | 0.695 | 0.3406 | 75% | 74% | 0.985
2008-02-01 | 725392.8259 |  | 76843.834 |  | 0 | 0 | 0 | 0 | 0 | 802236.66 | 575.2037 | 686947.0062 | 0 | 72771.1108 | 0 | 0 | 0 | 0 | 0 |  | 759718.117 | 544.7179 | 11883.3463 | 1547.6797 | 0 | 1490.4843 | 57.1954 | 0 | 0.695 | 0 | 0 |  | 0 | 0 |  | 541.9943 | 544.7179 | [7 empty] | 13431.026 | 11439.0757 | 1991.9503 | 544.7179 |  |  | 0 | 0 | 0 | 5848.3568 | 5134.0702 | 0 | 714.2867 | 0.695
2008-03-01 | 708796.5789 |  |  |  | 0 | 0 | 0 | 0 | 0 | 708796.5789 | 508.2071 | 671230.3602 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 671230.3602 | 481.2722 | 10447.9576 | 1367.4145 | 0 | 1316.881 | 50.5336 | 0 | 0.695 | 0 | 0 |  | 0 | 0 |  | 478.8658 | 481.2722 | [7 empty] | 11815.3722 | 10106.7155 | 1708.6567 | 481.2722 |  |  | 0 | 0 | 0 | 5016.6079 | 5016.6079 | 0 | 0 | 0.695
2008-04-01 | 246362.4637 | 82633.8807 |  |  | 0 | 0 | 0 | 0 | 0 | 328996.3444 | 235.8904 | 233305.2532 | 78254.285 | 0 | 0 | 0 | 0 | 0 | 0 |  | 311559.5382 | 223.3882 | 4846.8875 | 634.7017 | 0 | 611.2459 | 23.4558 | 0 | 0.695 | 0 | 0 |  | 0 | 0 |  | 222.2712 | 223.3882 | [7 empty] | 5481.5892 | 4691.152 | 790.4373 | 223.3882 |  |  | 0 | 0 | 0 | 2320.7201 | 1743.6651 | 577.0549 | 0 | 0.695
2008-05-01 |  | 86713.371 |  | 86143.7223 | 0 | 0 | 0 | 0 | 0 | 172857.0933 | 123.9385 | 0 | 82117.5623 | 0 | 81578.105 | 0 | 0 | 0 | 0 |  | 163695.6673 | 117.3698 | 2540.9308 | 333.4769 | 0 | 321.1531 | 12.3238 | 0 | 0.695 | 0 | 0 |  | 58.199 | 58.4915 |  | 58.5839 | 58.8783 | [7 empty] | 2874.4077 | 2464.7657 | 409.642 | 117.3698 |  |  | 292.6533 | 292.6533 | 0 | 605.5431 | 0 | 605.5431 | 0 | 0.695
2008-06-01 |  | 56243.5805 |  | 76070.9302 | 0 | 0 | 0 | 0 | 0 | 132314.5106 | 94.8695 | 0 | 53262.6707 | 0 | 72039.1709 | 0 | 0 | 0 | 0 |  | 125301.8416 | 89.8414 | 1944.7946 | 255.2619 | 0 | 245.8286 | 9.4333 | 0 | 0.695 | 0 | 0 |  | 51.3938 | 51.6521 |  | 37.9984 | 38.1893 | [7 empty] | 2200.0565 | 1886.6698 | 313.3867 | 89.8414 |  |  | 258.4333 | 258.4333 | 0 | 392.7643 | 0 | 392.7643 | 0 | 0.695
2008-07-01 |  | 49740.5455 |  | 130190.4627 | 0 | 0 | 0 | 0 | 0 | 179931.0082 | 129.0105 | 0 | 47104.2966 | 0 | 123290.3682 | 0 | 0 | 0 | 0 |  | 170394.6648 | 122.173 | 2644.2094 | 347.124 | 0 | 334.2958 | 12.8282 | 0 | 0.695 | 0 | 0 |  | 87.9572 | 88.3992 |  | 33.6049 | 33.7738 | [7 empty] | 2991.3333 | 2565.6325 | 425.7009 | 122.173 |  |  | 442.2919 | 442.2919 | 0 | 347.3518 | 0 | 347.3518 | 0 | 0.695
2008-08-01 |  | 41724.0844 |  | 119419.7564 | 0 | 0 | 0 | 0 | 0 | 161143.8408 | 115.5401 | 0 | 39512.708 | 0 | 113090.5093 | 0 | 0 | 0 | 0 |  | 152603.2172 | 109.4165 | 2368.07 | 310.8796 | 0 | 299.3909 | 11.4887 | 0 | 0.695 | 0 | 0 |  | 80.6805 | 81.0859 |  | 28.189 | 28.3306 | [7 empty] | 2678.9496 | 2297.7466 | 381.203 | 109.4165 |  |  | 405.7009 | 405.7009 | 0 | 291.3707 | 0 | 291.3707 | 0 | 0.695
2008-09-01 |  | 56531.7949 |  | 116399.2658 | 0 | 0 | 0 | 0 | 0 | 172931.0607 | 123.9916 | 0 | 53535.6098 | 0 | 110230.1047 | 0 | 0 | 0 | 0 |  | 163765.7145 | 117.42 | 2541.4922 | 333.6196 | 0 | 321.2905 | 12.3291 | 0 | 0.695 | 0 | 0 |  | 78.6398 | 79.035 |  | 38.1931 | 38.385 | [7 empty] | 2875.1118 | 2465.8204 | 409.2915 | 117.42 |  |  | 395.4395 | 395.4395 | 0 | 394.7769 | 0 | 394.7769 | 0 | 0.695
2008-10-01 | 351069.3216 | 12631.5855 |  | 115035.1034 | 0 | 0 | 0 | 0 | 0 | 478736.0105 | 343.2537 | 332462.6476 | 11962.1114 | 0 | 108938.2429 | 0 | 0 | 0 | 0 |  | 453363.002 | 325.0613 | 7050.6635 | 923.5803 | 0 | 889.4489 | 34.1314 | 0 | 0.695 | 0 | 0 |  | 77.7182 | 78.1087 |  | 245.7178 | 246.9526 | [7 empty] | 7974.2439 | 6826.2867 | 1147.9571 | 325.0613 |  |  | 390.8051 | 390.8051 | 0 | 2572.9525 | 2484.7427 | 88.2098 | 0 | 0.695
2008-11-01 | 535007.8436 |  | 19249.4937 | 69168.9327 | 0 | 0 | 0 | 0 | 0 | 623426.27 | 446.9966 | 506652.4279 | 0 | 18229.2705 | 65502.9793 | 0 | 0 | 0 | 0 |  | 590384.6777 | 423.3058 | 9200.6766 | 1202.7176 | 0 | 1158.2705 | 44.4471 | 0 | 0.695 | 0 | 0 |  | 46.7308 | 46.9656 |  | 374.4585 | 376.3402 | [7 empty] | 10403.3942 | 8889.4221 | 1513.9721 | 423.3058 |  |  | 234.9854 | 234.9854 | 0 | 3965.5234 | 3786.5936 | 0 | 178.9299 | 0.695
2008-12-01 | 642534.7421 |  | 84818.7352 |  | 0 | 0 | 0 | 0 | 0 | 727353.4773 | 521.5124 | 608480.4007 | 0 | 80323.3422 | 0 | 0 | 0 | 0 | 0 |  | 688803.743 | 493.8723 | 10785.5607 | 1403.2146 | 0 | 1351.358 | 51.8566 | 0 | 0.695 | 0 | 0 |  | 0 | 0 |  | 491.4029 | 493.8723 | [7 empty] | 12188.7753 | 10371.318 | 1817.4573 | 493.8723 |  |  | 0 | 0 | 0 | 5336.0462 | 4547.6304 | 0 | 788.4158 | 0.695
Total 2008 | 4130532.8413 | 386218.8424 | 328833.5997 | 712428.1735 | 0 | 0 | 0 | 0 | 0 | 5558013.457 | 3985.0956 | 3911614.6007 | 365749.2438 | 311405.4189 | 674669.4803 | 0 | 0 | 0 | 0 |  | 5263438.7437 | 3773.8856 | 82128.1096 | 10722.5524 | 0 | 10326.2944 | 396.258 | 0 | 0.695 | 0 | 0 |  | 481.3193 | 483.738 |  | 3273.6968 | 3290.1476 | [7 empty] | 92851 | 79251.5972 | 13599.0648 | 3773.8856 |  |  | 2420.3093 | 2420.3093 | 0 | 34988.1088 | 29234.4296 | 2697.0715 | 3056.6077
2009-01-01 | 665186.6728 |  | 119353.1452 |  | 0 | 0 | 0 | 0 | 0 | 784539.818 | 562.515 | 629931.7791 | 0 | 113027.4285 | 0 | 0 | 0 | 0 | 0 |  | 742959.2076 | 532.7018 | 11654.5963 | 1513.5389 | 0 | 1457.6052 | 55.9337 | 0 | 0.68 | 0 | 0 |  | 0 | 0 |  | 530.0382 | 532.7018 | [7 empty] | 13168.1351 | 11186.7368 | 1981.3983 | 532.7018 |  |  | 0 | 0 | 0 | 5817.3762 | 4707.9526 | 0 | 1109.4236 | 0.68
2009-02-01 | 573136.5637 |  | 125615.6304 |  | 0 | 0 | 0 | 0 | 0 | 698752.1941 | 501.0053 | 542760.3258 | 0 | 118958.002 | 0 | 0 | 0 | 0 | 0 |  | 661718.3278 | 474.452 | 10394.7811 | 1348.0369 | 0 | 1298.2194 | 49.8175 | 0 | 0.68 | 0 | 0 |  | 0 | 0 |  | 472.0798 | 474.452 | [7 empty] | 11742.818 | 9963.4929 | 1779.3251 | 474.452 |  |  | 0 | 0 | 0 | 5224.0902 | 4056.455 | 0 | 1167.6352 | 0.68
2009-03-01 | 574087.1759 |  | 44277.8467 | 93373.1683 | 0 | 0 | 0 | 0 | 0 | 711738.1909 | 510.3163 | 543660.5556 | 0 | 41931.1208 | 88424.3903 | 0 | 0 | 0 | 0 |  | 674016.0668 | 483.2695 | 10515.3786 | 1373.0895 | 0 | 1322.3462 | 50.7433 | 0 | 0.68 | 0 | 0 |  | 63.0833 | 63.4003 |  | 417.7699 | 419.8692 | [7 empty] | 11888.4681 | 10148.6599 | 1739.8082 | 483.2695 |  |  | 317.2137 | 317.2137 | 0 | 4474.759 | 4063.1831 | 0 | 411.576 | 0.68
2009-04-01 | 281366.3894 | 27126.9614 |  | 84730.0723 | 0 | 0 | 0 | 0 | 0 | 393223.4231 | 281.9412 | 266453.9708 | 25689.2325 | 0 | 80239.3784 | 0 | 0 | 0 | 0 |  | 372382.5817 | 266.9983 | 5786.89 | 758.609 | 0 | 730.5741 | 28.0348 | 0 | 0.68 | 0 | 0 |  | 57.244 | 57.5316 |  | 208.4193 | 209.4667 | [7 empty] | 6545.499 | 5606.9645 | 938.5344 | 266.9983 |  |  | 287.8507 | 287.8507 | 0 | 2180.8453 | 1991.4104 | 189.435 | 0 | 0.68
2009-05-01 |  | 57273.047 |  | 13186.6728 | 0 | 25.6677 | 25.5394 | 0 | 35798.7405 | 106258.4603 | 76.1873 | 0 | 54237.5755 | 0 | 12487.7792 | 0 | 25.2313 | 25.1052 | 0 | 35190.1619 | 101915.5165 | 73.0734 | 1493.6092 | 207.6199 | 0 | 199.9472 | 7.6727 | 0 | 0.68 | 25.1052 | 25.2313 |  | 8.909 | 8.9537 |  | 38.6939 | 38.8883 | [7 empty] | 1701.2291 | 1534.5419 | 166.6872 | 73.0734 |  |  | 44.7987 | 44.7987 | 0 | 399.9533 | 0 | 399.9533 | 0 | 0.68
2009-06-01 |  | 45879.7582 |  | 99928.4606 | 0 | 179.3084 | 178.4119 | 0 | 250081.4507 | 395889.6695 | 283.8529 | 0 | 43448.131 | 0 | 94632.2522 | 0 | 176.2602 | 175.3789 | 0 | 245830.066 | 383910.4492 | 275.2638 | 5338.4205 | 782.0932 | 0 | 753.1906 | 28.9027 | 0 | 0.68 | 175.3789 | 176.2602 |  | 67.5121 | 67.8513 |  | 30.9965 | 31.1523 | [7 empty] | 6120.5137 | 5780.5396 | 339.9741 | 275.2638 |  |  | 339.4837 | 339.4837 | 0 | 320.3909 | 0 | 320.3909 | 0 | 0.68
2009-07-01 |  | 43812.831 |  | 96807.3886 | 0 | 205.991 | 203.9262 | 0 | 287295.6759 | 427915.8955 | 306.8157 | 0 | 41490.751 | 0 | 91676.597 | 0 | 202.4892 | 200.4595 | 0 | 282411.6494 | 415578.9974 | 297.9701 | 5720.0484 | 865.1724 | 0 | 812.5234 | 52.649 | 0 | 0.68 | 200.4595 | 202.4892 |  | 65.4035 | 65.7321 |  | 29.6001 | 29.7489 | [7 empty] | 6585.2207 | 6257.373 | 327.8478 | 297.9701 |  |  | 328.8806 | 328.8806 | 0 | 305.9569 | 0 | 305.9569 | 0 | 0.68
2009-08-01 |  | 48197.1019 |  | 87557.0744 | 0 | 233.1073 | 231.9335 | 0 | 325114.8061 | 460868.9825 | 330.4431 | 0 | 45642.6555 | 0 | 82916.5495 | 0 | 229.1445 | 227.9906 | 0 | 319587.8544 | 448147.0594 | 321.3214 | 6151.5528 | 913.1037 | 0 | 879.1933 | 33.9103 | 0 | 0.68 | 227.9906 | 229.1445 |  | 59.1539 | 59.4512 |  | 32.5622 | 32.7258 | [7 empty] | 7064.6565 | 6747.7503 | 316.9062 | 321.3214 |  |  | 297.4548 | 297.4548 | 0 | 336.5735 | 0 | 336.5735 | 0 | 0.68
2009-09-01 |  | 49924.3716 |  | 114871.6025 | 0 | 257.0346 | 255.7395 | 0 | 358486.2211 | 523282.1952 | 375.1933 | 0 | 47278.3799 | 0 | 108783.4076 | 0 | 252.665 | 251.3919 | 0 | 352391.9553 | 508453.7428 | 364.5613 | 7003.9149 | 1035.9881 | 0 | 997.5041 | 38.484 | 0 | 0.68 | 251.3919 | 252.665 |  | 77.6077 | 77.9977 |  | 33.7291 | 33.8986 | [7 empty] | 8039.903 | 7655.788 | 384.115 | 364.5613 |  |  | 390.2496 | 390.2496 | 0 | 348.6355 | 0 | 348.6355 | 0 | 0.68
2009-10-01 | 117255.543 | 25028.4875 |  | 1244.4336 | 0 | 294.596 | 293.3225 | 0 | 410873.1144 | 554401.5785 | 397.5059 | 111040.9992 | 23701.9777 | 0 | 1178.4787 | 0 | 289.5879 | 288.3361 | 0 | 403888.2714 | 539809.727 | 387.0436 | 7376.8731 | 1096.1085 | 0 | 1059.5873 | 36.5212 | 0 | 0.68 | 288.3361 | 289.5879 |  | 0.84074 | 0.84497 |  | 96.1277 | 96.6107 | [7 empty] | 8472.9816 | 8127.9151 | 345.0666 | 387.0436 |  |  | 4.2277 | 4.2277 | 0 | 1004.6734 | 829.8927 | 174.7808 | 0 | 0.68
2009-11-01 | 220945.467 |  |  |  | 188507.1668 | 189.9798 | 189.0075 | 615.864 | 264964.8252 | 674417.4591 | 483.5573 | 209235.3573 | 0 | 0 | 0 | 185321.3957 | 186.6475 | 185.6923 | 609.7053 | 260317.3422 | 654874.0952 | 469.5447 | 9458.6531 | 1349.0067 | 14.511 | 1284.7312 | 49.7645 | 21.3397 | 0.68 | 185.6923 | 186.6475 |  | 132.2111 | 132.8754 |  | 149.2716 | 150.0218 | [7 empty] | 10807.6599 | 9860.4393 | 947.2206 | 469.5447 |  |  | 609.7053 | 0 | 609.7053 | 1563.7728 | 1563.7728 | 0 | 0 | 0.68
2009-12-01 | 528341.202 |  | 85335.1745 |  | 221134.8148 | 67.4219 | 67.0848 | 722.4604 | 94033.3582 | 928844.5494 | 665.9815 | 500339.1183 | 0 | 80812.4102 | 0 | 217397.6364 | 66.2151 | 65.884 | 715.2358 | 92350.1611 | 890899.326 | 638.7748 | 13612.5023 | 1831.9416 | 17.0226 | 1747.8476 | 67.0714 | 25.0333 | 0.68 | 65.884 | 66.2151 |  | 155.0947 | 155.8741 |  | 414.6022 | 416.6856 | [7 empty] | 15444.4438 | 13414.2712 | 2030.1727 | 638.7748 |  |  | 715.2358 | 0 | 715.2358 | 4532.6257 | 3739.4095 | 0 | 793.2162 | 0.68
Total 2009 | 2960319.0138 | 297242.5586 | 374581.7968 | 591698.8731 | 409641.9816 | 1453.1068 | 1444.9652 | 1338.3244 | 2026648.1921 | 6660132.416 | 4775.3149 | 2803422.1061 | 281488.703 | 354728.9616 | 560338.8328 | 402719.0321 | 1428.2407 | 1420.2384 | 1324.9411 | 1991967.4618 | 6394665.0974 | 4584.9749 | 94507.2203 | 13074.3082 | 31.5336 | 12543.2695 | 499.5051 | 46.3729 | 0.68 | 1420.2384 | 1428.2407 |  | 687.0599 | 690.5125 |  | 2453.8906 | 2466.2217 | [7 empty] | 107581 | 96284.4724 | 11297.0562 | 4584.9749 |  |  | 3335.1007 | 2010.1595 | 1324.9411 | 26509.6528 | 20952.076 | 2075.7258 | 3481.851
2010-01-01 | 831952.8071 |  | 95418.5118 |  | 142274.2532 | 37.3876 | 37.2007 | 464.8183 | 52144.4925 | 1121790.0645 | 804.3235 | 787859.3084 | 0 | 90361.3306 | 0 | 139869.8183 | 36.7184 | 36.5348 | 460.1701 | 51211.106 | 1069301.5633 | 766.6892 | 16525.5003 | 2189.0823 | 10.7266 | 2097.8534 | 80.5024 | 16.106 | 0.666 | 36.5348 | 36.7184 |  | 99.7852 | 100.2867 |  | 626.5358 | 629.6842 | [7 empty] | 18714.5826 | 16100.4736 | 2614.109 | 766.6892 |  |  | 460.1701 | 0 | 460.1701 | 6775.2074 | 5888.2635 | 0 | 886.9439 | 0.666
2010-02-01 | 532928.3714 |  | 83587.8129 |  | 97673.3987 | 13.8412 | 13.772 | 319.1047 | 19304.2946 | 733493.8776 | 525.9151 | 504683.1678 | 0 | 79157.6588 | 0 | 96022.7182 | 13.5934 | 13.5255 | 315.9137 | 18958.7477 | 698822.2925 | 501.0556 | 10850.9159 | 1430.9881 | 7.3639 | 1371.0133 | 52.6108 | 11.057 | 0.666 | 13.5255 | 13.5934 |  | 68.504 | 68.8483 |  | 416.5208 | 418.6139 | [7 empty] | 12281.904 | 10522.1673 | 1759.7368 | 501.0556 |  |  | 315.9137 | 0 | 315.9137 | 4548.8498 | 3771.8758 | 0 | 776.974 | 0.666
2010-03-01 | 445850.3655 |  | 85380.183 |  | 0 | 0 | 0 | 0 | 0 | 531230.5485 | 380.8923 | 437334.6235 | 0 | 83851.8777 | 0 | 0 | 0 | 0 | 0 | 0 | 521186.5012 | 373.6907 | 8179.3485 | 1061.7488 | 0 | 1022.5112 | 39.2375 | 0 | 0.666 | 0 | 0 |  | 0 | 0 |  | 371.8223 | 373.6907 | [7 empty] | 9241.0972 | 7847.5051 | 1393.5921 | 373.6907 |  |  | 0 | 0 | 0 | 4091.5798 | 3268.5296 | 0 | 823.0502 | 0.666
Total 2010 | 1810731.5441 | 0 | 264386.5077 | 0 | 239947.6518 | 51.2288 | 50.9726 | 783.9231 | 71448.787 | 2386514.4906 | 1711.1309 | 1729877.0996 | 0 | 253370.8672 | 0 | 235892.5365 | 50.3118 | 50.0602 | 776.0838 | 70169.8537 | 2289310.3571 | 1641.4355 | 35555.7647 | 4681.8192 | 18.0905 | 4491.378 | 172.3507 | 27.1629 | 0.666 | 50.0602 | 50.3118 |  | 168.2893 | 169.1349 |  | 1414.8788 | 1421.9888 | [7 empty] | 40237.5839 | 34470.146 | 5767.4378 | 1641.4355 |  |  | 776.0838 | 0 | 776.0838 | 15415.6371 | 12928.669 | 0 | 2486.9681
Total for monitoring period 2008-01-01 to 2010-03-31
Total MP | 8901583.3992 | 683461.401 | 967801.9042 | 1304127.0466 | 649589.6334 | 1504.3355 | 1495.9379 | 2122.2474 | 2098096.9791 | 14604660.3636 | 10471.5415 | 8444913.8065 | 647237.9468 | 919505.2477 | 1235008.3131 | 638611.5686 | 1478.5525 | 1470.2986 | 2101.025 | 2062137.3155 | 13947414.1982 | 10000.296 | 212191.0946 | 28479 | 49.6241 | 27360.9419 | 1068.1138 | 73.5359 | n.a. | 1470.2986 | 1478.5525 |  | 1336.6685 | 1343.3855 |  | 7142.4663 | 7178.3581 | [7 empty] | 240669.5839 | 210006.2156 | 30663.5588 | 10000.296 |  |  | 6531.4938 | 4430.4688 | 2101.025 | 76913.3987 | 63115.1746 | 4772.7973 | 9025.4267 | n.a.
[12 empty] | 94.87% | 94.7% | 95.01% | 94.7% | 98.31% | 98.29% | 98.29% | 99% | 98.29% | 95.5% | 95.5%
Uncertainties
The monitoring method for the boilers and VAH has been changed from method 1 to method 2 beginning with 24/02/2010
The newer method is more accurate, so a lower uncertainty results.
The diaphragm for CMM flow measurement in flare 1 has been changed at 13/11/2009, a slightly higher uncertainty results
Monitoring Method | Period |  | Uncertainty
Method 1 | 01/01/2008 to 19/02/2010 |  | 5.3%
Method 2
Flare 1 | since 27/05/2009 |  | 1.7%
Flare 1a | since 13/11/2009 |  | 1.79%
CHP 1 | since 30/10/2009 |  | 1.69%
Winter boilers | since 24/02/2010 |  | 1.91%
VAH | since 24/02/2010 |  | 1.79%
Power production | since 30/10/2009 |  | 1%
Deduction on boiler efficiency |  |  | 15%
Note on R19: A-TEC: uncertainty for disc 1
Note on R29: A-TEC: uncertainty for disc 1 until 12/11/2009 uncertainty for disc 2 since 13/11/2009
Note on R30: A-TEC: uncertainty for disc 2
Note on S19: A-TEC: uncertainty for disc 1
Note on S29: A-TEC: uncertainty for disc 1 until 12/11/2009 uncertainty for disc 2 since 13/11/2009
Note on S30: A-TEC: uncertainty for disc 2
Note on AB6: Adam Hadulla: Formula modified, uncombusted methane from flaring = MMFL-MDFL
Note on AB19: Adam Hadulla: Formula modified, uncombusted methane from flaring = MMFL-MDFL
Note on AC6: A-TEC: The own consumption of the cogeneration unit has been set to 3.5%, see PDD, Annex 2, pg. 61
Note on AG6: Adam Hadulla: 99.5% for TFLAME > 850°C 90.0% for 500°C < TFLAME < 850°C 0.0 % for TFLAME < 500°C The calculation is carried out in 15 min cycle in the main data sheet
Note on AM6: Adam Hadulla: ex-ante value constant
Note on AN6: Adam Hadulla: ex-ante value constant
Note on AS6: Adam Hadulla: ex-ante value constant
Note on AX6: Adam Hadulla: ex-ante value constant
Note on AY6: Adam Hadulla: ex-ante value constant
Note on BA6: Adam Hadulla: The power amount has not been measured but calculated using: - the utilised methane amount - the heating value of methane 9.965 kWh/m³ - a power generation efficiency of 36%
Note on BA19: Adam Hadulla: The power amount has not been measured but calculated using: - the utilised methane amount - the heating value of methane 9.965 kWh/m³ - a power generation efficiency of 36%
Note on BD6: Adam Hadulla: The heat has not been measured but calculated using the utilised methane amount, the heating value of methane 9.965 kWh/m³ and the boiler efficiency
Note on BD19: Adam Hadulla: The heat has not been measured but calculated using the utilised methane amount, the heating value of methane 9.965 kWh/m³ and the boiler efficiency
Note on BE6: Adam Hadulla: The heat has not been measured but calculated using the utilised methane amount, the heating value of methane 9.965 kWh/m³ and the boiler efficiency
Note on BE19: Adam Hadulla: The heat has not been measured but calculated using the utilised methane amount, the heating value of methane 9.965 kWh/m³ and the boiler efficiency
Note on BF6: Adam Hadulla: The heat has not been measured but calculated using the utilised methane amount, the heating value of methane 9.965 kWh/m³ and the boiler efficiency
Note on BF19: Adam Hadulla: The heat has not been measured but calculated using the utilised methane amount, the heating value of methane 9.965 kWh/m³ and the boiler efficiency
Note on BH6: Adam Hadulla: ex-ante value constant IPCC 2006
Note on BI6: Adam Hadulla: ex-ante value constant manufacturer date boiler pass