## Input Parameters
Shcheglovskaya-Glubokaya Input Economics Avoided CO2-Emissions by using Coal Mine Methane
firing capacity [MWh] | Efficiency [%] | Volume CH4 [m3] | Weight CH4 [t] | CO2eq [t]
110989.375 | 100 | 11122294.3181 | 7974.685 | 110392.0953
GHP 21 in Calculation= because 1 t CH4 produces 2,75 t CO2 |  |  |  | 18.25
CO2-Equivalent by power generation (Avoided emissons in power stations)
produced power [MWh] | spec. Emissons [kg CO2 / kWh] |  |  | CO2eq [t]
6009.7091 | 0.896 |  |  | 5384.6993
power consumption
382.2 | 0.807 |  |  | 308.4354
CO2-Equivalent by heat generation (Avoided emissions in heat plants)
produced heat [MWh] | spec. Emissons [kg CO2 / kWh] | efficiency |  | CO2eq [t]
38983.351 | 0.3406 | 73.5 |  | 18064.9379
calorific value Methane 9,979 KWh/m3
gained environmental effect in t CO2 |  |  |  | 133533.2972
Revenues: | EUR/kWh | Rev/year
Heat | 0.008 | 311866.8078
Power | 0.035 | 210339.8182
Project | Year
Investment | 2006
Production Start | 2006
Production End | 2016
| Cost / Unit | Actual costs
Capex flaring | 300000 | 600000 | EUR | Sensitivity Capex | capex = "CAPital EXpenditure"
Capex heat production | 900000 | 375377.99 | EUR | 1
Capex CHP unit | 1000000 | 1175373.85 | EUR
Total Capex |  | 2150751.84 | EUR
Total cost per year
Opex flaring | 35000 | 70000 | EUR | Sensitivity Opex | Opex = "OPErational eXpenditure"
Opex heat production (EUR/kWh) | 0.003 | 116950.0529 | EUR | 1
Opex CHP (EUR/kWh) | 0.03 | 180291.2727 | EUR
Opex total |  | 367241.3257 | EUR
Sensitivity Production
1
Depreciation Time | 10
Interest | 15%
Percentage of Debt Fin. | 100%
Repayment Time Loan years | 10
Tax Rate | 33%
Inflation rate OPEX | 11%
Economic Parameters - Shcheglovskaya
IRR | 38.4723 | % | Revenues from ERUs | 325000
NPV (0 %) | 4183808.9741 | EUR | ERU Volume | 133533.2972
NPV (15 %) | 1076969.2879 | EUR | ERU Price [EUR/t] | 6.5
|  |  | Year | ERU revenue
|  |  | 2006 | 0
run sensitivity macro using Ctrl+Shift+G |  |  | 2007 | 0
|  |  | 2008 | 0
|  |  | 2009 | 325000
|  |  | 2010 | 650000
|  |  | 2011 | 1122497.2494
|  |  | 2012 | 1121610.7194
|  |  | 2013 | 1120724.1893
|  |  | 2014 | 0
|  |  | 2015 | 0
|  |  | 2016 | 0
|  |  | 2017 | 0
GO!

## Actual costs
Actual costs Shcheglovskaya Glubokaya | [7 empty] | Green | real costs
[8 empty] | red | estimates
| Boilers, VAH | Total | 2006 | 2007 | 2008 | 2009
1 | Already installed equipment | 275377.99 | 188642.79 | 13870.58 | 72864.62 | 0
2 | Monitoring equipment (estimation) | 100000 | 0 | 0 | 0 | 100000
Diesel Generator
3 | Already installed equipment | 82373.85 | 82373.85 | 0 | 0 | 0
4 | Monitoring equipment (estimation) | 0 | 0 | 0 | 0 | 0 | included in 2
5 | General Overhaul (estimation) | 400000 | 0 | 0 | 0 | 400000
Flares
6 | Already installed equipment | 285000 | 0 | 0 | 285000 | 0
7 | Installation (estimation) | 15000 | 0 | 0 | 0 | 15000 | approval, piping, electric installation, initial operation
8 | remained 2nd flare | 300000 | 0 | 0 | 0 | 300000
Cogeneration
7 | equipment ready for shipping | 518000 | 0 | 0 | 518000 | 0
8 | Installation (estimation) | 175000 | 0 | 0 | 0 | 175000 | approval, transformer, current entry station, baseplate, piping, gas drying system, electric installation, initial operation
| Total | 2150751.84 | 271016.64 | 13870.58 | 875864.62 | 990000 | 2150751.84
0
| Already spent | 1160751.84
| flaring | 600000
| heat production | 375377.99
| power production | 1175373.85
| total | 2150751.84

## Production
Production of the project |  |  | Green | real production
|  |  | red | estimates
|  |  | yellow | generates no income
Year | heat | power | ER | opex
| kWh | kWh | t CO2eq | flaring | heat | power | total
2006 | 8010733.872 | 0 | 14668.9005 | 0 | 24032.2016 | 0 | 24032.2016
2007 | 27103126.9162 | 0 | 49630.0436 | 0 | 81309.3807 | 0 | 81309.3807
2008 | 35000000 | 0 | 50000 | 0 | 105000 | 0 | 105000
2009 | 40000000 | 150000 | 100000 | 20416.6667 | 120000 | 4500 | 144916.6667
2010 | 45529000 | 9422400 | 172691.8845 | 70000 | 136587 | 282672 | 489259
2011 | 45529000 | 9422400 | 172555.4953 | 70000 | 136587 | 282672 | 489259
2012 | 45529000 | 9422400 | 172419.106 | 70000 | 136587 | 282672 | 489259
2013 | 45529000 | 9422400 |  | 70000 | 136587 | 282672 | 489259
2014 | 45529000 | 9422400 |  | 70000 | 136587 | 282672 | 489259
2015 | 45529000 | 9422400 |  | 70000 | 136587 | 282672 | 489259
2016 | 45529000 | 9422400 |  | 70000 | 136587 | 282672 | 489259
Total | 428816860.7882 | 66106800 | 731965.4299 | 510416.6667 | 1286450.5824 | 1983204 | 3780071.249
average | 38983350.9807 | 6009709.0909 | 104566.49 | 46401.5152 | 116950.0529 | 180291.2727 | 343642.8408
|  |  | 667666.4859 | crediting period only
|  |  | 133533.2972 | average

## Cashflow1
|  |  |  | Loan | [6 empty] | Cash | Cash | Cashflow | Cashflow | FreeCash
Year | Investment | Opex | Interest | Repayment | Income Tax | Rev. Power | Rev. Heat | Rev. ERU | Surplus ERU | Year | Out | In | incl. Financing | cumulated | aft. Amort.
| EUR | EUR | EUR | EUR | EUR | EUR | EUR | EUR | EUR |  | EUR | EUR | EUR | EUR | EUR
2006 | 271016.64 | 24032.2016 | 0 | 0 | 13217.7109 | 0 | 64085.871 | 0 | 0 | 2006 | 308266.5525 | 64085.871 | -244180.6815 | -244180.6815
2007 | 13870.58 | 81309.3807 | 40652.496 | 27101.664 | 22361.2866 | 0 | 216825.0153 | 0 | 0 | 2007 | 117541.2474 | 216825.0153 | 99283.768 | -144896.9136 | 72182.104
2008 | 875864.62 | 105000 | 38667.8334 | 28488.722 | 142838.3367 | 0 | 280000 | 0 | 0 | 2008 | 1123702.9567 | 280000 | -843702.9567 | -988599.8703 | -872191.6787
2009 | 990000 | 198192.5258 | 165774.2181 | 116075.184 | 95627.4181 | 7180.0628 | 437641.92 | 325000 | 0 | 2009 | 1283819.9439 | 769821.9827 | -513997.9611 | -1502597.8314 | -630073.1451
2010 | 0 | 742729.6107 | 296862.9405 | 215075.184 | 148136.1481 | 500635.3321 | 552929.8216 | 650000 | 0 | 2010 | 890865.7588 | 1703565.1537 | 812699.3949 | -689898.4365 | 597624.2109
2011 | 0 | 824429.8679 | 264601.6629 | 215075.184 | 325989.7922 | 555705.2186 | 613752.1019 | 1122497.2494 | 0 | 2011 | 1150419.6601 | 2291954.57 | 1141534.9099 | 451636.4733 | 926459.7259
2012 | 0 | 915117.1534 | 232340.3853 | 215075.184 | 348867.9554 | 616832.7927 | 681264.8332 | 1121610.7194 | 0 | 2012 | 1263985.1088 | 2419708.3452 | 1155723.2364 | 1607359.7097 | 940648.0524
2013 | 0 | 1015780.0402 | 200079.1077 | 215075.184 | 373123.8133 | 684684.3999 | 756203.9648 | 1120724.1893 | 0 | 2013 | 1388903.8535 | 2561612.554 | 1172708.7005 | 2780068.4102 | 957633.5165
2014 | 0 | 1127515.8447 | 167817.8301 | 215075.184 | 29362.4846 | 759999.6838 | 839386.4009 | 0 | 0 | 2014 | 1156878.3293 | 1599386.0848 | 442507.7555 | 3222576.1657 | 227432.5715
2015 | 0 | 1251542.5876 | 135556.5525 | 215075.184 | 57137.5959 | 843599.6491 | 931718.905 | 0 | 0 | 2015 | 1308680.1835 | 1775318.5541 | 466638.3706 | 3689214.5363 | 251563.1866
2016 | 0 | 1389212.2722 | 103295.2749 | 215075.184 | 86796.8851 | 936395.6105 | 1034207.9846 | 0 | 0 | 2016 | 1476009.1573 | 1970603.5951 | 494594.4377 | 4183808.9741 | 279519.2537
2017 | 0 | 0 | 71033.9973 | 187973.52 | 0 | 0 | 0 | 0 | 0 | 2017 | 0 | 0 | 0 | 4183808.9741 | -187973.52
2018 | 0 | 0 | 42837.9693 | 186586.462 | 0 | 0 | 0 | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | -186586.462
2019 | 0 | 0 | 14850 | 99000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -99000
0 | 0 | 0 | 6.1118e-11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.1118e-11 | 0 | -6.1118e-11 | -6.1118e-11 | -6.1118e-11
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2150751.84
[12 empty] | IRR | 38.47%
N |  | No impact of inflation rate on the real costs for passed years! | [9 empty] | NPV (0 %) | 4183808.9741
[12 empty] | NPV (15 %) | 1076969.2879

## Financing
Year | Investment | [7 empty] | Loan Repayment | Loan | Interest | Depreciation
| 2006 | 2007 | 2008 | 2009 | 2006 | 2007 | 2008 | 2009
2006 | 271016.64 | [8 empty] | 271016.64
2007 |  | 13870.58 |  |  | 27101.664 |  |  |  | 27101.664 | 257785.556 | 40652.496 | 27101.664 | 0
2008 |  |  | 875864.62 |  | 27101.664 | 1387.058 |  |  | 28488.722 | 1105161.454 | 38667.8334 | 28488.722 | 27101.664
2009 |  |  |  | 990000 | 27101.664 | 1387.058 | 87586.462 |  | 116075.184 | 1979086.27 | 165774.2181 | 116075.184 | 55590.386
2010 |  |  |  |  | 27101.664 | 1387.058 | 87586.462 | 99000 | 215075.184 | 1764011.086 | 296862.9405 | 215075.184 | 171665.57
2011 |  |  |  |  | 27101.664 | 1387.058 | 87586.462 | 99000 | 215075.184 | 1548935.902 | 264601.6629 | 215075.184 | 386740.754
2012 |  |  |  |  | 27101.664 | 1387.058 | 87586.462 | 99000 | 215075.184 | 1333860.718 | 232340.3853 | 215075.184 | 601815.938
2013 |  |  |  |  | 27101.664 | 1387.058 | 87586.462 | 99000 | 215075.184 | 1118785.534 | 200079.1077 | 215075.184 | 816891.122
2014 |  |  |  |  | 27101.664 | 1387.058 | 87586.462 | 99000 | 215075.184 | 903710.35 | 167817.8301 | 215075.184 | 1031966.306
2015 |  |  |  |  | 27101.664 | 1387.058 | 87586.462 | 99000 | 215075.184 | 688635.166 | 135556.5525 | 215075.184 | 1247041.49
2016 |  |  |  |  | 27101.664 | 1387.058 | 87586.462 | 99000 | 215075.184 | 473559.982 | 103295.2749 | 215075.184 | 1462116.674
0 | [5 empty] | 1387.058 | 87586.462 | 99000 | 187973.52 | 285586.462 | 71033.9973 | 187973.52 | 1677191.858
2018 | [6 empty] | 87586.462 | 99000 | 186586.462 | 99000 | 42837.9693 | 186586.462 | 1865165.378
2019 | [7 empty] | 99000 | 99000 | 4.0745e-10 | 14850 | 99000 | 2051751.84
2020 | [8 empty] | 0 |  | 6.1118e-11 | 0 | 2150751.84
2021 | [12 empty] | 2150751.84
2022 | [12 empty] | 2150751.84
2023 | [12 empty] | 2150751.84
2024 | [12 empty] | 2150751.84
2025 | [12 empty] | 2150751.84
| 2150751.84 |  |  |  | 271016.64 | 13870.58 | 875864.62 | 990000 | 2150751.84 |  | 1774370.268

## Taxes
Year | Cash in Prod. | Opex | Investment | Depreciation | Interest | Taxable | Loss carry | Taxable Inc. | Income
[6 empty] | Income bf. cf | forward | aft. cf | Tax
2006 | 64085.871 | 24032.2016 | 271016.64 | 0 | 0 | 40053.6694 | 0 | 40053.6694 | 13217.7109
2007 | 216825.0153 | 81309.3807 | 13870.58 | 27101.664 | 40652.496 | 67761.4746 | 0 | 67761.4746 | 22361.2866
2008 | 605000 | 105000 | 875864.62 | 28488.722 | 38667.8334 | 432843.4446 | 0 | 432843.4446 | 142838.3367
2009 | 769821.9827 | 198192.5258 | 990000 | 116075.184 | 165774.2181 | 289780.0549 | 0 | 289780.0549 | 95627.4181
2010 | 1703565.1537 | 742729.6107 | 0 | 215075.184 | 296862.9405 | 448897.4184 | 0 | 448897.4184 | 148136.1481
2011 | 2291954.57 | 824429.8679 | 0 | 215075.184 | 264601.6629 | 987847.8552 | 0 | 987847.8552 | 325989.7922
2012 | 2419708.3452 | 915117.1534 | 0 | 215075.184 | 232340.3853 | 1057175.6225 | 0 | 1057175.6225 | 348867.9554
2013 | 2561612.554 | 1015780.0402 | 0 | 215075.184 | 200079.1077 | 1130678.222 | 0 | 1130678.222 | 373123.8133
2014 | 1599386.0848 | 1127515.8447 | 0 | 215075.184 | 167817.8301 | 88977.226 | 0 | 88977.226 | 29362.4846
2015 | 1775318.5541 | 1251542.5876 | 0 | 215075.184 | 135556.5525 | 173144.23 | 0 | 173144.23 | 57137.5959
2016 | 1970603.5951 | 1389212.2722 | 0 | 215075.184 | 103295.2749 | 263020.8639 | 0 | 263020.8639 | 86796.8851
0 | 0 | 0 | 0 | 187973.52 | 71033.9973 | -259007.5173 | -259007.5173 | -259007.5173 | 0
0 | 0 | 0 | 0 | 186586.462 | 42837.9693 | -229424.4313 | -488431.9486 | -229424.4313 | 0
0 | 0 | 0 | 0 | 99000 | 14850 | -113850 | -602281.9486 | -113850 | 0
0 | 0 | 0 | 0 | 0 | 6.1118e-11 | -6.1118e-11 | -602281.9486 | -6.1118e-11 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | -602281.9486 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | -602281.9486 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | -602281.9486 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | -602281.9486 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | -602281.9486 | 0 | 0
1643459.4269

## Sensitivity_data
| Capex | Opex | Production | Capex ERU | Opex ERU | Production ERU |  | Delta Cap | Delta Opex | Delta Prod.
-20 | 12.43 | 10.42 | 3.18 | 21.65 | 18.06 | 10.62 | -20 | 9.22 | 7.64 | 7.44
-15 | 11.01 | 9.7 | 4.29 | 19.88 | 17.44 | 11.9 | -15 | 8.87 | 7.74 | 7.61
-10 | 9.72 | 8.97 | 5.37 | 18.29 | 16.81 | 13.15 | -10 | 8.57 | 7.84 | 7.78
-5 | 8.54 | 8.22 | 6.43 | 16.85 | 16.17 | 14.36 | -5 | 8.31 | 7.95 | 7.93
0 | 7.47 | 7.47 | 7.47 | 15.54 | 15.54 | 15.54 | 0 | 8.07 | 8.07 | 8.07
5 | 6.48 | 6.7 | 8.49 | 14.34 | 14.89 | 16.69 | 5 | 7.86 | 8.19 | 8.2
10 | 5.56 | 5.91 | 9.49 | 13.23 | 14.24 | 17.82 | 10 | 7.67 | 8.33 | 8.33
15 | 4.71 | 5.11 | 10.49 | 12.21 | 13.59 | 18.92 | 15 | 7.5 | 8.48 | 8.43
20 | 3.92 | 4.29 | 11.46 | 11.26 | 12.93 | 20.01 | 20 | 7.34 | 8.64 | 8.55
| Capex | Opex | Production | Capex ERU | Opex ERU | Production ERU |  | Delta Cap | Delta Opex | Delta Prod.
-20 | 19.1937 | 21.2349 | 5.6805 | 48.3939 | 43.4044 | 30.6736 | -20 | 29.2002 | #VALUE! | 24.9932
-15 | 17.4634 | 19.4136 | 7.7269 | 45.522 | 42.2203 | 32.7329 | -15 | 28.0586 | -19.4136 | 25.006
-10 | 15.8868 | 17.4587 | 9.6747 | 42.9395 | 41.0053 | 34.7108 | -10 | 27.0527 | -17.4587 | 25.0361
-5 | 14.453 | 15.3708 | 11.5371 | 40.6015 | 39.7569 | 36.6215 | -5 | 26.1485 | -15.3708 | 25.0845
0 | 13.1451 | 13.1451 | 13.1451 | 38.4723 | 38.4723 | 38.4723 | 0 | 25.3272 | -13.1451 | 25.3272
5 | 11.8657 | 10.2738 | 14.5118 | 36.523 | 37.1481 | 40.2676 | 5 | 24.6574 | -10.2738 | 25.7557
10 | 10.5201 | 6.9473 | 15.8276 | 34.7303 | 35.7729 | 42.0115 | 10 | 24.2102 | -6.9473 | 26.1839
15 | 9.2732 | 3.2639 | 17.0877 | 33.0746 | 34.2875 | 43.7075 | 15 | 23.8014 | -3.2639 | 26.6198
20 | 8.1128 | -0.90407 | 18.2959 | 31.5397 | 32.6194 | 45.3589 | 20 | 23.427 | 0.90407 | 27.063
| ↑ | ↑ | ↑ | ↑ | ↑ | ↑
| ↑ | ↑ | ↑ | ↑ | ↑ | ↑
run macro with Ctrl+Shift+G