## Tabelle1
Emission Reductions - from 2008-07-07 to 2010-03-31
[20 empty] | P1 | P2 | P3 | P4 | P5 | P8 | P11 | P12 | P13 | P14 | P15 | P16 | P17 | P18 | P19 | P23 | P24 | P25 | P26 | P27 | P28 | B1 | B3 | B4 | B14 | B18 | B19 | B46 | B47 |  |  | B49 | B55 | B57
|  |  | measured values | [9 empty] | uncertainty weighted values | [5 empty] | ER | PEy | PEME | PEMD | PEUM | CONSELEC,PJ | CEFELEC,PJ | MDFL | MMFL | EffFL | MDELEC | MMELEC | EffELEC | MDHEAT | MMHEAT | EffHEAT | CEFCH4 | CEFNMHC | PCCH4 | PCNMHC | r | GWPCH4 | BEy | BEMR,y | BEUse,y | CMMPJ,y | GWPCH4 | CEFCH4 | GENy | HEATy |  |  | EFelec | EFCO2,Coal | Effheat,coal | Effheat,VAH
Date | methane amount sent to boilers | methane amount sent to VAH | methane sent to cogene-ration unit | Methane sent to flare | Methane destroyed by flare | Electricity generation | methane sent to cogene-ration unit | Methane sent to flare | total methane amount utilised |  | methane amount sent to boilers | methane amount sent to VAH | methane sent to cogene-ration unit | Methane sent to flare | Methane destroyed by flare | Electricity generation | total methane amount utilised | total methane amount | Emission reductions | Project emissions | Project emissions from energy use to capture and use methane | Project emissions from methane destroyed | Project emissions from uncombusted methane | Additional electricity consumption by project | Carbon emission factor of CONSELEC,PJ | Methane destroyed by flare | Methane sent to flare | Flare/combustion efficiency, determined by the operation hours and the methane content in the exhaust gas | Methane destroyed by power generation | Methane sent to power plant | Efficiency of methane destruction / oxidation in power plant | Methane destroyed by heat generation | Methane sent to heat generation | Efficiency of methane destruction / oxidation in heat plant | Carbon emission factor for combusted methane | Carbon emission factor for combusted non methane hydrocarbons (various) | Concentration of methane in extracted gas | NMHC concentration in coal mine gas | Relative proportion of NMHC compared to methane | Global warming potential of methane | Baseline emissions | Baseline emissions from release of methane into the atmosphere that is avoided by the project activity | Baseline emissions from the production of power, heat or supply to gas grid replaced by the project activity | CMM captured in the project activity | Global warming potential of methane | Carbon emission factor for combusted methane | Electricity generation by project | Heat generation by project | Heat generation by boilers | Heat generation by VAH | CO2 emission factor of the grid | CO2 emission factor of fuel used for captive power or heat | Energy efficiency of boilers | Energy efficiency of VAH
| m³ | m³ | t CH4 | t CH4 | t CH4 | MWh | m³ | m³ | m³ | t | m³ | m³ | t CH4 | t CH4 | t CH4 | MWh | m³ | t | t CO2eq | t CO2eq | t CO2eq | t CO2eq | t CO2eq | MWh | t CO2eq | t CH4 | t CH4 | % | t CH4 | t CH4 | % | t CH4 | t CH4 | % | t CO2eq / t CH4 | t CO2eq / t NMHC | % | % | - | t CO2eq / t CH4 | t CO2eq | t CO2eq | t CO2eq | t CH4 | t CO2eq / t CH4 | t CO2eq / t CH4 | MWh | MWh | MWh | MWh | t CO2 / MWh | tCO2/MWh | % | %
2008-01-01 | [19 empty] | P13: n.a.; P16: 99.5%; P19: 99.5%; P23: 2.75; P24: n.a.; P26: < 1%; P27: n.a.; P28: 21; B18: 21; B19: 2.75 |  |  |  | 0.3406 | 0.906 | 0.985
2008-02-01
2008-03-01
2008-04-01
2008-05-01
2008-06-01
2008-07-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.695 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | [7 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0.695
2008-08-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.695 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | [7 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0.695
2008-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.695 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | [7 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0.695
2008-10-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.695 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | [7 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0.695
2008-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.695 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | [7 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0.695
2008-12-01 | 0 | 0 | 0 | 92.4395 | 91.3343 | 0 | 0 | 128925.3261 | 128925.3261 | 92.4395 | 0 | 0 | 0 | 90.868 | 89.7816 | 0 | 126733.5955 | 90.868 | 1638.5147 | 269.713 | 0 | 246.8995 | 22.8135 | 0 | 0.695 | 89.7816 | 90.868 |  | 0 | 0 |  | 0 | 0 | [7 empty] | 1908.2277 | 1908.2277 | 0 | 90.868 |  |  | 0 | 0 | 0 | 0 | 0.695
Total 2008 | 0 | 0 | 0 | 92.4395 | 91.3343 | 0 | 0 | 128925.3261 | 128925.3261 | 92.4395 | 0 | 0 | 0 | 90.868 | 89.7816 | 0 | 126733.5955 | 90.868 | 1638.5147 | 269.713 | 0 | 246.8995 | 22.8135 | 0 | 0.695 | 89.7816 | 90.868 |  | 0 | 0 |  | 0 | 0 | [7 empty] | 1909 | 1908.2277 | 0 | 90.868 |  |  | 0 | 0 | 0 | 0
2009-01-01 | 0 | 0 | 21.1258 | 183.8991 | 181.1119 | 101.883 | 29464.2199 | 256484.08 | 285948.2999 | 205.0249 | 0 | 0 | 20.7688 | 180.7728 | 178.033 | 101.3736 | 281090.1252 | 201.5416 | 3695.1725 | 606.1356 | 0 | 546.4195 | 59.7161 | 0 | 0.68 | 178.033 | 180.7728 |  | 20.665 | 20.7688 |  | 0 | 0 | [7 empty] | 4301.3081 | 4232.374 | 68.934 | 201.5416 |  |  | 101.3736 | 0 | 0 | 0 | 0.68
2009-02-01 | 0 | 0 | 84.7554 | 217.5287 | 216.4116 | 408.7627 | 118208.398 | 303387.2984 | 421595.6964 | 302.2841 | 0 | 0 | 83.3231 | 213.8307 | 212.7326 | 406.7189 | 414440.3904 | 297.1538 | 5671.982 | 844.8159 | 0 | 813.0075 | 31.8084 | 0 | 0.68 | 212.7326 | 213.8307 |  | 82.9064 | 83.3231 |  | 0 | 0 | [7 empty] | 6516.7978 | 6240.229 | 276.5689 | 297.1538 |  |  | 406.7189 | 0 | 0 | 0 | 0.68
2009-03-01 | 0 | 0 | 8.1006 | 261.8067 | 260.0567 | 39.0665 | 11297.9 | 365141.8713 | 376439.7713 | 269.9073 | 0 | 0 | 7.9637 | 257.356 | 255.6357 | 38.8712 | 370041.425 | 265.3197 | 4836.3946 | 761.7515 | 0 | 724.7888 | 36.9627 | 0 | 0.68 | 255.6357 | 257.356 |  | 7.9239 | 7.9637 |  | 0 | 0 | [7 empty] | 5598.1461 | 5571.7137 | 26.4324 | 265.3197 |  |  | 38.8712 | 0 | 0 | 0 | 0.68
2009-04-01 | 0 | 0 | 0.51719 | 234.201 | 232.6934 | 2.4943 | 721.3287 | 326640.1485 | 327361.4771 | 234.7182 | 0 | 0 | 0.50845 | 230.2196 | 228.7376 | 2.4818 | 321796.4042 | 230.728 | 4185.3819 | 661.5942 | 0 | 630.4197 | 31.1745 | 0 | 0.68 | 228.7376 | 230.2196 |  | 0.50591 | 0.50845 |  | 0 | 0 | [7 empty] | 4846.9761 | 4845.2885 | 1.6876 | 230.728 |  |  | 2.4818 | 0 | 0 | 0 | 0.68
2009-05-01 | 0 | 0 | 68.3352 | 205.3959 | 204.3353 | 329.6078 | 95307.0617 | 286465.6429 | 381772.7046 | 273.731 | 0 | 0 | 67.1803 | 201.9041 | 200.8616 | 327.9597 | 375292.0994 | 269.0844 | 5108.6467 | 765.1391 | 0 | 736.1914 | 28.9476 | 0 | 0.68 | 200.8616 | 201.9041 |  | 66.8444 | 67.1803 |  | 0 | 0 | [7 empty] | 5873.7857 | 5650.7731 | 223.0126 | 269.0844 |  |  | 327.9597 | 0 | 0 | 0 | 0.68
2009-06-01 | 0 | 0 | 28.3826 | 26.6508 | 26.4935 | 136.88 | 39585.2342 | 37169.9016 | 76755.1358 | 55.0334 | 0 | 0 | 27.9029 | 26.1978 | 26.0431 | 136.1956 | 75454.257 | 54.1007 | 1074.5821 | 154.1457 | 0 | 147.9679 | 6.1778 | 0 | 0.68 | 26.0431 | 26.1978 |  | 27.7634 | 27.9029 |  | 0 | 0 | [7 empty] | 1228.7278 | 1136.1147 | 92.613 | 54.1007 |  |  | 136.1956 | 0 | 0 | 0 | 0.68
2009-07-01 | 0 | 0 | 35.9802 | 87.4077 | 86.9623 | 173.5207 | 50181.6155 | 121907.5023 | 172089.1178 | 123.3879 | 0 | 0 | 35.3722 | 85.9217 | 85.484 | 172.6531 | 169168.621 | 121.2939 | 2319.8005 | 344.7756 | 0 | 331.8679 | 12.9077 | 0 | 0.68 | 85.484 | 85.9217 |  | 35.1953 | 35.3722 |  | 0 | 0 | [7 empty] | 2664.5761 | 2547.1719 | 117.4041 | 121.2939 |  |  | 172.6531 | 0 | 0 | 0 | 0.68
2009-08-01 | 0 | 0 | 110.5116 | 256.5388 | 255.2401 | 532.9625 | 154130.5231 | 357794.6323 | 511925.1554 | 367.0503 | 0 | 0 | 108.6439 | 252.1776 | 250.901 | 530.2977 | 503237.8408 | 360.8215 | 6912.3839 | 1025.4707 | 0 | 987.2547 | 38.2159 | 0 | 0.68 | 250.901 | 252.1776 |  | 108.1007 | 108.6439 |  | 0 | 0 | [7 empty] | 7937.8546 | 7577.2522 | 360.6024 | 360.8215 |  |  | 530.2977 | 0 | 0 | 0 | 0.68
2009-09-01 | 0 | 0 | 130.1779 | 194.8628 | 193.8885 | 639.3368 | 181559.1963 | 271775.1868 | 453334.3832 | 325.0408 | 0 | 0 | 127.9779 | 191.5501 | 190.5924 | 636.1402 | 445645.8546 | 319.5281 | 6234.8058 | 907.8592 | 0 | 874.3087 | 33.5504 | 0 | 0.68 | 190.5924 | 191.5501 |  | 127.338 | 127.9779 |  | 0 | 0 | [7 empty] | 7142.6649 | 6710.0896 | 432.5753 | 319.5281 |  |  | 636.1402 | 0 | 0 | 0 | 0.68
2009-10-01 | 0 | 0 | 134.6945 | 175.9616 | 173.5344 | 651.6646 | 187858.4068 | 245413.6931 | 433272.0999 | 310.6561 | 0 | 0 | 132.4181 | 172.9703 | 170.5843 | 648.4063 | 425925.26 | 305.3884 | 5958.6272 | 895.4457 | 0 | 831.4359 | 64.0099 | 0 | 0.68 | 170.5843 | 172.9703 |  | 131.7561 | 132.4181 |  | 0 | 0 | [7 empty] | 6854.0729 | 6413.1566 | 440.9163 | 305.3884 |  |  | 648.4063 | 0 | 0 | 0 | 0.68
2009-11-01 | 0 | 0 | 146.1156 | 320.8567 | 317.2534 | 688.7952 | 203787.5012 | 447498.8817 | 651286.383 | 466.9723 | 0 | 0 | 143.6463 | 315.2096 | 311.6697 | 685.3512 | 639966.3939 | 458.8559 | 8762.4485 | 1339.5643 | 0 | 1250.1439 | 89.4204 | 0 | 0.68 | 311.6697 | 315.2096 |  | 142.9281 | 143.6463 |  | 0 | 0 | [7 empty] | 10102.0128 | 9635.974 | 466.0388 | 458.8559 |  |  | 685.3512 | 0 | 0 | 0 | 0.68
2009-12-01 | 0 | 0 | 142.6508 | 396.0184 | 394.0206 | 687.977 | 198955.0603 | 552326.9859 | 751282.0462 | 538.6692 | 0 | 0 | 140.24 | 388.9297 | 386.9676 | 684.5371 | 738033.0526 | 529.1697 | 10074.2268 | 1503.8221 | 0 | 1447.8926 | 55.9295 | 0 | 0.68 | 386.9676 | 388.9297 |  | 139.5388 | 140.24 |  | 0 | 0 | [7 empty] | 11578.0489 | 11112.5637 | 465.4852 | 529.1697 |  |  | 684.5371 | 0 | 0 | 0 | 0.68
Total 2009 | 0 | 0 | 911.3475 | 2561.1282 | 2542.0016 | 4392.9512 | 1271056.4458 | 3572005.8248 | 4843062.2705 | 3472.4756 | 0 | 0 | 895.9457 | 2517.0401 | 2498.2426 | 4370.9864 | 4760091.724 | 3412.9858 | 64834.4523 | 9810.5195 | 0 | 9321.6986 | 488.8209 | 0 | 0.68 | 2498.2426 | 2517.0401 |  | 891.466 | 895.9457 |  | 0 | 0 | [7 empty] | 74644.9719 | 71672.7011 | 2972.2708 | 3412.9858 |  |  | 4370.9864 | 0 | 0 | 0
2010-01-01 | 0 | 0 | 134.9574 | 36.2156 | 34.8458 | 650.859 | 188225.0702 | 50509.9509 | 238735.0211 | 171.173 | 0 | 0 | 132.6766 | 35.5674 | 34.2221 | 647.6047 | 234649.8893 | 168.244 | 3465.0983 | 499.3298 | 0 | 457.147 | 42.1828 | 0 | 0.666 | 34.2221 | 35.5674 |  | 132.0132 | 132.6766 |  | 0 | 0 | [7 empty] | 3964.4281 | 3533.1234 | 431.3047 | 168.244 |  |  | 647.6047 | 0 | 0 | 0 | 0.666
2010-02-01 | 0 | 0 | 116.731 | 16.9534 | 16.8481 | 562.9737 | 162804.6867 | 23644.9231 | 186449.6098 | 133.6844 | 0 | 0 | 114.7582 | 16.6499 | 16.5465 | 560.1589 | 183274.9664 | 131.4082 | 2758.9059 | 373.731 | 0 | 359.5102 | 14.2209 | 0 | 0.666 | 16.5465 | 16.6499 |  | 114.1844 | 114.7582 |  | 0 | 0 | [7 empty] | 3132.637 | 2759.5712 | 373.0658 | 131.4082 |  |  | 560.1589 | 0 | 0 | 0 | 0.666
2010-03-01 | 0 | 0 | 116.8659 | 0 | 0 | 544.0068 | 162992.9533 | 0 | 162992.9533 | 116.8659 | 0 | 0 | 114.8909 | 0 | 0 | 541.2867 | 160238.3724 | 114.8909 | 2446.7723 | 326.4338 | 0 | 314.3703 | 12.0635 | 0 | 0.666 | 0 | 0 |  | 114.3165 | 114.8909 |  | 0 | 0 | [7 empty] | 2773.2061 | 2412.7092 | 360.497 | 114.8909 |  |  | 541.2867 | 0 | 0 | 0 | 0.666
Total 2010 | 0 | 0 | 368.5543 | 53.169 | 51.6939 | 1757.8395 | 514022.7102 | 74154.874 | 588177.5841 | 421.7233 | 0 | 0 | 362.3257 | 52.2173 | 50.7686 | 1749.0503 | 578163.2281 | 414.543 | 8670.7766 | 1199.4947 | 0 | 1131.0274 | 68.4673 | 0 | 0.666 | 50.7686 | 52.2173 |  | 360.5141 | 362.3257 |  | 0 | 0 | [7 empty] | 9870.2712 | 8705.4037 | 1164.8675 | 414.543 |  |  | 1749.0503 | 0 | 0 | 0
Total for monitoring period 2008-01-01 to 2010-03-31
Total MP | 0 | 0 | 1279.9018 | 2706.7367 | 2685.0298 | 6150.7907 | 1785079.1559 | 3775086.0248 | 5560165.1807 | 3986.6384 | 0 | 0 | 1258.2714 | 2660.1254 | 2638.7928 | 6120.0367 | 5464988.5476 | 3918.3968 | 75143.7436 | 11279.7272 | 0 | 10699.6255 | 580.1017 | 0 | n.a. | 2638.7928 | 2660.1254 |  | 1251.9801 | 1258.2714 |  | 0 | 0 | [7 empty] | 86424.2431 | 82286.3326 | 4137.1383 | 3918.3968 |  |  | 6120.0367 | 0 | 0 | 0 | n.a.
[11 empty] | #DIV/0! | #DIV/0! | 98.31% | 98.28% | 98.28% | 99.5% | 98.29%
Uncertainties
The diaphragm for CMM flow measurement in flare 1 has been changed at 11/11/2009, a slightly higher uncertainty results
Monitoring Method | Period |  | Uncertainty
Flare 1 | since 20/12/2008 |  | 1.7%
Flare 1a | since 11/11/2009 |  | 1.79%
CHP 1 | since 01/01/2009 |  | 1.69%
Power production | since 01/01/2009 |  | 0.5%
Note on AC6: Adam Hadulla: 99.5% for TFLAME > 850°C 90.0% for 500°C < TFLAME < 850°C 0.0 % for TFLAME < 500°C The calculation is carried out in 15 min cycle in the main data sheet
Note on AI6: Adam Hadulla: ex-ante value constant
Note on AJ6: Adam Hadulla: ex-ante value constant
Note on AO6: Adam Hadulla: ex-ante value constant
Note on AT6: Adam Hadulla: ex-ante value constant
Note on BA6: Adam Hadulla: ex-ante value constant IPCC 2006
Note on BB6: Adam Hadulla: ex-ante value constant manufacturer date boiler pass
Note on AU6: Adam Hadulla: ex-ante value constant
Note on X6: Adam Hadulla: Formula modified, uncombusted methane from flaring = MMFL-MDFL
Note on AX6: Adam Hadulla: The heat has not been measured but calculated using the utilised methane amount, the heating value of methane 9.965 kWh/m³ and the boiler efficiency
Note on AY6: Adam Hadulla: The heat has not been measured but calculated using the utilised methane amount, the heating value of methane 9.965 kWh/m³ and the boiler efficiency
Note on Y6: A-TEC: The own consumption of the cogeneration unit is zero! This is because the power meter is measuring the net amount of the power fed-in Therefore CONSELEC is already subtracted from the power amount produced.
Note on O19: A-TEC: uncertainty for disc 1
Note on O30: A-TEC: uncertainty for disc 2
Note on O29: A-TEC: uncertainty for disc 1 until 12/11/2009 uncertainty for disc 2 since 13/11/2009
Note on P19: A-TEC: uncertainty for disc 1
Note on P29: A-TEC: uncertainty for disc 1 until 12/11/2009 uncertainty for disc 2 since 13/11/2009
Note on P30: A-TEC: uncertainty for disc 2
Note on O17: A-TEC: uncertainty for disc 1