## ER-KD-MR001
Emission Reduction - from 01/01/2008 to 03/11/2009 | [26 empty] | Version 2b of 31.05.2010
| Input data | [5 empty] | P1 | P2 | P3 | P4 | P5 | P8 | P11 | P12 | P13 | P14 | P15 | P16 | P17 | P18 | P19 | P23 | P24 | P25 | P26 | P27 | P28 | B1 | B3 | B4 | B14 | B18 | B19 | B46 | B47 | B49 | B55 | B57
[6 empty] | ER | PE | PEME | PEMD | PEUM | CONSELEC,PJ | CEFELEC,PJ | MDFL | MMFL | EffFL | MDELEC | MMELEC | EffELEC | MDHEAT | MMHEAT | EffHEAT | CEFCH4 | CEFNMHC | PCCH4 | PCNMHC | r | GWPCH4 | BE | BEMR | BEUse | CMMPJ | GWPCH4 | CEFCH4 | GEN | HEAT | EFelec | EFCO2,Coal | Effheat | h3, M | h3, total | h4, M | h4, total | PM | Ptotal | EffM | EffSB
Date | methane amount destroyed by Flare 3 | methane amount destroyed by Flare 4 | methane amount sent to Flare 3 | methane amount sent to Flare 4 | methane concen-tration | Emission reductions | Project emissions | Project emissions from energy use to capture and use methane | Project emissions from methane destroyed | Project emissions from uncombusted methane | Additional electricity consumption by project | Carbon emission factor of CONSELEC,PJ | Methane destroyed by flare | Methane sent to flare | Flare combustion efficiency, determined by the flame temperature and opera-tion hours | Methane destroyed by power generation | Methane sent to power plant | Efficiency of methane destruction / oxidation in power plant | Methane destroyed by heat generation | Methane sent to boiler | Efficiency of methane destruction / oxidation in heat plant | Carbon emission factor for combusted methane | Carbon emission factor for combusted non methane hydrocarbons (various) | Concentration of methane in extracted gas | NMHC concentration in coal mine gas | Relative proportion of NMHC compared to methane | Global warming potential of methane | Baseline emissions | Baseline emissions from release of methane into the atmosphere that is avoided by the project activity | Baseline emissions from the production of power, heat or supply to gas grid replaced by the project activity | CMM captured in the project activity | Global warming potential of methane | Carbon emission factor for combusted methane | Electricity generation by project | Heat generation by project | CO2 emission factor of the grid | CO2 emission factor of fuel used for captive power or heat | Energy efficiency of heat plant | operation hours of compressor from flare 3 | operation hours of flare 3 (operation + standby) | operation hours of compressor from flare 4 | operation hours of flare 4 (operation + standby) | motor capacity | total capacity of the flare unit | effective load of electric motor | effective load of the flare unit during standby | Additional electricity consumption by flare 3 | Additional electricity consumption by flare 4
| kg CH4/mon | kg CH4/mon | kg CH4/mon | kg CH4/mon | % | t CO2eq | t CO2eq | t CO2eq | t CO2eq | t CO2eq | MWh | t CO2eq | t CH4 | t CH4 | % | t CH4 | t CH4 | % | t CH4 | t CH4 | % | t CO2eq / t CH4 | t CO2eq / t NMHC | % | % | - | t CO2eq / t CH4 | t CO2eq | t CO2eq | t CO2eq | t CH4 | t CO2eq / t CH4 | t CO2eq / t CH4 | MWh | MWh | t CO2 / MWh | tCO2/MWh | % | h | h | h | h | KW | KW | % | % | kWh | kWh
2008-01-01 | [5 empty] | 0 | 0 | 0 | 0 | 0 |  | 0.695 | 0 | 0 |  | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 |  |  | 0 | 21 | 0 | 0 | 0 | 0 | 21 | 2.75 | 0 | 0 | 0.695 | 0.3406 | 91%
2008-02-01 | [5 empty] | 0 | 0 | 0 | 0 | 0 |  | 0.695 | 0 | 0 |  | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 |  |  | 0 | 21 | 0 | 0 | 0 | 0 | 21 | 2.75 | 0 | 0 | 0.695 | 0.3406 | 91%
2008-03-01 | [5 empty] | 0 | 0 | 0 | 0 | 0 |  | 0.695 | 0 | 0 |  | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 |  |  | 0 | 21 | 0 | 0 | 0 | 0 | 21 | 2.75 | 0 | 0 | 0.695 | 0.3406 | 91%
2008-04-01 | [5 empty] | 0 | 0 | 0 | 0 | 0 |  | 0.695 | 0 | 0 |  | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 |  |  | 0 | 21 | 0 | 0 | 0 | 0 | 21 | 2.75 | 0 | 0 | 0.695 | 0.3406 | 91%
2008-05-01 | [5 empty] | 0 | 0 | 0 | 0 | 0 |  | 0.695 | 0 | 0 |  | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 |  |  | 0 | 21 | 0 | 0 | 0 | 0 | 21 | 2.75 | 0 | 0 | 0.695 | 0.3406 | 91%
2008-06-01 | [5 empty] | 0 | 0 | 0 | 0 | 0 |  | 0.695 | 0 | 0 |  | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 |  |  | 0 | 21 | 0 | 0 | 0 | 0 | 21 | 2.75 | 0 | 0 | 0.695 | 0.3406 | 91%
2008-07-01 | [5 empty] | 0 | 0 |  | 0 | 0 |  | 0.695 | 0 | 0 |  | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 |  |  | 0 | 21 | 0 | 0 | 0 | 0 | 21 | 2.75 | 0 | 0 | 0.695 | 0.3406 | 91%
2008-08-01 | 119483.5005 |  | 122415.3 |  | 36.6874 | 2180.5739 | 390.1474 |  | 328.5796 | 61.5678 |  | 0.695 | 119.4835 | 122.4153 | 97.61% | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 | 36.69% | 0 | 0 | 21 | 2570.7213 | 2570.7213 | 0 | 122.4153 | 21 | 2.75 | 0 | 0 | 0.695 | 0.3406 | 91%
2008-09-01 |  |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0.695 | 0 | 0 |  | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 |  | 0 | 0 | 21 | 0 | 0 | 0 | 0 | 21 | 2.75 | 0 | 0 | 0.695 | 0.3406 | 91%
2008-10-01 | 247452.1515 | 28980.765 | 253188.9 | 30151.8 | 41.0241 | 5044.9007 | 905.254 |  | 760.1905 | 145.0635 |  | 0.695 | 276.4329 | 283.3407 | 97.56% | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 | 41.02% | 0 | 0 | 21 | 5950.1547 | 5950.1547 | 0 | 283.3407 | 21 | 2.75 | 0 | 0 | 0.695 | 0.3406 | 91%
2008-11-01 | 190524.2355 | 174896.532 | 199416.6 | 183632.4 | 44.9541 | 6668.929 | 1375.1 |  | 1004.9071 | 370.1929 |  | 0.695 | 365.4208 | 383.049 | 95.4% | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 | 44.95% | 0 | 0 | 21 | 8044.029 | 8044.029 | 0 | 383.049 | 21 | 2.75 | 0 | 0 | 0.695 | 0.3406 | 91%
2008-12-01 | 111213.513 | 56078.8965 | 129843 | 56813.4 | 37.9167 | 3053.0865 | 866.6979 |  | 460.0541 | 406.6438 |  | 0.695 | 167.2924 | 186.6564 | 89.63% | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 | 37.92% | 0 | 0 | 21 | 3919.7844 | 3919.7844 | 0 | 186.6564 | 21 | 2.75 | 0 | 0 | 0.695 | 0.3406 | 91%
Total 2008 | 668673.4005 | 259956.1935 | 704863.8 | 270597.6 | 40.1456 | 16887.4515 | 3597.2379 | 60.0386 | 2553.7314 | 983.4679 | 86.3865 | 0.695 | 928.6296 | 975.4614 | 95.05% | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 | 40.15% | 0 | 0 | 21 | 20484.6894 | 20484.6894 | 0 | 975.4614 | 21 | 2.75 | 0 | 0 | 0.695 | 0.3406 | 91% | 1786 | 1934 | 741 | 756 | 45 | 60 | 75% | 45% | 61276.5 | 25110
2009-01-01 | 63559.386 | 64990.9125 | 67106.7 | 67923.9 | 46.0055 | 2346.0429 | 489.5997 |  | 353.5133 | 136.0863 |  | 0.68 | 128.5503 | 135.0306 | 95.2% | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 | 46.01% | 0 | 0 | 21 | 2835.6426 | 2835.6426 | 0 | 135.0306 | 21 | 2.75 | 0 | 0 | 0.68 | 0.3406 | 91%
2009-02-01 | 152803.4805 | 140685.588 | 159204.6 | 149447.7 | 46.2547 | 5356.1755 | 1125.5228 |  | 807.0949 | 318.4279 |  | 0.68 | 293.4891 | 308.6523 | 95.09% | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 | 46.25% | 0 | 0 | 21 | 6481.6983 | 6481.6983 | 0 | 308.6523 | 21 | 2.75 | 0 | 0 | 0.68 | 0.3406 | 91%
2009-03-01 | 83212.245 | 167720.5305 | 87275.7 | 177439.5 | 42.2016 | 4579.5232 | 979.496 |  | 690.0651 | 289.4309 |  | 0.68 | 250.9328 | 264.7152 | 94.79% | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 | 42.2% | 0 | 0 | 21 | 5559.0192 | 5559.0192 | 0 | 264.7152 | 21 | 2.75 | 0 | 0 | 0.68 | 0.3406 | 91%
2009-04-01 | 95077.9845 | 169685.6085 | 97914.6 | 173318.4 | 38.2337 | 4831.9356 | 863.9574 |  | 728.0999 | 135.8575 |  | 0.68 | 264.7636 | 271.233 | 97.61% | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 | 38.23% | 0 | 0 | 21 | 5695.893 | 5695.893 | 0 | 271.233 | 21 | 2.75 | 0 | 0 | 0.68 | 0.3406 | 91%
2009-05-01 | 0 | 120461.2605 | 0 | 127351.8 | 37.6013 | 2198.418 | 475.9698 |  | 331.2685 | 144.7013 |  | 0.68 | 120.4613 | 127.3518 | 94.59% | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 | 37.6% | 0 | 0 | 21 | 2674.3878 | 2674.3878 | 0 | 127.3518 | 21 | 2.75 | 0 | 0 | 0.68 | 0.3406 | 91%
2009-06-01 | 0 | 87827.058 | 0 | 91179.9 | 34.8435 | 1602.8438 | 311.9341 |  | 241.5244 | 70.4097 |  | 0.68 | 87.8271 | 91.1799 | 96.32% | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 | 34.84% | 0 | 0 | 21 | 1914.7779 | 1914.7779 | 0 | 91.1799 | 21 | 2.75 | 0 | 0 | 0.68 | 0.3406 | 91%
2009-07-01 | 0 | 271314.5535 | 0 | 272733.3 | 40.8265 | 4951.4906 | 775.9087 |  | 746.115 | 29.7937 |  | 0.68 | 271.3146 | 272.7333 | 99.48% | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 | 40.83% | 0 | 0 | 21 | 5727.3993 | 5727.3993 | 0 | 272.7333 | 21 | 2.75 | 0 | 0 | 0.68 | 0.3406 | 91%
2009-08-01 | 129509.0685 | 242944.695 | 135414.9 | 246131.1 | 41.0509 | 6797.2812 | 1215.1848 |  | 1024.2478 | 190.937 |  | 0.68 | 372.4538 | 381.546 | 97.62% | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 | 41.05% | 0 | 0 | 21 | 8012.466 | 8012.466 | 0 | 381.546 | 21 | 2.75 | 0 | 0 | 0.68 | 0.3406 | 91%
2009-09-01 | 183817.0665 | 183139.6185 | 190861.2 | 186074.1 | 40.3902 | 6696.9595 | 1218.6818 |  | 1009.1309 | 209.5509 |  | 0.68 | 366.9567 | 376.9353 | 97.35% | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 | 40.39% | 0 | 0 | 21 | 7915.6413 | 7915.6413 | 0 | 376.9353 | 21 | 2.75 | 0 | 0 | 0.68 | 0.3406 | 91%
2009-10-01 | 269168.994 | 235405.989 | 274907.7 | 240181.2 | 45.2328 | 9208.4934 | 1608.3735 |  | 1387.5812 | 220.7923 |  | 0.68 | 504.575 | 515.0889 | 97.96% | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 | 45.23% | 0 | 0 | 21 | 10816.8669 | 10816.8669 | 0 | 515.0889 | 21 | 2.75 | 0 | 0 | 0.68 | 0.3406 | 91%
2009-11-01 | 25665.03 | 23508.4275 | 25794 | 23636.7 | 53.8274 | 897.4156 | 140.6291 |  | 135.227 | 5.4021 |  | 0.68 | 49.1735 | 49.4307 | 99.48% | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 | 53.83% | 0 | 0 | 21 | 1038.0447 | 1038.0447 | 0 | 49.4307 | 21 | 2.75 | 0 | 0 | 0.68 | 0.3406 | 91%
2009-12-01 | [5 empty] | 0 | 0 |  | 0 | 0 |  | 0.68 | 0 | 0 |  | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 |  | 0 | 0 | 21 | 0 | 0 | 0 | 0 | 21 | 2.75 | 0 | 0 | 0.68 | 0.3406 | 91%
Total 2009 | 1002813.255 | 1707684.2415 | 1038479.4 | 1755417.6 | 42.4062 | 49250.1057 | 9421.7313 | 216.4736 | 7453.8681 | 1751.3896 | 318.3435 | 0.68 | 2710.4975 | 2793.897 | 96.86% | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 | 42.41% | 0 | 0 | 21 | 58671.837 | 58671.837 | 0 | 2793.897 | 21 | 2.75 | 0 | 0 | 0.68 | 0.3406 | 91% | 3289 | 4792 | 5336 | 7870 | 45 | 60 | 75% | 45% | 121149 | 197194.5
Total Monitoring Period | 1671486.6555 | 1967640.435 | 1743343.2 | 2026015.2 | 41.2759 | 66137.5572 | 13018.9692 | 276.5122 | 10007.5995 | 2734.8575 | 404.73 | n.a. | 3639.1271 | 3769.3584 | 95.96% | 0 | 0 | 99.5% | 0 | 0 | 99.5% | 2.75 | 0 | 41.28% | 0 | 0 | 21 | 79156.5264 | 79156.5264 | 0 | 3769.3584 | 21 | 2.75 | 0 | 0 | n.a. | 0.3406 | 91% | 5075 | 6726 | 6077 | 8626 |  |  |  |  | 182425.5 | 222304.5
colour codes | [5 empty] | data sources:
green | input data |  |  |  |  | KD-Data-F3.xls
yellow | data no used, project parts not installed yet |  |  |  |  | KD-Data-F4.xls
white | calculated data
Note on M7: Adam Hadulla: 2008 := 0.695 tCO2eq/MWh 2009 := 0.680 2010 := 0.666 2011 := 0.651 2012 := 0.636 [SenterNovem]
Note on N7: Adam Hadulla: The methane amount destroyed by flaring has been calculated using the complete monitored data (15 min. intervall storage). The data are calculated using three different combustion efficiencies, depending on the flame temperature: 0% below 500°C 90% 500°C to 850°C 99.5% above 850°C This calculation can't be done with monthly sums. See Table <KD-Data-F3.xls> and <KD-Data-F4.xls> for details
Note on Q7: Adam Hadulla: 0 for the whole monitoring period
Note on R7: Adam Hadulla: 0 for the whole monitoring period
Note on S7: Adam Hadulla: not required because MMELEC=0 for the whole monitoring period
Note on V7: Adam Hadulla: ex-ante value constant
Note on W7: Adam Hadulla: ex-ante value constant
Note on AB7: Adam Hadulla: ex-ante value constant
Note on AG7: Adam Hadulla: ex-ante value constant
Note on AL7: Adam Hadulla: ex-ante value constant IPCC 2006
Note on AM7: Adam Hadulla: ex-ante value constant manufacturer date boiler pass
Note on AI7: Adam Hadulla: 0 for the whole monitoring period
Note on AH7: Adam Hadulla: ex-ante value constant
Note on U7: Adam Hadulla: 0 for the whole monitoring period
Note on AK7: Adam Hadulla: 2008 := 0.695 tCO2eq/MWh 2009 := 0.680 2010 := 0.666 2011 := 0.651 2012 := 0.636 [SenterNovem]
Note on K7: Adam Hadulla: Formula modified, uncombusted methane from flaring = MMFL-MDFL
Note on G19: Adam Hadulla: As monthly values for PEME are not available, yearly values are subtracted manually.
Note on AM20: Adam Hadulla: ex-ante value constant manufacturer date boiler pass
Note on H19: Adam Hadulla: As monthly values for PEME are not available, yearly values are subtracted manually.
Note on G32: Adam Hadulla: As monthly values for PEME are not available, yearly values are subtracted manually.
Note on H32: Adam Hadulla: As monthly values for PEME are not available, yearly values are subtracted manually.
Note on P5: Adam Hadulla: The monthly values of EffFL represents monthly average values for information only - MDFL has been calculated using the excat values in 15 min cycles within the KD-Data sheets.