## Projection
Sudenai/Lendimai Wind Park - Financial Projection
No.of turbines |  | 7
Capacity of one turbine (MW) |  | 2 |  | Investment |  | th € | th €/MW
Total Installed Capacity (MW) |  | 14 |  | Land purchase |  | 0 | 0 |  | Energy Price until 2020 (Cents/kWh) |  |  |  | 6.37 |  | CO2 income (€/ton) |  |  | 7.4
Yearly Net Production (MWh/y) |  | 33708 | 33708 | Turbines |  | 16400 | 1171.4286 |  | Energy Price After 2020 |  |  |  | 6.37 |  | CO2 coefficient (ton/MWh) |  |  | 0.626 | 0.626
Average usage of capacity |  | 27.49% |  | Grid connection |  | 1815 | 129.6429 |  | Green Certificate Income per kWh after 2020 |  |  |  | 0 |  | CO2 commission |  |  | 10%
Economically Useful Lifetime (years) |  | 20 |  | Design, permits |  | 61 | 4.3571 |  | Yearly Increase of Running Costs |  |  |  | 3%
Depreciation (yearly) |  | 5% |  | Transformers |  | 1351 | 96.5 |  | Insurance cost |  |  |  | 0.3%
|  |  |  | Roads, other civil works |  | 203 | 14.5 |  | S&M per MWh produced (if applicable) |  |  |  | 6
Total Investment |  | 20008 |  | Salaries |  | 68 | 4.8571 |  | Land rental (%of sales) |  |  |  | 1%
Irredeemable Aid |  | 0 |  | Wind measurements |  | 60 | 4.2857 |  | NPV of Equity Investment (th €) |  |  |  | 197.5407 | 8%
Net Investment |  | 20008 |  | JI fee |  | 0 | 0 |  | IRR of the Project |  |  |  | 5.879%
|  |  |  | Share purchase premium |  | 0 | 0 |  | IRR of the Equity Investment |  |  |  | 8.474%
Equity Capital |  | 3001.2 | 15% | Other (legal, etc.) |  | 50 | 3.5714 |  | Average DSCR |  |  |  | 0.98851
Debt Capital |  | 17006.8 | 85% | Total inv. |  | 20008 | 1429.1429 |  | Sum S&M/total cost |  |  |  | 23.47%
Repayment Term of the Debt (years) |  | 12
Interest Rate of Debt Capital |  | 4.5%
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Revenues | (th EUR)
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
Figures given in EUR thousands | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
|  | 25% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 75%
Tariff of Green Energy (cents per kWH) |  | 6.37 | 6.37 | 6.37 | 6.37 | 6.37 | 6.37 | 6.37 | 6.37 | 6.37 | 6.37 | 6.37 | 6.37 | 6.37 | 6.37 | 6.37 | 6.37 | 6.37 | 6.37 | 6.37 | 6.37 | 6.37
Sales of electrical Power | 0 | 536.7999 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 1610.3997
Emission Reduction Income | 0 | 1: 35.1335; 2: 140.534; 3: 140.534; 4: 140.534; 5: 140.534
Terminal value |  | 20: 0; 21: 0
Total Income | 0 | 571.9334 | 2287.7336 | 2287.7336 | 2287.7336 | 2287.7336 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 2147.1996 | 1610.3997
S&M costs | 0 | 0 | 0 | 50.562 | 202.248 | 208.3154 | 214.5649 | 221.0019 | 227.6319 | 234.4609 | 241.4947 | 248.7395 | 256.2017 | 263.8878 | 271.8044 | 279.9585 | 288.3573 | 297.008 | 305.9182 | 315.0958 | 324.5487 | 243.4115
Insurance Costs |  | 12.3 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 36.9
Administrative costs | 0 | 7.8292 | 31.3167 | 31.3167 | 31.3167 | 31.3167 | 31.3167 | 31.3167 | 31.3167 | 31.3167 | 31.3167 | 31.3167 | 31.3167 | 31.3167 | 31.3167 | 31.3167 | 31.3167 | 31.3167 | 31.3167 | 31.3167 | 31.3167 | 23.4875
Own consumption and reactive energy |  | 0.75 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 2.25
Land rental |  | 5.7193 | 22.8773 | 22.8773 | 22.8773 | 22.8773 | 21.472 | 21.472 | 21.472 | 21.472 | 21.472 | 21.472 | 21.472 | 21.472 | 21.472 | 21.472 | 21.472 | 21.472 | 21.472 | 21.472 | 21.472 | 16.104
General maintenance |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Unexpected costs |  | 7.5 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 22.5
EBITDA |  | 537.8349 | 2151.3396 | 2100.7776 | 1949.0916 | 1943.0242 | 1797.646 | 1791.209 | 1784.579 | 1777.75 | 1770.7162 | 1763.4714 | 1756.0092 | 1748.3231 | 1740.4065 | 1732.2524 | 1723.8536 | 1715.2029 | 1706.2926 | 1697.1151 | 1687.6622 | 1265.7467
| -10004 | -9484.7237 | 2074.7736 | 2024.3533 | 1891.8364 | 1876.4474 | 1748.085 | 1731.4156 | 1714.0653 | 1696.0053 | 1677.2058 | 1657.6354 | 1637.2616 | 1616.0504 | 1597.9552 | 1591.3708 | 1584.5888 | 1577.6033 | 1570.4083 | 1562.9974 | 1555.3642 | 1166.5232
Depreciation | 0 | 250.1 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 750.3
Financial Costs |  | 191.3265 | 753.194 | 703.3681 | 651.2619 | 596.771 | 539.7864 | 480.1938 | 417.874 | 352.7021 | 284.5476 | 213.274 | 138.7386 | 60.7921 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Income Before Taxes (EBT) | 0 | 96.4084 | 397.7456 | 397.0095 | 297.4297 | 345.8532 | 257.4596 | 310.6152 | 366.305 | 424.6479 | 485.7686 | 549.7973 | 616.8705 | 687.131 | 740.0065 | 731.8524 | 723.4536 | 714.8029 | 705.8926 | 696.7151 | 687.2622 | 515.4467
Income Tax | 0 | 14.4613 | 59.6618 | 59.5514 | 44.6145 | 51.878 | 38.6189 | 46.5923 | 54.9458 | 63.6972 | 72.8653 | 82.4696 | 92.5306 | 103.0697 | 111.001 | 109.7779 | 108.518 | 107.2204 | 105.8839 | 104.5073 | 103.0893 | 77.317
4e Success Fee | 0 | 4.0974 | 16.9042 | 16.8729 | 12.6408 | 14.6988 | 10.942 | 13.2011 | 15.568 | 18.0475 | 20.6452 | 23.3664 | 26.217 | 29.2031 | 31.4503 | 31.1037 | 30.7468 | 30.3791 | 30.0004 | 29.6104 | 29.2086 | 21.9065
Net Income | 0 | 77.8498 | 321.1796 | 320.5852 | 240.1745 | 279.2764 | 207.8987 | 250.8218 | 295.7913 | 342.9032 | 392.2581 | 443.9613 | 498.123 | 554.8583 | 597.5552 | 590.9708 | 584.1888 | 577.2033 | 570.0083 | 562.5974 | 554.9642 | 416.2232
| 13.77% | 2.594% | 10.7% | 10.68% | 8.003% | 9.305% | 6.927% | 8.357% | 9.856% | 11.43% | 13.07% | 14.79% | 16.6% | 18.49% | 19.91% | 19.69% | 19.47% | 19.23% | 18.99% | 18.75% | 18.49% | 13.87%
Debt Financing: |  | 1 | 5 | 9 | 13 | 17 | 21 | 25 | 29 | 33 | 37 | 41 | 45 | 49 | 53
| 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
20008
Loan Amount | 17006.8
Outstanding Principal at the Beginning of Year |  | 17006.8 | 16737.6449 | 15630.4019 | 14472.4859 | 13261.5778 | 11995.2523 | 10670.9733 | 9286.0886 | 7837.8245 | 6323.2805 | 4739.4233 | 3083.0807 | 1350.9354
Total Loan Payment |  | -460.4816 | -1860.437 | -1861.2841 | -1862.17 | -1863.0965 | -1864.0653 | -1865.0785 | -1866.1381 | -1867.2461 | -1868.4049 | -1869.6167 | -1870.8839 | -1411.7275
Interest Payment |  | -191.3265 | -753.194 | -703.3681 | -651.2619 | -596.771 | -539.7864 | -480.1938 | -417.874 | -352.7021 | -284.5476 | -213.274 | -138.7386 | -60.7921
Capital Repayment | 0 | -269.1551 | -1107.243 | -1157.916 | -1210.9082 | -1266.3255 | -1324.279 | -1384.8847 | -1448.2641 | -1514.544 | -1583.8572 | -1656.3426 | -1732.1453 | -1350.9354
Outstanding Principal at the End of Year |  | 16737.6449 | 15630.4019 | 14472.4859 | 13261.5778 | 11995.2523 | 10670.9733 | 9286.0886 | 7837.8245 | 6323.2805 | 4739.4233 | 3083.0807 | 1350.9354 | -3.9108e-11
Debt Service Ratio (DSCR) |  | 1.1277 | 1.1152 | 1.0876 | 1.0159 | 1.0072 | 0.93778 | 0.92833 | 0.91851 | 0.90829 | 0.89767 | 0.88662 | 0.87513 | 1.1447 | 0.98851
Cash Flow: | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Net Income | 0 | 42.7163 | 215.779 | 320.5852 | 240.1745 | 279.2764 | 348.4327 | 250.8218 | 295.7913 | 342.9032 | 392.2581 | 443.9613 | 498.123 | 554.8583 | 597.5552 | 590.9708 | 584.1888 | 577.2033 | 570.0083 | 562.5974 | 554.9642 | 416.2232
Principal Repayment | 0 | -269.1551 | -1107.243 | -1157.916 | -1210.9082 | -1266.3255 | -1324.279 | -1384.8847 | -1448.2641 | -1514.544 | -1583.8572 | -1656.3426 | -1732.1453 | -1350.9354 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Depreciation | 0 | 250.1 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 1000.4 | 750.3
Yearly Cash Flow | -1500.6 | -1476.9388 | 108.9361 | 163.0692 | 29.6664 | 13.351 | 24.5537 | -133.6629 | -152.0728 | -171.2408 | -191.1991 | -211.9813 | -233.6223 | 204.3229 | 1597.9552 | 1591.3708 | 1584.5888 | 1577.6033 | 1570.4083 | 1562.9974 | 1555.3642 | 1166.5232
Cumulative Cash Flow (Before Dividends) | -1500.6 | -2977.5388 | -2868.6028 | -2705.5336 | -2675.8673 | -2662.5163 | -2637.9626 | -2771.6254 | -2923.6982 | -3094.939 | -3286.1381 | -3498.1194 | -3731.7417 | -3527.4188 | -1929.4636 | -338.0928 | 1246.496 | 2824.0993 | 4394.5076 | 5957.5051 | 7512.8693 | 8679.3925
Shareholder transactions
Equity placing / Divided payment |  | -3001.2 | -1251.2719 | -1177.7714 | -1234.1633 | -1206.7412 | -1158.242 | -1226.6964 | -1195.1594 | -1162.1198 | -1127.5073 | -1091.2479 | -1053.2644 | -1013.476 | -983.5327 | -988.1504 | -992.9066 | -997.8055 | -1002.8513 | -1008.0485 | -1013.4017
Effective tax rate |  | 0.31579 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987 | 0.2987
Income tax |  |  | -1454.258 | -1405.549 | -1396.6876 | -1392.6997 | -1385.3654 | -1425.2907 | -1470.7151 | -1521.8649 | -1578.9763 | -1642.2954 | -1712.0787 | -1651.0472 | -1173.7359 | -698.3914 | -225.0726 | 246.1595 | 715.2425 | 1182.1119 | 1646.7012
Cash after dividend payment |  |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000
Check |  |  | -163.0729 | -122.2132 | -45.0163 | -63.0754 | -94.3551 | -119.6383 | -257.8238 | -410.9543 | -579.6545 | -764.5761 | -966.3986 | -862.8957 | 227.805 | 1348.4489 | 2464.4752 | 3575.7452 | 4682.1164 | 5783.4417 | 6879.5698
IRR for shareholder | #DIV/0!
average
ROE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ROA | 2.065% | 0.3891% | 1.605% | 1.602% | 1.2% | 1.396% | 1.039% | 1.254% | 1.478% | 1.714% | 1.961% | 2.219% | 2.49% | 2.773% | 2.987% | 2.954% | 2.92% | 2.885% | 2.849% | 2.812% | 2.774%

## Sensitivity analysis
[14 empty] | 4.975% | 7.835%
NPV of Equity Investment (th €) | [6 empty] | IRR of the Equity Investment
Production (MWh/y) | 30337.2 | 10% |  |  |  |  | Production (MWh/y) | 30337.2 | 10%
|  | interest rate | [6 empty] | interest rate
Investment cost (th €) |  | 4% | 4.5% | 5% | 5.5% | 6% | Investment cost (th €) |  | 4% | 4.5% | 5% | 5.5% | 6%
10% | 18007.2 | 510.8307 | 264.4281 | 14.193 | -239.8448 | -510.7684 | 10% | 18007.2 | 9.388% | 8.706% | 8.037% | 7.383% | 6.712%
5% | 19007.6 | -191.6533 | -451.7449 | -715.882 | -990.309 | -1295.4684 | 5% | 19007.6 | 7.517% | 6.881% | 6.258% | 5.634% | 4.973%
| 20008 | -894.1372 | -1167.9179 | -1445.9569 | -1744.2469 | -2088.7301 |  | 20008 | 5.894% | 5.297% | 4.712% | 4.109% | 3.453%
5% | 21008.4 | -1596.6212 | -1884.0909 | -2182.0529 | -2517.5418 | -2883.3434 | 5% | 21008.4 | 4.469% | 3.904% | 3.34% | 2.738% | 2.117%
10% | 22008.8 | -2299.1052 | -2600.2639 | -2920.7389 | -3293.4487 | -3679.395 | 10% | 22008.8 | 3.202% | 2.665% | 2.117% | 1.518% | 0.9276%
Production (MWh/y) | 33708 | [5 empty] | Production (MWh/y) | 33708
|  | interest rate | [6 empty] | interest rate
Investment cost (th €) |  | 4% | 4.5% | 5% | 5.5% | 6% | Investment cost (th €) |  | 4% | 4.5% | 5% | 5.5% | 6%
10% | 18007.2 | 1876.2893 | 1629.8867 | 1379.6516 | 1125.6138 | 867.8055 | 10% | 18007.2 | 13.33% | 12.55% | 11.78% | 11.03% | 10.29%
5% | 19007.6 | 1173.8053 | 913.7137 | 649.5766 | 381.4256 | 109.2946 | 5% | 19007.6 | 11.08% | 10.36% | 9.645% | 8.948% | 8.267%
| 20008 | 471.3213 | 197.5407 | -80.4984 | -362.7626 | -649.2163 |  | 20008 | 9.15% | 8.474% | 7.81% | 7.161% | 6.527%
5% | 21008.4 | -231.1627 | -518.6324 | -810.5733 | -1106.9508 | -1407.7271 | 5% | 21008.4 | 7.473% | 6.837% | 6.215% | 5.606% | 5.01%
10% | 22008.8 | -933.6466 | -1234.8054 | -1540.6483 | -1851.139 | -2170.5228 | 10% | 22008.8 | 5.998% | 5.398% | 4.81% | 4.234% | 3.664%
Production (MWh/y) | 35393.4 | 5% |  |  |  |  | Production (MWh/y) | 35393.4 | 5%
|  | interest rate | [6 empty] | interest rate
Investment cost (th €) |  | 4% | 4.5% | 5% | 5.5% | 6% | Investment cost (th €) |  | 4% | 4.5% | 5% | 5.5% | 6%
10% | 18007.2 | 2559.0186 | 2312.616 | 2062.3808 | 1808.343 | 1550.5348 | 10% | 18007.2 | 15.44% | 14.61% | 13.79% | 12.98% | 12.19%
5% | 19007.6 | 1856.5346 | 1596.443 | 1332.3059 | 1064.1549 | 792.0239 | 5% | 19007.6 | 12.98% | 12.21% | 11.45% | 10.7% | 9.974%
| 20008 | 1154.0506 | 880.2699 | 602.2309 | 319.9667 | 33.513 |  | 20008 | 10.87% | 10.15% | 9.446% | 8.754% | 8.078%
5% | 21008.4 | 451.5666 | 164.0969 | -127.8441 | -424.2215 | -724.9978 | 5% | 21008.4 | 9.049% | 8.374% | 7.714% | 7.067% | 6.434%
10% | 22008.8 | -250.9174 | -552.0761 | -857.919 | -1168.4097 | -1483.5087 | 10% | 22008.8 | 7.453% | 6.818% | 6.196% | 5.588% | 4.992%
Calculate NPV sensitivity
Calculate IRR sensitivity

## Break-even
Break-even production for |  |  | 8% | discount rate
Expected Yearly Net Production |  |  | 33708 | (MWh/y)
|  | 5% | 35393.4
|  | 5% | 32022.6
interest rate
Investment cost (th €) |  | 4% | 4.5% | 5% | 5.5% | 6%
10% | 18007.2 | 29076.1524 | 29684.4271 | 30302.1629 | 30929.286 | 31565.717
5% | 19007.6 | 30810.3193 | 31452.387 | 32104.4414 | 32766.4047 | 33438.193
| 20008 | 32544.4862 | 33220.3469 | 33906.72 | 34603.5235 | 35310.669
5% | 21008.4 | 34278.653 | 34988.3068 | 35708.9986 | 36440.6422 | 37183.1451
10% | 22008.8 | 36012.8199 | 36756.2667 | 37511.2771 | 38277.761 | 39055.6211
15% | 23009.2 | 37746.9868 | 38524.2267 | 39313.5557 | 40114.8797 | 40928.0971
* - within +/- 5% of the expected production
Calculate break-even

## Balance sheet
15th January 2007
Balance sheet
As of 31.12.06 |  |  | Lariteksas | Vejo Elektra | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
|  |  | 2006 | 2006 | 2006: EUR th
TOTAL ASSETS |  |  | 1507.0379 | 1492.7925 | 2999.8304 | 20008 | 21293.6335 | 19030.6313 | 18193.3004 | 17222.5668 | 16235.5177 | 15119.1374 | 13985.0746 | 12832.6018 | 11660.961 | 10469.3619 | 9256.9806 | 8022.9583 | 7226.8812 | 7824.4364 | 7931.2333 | 6930.8333 | 5930.4333 | 4930.0333 | 3929.6333 | 2929.2333 | 2000
1 | CURRENT ASSETS |  | 542.2924 | 739.0496 | 1281.342 | 0 | 1535.7335 | 273.1313 | 436.2004 | 465.8668 | 479.2177 | 363.2374 | 229.5746 | 77.5018 | -93.739 | -284.9381 | -496.9194 | -730.5417 | -526.2188 | 1071.7364 | 2178.9333 | 2178.9333 | 2178.9333 | 2178.9333 | 2178.9333 | 2178.9333 | 2000
1 0 | CASH IN BANKS AND ON IN HANDS | 2000 | 145.7192 | 240.1105 | 385.8296 | 0 | 1321.6667 | -46.3361 | 116.7331 | 146.3994 | 159.7504 | 184.3041 | 50.6413 | -101.4315 | -272.6723 | -463.8714 | -675.8527 | -909.475 | -705.1521 | 892.8031 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000
1 010 | Hansa bankas LTL | [5 empty] | 1500.6 | 132.5972 | 295.6664 | 325.3327 | 338.6837 | 363.2374 | 229.5746 | 77.5018 | -93.739 | -284.9381 | -496.9194 | -730.5417 | -526.2188 | 1071.7364 | 2178.9333 | 2178.9333 | 2178.9333 | 2178.9333 | 2178.9333 | 2178.9333 | 2000
1 011 | Hansa bankas EUR | [5 empty] | -178.9333 | -178.9333 | -178.9333 | -178.9333 | -178.9333 | -178.9333 | -178.9333 | -178.9333 | -178.9333 | -178.9333 | -178.9333 | -178.9333 | -178.9333 | -178.9333 | -178.9333 | -178.9333 | -178.9333 | -178.9333 | -178.9333 | -178.9333 | 0
1 2 | ACCOUNT RECEIVABLES |  |  |  | 0 | 0 | 214.0668 | 319.4673 | 319.4673 | 319.4673 | 319.4673 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 0
1 22 | Other companies |  |  |  |  | 0 | 35.1335 | 140.534 | 140.534 | 140.534 | 140.534 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 222 | Account receivables LT | [5 empty] | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 178.9333 | 0
1 5 | PREPAYMENTS |  | 396.5733 | 498.9391 | 2006: 895.5124
1 50 | Tax prepayments
1 500 | VAT prepayments
1 53 | Prepayments for services
1 530 | Prepayments
2 | FIXED ASSETS |  | 964.7455 | 753.7429 | 1718.4884 | 20008 | 19757.9 | 18757.5 | 17757.1 | 16756.7 | 15756.3 | 14755.9 | 13755.5 | 12755.1 | 11754.7 | 10754.3 | 9753.9 | 8753.5 | 7753.1 | 6752.7 | 5752.3 | 4751.9 | 3751.5 | 2751.1 | 1750.7 | 750.3 | 1.0232e-12
2 0 | LAND AND WORK IN PROGRESS |  | 964.7455 | 753.7429 | 2006: 1718.4884
2 01 | Development cost |  | 28.4655 | 51.5329 | 2006: 79.9984
2 010 | Planning, design,studies
2 03 | Wind turbines |  | 936.28 | 702.21 | 2006: 1638.49
2 030 | WT(incl.trafo,SCADA,etc.)
TOTAL LIABILITIES AND EQUITY |  |  | 1507.038 | 1492.7924 | 2999.8303 | 20008 | 19816.6947 | 19030.6313 | 18193.3004 | 17222.5668 | 16235.5177 | 15119.1374 | 13985.0746 | 12832.6018 | 11660.961 | 10469.3619 | 9256.9806 | 8022.9583 | 7226.8812 | 7824.4364 | 7931.2333 | 6930.8333 | 5930.4333 | 4930.0333 | 3929.6333 | 2929.2333 | 2000
3 | CURRENT LIABILITIES |  | 0.6984 | 351.5146 | 352.213 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 2 | ACCOUNTS PAYABLE |  |  |  | 2006: 0
3 21 | Other companies
3 216 | Accounts receivables (currency
3 3 | OTHER PAYABLES |  |  |  | 2006: 0
3 31 | Other companies
3 3101 | Other payable LT |  | 0.69666 | 0.082368
3 3102 | Other payable ES |  | 0.33066 | 351.379
3 3104 | Other payable (atskaitingi) |  | 0.366 | 0.035499
3 4 | TAXES PAYABLE |  |  |  | 2006: 0
3 40 | VAT payable
3 401 | VAT 18%
3 42 | Social tax payable
3 420 | Social tax on salaries
3 43 | Individual income tax payable
3 430 | Individual income tax payable
3 44 | Unemployment tax payable
3 440 | Unemployment tax payable 15%
3 49 | Guarantee fund
3 490 | Payable guarantee fund
3 5 | ACCRUED EXPENSES |  | 0.0017377 | 0.017754 | 2006: 0.019491
3 50 | Payables to employees |  | 0.0017377 | 0.017754
3 500 | Salaries payables
3 502 | Social tax on acrued sallaries
4 | NONCURRENT LIABILITIES |  | 1511.9915 | 1175.0581 | 2687.0496 | 17006.8 | 16737.6449 | 15630.4019 | 14472.4859 | 13261.5778 | 11995.2523 | 10670.9733 | 9286.0886 | 7837.8245 | 6323.2805 | 4739.4233 | 3083.0807 | 1350.9354 | -3.9108e-11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 0 | LONG_TERM LIABILITIES |  | 1511.9915 | 1175.0581 | 2006: 2687.0496
4 01 | Long-term liabilities
4 02 | Kitos trump. fin.skolos
5 | OWNERS' EQUITY |  | -5.6519 | -33.7804 | -39.4323 | 3001.2 | 3079.0498 | 3400.2293 | 3720.8145 | 3960.989 | 4240.2655 | 4448.1641 | 4698.9859 | 4994.7772 | 5337.6804 | 5729.9386 | 6173.8999 | 6672.0229 | 7226.8812 | 7824.4364 | 7931.2333 | 6930.8333 | 5930.4333 | 4930.0333 | 3929.6333 | 2929.2333 | 2000
5 000 | Share capital (per value) |  | 13.9018 | 2.8962 | 16.798 |  | 3001.2 | 3001.2 | 3001.2 | 3001.2 | 3001.2 | 3001.2 | 3001.2 | 3001.2 | 3001.2 | 3001.2 | 3001.2 | 3001.2 | 3001.2 | 3001.2 | 3001.2 | 3001.2 | 3001.2 | 3001.2 | 3001.2 | 3001.2 | 3001.2
5 040 | Retained earnings |  | 2.9162 | -4.1331 | -1.2169 |  | 0 | 77.8498 | 399.0293 | 719.6145 | 959.789 | 1239.0655 | 1446.9641 | 1697.7859 | 1993.5772 | 2336.4804 | 2728.7386 | 3172.6999 | 3670.8229 | 4225.6812 | 4339.0625 | 3345.4445 | 2352.03 | 1358.825 | 365.8359 | -626.9309 | -1417.4232
5 041 | Current year profit |  | -22.4699 | -32.5434 | -55.0133 |  | 77.8498 | 321.1796 | 320.5852 | 240.1745 | 279.2764 | 207.8987 | 250.8218 | 295.7913 | 342.9032 | 392.2581 | 443.9613 | 498.123 | 554.8583 | 597.5552 | 590.9708 | 584.1888 | 577.2033 | 570.0083 | 562.5974 | 554.9642 | 416.2232
| Dividends | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 484.1739 | 1584.5888 | 1577.6033 | 1570.4083 | 1562.9974 | 1555.3642 | 1345.4565