## ER-KAZ1-ERU4 V2
Emission Reductions - KAZ1 from 2011-11-01 to 2012-04-30
[9 empty] | P1 | P2 | P3/4 | P3/4 | P3/4 | P3 | P4 | P5 | P8 | P9 | P11 | P12 | P13 | P14 | P15 | P16 | P17 | P18 | P19 | P23 | P24 | P25 | P26 | P27 | P28 | B1 | B3 | B3 | B3 | B4 | B4 | B3 | B4 | B14 | B18 | B19 | B46 | B47 | B49 | B55 | B57
[8 empty] | ER | PE | PEME | PEMD+UM,flare | PEMD+UM, boiler | PEMD+UM,power | PEMD | PEUM | CONSELEC,PJ | CEFELEC,PJ | PEFlare | MDFL | MMFL | EffFL | MDELEC | MMELEC | EffELEC | MDHEAT | MMHEAT | EffHEAT | CEFCH4 | CEFNMHC | PCCH4 | PCNMHC | r | GWPCH4 | BE | BEMR,flare | BEMR,boiler | BEMR,power | BEUse,heat | BEUse,power | BEMR | BEUse | CMMPJ | GWPCH4 | CEFCH4 | GEN | HEAT | EFELEC | EFHEAT | EffCOAL
Date | methane amount destroyed by flare | methane amount sent to flare | methane amount sent to power plant | methane amount sent to boiler | methane concen-tration | total methane amount utilised (sent to) | total methane amount utilised (sent to) | Emission reductions | Project emissions | Project emissions from energy use to capture and use methane | Project emissions from methane destroyed and uncombusted methane (flare) | Project emissions from methane destroyed and uncombusted methane (boiler) | Project emissions from methane destroyed and uncombusted methane (power) | Project emissions from methane destroyed | Project emissions from uncombusted methane | Additional electricity consump-tion by project | Carbon emission factor of CONSELEC,PJ | Project emissions (flare) from uncombusted methane | Methane destroyed by flare | Methane sent to flare | Flare combustion efficiency, determined by the flame temperature and operation hours | Methane destroyed by power generation | Methane sent to power plant | Efficiency of methane destruction / oxidation in power plant | Methane destroyed by heat generation | Methane sent to boiler | Efficiency of methane destruction / oxidation in heat plant | Carbon emission factor for combusted methane | Carbon emission factor for combusted non methane hydrocarbons (various) | Concentration of methane in extracted gas | NMHC concentration in coal mine gas | Relative proportion of NMHC compared to methane | Global warming potential of methane | Baseline emissions | Baseline emissions from release of methane into the atmosphere that is avoided by the project activity (flare) | Baseline emissions from release of methane into the atmosphere that is avoided by the project activity (boiler) | Baseline emissions from release of methane into the atmosphere that is avoided by the project activity (power) | Baseline emissions from the production of power, heat or supply to gas grid replaced by the project activity (heat) | Baseline emissions from the production of power, heat or supply to gas grid replaced by the project activity (power) | Baseline emissions from release of methane into the atmosphere that is avoided by the project activity | Baseline emissions from the production of power, heat or supply to gas grid replaced by the project activity | CMM captured in the project activity | Global warming potential of methane | Carbon emission factor for combusted methane | Electricity generation by project | Heat generation by project | CO2 emission factor of the grid | CO2 Emission factor for heat production replaced by project activity | Heat production efficiency of the former coal fired heat generation unit, that is replaced by project aktivity
| t CH4 | t CH4 | t CH4 | t CH4 | % | t CH4 | m³ CH4 | t CO2eq | t CO2eq | t CO2eq | t CO2eq | t CO2eq | t CO2eq | t CO2eq | t CO2eq | MWh | t CO2eq | t CO2eq | t CH4 | t CH4 | % | t CH4 | t CH4 | % | t CH4 | t CH4 | % | t CO2eq / t CH4 | t CO2eq / t NMHC | % | % | - | t CO2eq / t CH4 | t CO2eq | t CO2eq | t CO2eq | t CO2eq | t CO2eq | t CO2eq | t CO2eq | t CO2eq | t CH4 | t CO2eq / t CH4 | t CO2eq / t CH4 | MWh | MWh | t CO2 / MWh | t CO2 / MWh | %
2011-11-01 | 0.20017 | 0.22241 | 0 | 1093.289 | 31.9866 | 1093.5114 | 1525120.511 | 22639.4259 | 3107.3249 | 0 | 1.0175 | 3106.3074 | 0 | 2992.0625 | 115.2624 | 0 | 1.063 | 0.46705 | 0.20017 | 0.22241 | 90% | 0 | 0 | 99.5% | 1087.8226 | 1093.289 | 99.5% | 2.75 | 0 | 31.99% | 0 | 0 | 21 | 25746.7507 | 4.6705 | 22959.069 | 0 | 2783.0112 | 0 | 22963.7395 | 2783.0112 | 1093.5114 | 21 | 2.75 | 0 | 5989.7899 | 1.063 | 0.3415 | 73.5%
2011-12-01 | 32.3343 | 32.9208 | 0 | 1116.685 | 33.4352 | 1149.6058 | 1603355.3377 | 24112.8013 | 3274.0173 | 0 | 101.2361 | 3172.7813 | 0 | 3144.4485 | 129.5688 | 0 | 1.063 | 12.3168 | 32.3343 | 32.9208 | 98.22% | 0 | 0 |  | 1111.1016 | 1116.685 |  |  | 0 | 33.44% | 0 | 0 |  | 27386.8186 | 691.3363 | 23450.385 | 0 | 3245.0973 | 0 | 24141.7213 | 3245.0973 | 1149.6058 |  |  | 0 | 6984.3236 | 1.063
Total 2011 | 32.5344 | 33.1432 | 0 | 2209.974 | 32.699 | 2243.1172 | 3128475.8487 | 46752.2271 | 6381.3422 | 0 | 102.2536 | 6279.0886 | 0 | 6136.511 | 244.8312 | 0 |  | 12.7839 | 32.5344 | 33.1432 |  | 0 | 0 |  | 2198.9241 | 2209.974 | [7 empty] | 53133 | 696.0069 | 46409.454 | 0 | 6028.1085 | 0 | 47105.4609 | 6028.1085 | 2243.1172 |  |  | 0 | 12974.1135
2012-01-01 | 0 | 0 | 167.2826 | 921.71 | 32.541 | 1088.9926 | 1518818.1583 | 22905.0148 | 3198.7008 | 104.6005 | 0 | 2618.8085 | 475.2917 | 2979.7561 | 114.3442 | 98.4012 | 1.063 | 0 | 0 | 0 |  | 166.4462 | 167.2826 |  | 917.1015 | 921.71 |  |  | 0 | 32.54% | 0 | 0 |  | 26103.7156 | 0 | 19355.91 | 3512.935 | 2271.0393 | 963.8312 | 22868.845 | 3234.8706 | 1088.9926 |  |  | 906.7086 | 4887.8885 | 1.063
2012-02-01 | 0.066864 | 0.074293 | 139.6574 | 955.642 | 34.4948 | 1095.3737 | 1527717.8346 | 23114.3133 | 3191.2248 | 78.8655 | 0.33989 | 2715.2178 | 396.8016 | 2997.1968 | 115.1625 | 74.1914 | 1.063 | 0.15602 | 0.066864 | 0.074293 | 90% | 138.9591 | 139.6574 |  | 950.8638 | 955.642 |  |  | 0 | 34.49% | 0 | 0 |  | 26305.5381 | 1.5602 | 20068.482 | 2932.8053 | 2498.0275 | 804.6631 | 23002.8474 | 3302.6907 | 1095.3737 |  |  | 756.9738 | 5376.4282 | 1.063
2012-03-01 | 1.8786 | 2.0707 | 314.3549 | 989.576 | 36.2863 | 1306.0016 | 1821480.6139 | 27680.9019 | 3925.9336 | 211.939 | 9.2008 | 2811.6328 | 893.1609 | 3573.047 | 140.9475 | 199.3782 | 1.063 | 4.0348 | 1.8786 | 2.0707 | 90.72% | 312.7831 | 314.3549 |  | 984.6281 | 989.576 |  |  | 0 | 36.29% | 0 | 0 |  | 31606.8355 | 43.4845 | 20781.096 | 6601.4531 | 2610.8093 | 1569.9925 | 27426.0336 | 4180.8019 | 1306.0016 |  |  | 1476.945 | 5619.165 | 1.063
2012-04-01 | 15.1973 | 16.5252 | 716.1989 | 470.37 | 30.5235 | 1203.0941 | 1677955.4945 | 25555.9843 | 3667.7355 | 226.7194 | 69.6771 | 1336.4388 | 2034.9002 | 3288.5419 | 152.4742 | 213.2826 | 1.063 | 27.8844 | 15.1973 | 16.5252 | 91.96% | 712.6179 | 716.1989 |  | 468.0181 | 470.37 |  |  | 0 | 30.52% | 0 | 0 |  | 29223.7197 | 347.0282 | 9877.77 | 15040.1777 | 1049.6347 | 2909.1091 | 25264.9759 | 3958.7439 | 1203.0941 |  |  | 2736.6972 | 2259.0967 | 1.063
Total 2011 | 17.1427 | 18.6701 | 1337.4939 | 3337.298 | 33.5767 | 4693.462 | 6545972.1013 | 99256.2144 | 13983.5945 | 622.1244 | 79.2178 | 9482.0979 | 3801 | 12838.5418 | 522.9284 | 585.2534 |  | 32.0752 | 17.1427 | 18.6701 |  | 1330.8064 | 1337.4939 |  | 3320.6115 | 3337.298 | [7 empty] | 113239.8089 | 392.0728 | 70083.258 | 28087.3711 | 8429 | 6247.596 | 98562.7019 | 14677.107 | 4693.462 |  |  | 5877.3246 | 18142.5784
Total Monito ring Period | 49.6772 | 51.8133 | 1337.4939 | 5547.272 | 33.2815 | 6936.5792 | 9674447.95 | 146008.4415 | 20365 | 622.1244 | 181.4714 | 15761.1866 | 3801 | 18975.0528 | 767.7595 | 585.2534 |  | 44.8591 | 49.6772 | 51.8133 |  | 1330.8064 | 1337.4939 |  | 5519.5356 | 5547.272 | [7 empty] | 166372.8089 | 1088.0797 | 116492.712 | 28087.3711 | 14457.1085 | 6247.596 | 145668.1628 | 20705.2154 | 6936.5792 |  |  | 5877.3246 | 31116.6918
colour codes
green | input data
yellow | data no used, project parts not installed yet
white | calculated data
blue | Values put into MR
data sources:
KAZ1-B1_Measuring_Data_2011-11-01 to 2012-04-30.V1.xls
KAZ1-F1_Measuring_Data_2011-11-01 to 2012-04-30.V1.xls
KAZ1-CHP_Measuring_Data_2011-11-01 to 2012-04-30.V2.xls
Note on T6: Adam Hadulla: The methane amount destroyed by flaring has been calculated using the complete monitored data (15 min. intervall storage). The data are calculated using three different combustion efficiencies, depending on the flame temperature: 0% below 500°C 90% 500°C to 1000°C 99.5% above 1000°C This calculation can't be done with monthly sums. See xls-file (data sources) for details
Note on AB6: Adam Hadulla: ex-ante value constant
Note on AC6: Adam Hadulla: ex-ante value constant
Note on AH6: Adam Hadulla: ex-ante value constant
Note on AR6: Adam Hadulla: ex-ante value constant
Note on AW6: Adam Hadulla: NEIA 2012
Note on AS6: Adam Hadulla: ex-ante value constant
Note on AX6: Adam Hadulla: ex-ante value constant manufacturer date boiler pass
Note on V4: Adam Hadulla: The monthly values of EffFL represents monthly average values for information only - MDFL has been calculated using the excat values in 15 min cycles within the Data sheets.