## Assumptions
Investment | 1000 LTL | 1000 EUR | - investements are estimated according to actual contracts price
Equipment, fundation, substation, cables (įranga, pamatai, elektros pastotė, kabeliai) | 187832.32 | 54400
Roads, construction area, drainage (keliai, | 10000 | 2896.2002
aikštelės, drenažo sistema) | 4000 | 1158.4801
Security system (apsaugos sistema) | 2000 | 579.24
Grid connection fee (prijungimo mokestis AB Lietuvos energijai | 10000 | 2896.2002
Total | 213832.32 | 61930.1205
Curency LTL/EUR | 3.4528
Total external financing | 87.84%
Interest rate (for external financing) | 5.959% | - the value interest rate was provided by the client
Benchmark interest rate | 8.16% | - benchmark is taken as the average interest for 6 months deposits in Lithuania. Presented Lithuanian bank data can be viewed folowing the link: http://www.lb.lt/stat_pub/statbrowser.aspx?group=7280&lang=lt (value of 2008 June)
Corporate tax | 15%
Own capital/Initial capital (thousand EUR) | 7530.1205
Fair value of the project at the final project year | 0 | - the cost for the dismantling of the wind turbine will be equal to the value of the debris. In this case no additional cost will acquire as the debris utilization will compensate decommissioning costs
Life time of the project | 20 | - the life time of the wind power park is derived from common practice, scource: Danish energy Authority, Eklraft, Eltra. Technology data for electricity and heat generating plants. 2005. ISBN: 87-7844-502-7 link: http://www.energinet.dk/NR/rdonlyres/4F6480DC-207B-41CF-8E54-BF0BA82926D7/0/Teknologikatalog050311.pdf
Sale price of the electricity, EUR/kWh | 0.086886 | - electricity price (feed-in tariff) is legally assured till the year 2020
Sale price of the ERUs, EUR | 12 | - ERU price was set by the consultants deriving from the historical prices of allowances under the EU ETS, available at the poincarbon.com, and taking into account the tendency that EUA price is usually higher than ERU price
Sensitivity analisis range | -30% to +30% | - sensitivity analysis was performed for possible variables flactuations: power production, ERUs and power price (analysis from -30% to current price)
Asumpt., which constitutes < 20%, but have material impact | none | - thera no additional assumptions, which constitute less than 20%, but have material impact on the sensitivity analysis.
| 2011-2015 | 2011-2015 | 2016-2030 | 2016-2030
Operation and Maintenance cost (thousand EUR) | 1000 LTL | 1000 EUR | 1000 LTL | 1000 EUR | - O&M cost are extracted from the actual Benaiciai 16 MW wind power park operation practice.
Maintenance | 1781.6448 | 516 | 3563.2896 | 1032 | -Maintenance costs on first 5 years after start-up 0,021 Lt/kWh, afterwards - 0,041 Lt/kWh
Land Lease | 22 | 6.3716 | 22 | 6.3716
Insurance | 300 | 86.886 | 300 | 86.886
Administration | 728 | 210.8434 | 728 | 210.8434
Operation taxes (Pastotė) | 250 | 72.405 | 250 | 72.405
Total cost | 3081.6448 | 892.506 | 4863.2896 | 1408.506
thousand EUR
Depriciation | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Total investments | 61930.1205
Depreciation (years) | 20
Current year depreciation |  | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506
Accumulated depreciation |  | 3096.506 | 6193.012 | 9289.5181 | 12386.0241 | 15482.5301 | 18579.0361 | 21675.5422 | 24772.0482 | 27868.5542 | 30965.0602 | 34061.5663 | 37158.0723 | 40254.5783 | 43351.0843 | 46447.5904 | 49544.0964 | 52640.6024 | 55737.1084 | 58833.6145 | 61930.1205
Value at the end of year | 61930.1205 | 58833.6145 | 55737.1084 | 52640.6024 | 49544.0964 | 46447.5904 | 43351.0843 | 40254.5783 | 37158.0723 | 34061.5663 | 30965.0602 | 27868.5542 | 24772.0482 | 21675.5422 | 18579.0361 | 15482.5301 | 12386.0241 | 9289.5181 | 6193.012 | 3096.506 | 0
Loan | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Total loan | 54400
Number of periods / period number | 15 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Loan at the beginning of the year |  | 54400 | 52055.4724 | 49571.2403 | 46938.979 | 44149.8678 | 41194.5605 | 38063.1538 | 34745.1544 | 31229.4437 | 27504.2406 | 23557.0619 | 19374.6807 | 14943.0819 | 10247.4153 | 5271.9455 | 0 | 0 | 0 | 0 | 0
Total repayment (principal + interest) |  | 5586.0876 | 5586.0876 | 5586.0876 | 5586.0876 | 5586.0876 | 5586.0876 | 5586.0876 | 5586.0876 | 5586.0876 | 5586.0876 | 5586.0876 | 5586.0876 | 5586.0876 | 5586.0876 | 5586.0876 | 0 | 0 | 0 | 0 | 0
Principal repayment |  | 2344.5276 | 2484.2321 | 2632.2613 | 2789.1112 | 2955.3073 | 3131.4067 | 3317.9994 | 3515.7107 | 3725.2031 | 3947.1787 | 4182.3812 | 4431.5988 | 4695.6667 | 4975.4697 | 5271.9455 | 0 | 0 | 0 | 0 | 0
Loan at the end of the year | 54400 | 52055.4724 | 49571.2403 | 46938.979 | 44149.8678 | 41194.5605 | 38063.1538 | 34745.1544 | 31229.4437 | 27504.2406 | 23557.0619 | 19374.6807 | 14943.0819 | 10247.4153 | 5271.9455 | 0 | 0 | 0 | 0 | 0
Interest |  | 3241.56 | 3101.8555 | 2953.8263 | 2796.9764 | 2630.7802 | 2454.6809 | 2268.0882 | 2070.3769 | 1860.8845 | 1638.9089 | 1403.7064 | 1154.4888 | 890.4209 | 610.6179 | 314.1421 | 0 | 0 | 0 | 0 | 0
Interest rate | 5.959% | 5.959% | 5.959% | 5.959% | 5.959% | 5.959% | 5.959% | 5.959% | 5.959% | 5.959% | 5.959% | 5.959% | 5.959% | 5.959% | 5.959% | 5.959% | 5.959% | 5.959% | 5.959% | 5.959% | 5.959%

## cash flow EUR
Annual power production, KWh | 86000000
`
PRODUCTION | Basic | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Power production, kWh | 86000000 |  | 0 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000
CO2 reduction, tCO2 | 53836 |  | 0 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836
REVENUE
Revenue from power sales, EUR |  |  | 0 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782
Revenue from ERUs, EUR | ` |  | 0 | 646032 | 646032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total |  |  | 0 | 8118228.4782 | 8118228.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782
OPERATING EXPENSES
Maintenance | 903000 |  | 0 | 516000 | 516000 | 516000 | 516000 | 516000 | 1032000 | 1032000 | 1032000 | 1032000 | 1032000 | 1032000 | 1032000 | 1032000 | 1032000 | 1032000 | 1032000 | 1032000 | 1032000 | 1032000 | 1032000
Land Lease | 6371.6404 |  | 0 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404
Insurance | 86886.0056 |  | 0 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056
Aministration | 210843.3735 |  | 0 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735
Operation taxes | 72405.0046 |  | 0 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046
Other |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total operating expenses | 1279506.0241 |  | 0 | 892506.0241 | 892506.0241 | 892506.0241 | 892506.0241 | 892506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241
FINANCIAL EXPENSES
Interest payments |  |  | 0 | 3241560 | 3101855.4626 | 2953826.281 | 2796976.4106 | 2630780.2485 | 2454680.8727 | 2268088.1752 | 2070376.8854 | 1860884.4742 | 1638908.9338 | 1403706.426 | 1154488.7887 | 890420.8955 | 610617.8567 | 314142.0543 | 0 | 0 | 0 | 0 | 0
Other
Total financial expenses |  |  | 0 | 3241560 | 3101855.4626 | 2953826.281 | 2796976.4106 | 2630780.2485 | 2454680.8727 | 2268088.1752 | 2070376.8854 | 1860884.4742 | 1638908.9338 | 1403706.426 | 1154488.7887 | 890420.8955 | 610617.8567 | 314142.0543 | 0 | 0 | 0 | 0 | 0
DEPRECIATION
Depriciation |  |  |  | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241
EARNINGS
EBITDA (with ERU's) |  |  | 0 | 887656.43 | 1027360.9675 | 529358.149 | 686208.0194 | 852404.1815 | 512503.5574 | 699096.2548 | 896807.5446 | 1106299.9559 | 1328275.4962 | 1563478.004 | 1812695.6413 | 2076763.5345 | 2356566.5734 | 2653042.3758 | 2967184.43 | 2967184.43 | 2967184.43 | 2967184.43 | 2967184.43
EBITDA (without ERU's) |  |  | 0 | 241624.43 | 381328.9675 | 529358.149 | 686208.0194 | 852404.1815 | 512503.5574 | 699096.2548 | 896807.5446 | 1106299.9559 | 1328275.4962 | 1563478.004 | 1812695.6413 | 2076763.5345 | 2356566.5734 | 2653042.3758 | 2967184.43 | 2967184.43 | 2967184.43 | 2967184.43 | 2967184.43
|  |  |  | 133148.4645 | 154104.1451 | 79403.7224 | 102931.2029 | 127860.6272 | 76875.5336 | 104864.4382 | 134521.1317 | 165944.9934 | 199241.3244 | 234521.7006 | 271904.3462 | 311514.5302 | 353484.986 | 397956.3564 | 445077.6645 | 445077.6645 | 445077.6645 | 445077.6645 | 445077.6645
|  |  |  | 36243.6645 | 57199.3451 | 79403.7224 | 102931.2029 | 127860.6272 | 76875.5336 | 104864.4382 | 134521.1317 | 165944.9934 | 199241.3244 | 234521.7006 | 271904.3462 | 311514.5302 | 353484.986 | 397956.3564 | 445077.6645 | 445077.6645 | 445077.6645 | 445077.6645 | 445077.6645
Corporate tax (with ERU's) |  |  | 0 | 133148.4645 | 154104.1451 | 79403.7224 | 102931.2029 | 127860.6272 | 76875.5336 | 104864.4382 | 134521.1317 | 165944.9934 | 199241.3244 | 234521.7006 | 271904.3462 | 311514.5302 | 353484.986 | 397956.3564 | 445077.6645 | 445077.6645 | 445077.6645 | 445077.6645 | 445077.6645
Corporate tax (without ERU's) |  |  | 0 | 36243.6645 | 57199.3451 | 79403.7224 | 102931.2029 | 127860.6272 | 76875.5336 | 104864.4382 | 134521.1317 | 165944.9934 | 199241.3244 | 234521.7006 | 271904.3462 | 311514.5302 | 353484.986 | 397956.3564 | 445077.6645 | 445077.6645 | 445077.6645 | 445077.6645 | 445077.6645
Profit, with ERUs |  |  | -61930120.4819 | 7092573.9896 | 7071618.309 | 6500286.7318 | 6476759.2512 | 6451829.8269 | 5986814.9205 | 5958826.0159 | 5929169.3224 | 5897745.4607 | 5864449.1297 | 5829168.7535 | 5791786.1079 | 5752175.9239 | 5710205.4681 | 5665734.0978 | 5618612.7896 | 5618612.7896 | 5618612.7896 | 5618612.7896 | 5618612.7896
Profit, without ERUs |  |  | -61930120.4819 | 6543446.7896 | 6522491.109 | 6500286.7318 | 6476759.2512 | 6451829.8269 | 5986814.9205 | 5958826.0159 | 5929169.3224 | 5897745.4607 | 5864449.1297 | 5829168.7535 | 5791786.1079 | 5752175.9239 | 5710205.4681 | 5665734.0978 | 5618612.7896 | 5618612.7896 | 5618612.7896 | 5618612.7896 | 5618612.7896
Average annual profit (with ERU's) | 6003610.3629
Average annual profit (without ERU's) | 5948697.6429
Payback time (with ERU's) | 10.3155
Paback time (without ERU's) | 10.4107
IRR, with ERUs | 7.736%
IRR, without ERUs | 7.517%
IRR (on equity), with ERUs | 20.58%
IRR (on equity), without ERUs | 18.77%
CO2 reductions, 2008-2012 tCO2 | 107672
total CO2 reductions, lifetime tCO2 | 1076720
revenues in 2008-2012, EUR | 1292064
Baseline factor, t CO2/MWh | 0.626
Power price, EUR/KWh | 0.086886
ERU price, EUR | 12
Start of the crediting period | 2011
End of the crediting period | 2012
Note on M42: Vaidas: for 20 years
Note on X17: Darius Bieksa: Fair value of the project is equal to 0. The decommisionig cost will be fully covered by the revenues from debris utilization

## Cash flow LT
3.4528
Annual power production, KWh | 86000000
`
PRODUCTION | Basic | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Power production, kWh | 86000000 |  | 0 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000
CO2 reduction, tCO2 | 53836 |  | 0 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836
REVENUE
Revenue from power sales, Lt |  |  | 0 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000
Revenue from ERUs, Lt | ` |  | 0 | 2230619.2896 | 2230619.2896 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total |  |  | 0 | 28030619.2896 | 28030619.2896 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000 | 25800000
OPERATING EXPENSES
Maintenance (EPK (techninis aptarnavimas)) | 3117878.4 |  | 0 | 1781644.8 | 1781644.8 | 1781644.8 | 1781644.8 | 1781644.8 | 3563289.6 | 3563289.6 | 3563289.6 | 3563289.6 | 3563289.6 | 3563289.6 | 3563289.6 | 3563289.6 | 3563289.6 | 3563289.6 | 3563289.6 | 3563289.6 | 3563289.6 | 3563289.6 | 3563289.6
Land Lease | 22000 |  | 0 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000
Insurance | 300000 |  | 0 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000
Aministration (Administravimas ir kita) | 728000 |  | 0 | 728000 | 728000 | 728000 | 728000 | 728000 | 728000 | 728000 | 728000 | 728000 | 728000 | 728000 | 728000 | 728000 | 728000 | 728000 | 728000 | 728000 | 728000 | 728000 | 728000
Operation taxes (pastotė, apsauga) | 129134.72 |  | 0 | 250000 | 250000 | 250000 | 250000 | 250000 | 250000 | 250000 | 250000 | 250000 | 250000 | 250000 | 250000 | 250000 | 250000 | 250000 | 250000 | 250000 | 250000 | 250000 | 250000
Other | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total operating expenses |  |  | 0 | 3081644.8 | 3081644.8 | 3081644.8 | 3081644.8 | 3081644.8 | 4863289.6 | 4863289.6 | 4863289.6 | 4863289.6 | 4863289.6 | 4863289.6 | 4863289.6 | 4863289.6 | 4863289.6 | 4863289.6 | 4863289.6 | 4863289.6 | 4863289.6 | 4863289.6 | 4863289.6
FINANCIAL EXPENSES |  | 2018: 7589804; 2019: 7589804; 2020: 7589804
Interest payments (paskolos 1/14 dalis+palūkanos) |  |  | 0 | 11192458.368 | 10710086.5412 | 10198971.3831 | 9657400.1505 | 9083558.0421 | 8475522.1171 | 7831254.8514 | 7148597.31 | 6425261.9124 | 5658824.7668 | 4846717.5477 | 3986218.8897 | 3074445.268 | 2108341.3355 | 1084669.685 | 0 | 0 | 0 | 0 | 0
Other
Total financial expenses |  |  | 0 | 11192458.368 | 10710086.5412 | 10198971.3831 | 9657400.1505 | 9083558.0421 | 8475522.1171 | 7831254.8514 | 7148597.31 | 6425261.9124 | 5658824.7668 | 4846717.5477 | 3986218.8897 | 3074445.268 | 2108341.3355 | 1084669.685 | 0 | 0 | 0 | 0 | 0
DEPRECIATION
|  |  | 0 | 10691616 | 10691616 | 10691616 | 10691616 | 10691616 | 10691616 | 10691616 | 10691616 | 10691616 | 10691616 | 10691616 | 10691616 | 10691616 | 10691616 | 10691616 | 10691616 | 10691616 | 10691616 | 10691616 | 10691616
EARNINGS
EBITDA (with ERU's ) |  |  | 0 | 3064900.1216 | 3547271.9484 | 1827767.8169 | 2369339.0495 | 2943181.1579 | 1769572.2829 | 2413839.5486 | 3096497.09 | 3819832.4876 | 4586269.6332 | 5398376.8523 | 6258875.5103 | 7170649.132 | 8136753.0645 | 9160424.715 | 10245094.4 | 10245094.4 | 10245094.4 | 10245094.4 | 10245094.4
EBITDA (without ERU's) |  |  | 0 | 834280.832 | 1316652.6588 | 1827767.8169 | 2369339.0495 | 2943181.1579 | 1769572.2829 | 2413839.5486 | 3096497.09 | 3819832.4876 | 4586269.6332 | 5398376.8523 | 6258875.5103 | 7170649.132 | 8136753.0645 | 9160424.715 | 10245094.4 | 10245094.4 | 10245094.4 | 10245094.4 | 10245094.4
|  |  |  | 459735.0182 | 532090.7923 | 274165.1725 | 355400.8574 | 441477.1737 | 265435.8424 | 362075.9323 | 464474.5635 | 572974.8731 | 687940.445 | 809756.5278 | 938831.3265 | 1075597.3698 | 1220512.9597 | 1374063.7073 | 1536764.16 | 1536764.16 | 1536764.16 | 1536764.16 | 1536764.16
|  |  |  | 125142.1248 | 197497.8988 | 274165.1725 | 355400.8574 | 441477.1737 | 265435.8424 | 362075.9323 | 464474.5635 | 572974.8731 | 687940.445 | 809756.5278 | 938831.3265 | 1075597.3698 | 1220512.9597 | 1374063.7073 | 1536764.16 | 1536764.16 | 1536764.16 | 1536764.16 | 1536764.16
Corporate tax (with ERU's) |  |  | 0 | 459735.0182 | 532090.7923 | 274165.1725 | 355400.8574 | 441477.1737 | 265435.8424 | 362075.9323 | 464474.5635 | 572974.8731 | 687940.445 | 809756.5278 | 938831.3265 | 1075597.3698 | 1220512.9597 | 1374063.7073 | 1536764.16 | 1536764.16 | 1536764.16 | 1536764.16 | 1536764.16
Corporate tax (without ERU's) |  |  | 0 | 125142.1248 | 197497.8988 | 274165.1725 | 355400.8574 | 441477.1737 | 265435.8424 | 362075.9323 | 464474.5635 | 572974.8731 | 687940.445 | 809756.5278 | 938831.3265 | 1075597.3698 | 1220512.9597 | 1374063.7073 | 1536764.16 | 1536764.16 | 1536764.16 | 1536764.16 | 1536764.16
|  |  |  | 459735.0182 | 532090.7923 | 274165.1725 | 355400.8574 | 441477.1737 | 2328304.8566 | 2690380.7889 | 3154855.3524
|  |  |  | 125142.1248 | 197497.8988 | 274165.1725 | 355400.8574 | 441477.1737 | 1659119.0697 | 2021195.002 | 2485669.5655 | 3058644.4386 | 3746584.8836
Profit before tax, (with ERU's) |  |  | -213832320 | 24489239.4714 | 24416883.6973 | 22444190.0275 | 22362954.3426 | 22276878.0263 | 20671274.5576 | 20574634.4677 | 20472235.8365 | 20363735.5269 | 20248769.955 | 20126953.8722 | 19997879.0735 | 19861113.0302 | 19716197.4403 | 19562646.6927 | 19399946.24 | 19399946.24 | 19399946.24 | 19399946.24 | 19399946.24
Profit before tax, (without ERUs) |  |  | -213832320 | 22593213.0752 | 22520857.3012 | 22444190.0275 | 22362954.3426 | 22276878.0263 | 20671274.5576 | 20574634.4677 | 20472235.8365 | 20363735.5269 | 20248769.955 | 20126953.8722 | 19997879.0735 | 19861113.0302 | 19716197.4403 | 19562646.6927 | 19399946.24 | 19399946.24 | 19399946.24 | 19399946.24 | 19399946.24
Average annual profit beffore tax (with ERU's) | 20729265.8609 | 2009: 20729265.8609
Average annual profit beffore tax (without ERU's) | 20539663.2213 | 2009: 20539663.2213
Payback time (with ERU's) | 10.3155
Paback time (without ERU's) | 10.4107
IRR (before tax), with ERUs | 7.736%
IRR (before tax), without ERUs | 7.517%
IRR (on equity), with ERUs | 20.58%
IRR (on equity), without ERUs | 18.77%
CO2 reductions, 2008-2012 tCO2 | 107672
total CO2 reductions, lifetime tCO2 | 1076720
revenues in 2008-2012, Lt | 4461238.5792
Baseline factor, t CO2/MWh | 0.626
Power price, LTL/KWh | 0.3
ERU price, LT | 41.4336
Note on X17: Darius Bieksa: Fair value of the project is equal to 0. The decommisionig cost will be fully covered by the revenues from debris utilization

## baseline
Forecast of power production in Lietuvos elektrine by COWI 2002
Baseline scenario
| Lietuvos elektrine |  | Benaiciai-1 WPP
| MWh | tCO2 | MWh | tCO2
2009 | 935651 | 585717.526 | 0 | 0
2010 | 3000000 | 1878000 | 0 | 0
2011 | 3000000 | 1878000 | 0 | 0
2012 | 3000000 | 1878000 | 0 | 0
Project scenario
| Lietuvos elektrine |  | Benaiciai WPP
| MWh | tCO2 | MWh | tCO2
2009 | 935651 | 585717.526 | 0 | 0
2010 | 3000000 | 1878000 | 0 | 0
2011 | 2914000 | 1824164 | 86000 | 0
2012 | 2914000 | 1824164 | 86000 | 0
CO2 reduction, tCO2
2009 | 0
2010 | 0
2011 | 53836
2012 | 53836
Total | 107672
kg SO2/MWh | 0.45
kg NOx/MWh | 0.95
kg SO2 | 38700
kg NOx | 81700

## Sensitivity analysis EUR
Margin | -30% | -20% | -10% | 0% | 10% | 20% | 30%
Production, KWh | 60200000 | 68800000 | 77400000 | 86000000 | 94600000 | 103200000 | 111800000
Production, MWh | 60200 | 68800 | 77400 | 86000 | 94600 | 103200 | 111800
IRR (with ERUs) | 3.37% | 4.98% | 6.41% | 7.74% | 9.01% | 10.25% | 11.45%
IRR (without ERUs) | 3.21% | 4.8% | 6.21% | 7.52% | 8.76% | 9.96% | 11.13%
ERU price, EUR | 8.4 | 9.6 | 10.8 | 12 | 13.2 | 14.4 | 15.6
IRR (with ERUs) | 7.67% | 7.69% | 7.71% | 7.74% | 7.76% | 7.78% | 7.8%
IRR (without ERUs)
Electricity price, EUR/kWh | 0.06082 | 0.069509 | 0.078197 | 0.086886 | 0.095575 | 0.10426 | 0.11295
IRR (with ERUs) | 2.73% | 4.64% | 6.26% | 7.74% | 9.14% | 10.48% | 11.78%
IRR (without ERUs) | 2.51% | 4.42% | 6.04% | 7.52% | 8.91% | 10.25% | 11.54%
Reikšmė
Annual power production, KWh | 100% | 86000000 | kWh | IRR, with ERUs |  | 7.736%
ERU price | 100% | 12 | EUR/ERU | IRR, without ERUs |  | 7.517%
Elektricity price | 100% | 0.086886 | EUR/kWh
`
PRODUCTION | Basic | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Power production, kWh | 86000000 |  | 0 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000 | 86000000
CO2 reduction, tCO2 | 53836 |  | 0 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836 | 53836
REVENUE
Revenue from power sales, EUR |  |  | 0 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782
Revenue from ERUs, EUR | ` |  | 0 | 646032 | 646032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total |  |  | 0 | 8118228.4782 | 8118228.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782 | 7472196.4782
OPERATING EXPENSES
Maintenance | 903000 |  | 0 | 516000 | 516000 | 516000 | 516000 | 516000 | 1032000 | 1032000 | 1032000 | 1032000 | 1032000 | 1032000 | 1032000 | 1032000 | 1032000 | 1032000 | 1032000 | 1032000 | 1032000 | 1032000 | 1032000
Land Lease | 6371.6404 |  | 0 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404 | 6371.6404
Insurance | 86886.0056 |  | 0 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056 | 86886.0056
Aministration | 210843.3735 |  | 0 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735 | 210843.3735
Operation taxes | 72405.0046 |  | 0 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046 | 72405.0046
Other |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total operating expenses | 1279506.0241 |  | 0 | 892506.0241 | 892506.0241 | 892506.0241 | 892506.0241 | 892506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241 | 1408506.0241
FINANCIAL EXPENSES
Interest payments |  |  | 0 | 3241560 | 3101855.4626 | 2953826.281 | 2796976.4106 | 2630780.2485 | 2454680.8727 | 2268088.1752 | 2070376.8854 | 1860884.4742 | 1638908.9338 | 1403706.426 | 1154488.7887 | 890420.8955 | 610617.8567 | 314142.0543 | 0 | 0 | 0 | 0 | 0
Other
Total financial expenses |  |  | 0 | 3241560 | 3101855.4626 | 2953826.281 | 2796976.4106 | 2630780.2485 | 2454680.8727 | 2268088.1752 | 2070376.8854 | 1860884.4742 | 1638908.9338 | 1403706.426 | 1154488.7887 | 890420.8955 | 610617.8567 | 314142.0543 | 0 | 0 | 0 | 0 | 0
DEPRECIATION
Depriciation |  |  |  | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241 | 3096506.0241
EARNINGS
EBITDA (with ERU's) |  |  | 0 | 887656.43 | 1027360.9675 | 529358.149 | 686208.0194 | 852404.1815 | 512503.5574 | 699096.2548 | 896807.5446 | 1106299.9559 | 1328275.4962 | 1563478.004 | 1812695.6413 | 2076763.5345 | 2356566.5734 | 2653042.3758 | 2967184.43 | 2967184.43 | 2967184.43 | 2967184.43 | 2967184.43
EBITDA (without ERU's) |  |  | 0 | 241624.43 | 381328.9675 | 529358.149 | 686208.0194 | 852404.1815 | 512503.5574 | 699096.2548 | 896807.5446 | 1106299.9559 | 1328275.4962 | 1563478.004 | 1812695.6413 | 2076763.5345 | 2356566.5734 | 2653042.3758 | 2967184.43 | 2967184.43 | 2967184.43 | 2967184.43 | 2967184.43
|  |  |  | 133148.4645 | 154104.1451 | 79403.7224 | 102931.2029 | 127860.6272 | 76875.5336 | 104864.4382 | 134521.1317 | 165944.9934 | 199241.3244 | 234521.7006 | 271904.3462 | 311514.5302 | 353484.986 | 397956.3564 | 445077.6645 | 445077.6645 | 445077.6645 | 445077.6645 | 445077.6645
|  |  |  | 36243.6645 | 57199.3451 | 79403.7224 | 102931.2029 | 127860.6272 | 76875.5336 | 104864.4382 | 134521.1317 | 165944.9934 | 199241.3244 | 234521.7006 | 271904.3462 | 311514.5302 | 353484.986 | 397956.3564 | 445077.6645 | 445077.6645 | 445077.6645 | 445077.6645 | 445077.6645
Corporate tax (with ERU's) |  |  | 0 | 133148.4645 | 154104.1451 | 79403.7224 | 102931.2029 | 127860.6272 | 76875.5336 | 104864.4382 | 134521.1317 | 165944.9934 | 199241.3244 | 234521.7006 | 271904.3462 | 311514.5302 | 353484.986 | 397956.3564 | 445077.6645 | 445077.6645 | 445077.6645 | 445077.6645 | 445077.6645
Corporate tax (without ERU's) |  |  | 0 | 36243.6645 | 57199.3451 | 79403.7224 | 102931.2029 | 127860.6272 | 76875.5336 | 104864.4382 | 134521.1317 | 165944.9934 | 199241.3244 | 234521.7006 | 271904.3462 | 311514.5302 | 353484.986 | 397956.3564 | 445077.6645 | 445077.6645 | 445077.6645 | 445077.6645 | 445077.6645
Profit, with ERUs |  |  | -61930120.4819 | 7092573.9896 | 7071618.309 | 6500286.7318 | 6476759.2512 | 6451829.8269 | 5986814.9205 | 5958826.0159 | 5929169.3224 | 5897745.4607 | 5864449.1297 | 5829168.7535 | 5791786.1079 | 5752175.9239 | 5710205.4681 | 5665734.0978 | 5618612.7896 | 5618612.7896 | 5618612.7896 | 5618612.7896 | 5618612.7896
Profit, without ERUs |  |  | -61930120.4819 | 6543446.7896 | 6522491.109 | 6500286.7318 | 6476759.2512 | 6451829.8269 | 5986814.9205 | 5958826.0159 | 5929169.3224 | 5897745.4607 | 5864449.1297 | 5829168.7535 | 5791786.1079 | 5752175.9239 | 5710205.4681 | 5665734.0978 | 5618612.7896 | 5618612.7896 | 5618612.7896 | 5618612.7896 | 5618612.7896
Average annual profit (with ERU's) | 6003610.3629
Average annual profit (without ERU's) | 5948697.6429
Payback time (with ERU's) | 10.3155
Paback time (without ERU's) | 10.4107
IRR, with ERUs | 7.736%
IRR, without ERUs | 7.517%
IRR (on equity), with ERUs | 20.58%
IRR (on equity), without ERUs | 18.77%
CO2 reductions, 2008-2012 tCO2 | 107672
total CO2 reductions, lifetime tCO2 | 1076720
revenues in 2008-2012, EUR | 1292064
Baseline factor, t CO2/MWh | 0.626
Power price, EUR/KWh | 0.086886
ERU price, EUR | 12
Start of the crediting period | 2011
End of the crediting period | 2012
Note on M63: Vaidas: for 20 years
Note on X38: Darius Bieksa: Fair value of the project is equal to 0. The decommisionig cost will be fully covered by the revenues from debris utilization

## Balance Profit(loss) EUR
thousand EUR
Profit/loss acount | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Revenue |  |  |  | 0 | 8118.2285 | 8118.2285 | 7472.1965 | 7472.1965 | 7472.1965 | 7472.1965 | 7472.1965 | 7472.1965 | 7472.1965 | 7472.1965 | 7472.1965 | 7472.1965 | 7472.1965 | 7472.1965 | 7472.1965 | 7472.1965 | 7472.1965 | 7472.1965 | 7472.1965 | 7472.1965
Operating expenses |  |  |  | 0 | 892.506 | 892.506 | 892.506 | 892.506 | 892.506 | 1408.506 | 1408.506 | 1408.506 | 1408.506 | 1408.506 | 1408.506 | 1408.506 | 1408.506 | 1408.506 | 1408.506 | 1408.506 | 1408.506 | 1408.506 | 1408.506 | 1408.506
EBITDA |  |  |  | 0 | 7225.7225 | 7225.7225 | 6579.6905 | 6579.6905 | 6579.6905 | 6063.6905 | 6063.6905 | 6063.6905 | 6063.6905 | 6063.6905 | 6063.6905 | 6063.6905 | 6063.6905 | 6063.6905 | 6063.6905 | 6063.6905 | 6063.6905 | 6063.6905 | 6063.6905 | 6063.6905
Depreciation |  |  |  | 0 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506
EBIT |  |  |  | 0 | 4129.2164 | 4129.2164 | 3483.1844 | 3483.1844 | 3483.1844 | 2967.1844 | 2967.1844 | 2967.1844 | 2967.1844 | 2967.1844 | 2967.1844 | 2967.1844 | 2967.1844 | 2967.1844 | 2967.1844 | 2967.1844 | 2967.1844 | 2967.1844 | 2967.1844 | 2967.1844
Financial activities |  |  |  | 0 | 3241.56 | 3101.8555 | 2953.8263 | 2796.9764 | 2630.7802 | 2454.6809 | 2268.0882 | 2070.3769 | 1860.8845 | 1638.9089 | 1403.7064 | 1154.4888 | 890.4209 | 610.6179 | 314.1421 | 0 | 0 | 0 | 0 | 0
EBT |  |  |  | 0 | 887.6564 | 1027.361 | 529.3581 | 686.208 | 852.4042 | 512.5036 | 699.0963 | 896.8075 | 1106.3 | 1328.2755 | 1563.478 | 1812.6956 | 2076.7635 | 2356.5666 | 2653.0424 | 2967.1844 | 2967.1844 | 2967.1844 | 2967.1844 | 2967.1844
Taxes |  |  |  | 0 | 133.1485 | 154.1041 | 79.4037 | 102.9312 | 127.8606 | 76.8755 | 104.8644 | 134.5211 | 165.945 | 199.2413 | 234.5217 | 271.9043 | 311.5145 | 353.485 | 397.9564 | 445.0777 | 445.0777 | 445.0777 | 445.0777 | 445.0777
Net Profit |  |  |  | 0 | 754.508 | 873.2568 | 449.9544 | 583.2768 | 724.5436 | 435.628 | 594.2318 | 762.2864 | 940.355 | 1129.0342 | 1328.9563 | 1540.7913 | 1765.249 | 2003.0816 | 2255.086 | 2522.1068 | 2522.1068 | 2522.1068 | 2522.1068 | 2522.1068
Balance sheet
thousand EUR
Balance sheet |  |  |  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
ASSETS |  |  |  | 54400 | 52809.9804 | 51199.0051 | 49016.6982 | 46810.8638 | 44580.1001 | 41884.3214 | 39160.5538 | 36407.1295 | 33622.2814 | 30804.1369 | 27950.712 | 25059.9045 | 22129.4868 | 19157.0987 | 16140.2392 | 18662.3459 | 21184.4527 | 23706.5595 | 26228.6662 | 28750.773
Fixed assets |  |  |  | 61930.1205 | 58833.6145 | 55737.1084 | 52640.6024 | 49544.0964 | 46447.5904 | 43351.0843 | 40254.5783 | 37158.0723 | 34061.5663 | 30965.0602 | 27868.5542 | 24772.0482 | 21675.5422 | 18579.0361 | 15482.5301 | 12386.0241 | 9289.5181 | 6193.012 | 3096.506 | 0
Long-term prepayments |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Short-term prepayments |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash |  |  |  | -7530.1205 | -6023.6341 | -4538.1034 | -3623.9042 | -2733.2325 | -1867.4903 | -1466.763 | -1094.0245 | -750.9428 | -439.2849 | -160.9234 | 82.1578 | 287.8563 | 453.9447 | 578.0625 | 657.7091 | 6276.3219 | 11894.9346 | 17513.5474 | 23132.1602 | 28750.773
EQUITY & LIABILITIES |  |  |  | 54400 | 52809.9804 | 51199.0051 | 49016.6982 | 46810.8638 | 44580.1001 | 41884.3214 | 39160.5538 | 36407.1295 | 33622.2814 | 30804.1369 | 27950.712 | 25059.9045 | 22129.4868 | 19157.0987 | 16140.2392 | 18662.3459 | 21184.4527 | 23706.5595 | 26228.6662 | 28750.773
EQUITY |  |  |  | 0 | 754.508 | 1627.7648 | 2077.7192 | 2660.996 | 3385.5396 | 3821.1676 | 4415.3994 | 5177.6858 | 6118.0408 | 7247.075 | 8576.0313 | 10116.8226 | 11882.0716 | 13885.1532 | 16140.2392 | 18662.3459 | 21184.4527 | 23706.5595 | 26228.6662 | 28750.773
Share capital |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Initial "capital" |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Retained earnings |  |  |  | 0 | 754.508 | 1627.7648 | 2077.7192 | 2660.996 | 3385.5396 | 3821.1676 | 4415.3994 | 5177.6858 | 6118.0408 | 7247.075 | 8576.0313 | 10116.8226 | 11882.0716 | 13885.1532 | 16140.2392 | 18662.3459 | 21184.4527 | 23706.5595 | 26228.6662 | 28750.773
Current year profit |  |  |  | 0 | 754.508 | 873.2568 | 449.9544 | 583.2768 | 724.5436 | 435.628 | 594.2318 | 762.2864 | 940.355 | 1129.0342 | 1328.9563 | 1540.7913 | 1765.249 | 2003.0816 | 2255.086 | 2522.1068 | 2522.1068 | 2522.1068 | 2522.1068 | 2522.1068
Previous years profit |  |  |  | 0 | 0 | 754.508 | 1627.7648 | 2077.7192 | 2660.996 | 3385.5396 | 3821.1676 | 4415.3994 | 5177.6858 | 6118.0408 | 7247.075 | 8576.0313 | 10116.8226 | 11882.0716 | 13885.1532 | 16140.2392 | 18662.3459 | 21184.4527 | 23706.5595 | 26228.6662
LIABILITIES |  |  |  | 54400 | 54400 | 52055.4724 | 49571.2403 | 46938.979 | 44149.8678 | 41194.5605 | 38063.1538 | 34745.1544 | 31229.4437 | 27504.2406 | 23557.0619 | 19374.6807 | 14943.0819 | 10247.4153 | 5271.9455 | 0 | 0 | 0 | 0 | 0
Long-term loans |  |  |  | 54400 | 52055.4724 | 49571.2403 | 46938.979 | 44149.8678 | 41194.5605 | 38063.1538 | 34745.1544 | 31229.4437 | 27504.2406 | 23557.0619 | 19374.6807 | 14943.0819 | 10247.4153 | 5271.9455 | 0 | 0 | 0 | 0 | 0 | 0
Short-term part of long-term loan |  |  |  | 0 | 2344.5276 | 2484.2321 | 2632.2613 | 2789.1112 | 2955.3073 | 3131.4067 | 3317.9994 | 3515.7107 | 3725.2031 | 3947.1787 | 4182.3812 | 4431.5988 | 4695.6667 | 4975.4697 | 5271.9455 | 0 | 0 | 0 | 0 | 0
thousand EUR
Cash flow statement |  |  |  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Operating |  |  |  | 0 | 3851.014 | 3969.7628 | 3546.4605 | 3679.7828 | 3821.0496 | 3532.134 | 3690.7378 | 3858.7924 | 4036.861 | 4225.5402 | 4425.4623 | 4637.2973 | 4861.755 | 5099.5876 | 5351.592 | 5618.6128 | 5618.6128 | 5618.6128 | 5618.6128 | 5618.6128
Net profit |  |  |  | 0 | 754.508 | 873.2568 | 449.9544 | 583.2768 | 724.5436 | 435.628 | 594.2318 | 762.2864 | 940.355 | 1129.0342 | 1328.9563 | 1540.7913 | 1765.249 | 2003.0816 | 2255.086 | 2522.1068 | 2522.1068 | 2522.1068 | 2522.1068 | 2522.1068
Depreciation |  |  |  | 0 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506 | 3096.506
Investing: |  |  |  | 61930.1205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Investments into tangible assets |  |  |  | 2010: 61930.1205
Financing: |  |  |  | 54400 | -2344.5276 | -2484.2321 | -2632.2613 | -2789.1112 | -2955.3073 | -3131.4067 | -3317.9994 | -3515.7107 | -3725.2031 | -3947.1787 | -4182.3812 | -4431.5988 | -4695.6667 | -4975.4697 | -5271.9455 | 0 | 0 | 0 | 0 | 0
Raising of external financing |  |  |  | 2010: 54400
Repayment of loan |  |  |  | 0 | 2344.5276 | 2484.2321 | 2632.2613 | 2789.1112 | 2955.3073 | 3131.4067 | 3317.9994 | 3515.7107 | 3725.2031 | 3947.1787 | 4182.3812 | 4431.5988 | 4695.6667 | 4975.4697 | 5271.9455 | 0 | 0 | 0 | 0 | 0
Total cash flow: |  |  |  | -7530.1205 | 1506.4864 | 1485.5307 | 914.1991 | 890.6717 | 865.7422 | 400.7273 | 372.7384 | 343.0817 | 311.6579 | 278.3615 | 243.0812 | 205.6985 | 166.0883 | 124.1179 | 79.6465 | 5618.6128 | 5618.6128 | 5618.6128 | 5618.6128 | 5618.6128
Cash at the beginning of the year |  |  |  | 0 | -7530.1205 | -6023.6341 | -4538.1034 | -3623.9042 | -2733.2325 | -1867.4903 | -1466.763 | -1094.0245 | -750.9428 | -439.2849 | -160.9234 | 82.1578 | 287.8563 | 453.9447 | 578.0625 | 657.7091 | 6276.3219 | 11894.9346 | 17513.5474 | 23132.1602
Cash at the end of the year |  |  |  | -7530.1205 | -6023.6341 | -4538.1034 | -3623.9042 | -2733.2325 | -1867.4903 | -1466.763 | -1094.0245 | -750.9428 | -439.2849 | -160.9234 | 82.1578 | 287.8563 | 453.9447 | 578.0625 | 657.7091 | 6276.3219 | 11894.9346 | 17513.5474 | 23132.1602 | 28750.773

## Balansas Pelnas(nuostolis)
thousand LTL
Profit/loss acount | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Pajamos |  |  |  | 0 | 28030.6193 | 28030.6193 | 25800 | 25800 | 25800 | 25800 | 25800 | 25800 | 25800 | 25800 | 25800 | 25800 | 25800 | 25800 | 25800 | 25800 | 25800 | 25800 | 25800 | 25800
Veiklos kaštai |  |  |  | 0 | 3081.6448 | 3081.6448 | 3081.6448 | 3081.6448 | 3081.6448 | 4863.2896 | 4863.2896 | 4863.2896 | 4863.2896 | 4863.2896 | 4863.2896 | 4863.2896 | 4863.2896 | 4863.2896 | 4863.2896 | 4863.2896 | 4863.2896 | 4863.2896 | 4863.2896 | 4863.2896
EBITDA |  |  |  | 0 | 24948.9745 | 24948.9745 | 22718.3552 | 22718.3552 | 22718.3552 | 20936.7104 | 20936.7104 | 20936.7104 | 20936.7104 | 20936.7104 | 20936.7104 | 20936.7104 | 20936.7104 | 20936.7104 | 20936.7104 | 20936.7104 | 20936.7104 | 20936.7104 | 20936.7104 | 20936.7104
Nuvertėjimas |  |  |  | 0 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616
EBIT |  |  |  | 0 | 14257.3585 | 14257.3585 | 12026.7392 | 12026.7392 | 12026.7392 | 10245.0944 | 10245.0944 | 10245.0944 | 10245.0944 | 10245.0944 | 10245.0944 | 10245.0944 | 10245.0944 | 10245.0944 | 10245.0944 | 10245.0944 | 10245.0944 | 10245.0944 | 10245.0944 | 10245.0944
Finansinė veikla |  |  |  | 0 | 11192.4584 | 10710.0865 | 10198.9714 | 9657.4002 | 9083.558 | 8475.5221 | 7831.2549 | 7148.5973 | 6425.2619 | 5658.8248 | 4846.7175 | 3986.2189 | 3074.4453 | 2108.3413 | 1084.6697 | 0 | 0 | 0 | 0 | 0
EBT |  |  |  | 0 | 3064.9001 | 3547.2719 | 1827.7678 | 2369.339 | 2943.1812 | 1769.5723 | 2413.8395 | 3096.4971 | 3819.8325 | 4586.2696 | 5398.3769 | 6258.8755 | 7170.6491 | 8136.7531 | 9160.4247 | 10245.0944 | 10245.0944 | 10245.0944 | 10245.0944 | 10245.0944
Pelno mokestis |  |  |  | 0 | 459.735 | 532.0908 | 274.1652 | 355.4009 | 441.4772 | 265.4358 | 362.0759 | 464.4746 | 572.9749 | 687.9404 | 809.7565 | 938.8313 | 1075.5974 | 1220.513 | 1374.0637 | 1536.7642 | 1536.7642 | 1536.7642 | 1536.7642 | 1536.7642
Grynasis pelnas |  |  |  | 0 | 2605.1651 | 3015.1812 | 1553.6026 | 2013.9382 | 2501.704 | 1504.1364 | 2051.7636 | 2632.0225 | 3246.8576 | 3898.3292 | 4588.6203 | 5320.0442 | 6095.0518 | 6916.2401 | 7786.361 | 8708.3302 | 8708.3302 | 8708.3302 | 8708.3302 | 8708.3302
Balance sheet
thousand LTL
Balansas |  |  |  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
ILGALAIKIS TURTAS |  |  |  | 187832.32 | 182342.3003 | 176779.9247 | 169244.8556 | 161628.5507 | 153926.1695 | 144618.1849 | 135213.5601 | 125706.5367 | 116091.0131 | 106360.5238 | 96508.2185 | 86526.8383 | 76408.6921 | 66145.6304 | 55729.0178 | 64437.3481 | 73145.6783 | 81854.0086 | 90562.3388 | 99270.669
Materialus turtas |  |  |  | 213832.32 | 203140.704 | 192449.088 | 181757.472 | 171065.856 | 160374.24 | 149682.624 | 138991.008 | 128299.392 | 117607.776 | 106916.16 | 96224.544 | 85532.928 | 74841.312 | 64149.696 | 53458.08 | 42766.464 | 32074.848 | 21383.232 | 10691.616 | 0
Po vienerių metų gautinos sumos |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Per vienerius metus gautinos sumos |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pinigai ir pinigų ekvivalentai |  |  |  | -26000 | -20798.4037 | -15669.1633 | -12512.6164 | -9437.3053 | -6448.0705 | -5064.4391 | -3777.4479 | -2592.8553 | -1516.7629 | -555.6362 | 283.6745 | 993.9103 | 1567.3801 | 1995.9344 | 2270.9378 | 21670.8841 | 41070.8303 | 60470.7766 | 79870.7228 | 99270.669
KAPITALAS ir ĮSIPAREIGOJIMAI |  |  |  | 187832.32 | 182342.3003 | 176779.9247 | 169244.8556 | 161628.5507 | 153926.1695 | 144618.1849 | 135213.5601 | 125706.5367 | 116091.0131 | 106360.5238 | 96508.2185 | 86526.8383 | 76408.6921 | 66145.6304 | 55729.0178 | 64437.3481 | 73145.6783 | 81854.0086 | 90562.3388 | 99270.669
KAPITALAS |  |  |  | 0 | 2605.1651 | 5620.3463 | 7173.9489 | 9187.8871 | 11689.5911 | 13193.7275 | 15245.4911 | 17877.5137 | 21124.3713 | 25022.7005 | 29611.3208 | 34931.365 | 41026.4167 | 47942.6568 | 55729.0178 | 64437.3481 | 73145.6783 | 81854.0086 | 90562.3388 | 99270.669
Bendrai valdomas kapitalas |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pradinis kapitalas |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nepaskirstytas pelnas |  |  |  | 0 | 2605.1651 | 5620.3463 | 7173.9489 | 9187.8871 | 11689.5911 | 13193.7275 | 15245.4911 | 17877.5137 | 21124.3713 | 25022.7005 | 29611.3208 | 34931.365 | 41026.4167 | 47942.6568 | 55729.0178 | 64437.3481 | 73145.6783 | 81854.0086 | 90562.3388 | 99270.669
Ataskaitinių metų pelnas |  |  |  | 0 | 2605.1651 | 3015.1812 | 1553.6026 | 2013.9382 | 2501.704 | 1504.1364 | 2051.7636 | 2632.0225 | 3246.8576 | 3898.3292 | 4588.6203 | 5320.0442 | 6095.0518 | 6916.2401 | 7786.361 | 8708.3302 | 8708.3302 | 8708.3302 | 8708.3302 | 8708.3302
Ankstesnių metų pelnas |  |  |  | 0 | 0 | 2605.1651 | 5620.3463 | 7173.9489 | 9187.8871 | 11689.5911 | 13193.7275 | 15245.4911 | 17877.5137 | 21124.3713 | 25022.7005 | 29611.3208 | 34931.365 | 41026.4167 | 47942.6568 | 55729.0178 | 64437.3481 | 73145.6783 | 81854.0086 | 90562.3388
ĮSIPAREIGOJIMAI |  |  |  | 187832.32 | 187832.32 | 179737.1352 | 171159.5785 | 162070.9067 | 152440.6636 | 142236.5784 | 131424.4573 | 119968.069 | 107829.0231 | 94966.6418 | 81337.8233 | 66896.8977 | 51595.4733 | 35382.2754 | 18202.9735 | 0 | 0 | 0 | 0 | 0
Ilgalaikiai įsipareigojimai (paslola) |  |  |  | 187832.32 | 179737.1352 | 171159.5785 | 162070.9067 | 152440.6636 | 142236.5784 | 131424.4573 | 119968.069 | 107829.0231 | 94966.6418 | 81337.8233 | 66896.8977 | 51595.4733 | 35382.2754 | 18202.9735 | 0 | 0 | 0 | 0 | 0 | 0
Trumpalaikių įsipareigojimų dalis |  |  |  | 0 | 8095.1848 | 8577.5567 | 9088.6718 | 9630.2431 | 10204.0852 | 10812.1211 | 11456.3884 | 12139.0459 | 12862.3813 | 13628.8184 | 14440.9257 | 15301.4243 | 16213.1979 | 17179.3019 | 18202.9735 | 0 | 0 | 0 | 0 | 0
thousand LTL
Grynųjų srautai |  |  |  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Veikla |  |  |  | 0 | 13296.7811 | 13706.7972 | 12245.2186 | 12705.5542 | 13193.32 | 12195.7524 | 12743.3796 | 13323.6385 | 13938.4736 | 14589.9452 | 15280.2363 | 16011.6602 | 16786.6678 | 17607.8561 | 18477.977 | 19399.9462 | 19399.9462 | 19399.9462 | 19399.9462 | 19399.9462
Grynasis pelnas |  |  |  | 0 | 2605.1651 | 3015.1812 | 1553.6026 | 2013.9382 | 2501.704 | 1504.1364 | 2051.7636 | 2632.0225 | 3246.8576 | 3898.3292 | 4588.6203 | 5320.0442 | 6095.0518 | 6916.2401 | 7786.361 | 8708.3302 | 8708.3302 | 8708.3302 | 8708.3302 | 8708.3302
Nuvertėjimas |  |  |  | 0 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616 | 10691.616
Investicijųs: |  |  |  | 213832.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Investicijos į materialujį turtą |  |  |  | 2010: 213832.32
Finansavimas: |  |  |  | 187832.32 | -8095.1848 | -8577.5567 | -9088.6718 | -9630.2431 | -10204.0852 | -10812.1211 | -11456.3884 | -12139.0459 | -12862.3813 | -13628.8184 | -14440.9257 | -15301.4243 | -16213.1979 | -17179.3019 | -18202.9735 | 0 | 0 | 0 | 0 | 0
Išorinis finansavimas |  |  |  | 2010: 187832.32
Paskolos grąžinimas |  |  |  | 0 | 8095.1848 | 8577.5567 | 9088.6718 | 9630.2431 | 10204.0852 | 10812.1211 | 11456.3884 | 12139.0459 | 12862.3813 | 13628.8184 | 14440.9257 | 15301.4243 | 16213.1979 | 17179.3019 | 18202.9735 | 0 | 0 | 0 | 0 | 0
Bedras grynųjų srautas: |  |  |  | -26000 | 5201.5963 | 5129.2405 | 3156.5468 | 3075.3111 | 2989.2348 | 1383.6313 | 1286.9913 | 1184.5926 | 1076.0923 | 961.1267 | 839.3107 | 710.2359 | 573.4698 | 428.5542 | 275.0035 | 19399.9462 | 19399.9462 | 19399.9462 | 19399.9462 | 19399.9462
Grynieji metų pradžioje |  |  |  | 0 | -26000 | -20798.4037 | -15669.1633 | -12512.6164 | -9437.3053 | -6448.0705 | -5064.4391 | -3777.4479 | -2592.8553 | -1516.7629 | -555.6362 | 283.6745 | 993.9103 | 1567.3801 | 1995.9344 | 2270.9378 | 21670.8841 | 41070.8303 | 60470.7766 | 79870.7228
Grynieji metų pabaigoje |  |  |  | -26000 | -20798.4037 | -15669.1633 | -12512.6164 | -9437.3053 | -6448.0705 | -5064.4391 | -3777.4479 | -2592.8553 | -1516.7629 | -555.6362 | 283.6745 | 993.9103 | 1567.3801 | 1995.9344 | 2270.9378 | 21670.8841 | 41070.8303 | 60470.7766 | 79870.7228 | 99270.669