## Monthly data
Date | Period | Lendimai kWh to Grid | Sudenai kWh to Grid | kWh/month to Grid | 1WT_avg | kW per Q to Grid |  | kWh/month SCADA | 1WT_avg | Difference | % | kW at the last day | Lendimai kWh from Grid | Sudenai kWh from Grid | kWh/month from Grid | Net prod Lendimai | Net prod Sudenai | Month | VE POS | VE el. energy | Total | Quarter | Month | LAR POS | LAR el. energy | Total | Quarter
2008-11-30 | November | 0 | 0 | 0 | 0 | [7 empty] | 2972 | 9602 | 12574
2008-12-31 | December | 719172 | 1117388 | 1836560 | 262365.7143 | 2008 Q4 | 1836560 | 1872686 | 267527 | 36126 | 1.9291 | 1872686 | 1066 | 1716 | 2782 | 715134 | 1106070 | [5 empty] | 2008-Gruodis | 179653.64 | 66171.72 | 245825.36 | 245825.36
2009-01-31 | January | 1114627 | 1485996 | 2600623 | 371517.5714 |  |  | 2644421 | 377774 | 43798 | 1.6562 | 4517107 | 518 | 690 | 1208 | 1114109 | 1485306 | 2009-Sausis | 273094.76 | 61293.34 | 334388.1 |  | 2009-Sausis | 364083.88 | 81714.92 | 445798.8
2009-02-28 | February | 739624 | 986048 | 1725672 | 246524.5714 |  |  | 1754830 | 250690 | 29158 | 1.6616 | 6271937 | 579 | 770 | 1349 | 739045 | 985278 | 2009-Vasaris | 181215.28 | 40671.92 | 221887.2 |  | 2009-Vasaris | 241591.62 | 54222.78 | 295814.4
2009-03-31 | March | 768676 | 1024780 | 1793456 | 256208 | 2009 Q1 | 6119751 | 1825787 | 260827 | 32331 | 1.7708 | 8097724 | 1032 | 1375 | 2407 | 767644 | 1023405 | 2009-Kovas | 188333.31 | 42269.49 | 230602.8 | 786878.1 | 2009-Kovas | 251081.35 | 56352.65 | 307434 | 1049047.2
2009-04-30 | April | 715034 | 953267 | 1668301 | 238328.7143 |  |  | 1700056 | 242865 | 31755 | 1.8679 | 9797780 | 476 | 634 | 1110 | 714558 | 952633 | 2009-Balandis | 175190.48 | 39319.72 | 214510.2 |  | 2009-Balandis | 233559.95 | 52420.15 | 285980.1
2009-05-31 | May | 947793 | 1263576 | 2211369 | 315909.8571 |  |  | 2249311 | 321330 | 37942 | 1.6868 | 12047091 | 527 | 703 | 1230 | 947266 | 1262873 | 2009-Gegužė | 232218.76 | 52119.14 | 284337.9 |  | 2009-Gegužė | 309588.76 | 69484.04 | 379072.8
2009-06-30 | June | 972592 | 1296637 | 2269229 | 324175.5714 | 2009 Q2 | 6148899 | 2307513 | 329645 | 38284 | 1.6591 | 14354604 | 342 | 455 | 797 | 972250 | 1296182 | 2009-Birželis | 238294.77 | 53482.83 | 291777.6 | 790625.7 | 2009-Birželis | 317689.03 | 71302.07 | 388991.1 | 1054044
2009-07-31 | July | 739724 | 986182 | 1725906 | 246558 |  |  | 1761435 | 251634 | 35529 | 2.017 | 16116039 | 903 | 1202 | 2105 | 738821 | 984980 | 2009-Liepa | 181239.78 | 40677.42 | 221917.2 |  | 2009-Liepa | 241624.45 | 54230.15 | 295854.6
2009-08-31 | August | 818586 | 1091321 | 1909907 | 272843.8571 |  |  | 1945926 | 277989 | 36019 | 1.851 | 18061965 | 267 | 356 | 623 | 818319 | 1090965 | 2009-Rugpjūtis | 200561.76 | 45014.04 | 245575.8 |  | 2009-Rugpjūtis | 267384.56 | 60011.74 | 327396.3
2009-09-30 | September | 1195805 | 1594226 | 2790031 | 398575.8571 | 2009 Q3 | 6425844 | 2837136 | 405305 | 47105 | 1.6603 | 20899101 | 193 | 263 | 456 | 1195612 | 1593963 | 2009-Rugsėjis | 292984.18 | 65757.32 | 358741.5 | 826234.5 | 2009-Rugsėjis | 390601.31 | 87666.49 | 478267.8 | 1101518.7
2009-10-31 | October | 1209664 | 1612696 | 2822360 | 403194.2857 |  |  | 2867511 | 409644 | 45151 | 1.5746 | 23766612 | 249 | 331 | 580 | 1209415 | 1612365 | 2009-Spalis | 296379.78 | 66519.42 | 362899.2 |  | 2009-Spalis | 395126.65 | 88682.15 | 483808.8
2009-11-30 | November | 1598381 | 2130928 | 3729309 | 532758.4286 |  |  | 3777731 | 539676 | 48422 | 1.2818 | 27544343 | 179 | 241 | 420 | 1598202 | 2130687 | 2009-Lapkritis | 391619.33 | 87894.97 | 479514.3 |  | 2009-Lapkritis | 522098.67 | 117179.73 | 639278.4
2009-12-31 | December | 1052394 | 1403030 | 2455424 | 350774.8571 | 2009 Q4 | 9007093 | 2491657 | 355951 | 36233 | 1.4542 | 30036000 | 522 | 698 | 1220 | 1051872 | 1402332 | 2009-Gruodis | 257847.05 | 57871.15 | 315718.2 | 1158131.7 | 2009-Gruodis | 343756.38 | 77152.62 | 420909 | 1543996.2
SUM2009 |  | 11872900 | 15828687 | 27701587 |  |  | 27701587 | 28163314 | 4023331 | 461727 | 1.6395 | 30036000 | 5787 | 7718 | 13505 | 11867113 | 15820969 | SUM2009 | 2908979.24 | 652890.76 | 3561870 |  | SUM2009 | 3878186.61 | 870419.49 | 4748606.1
2010-01-31 | January | 1096683 | 1462070 | 2558753 | 365536.1429 |  |  | 2596670 | 370953 | 37917 | 1.4602 | 32632670 | 1279 | 1702 | 2981 | 1095404 | 1460368 | 2010-Sausis | 159019.04 | 169985.87 | 329004.91 |  | 2010-Sausis | 212000.15 | 226620.85 | 438621
2010-02-28 | February | 759966 | 1013171 | 1773137 | 253305 |  |  | 1802441 | 257492 | 29304 | 1.6258 | 34435111 | 520 | 694 | 1214 | 759446 | 1012477 | 2010-Vasaris | 110195.07 | 117794.73 | 227989.8 |  | 2010-Vasaris | 146909.8 | 157041.51 | 303951.31
2010-03-31 | March | 1276969 | 1702425 | 2979394 | 253305 | 2010 Q1 | 7311284 | 3020099 | 431443 | 40705 | 1.3478 | 37455210 | 344 | 457 | 801 | 1276625 | 1701968 | 2010-Kovas | 185160.51 | 197930.2 | 383090.71 | 940085.42 | 2010-Kovas | 246851.63 | 263875.88 | 510727.51 | 1253299.82
2010-04-30 | April | 781593 | 1042004 | 1823597 | 253305 |  |  | 1854498 | 264928 | 30901 | 1.6663 | 39309708 | 804 | 1074 | 1878 | 780789 | 1040930 | 2010-Balandis | 113330.99 | 121146.92 | 234477.91 |  | 2010-Balandis | 151090.58 | 161510.62 | 312601.2
2010-05-31 | May | 766577 | 1021979 | 1788556 | 253305 |  |  | 1821385 | 260198 | 32829 | 1.8024 | 41131093 | 697 | 925 | 1622 | 765880 | 1021054 | 2010-Gegužė | 111153.67 | 118819.44 | 229973.11 |  | 2010-Gegužė | 148186.96 | 158406.75 | 306593.71
2010-06-30 | June | 618126 | 824074 | 1442200 | 253305 | 2010 Q2 | 5054353 | 1474749 | 210678 | 32549 | 2.2071 | 42605842 | 215 | 288 | 503 | 617911 | 823786 | 2010-Birželis | 89628.27 | 95809.53 | 185437.8 | 649888.82 | 2010-Birželis | 119490.73 | 127731.47 | 247222.2 | 866417.11
2010-07-31 | July | 438462 | 584548 | 1023010 | 253305 |  |  | 1051187 | 150170 | 28177 | 2.6805 | 43657029 | 816 | 1088 | 1904 | 437646 | 583460 | 2010-Liepa | 63576.99 | 67961.61 | 131538.6 |  | 2010-Liepa | 84759.46 | 90604.94 | 175364.4
2010-08-31 | August | 733650 | 978085 | 1711735 | 253305 |  |  | 1747473 | 249639 | 35738 | 2.0451 | 45404502 | 805 | 1072 | 1877 | 732845 | 977013 | 2010-Rugpjūtis | 106379.25 | 113715.75 | 220095 |  | 2010-Rugpjūtis | 141822.33 | 151603.18 | 293425.51
2010-09-30 | September | 1277102 | 1702601 | 2979703 | 253305 | 2010 Q3 | 5714448 | 3023410 | 431916 | 43707 | 1.4456 | 48427912 | 323 | 428 | 751 | 1276779 | 1702173 | 2010-Rugsėjis | 185179.79 | 197950.81 | 383130.6 | 734764.2 | 2010-Rugsėjis | 246877.15 | 263903.16 | 510780.31 | 979570.22
2010-10-31 | October | 1311345 | 1748257 | 3059602 | 253305 |  |  | 3103647 | 443378 | 44045 | 1.4191 | 51531559 | 236 | 315 | 551 | 1311109 | 1747942 | 2010-Spalis | 190145.03 | 203258.48 | 393403.51 |  | 2010-Spalis | 253497.27 | 270979.84 | 524477.11
2010-10-30 | November | 1251492 | 1668464 | 2919956 | 253305 |  |  | 2965639 | 423663 | 45683 | 1.5404 | 54497198 | 234 | 314 | 548 | 1251258 | 1668150 | 2010-Lapkritis | 181466.34 | 193981.26 | 375447.6 |  | 2010-Lapkritis | 241927.28 | 258611.92 | 500539.2
2010-12-31 | December | 1131201 | 1508094 | 2639295 | 253305 | 2010 Q4 | 8618853 | 2674299 | 382043 | 35004 | 1.3089 | 57171497 | 3408 | 4546 | 7954 | 1127793 | 1503548 | 2010-Gruodis | 164024.15 | 175336.16 | 339360.31 | 1108211.42 | 2010-Gruodis | 218673.63 | 233754.57 | 452428.2 | 1477444.51
SUM2010 |  | 11443166 | 15255772 | 26698938 |  |  | 26698938 | 27135497 |  | 436559 | 1.6088 |  | 9681 | 12903 | 22584 | 11433485 | 15242869 |  | 1659259.1 | 1773690.76 | 3432949.86 | 3432949.86 |  | 2212086.97 | 2364644.69 | 4576731.66 | 4576731.66
2011-01-31 | January | 1344989 | 1793108 | 3138097 | 448299.5714 |  |  | 3178861 | 454123 | 40764 | 1.2823 | 3178861 | 407 | 541 | 948 | 1344582 | 1792567 | 2011-Sausis | 195023.41 | 208473.3 | 403496.71 |  | 2011-Sausis | 260000.66 | 277931.74 | 537932.4
2011-02-28 | February | 1325702 | 1767399 | 3093101 | 441871.5714 |  |  | 3133921 | 0 | 40820 | 1.3025 | 3178861 | 405 | 542 | 947 | 1325297 | 1766857 | 2011-Vasaris | 0 | 0 | 0 |  | 2011-Vasaris | 0 | 0 | 0
2011-03-31 | March | 1419410 | 1892327 | 3311737 | 0 | 2011 Q1 | 3138097 | 3358189 | 0 | 46452 | 1.3832 | 3178861 | 451 | 602 | 1053 | 1418959 | 1891725 | 2011-Kovas | 0 | 0 | 0 | 403496.71 | 2011-Kovas | 0 | 0 | 0 | 537932.4
2011-04-30 | April | 868186 | 1157449 | 2025635 | 0 |  |  | 2061245 | 0 | 35610 | 1.7276 | 3178861 | 637 | 852 | 1489 | 867549 | 1156597 | 2011-Balandis | 0 | 0 | 0 |  | 2011-Balandis | 0 | 0 | 0
2011-05-31 | May | 877066 | 1169286 | 2046352 | 0 |  |  | 2083140 | 0 | 36788 | 1.766 | 3178861 | 482 | 644 | 1126 | 876584 | 1168642 | 2011-Gegužė | 0 | 0 | 0 |  | 2011-Gegužė | 0 | 0 | 0
2011-06-30 | June | 742894 | 990408 | 1733302 | 0 | 2011 Q2 | 0 | 1767780 | 0 | 34478 | 1.9504 | 3178861 | 330 | 438 | 768 | 742564 | 989970 | 2011-Birželis | 0 | 0 | 0 | 0 | 2011-Birželis | 0 | 0 | 0 | 0
2011-07-31 | July | 549486 | 732561 | 1282047 | 0 |  |  | 1312189 | 0 | 30142 | 2.2971 | 3178861 | 567 | 754 | 1321 | 548919 | 731807 | 2011-Liepa | 0 | 0 | 0 |  | 2011-Liepa | 0 | 0 | 0
2011-08-31 | August | 916482 | 1221835 | 2138317 | 0 |  |  | 2177221 | 0 | 38904 | 1.7869 | 3178861 | 211 | 283 | 494 | 916271 | 1221552 | 2011-Rugpjūtis | 0 | 0 | 0 |  | 2011-Rugpjūtis | 0 | 0 | 0
2011-09-30 | September | 1141118 | 1521312 | 2662430 | 0 | 2011 Q3 | 0 | 2706997 | 0 | 44567 | 1.6464 | 3178861 | 148 | 196 | 344 | 1140970 | 1521116 | 2011-Rugsėjis | 0 | 0 | 0 | 0 | 2011-Rugsėjis | 0 | 0 | 0 | 0
2011-10-31 | October | 1377001 | 1835789 | 3212790 | 0 |  |  | 3262787 | 0 | 49997 | 1.5323 | 3178861 | 666 | 889 | 1555 | 1376335 | 1834900 | 2011-Spalis | 0 | 0 | 0 |  | 2011-Spalis | 0 | 0 | 0
2011-10-30 | November | 1083946 | 1445090 | 2529036 | 0 |  |  | 2570623 | 0 | 41587 | 1.6178 | 3178861 | 572 | 759 | 1331 | 1083374 | 1444331 | 2011-Lapkritis | 0 | 0 | 0 |  | 2011-Lapkritis | 0 | 0 | 0
2011-12-31 | December | 2239553 | 2985721 | 5225274 | 0 | 2011 Q4 | 0 | 5296006 | 0 | 70732 | 1.3356 | 3178861 | 1565 | 2086 | 3651 | 2237988 | 2983635 | 2011-Gruodis | 0 | 0 | 0 | 0 | 2011-Gruodis | 0 | 0 | 0 | 0
SUM2011 | Total 2011 | 13885833 | 18512285 | 32398118 |  |  | 3138097 | 32908959 |  | 510841 | 1.5523 |  | 6441 | 8586 | 15027 | 13879392 | 18503699 |  | 195023.41 | 208473.3 | 403496.71 | 403496.71 |  | 260000.66 | 277931.74 | 537932.4 | 537932.4
| January | 1224691 | 1632730 | 2857421 |  |  |  | 2902425 | 414632 | 45004 | 1.5506 |  | 265 | 353 | 618 | 1224426 | 1632377
| February | 1257802 | 1676874 | 2934676 |  |  |  | 2978539 | 425506 | 43863 | 1.4726 |  | 704 | 938 | 1642 | 1257098 | 1675936
| March | 1254846 | 1672932 | 2927778 |  |  |  | 2971964 | 424566 | 44186 | 1.4868 |  | 208 | 277 | 485 | 1254638 | 1672655
| April | 1090779 | 1454199 | 2544978 |  |  |  | 2583466 | 369067 | 38488 | 1.4898 |  | 716 | 951 | 1667 | 1090063 | 1453248
| May | 731974 | 975853 | 1707827 |  |  |  | 1741323 | 248760 | 33496 | 1.9236 |  | 66 | 89 | 155 | 731908 | 975764
| June | 805164 | 1073430 | 1878594 |  |  |  | 1914323 | 273475 | 35729 | 1.8664 |  | 648 | 867 | 1515 | 804516 | 1072563
| July | 775083 | 1033321 | 1808404 |  |  |  | 1845639 | 263663 | 37235 | 2.0175 |  | 376 | 498 | 874 | 774707 | 1032823
| August | 765543 | 1020604 | 1786147 |  |  |  | 1822220 | 260317 | 36073 | 1.9796 |  | 389 | 517 | 906 | 765154 | 1020087
| September | 1155673 | 1540718 | 2696391 |  |  |  | 2737910 | 391130 | 41519 | 1.5164 |  | 143 | 191 | 334 | 1155530 | 1540527
| October | 865706 | 1154135 | 2019841 |  |  |  | 2052324 | 293189 | 32483 | 1.5827 |  | 733 | 973 | 1706 | 864973 | 1153162
| November | 1157590 | 1543273 | 2700863 |  |  |  | 2741538 | 391648 | 40675 | 1.4837 |  | 289 | 385 | 674 | 1157301 | 1542888
| December | 1408151 | 1877315 | 3285466 |  |  |  | 3332568 | 476081 | 47102 | 1.4134 |  | 1905 | 2540 | 4445 | 1406246 | 1874775
| Total 2012 | 12493002 | 16655384 | 29148386 |  |  |  | 29624239 | 3364305 | 475853 | 1.6486 |  | 6442 | 8579 | 15021 | 12486560 | 16646805

## Monitoring protocol 2008-12
Monitoring Protocol 2008-2012
| 2008 | 2009 | 2010 | 2011 | 2012 01-09 | 2012 10-12
Project constant:
Emission factor EFy, tCO2/MWh | 0.629 | 0.629 | 0.629 | 0.629 | 0.629 | 0.629
Actual data:
Net power generation EGy, kWh, Sudenai | 1106070 | 15820969 | 15242869 | 18503699 | 12076028 | 4570825
Net power generation EGy, kWh, Lendimai | 715134 | 11867113 | 11433485 | 13879392 | 9057992 | 3428520
Annual Emission reduction, tCO2, Sudenai | 695.718 | 9951.3895 | 9587.7646 | 11638.8267 | 7595.822 | 2875.048
Annual Emission reduction, tCO2, Lendimai | 449.8193 | 7464.4141 | 7191.6621 | 8730.1376 | 5697.476 | 2156.539
Total emission reduction, tCO2e, Sudenai and Lendimai | 1146 | 17416 | 16779 | 20369 | 13293 | 5 032
Cumulative emission reduction of the JI project, tCO2e | 1146 | 18562 | 35341 | 55710 | 69003 | 74 035

## Annual report, Sudenai_2010
Annual Report, Sudenai, 2010
| Actual power production (kWh)* | Active power consumption (kWh)* | Net power production (kWh)
January | 1462070 | 1702 | 1460368
February | 1013171 | 694 | 1012477
March | 1702425 | 457 | 1701968
April | 1042004 | 1074 | 1040930
May | 1021979 | 925 | 1021054
June | 824074 | 288 | 823786
July | 584548 | 1088 | 583460
August | 978085 | 1072 | 977013
September | 1702601 | 428 | 1702173
October | 1748257 | 315 | 1747942
November | 1668464 | 314 | 1668150
December | 1508094 | 4546 | 1503548
Total 2010 | 15255772 | 12903 | 15242869

## Annual report, Sudenai_2012
Annual Report, Sudenai, 2012
| Actual power production (kWh)* | Active power consumption (kWh)* | Net power production (kWh)
January | 1632730 | 353 | 1632377
February | 1676874 | 938 | 1675936
March | 1672932 | 277 | 1672655
April | 1454199 | 951 | 1453248
May | 975853 | 89 | 975764
June | 1073430 | 867 | 1072563
July | 1033321 | 498 | 1032823
August | 1020604 | 517 | 1020087
September | 1540718 | 191 | 1540527
October | 1154135 | 973 | 1153162
November | 1543273 | 385 | 1542888
December | 1877315 | 2540 | 1874775
Total 2012 01-09 | 12080661 | 4681 | 12075980
Total 2012 10-12 | 4574723 | 3898 | 4570825
Total 2012 | 16655384 | 8579 | 16646805

## Annual report, Lendimai_2012
Annual Report, Lendimai 2012
| Actual power production (kWh)* | Active power consumption (kWh)* | Net power production (kWh)
January | 1224691 | 265 | 1224426
February | 1257802 | 704 | 1257098
March | 1254846 | 208 | 1254638
April | 1090779 | 716 | 1090063
May | 731974 | 66 | 731908
June | 805164 | 648 | 804516
July | 775083 | 376 | 774707
August | 765543 | 389 | 765154
September | 1155673 | 143 | 1155530
October | 865706 | 733 | 864973
November | 1157590 | 289 | 1157301
December | 1408151 | 1905 | 1406246
Total 2012 01-09 | 9061555 | 3515 | 9058040
Total 2012 10-12 | 3431447 | 2927 | 3428520
Total 2012 | 12493002 | 6442 | 12486560