## Time schedule
| 2006 m | 2006 m | 2007 m | 2007 m | 2007 m | 2007 m | 2007 m | 2007 m | 2007 m | 2007 m | 2007 m | 2007 m | 2007 m | 2007 m | 2008 m | 2008 m | 2008 m | 2008 m | 2008 m | 2008 m | Total | 2008 m | 2008 m | 2008 m | 2008 m | 2008 m | 2008 m | 2009 m | 2009 m | 2009 m | 2009 m | 2009 m | 2009 m | 2009 m | 2009 m | 2009 m | Total
Money demand | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Stage I | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Stage II
Detailed plan | Jan: 10; Feb: 10; Mar: 10; Apr: 10; Jun: 10; Jul: 10; Aug: 10; Sep: 10; Oct: 10 | 90 | [15 empty] | 0
Geology | Mar: 50 | 50 | [15 empty] | 0
Power part's project | Feb: 40; Jun: 160 | 200 | [15 empty] | 0
Technical project | Sep: 20; Feb: 40 | 60 | [15 empty] | 0
Project expertize | Jan: 20 | 20 | [15 empty] | 0
Long-term assets asq. | [20 empty] | 0 | [15 empty] | 0
Land borders registration | Dec: 10 | 10 | [15 empty] | 0
Env.impact assesment | Jan: 3; Feb: 3 | 6 | [15 empty] | 0
IT devices | Feb: 8 | 8 | [15 empty] | 0
Geodezy, topography | Jan: 5; Feb: 5; Mar: 10; Apr: 20; May: 10 | 50 | [15 empty] | 0
Designing | 0 | 0 | 18 | 26 | 20 | 30 | 10 | 10 | 10 | 10 | 30 | 10 | 0 | 10 | 20 | 80 | 50 | 0 | 0 | 160 | 494 | [15 empty] | 0
Roads | [20 empty] | 0 | 400.0069 | 400.0069 | 400.0069 | [12 empty] | 1200.0206 | 1200.0206
Foundation | [23 empty] | 1150.9333 | 1150.9333 | 1150.9333 | [10 empty] | 3452.8 | 3452.8
Transformator substation erection | [23 empty] | 804.5024 |  |  |  |  | 3218.0096 | 4022.512 | [6 empty] | 8045.024 | 8045.024
Transportation | [28 empty] | 1907.672 | 1907.672 | [6 empty] | 3815.344 | 3815.344
Crane, crane transportation | [28 empty] | 1151.5088 | 1151.5088 | [6 empty] | 2303.0176 | 2303.0176
Turbines E- 82 | Feb: 7119.6736 | [8 empty] | 64077.0624 | [7 empty] | 71196.736 | 71196.736
600/10 kV Transformator | [28 empty] | 2106.208 | [7 empty] | 2106.208 | 2106.208
Grid connection fee | Dec: 400 | [16 empty] | 0 | 10120
0
Erection | 0 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7119.6736 | 0 | 0 | 0 | 0 | 7519.6736 | 400.0069 | 400.0069 | 2355.4426 | 1150.9333 | 1150.9333 | 0 | 0 | 72460.4608 | 7081.6928 | 0 | 0 | 0 | 0 | 0 | 0 | 84999.4766 | 92519.1502
Long-term investments | 0 | 400 | 18 | 26 | 20 | 30 | 10 | 10 | 10 | 10 | 30 | 10 | 0 | 10 | 20 | 7199.6736 | 50 | 0 | 0 | 160 | 8013.6736 | 400.0069 | 400.0069 | 2355.4426 | 1150.9333 | 1150.9333 | 0 | 0 | 72460.4608 | 7081.6928 | 0 | 0 | 0 | 0 | 0 | 0 | 84999.4766
Participation into competition (connection) | [20 empty] | 1 | [15 empty] | 0 | bar: Nov
Vehicle |  |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 36 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 20
Exploatation of vehicle |  |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 36 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 20
Representation expenses |  |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 36 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 20
Business trips | [20 empty] | 18 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | bar: Jan to Jun
Phone |  |  | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 9 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 5
Office expences |  |  | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 3.6 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 2
Accountant wage | 0.2 | 0.2 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 9.4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 10
Project manager wage | 0.2 | 0.2 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 90.4 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 36
Social taxes | 0.108 | 0.108 | 1.485 | 1.485 | 1.485 | 1.485 | 1.485 | 1.485 | 1.485 | 1.485 | 1.485 | 1.485 | 1.485 | 1.485 | 1.485 | 1.485 | 1.485 | 1.485 | 1.485 | 1.485 | 26.946 | 1.242 | 1.242 | 1.242 | 1.242 | 1.242 | 1.242 | 1.242 | 1.242 | 1.242 | 1.242 | 1.242 | 1.242 | 1.242 | 1.242 | 1.242 | 12.42
Documentation preparation | Dec: 2
2006 10 30 Expenses | 13.6 |  | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 0.31 | 19.18 | [15 empty] | 0
Expenses | 15.108 | 2.508 | 14.995 | 14.995 | 14.995 | 14.995 | 14.995 | 14.995 | 14.995 | 14.995 | 14.995 | 14.995 | 14.995 | 14.995 | 14.995 | 14.995 | 14.995 | 14.995 | 14.995 | 14.995 | 287.526 | 13.542 | 13.542 | 13.542 | 13.542 | 13.542 | 13.542 | 13.542 | 13.542 | 13.542 | 13.542 | 13.542 | 13.542 | 13.542 | 13.542 | 13.542 | 135.42
Net demand | 15.108 | 402.508 | 32.995 | 40.995 | 34.995 | 44.995 | 24.995 | 24.995 | 24.995 | 24.995 | 44.995 | 24.995 | 14.995 | 24.995 | 34.995 | 7214.6686 | 64.995 | 14.995 | 14.995 | 174.995 | 8301.1996 | 413.5489 | 413.5489 | 2368.9846 | 1164.4753 | 1164.4753 | 13.542 | 13.542 | 72474.0028 | 7095.2348 | 13.542 | 13.542 | 13.542 | 13.542 | 13.542 | 13.542 | 85134.8966 | 93436.0962
Balance
Long-term assets | 0 | 400 | 418 | 444 | 464 | 494 | 504 | 514 | 524 | 534 | 564 | 574 | 574 | 584 | 604 | 7803.6736 | 7853.6736 | 7853.6736 | 7853.6736 | 8013.6736 | 8013.6736 | 8413.6805 | 8813.6874 | 11169.13 | 12320.0633 | 13470.9966 | 13470.9966 | 13470.9966 | 85931.4574 | 93013.1502 | 93013.1502 | 93013.1502 |  |  |  |  | 93013.1502
Cash | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Net assets | 3 | 403 | 421 | 447 | 467 | 497 | 507 | 517 | 527 | 537 | 567 | 577 | 577 | 587 | 607 | 7806.6736 | 7856.6736 | 7856.6736 | 7856.6736 | 8016.6736 | 8016.6736 | 8416.6805 | 8816.6874 | 11172.13 | 12323.0633 | 13473.9966 | 13473.9966 | 13473.9966 | 85934.4574 | 93016.1502 | 93016.1502 | 93016.1502 | 3 | 3 | 3 | 3 | 93016.1502
Authorized capital | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | [5 empty] | 10
Shareloders funds | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | [5 empty] | 8
Profit | -15.108 | -17.616 | -32.611 | -47.606 | -62.601 | -77.596 | -92.591 | -107.586 | -122.581 | -137.576 | -152.571 | -167.566 | -182.561 | -197.556 | -212.551 | -227.546 | -242.541 | -257.536 | -272.531 | -287.526 | -287.526 | -301.068 | -314.61 | -328.152 | -341.694 | -355.236 | -368.778 | -382.32 | -395.862 | -409.404 | -422.946 | [5 empty] | -422.946
Own capital | 2.892 | 0.384 | -14.611 | -29.606 | -44.601 | -59.596 | -74.591 | -89.586 | -104.581 | -119.576 | -134.571 | -149.566 | -164.561 | -179.556 | -194.551 | -209.546 | -224.541 | -239.536 | -254.531 | -269.526 | -269.526 | -283.068 | -296.61 | -310.152 | -323.694 | -337.236 | -350.778 | -364.32 | -377.862 | -391.404 | -404.946 | [5 empty] | -404.946
Liability | 0 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0
Necessary financing | 0.108 | 2.616 | 435.611 | 476.606 | 511.601 | 556.596 | 581.591 | 606.586 | 631.581 | 656.576 | 701.571 | 726.566 | 741.561 | 766.556 | 801.551 | 8016.2196 | 8081.2146 | 8096.2096 | 8111.2046 | 8286.1996 | 8286.1996 | 8699.7485 | 9113.2974 | 11482.282 | 12646.7573 | 13811.2326 | 13824.7746 | 13838.3166 | 86312.3194 | 93407.5542 | 93421.0962 | [5 empty] | 93421.0962
Total assets | 3 | 403 | 421 | 447 | 467 | 497 | 507 | 517 | 527 | 537 | 567 | 577 | 577 | 587 | 607 | 7806.6736 | 7856.6736 | 7856.6736 | 7856.6736 | 8016.6736 | 8016.6736 | 8416.6805 | 8816.6874 | 11172.13 | 12323.0633 | 13473.9966 | 13473.9966 | 13473.9966 | 85934.4574 | 93016.1502 | 93016.1502 | [5 empty] | 93016.1502
Financing
Shareloders funds | Nov: 18 | 18 | [15 empty] | 0
New liability | Dec: 400; Jan: -400 | 0 | [15 empty] | 0
[21 empty] | 0 | [15 empty] | 0
Financing | 18 | 400 | -400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0
Monthly coverage | 2.892 | -2.508 | -432.995 | -40.995 | -34.995 | -44.995 | -24.995 | -24.995 | -24.995 | -24.995 | -44.995 | -24.995 | -14.995 | -24.995 | -34.995 | -7214.6686 | -64.995 | -14.995 | -14.995 | -174.995 | -8283.1996 | -413.5489 | -413.5489 | -2368.9846 | -1164.4753 | -1164.4753 | -13.542 | -13.542 | -72474.0028 | -7095.2348 | -13.542 | [5 empty] | -13.542
Cumulative coverage | 2.892 | 0.384 | -432.611 | -473.606 | -508.601 | -553.596 | -578.591 | -603.586 | -628.581 | -653.576 | -698.571 | -723.566 | -738.561 | -763.556 | -798.551 | -8013.2196 | -8078.2146 | -8093.2096 | -8108.2046 | -8283.1996 | -8283.1996 | -8696.7485 | -9110.2974 | -11479.282 | -12643.7573 | -13808.2326 | -13821.7746 | -13835.3166 | -86309.3194 | -93404.5542 | -93418.0962 | [5 empty] | -93418.0962

## Calculation
E-82 energy production, kWh/year | 5784020
Turbine's number | 10
Efficiency | 95
kWh price, LTL | 0.3
Total production, kWh | 54948190
Numbers values divided from | 1000000 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 |  | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |  | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Total long-term assets |  | 0.4 | 10.493 | 96.0133 | 89.1838 | 82.3543 | 75.5248 | 68.6952 | 61.8657 | 55.0362 | 48.2067 | 41.3771 | Total long-term assets | 34.5476 | 27.7181 | 20.8886 | 14.059 | 7.2295 | 0.4 | -6.4295 | -13.259 | -20.0886
Rising of income |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Rising of income | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Income for energy sale, per month | 1.3737 |  |  | 0.75554 | 1.3737 | 1.3737 | 1.3737 | 1.3737 | 1.3737 | 1.3737 | 1.3737 | 1.3737 | Income for energy sale, per month | 1.3737 | 1.3737 | 1.3737 | 1.3737 | 1.3737 | 1.3737 | 1.3737 | 1.3737 | 1.3737
Income from ERUs sale, per year |  |  |  |  | 0.54437 | 1.1877 | 1.1877 | 1.1877 | 0 | 0 | 0 | 0 | Income from ERUs sale, per year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total income per year |  |  | 0 | 9.0665 | 17.0288 | 17.6722 | 17.6722 | 17.6722 | 16.4845 | 16.4845 | 16.4845 | 16.4845 | Total income per year | 16.4845 | 16.4845 | 16.4845 | 16.4845 | 16.4845 | 16.4845 | 16.4845 | 16.4845 | 16.4845
Operation expences |  | 0.4078 | 0.4078 | 0.1278 | 0.50319 | 0.6195 | 0.64592 | 1.9847 | 2.0138 | 2.0444 | 2.0765 | 2.1102 | Operation expences | 2.1456 | 2.1828 | 2.2218 | 2.2628 | 2.3058 | 0 | 0 | 0 | 0
Interest payments |  | 0 | 0.15896 | 3.227 | 6.2357 | 5.7509 | 5.266 | 4.7812 | 4.2964 | 3.8115 | 3.3267 | 2.8419 | Interest payments | 2.357 | 1.8722 | 1.3874 | 0 | 0 | 0 | 0 | 0 | 0
Depreciation |  | 0 | 0 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | Depreciation | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295
Total Expenses per year |  | 0.4078 | 0.56676 | 10.1843 | 13.5684 | 13.1999 | 12.7415 | 13.5954 | 13.1397 | 12.6854 | 12.2327 | 11.7816 | Total Expenses per year | 11.3321 | 10.8845 | 10.4387 | 9.0923 | 9.1353 | 6.8295 | 6.8295 | 6.8295 | 6.8295
Profit |  | -0.4078 | -0.56676 | -1.1178 | 3.4604 | 4.4722 | 4.9307 | 4.0768 | 3.3448 | 3.799 | 4.2518 | 4.7029 | Profit | 5.1523 | 5.6 | 6.0458 | 7.3922 | 7.3491 | 9.6549 | 9.6549 | 9.6549 | 9.6549
Taxe rate % |  | 19 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | Taxe rate % | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18
Taxes, Lt | [5 empty] | 0.805 | 0.88752 | 0.73382 | 0.60206 | 0.68383 | 0.76532 | 0.84652 | Taxes, Lt | 0.92742 | 1.008 | 1.0882 | 1.3306 | 1.3228 | 1.7379 | 1.7379 | 1.7379 | 1.7379
Profit after taxes |  | -0.4078 | -0.56676 | -1.1178 | 3.4604 | 3.6672 | 4.0431 | 3.3429 | 2.7427 | 3.1152 | 3.4864 | 3.8564 | Profit after taxes | 4.2249 | 4.592 | 4.9575 | 6.0616 | 6.0263 | 7.917 | 7.917 | 7.917 | 7.917
Acumulated profit (loss) |  | -0.4078 | -0.97456 | -2.0924 | 1.368 | 5.0352 | 9.0784 | 12.4213 | 15.164 | 18.2792 | 21.7657 | 25.622 | Acumulated profit (loss) | 29.8469 | 34.4389 | 39.3965 | 45.458 | 51.4843 | 59.4013 | 67.3184 | 75.2354 | 83.1525
Balance | [12 empty] | Balance
Debts | 30 | 0 | 0 | 0.89153 | 1.621 | 1.621 | 1.621 | 1.621 | 1.621 | 1.621 | 1.621 | 1.621 | Debts | 1.621 | 1.621 | 1.621 | 1.621 | 1.621 | 1.621 | 1.621 | 1.621 | 1.621
Other capital |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Other capital | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Short-term assets |  | 0 | 0 | 0.89153 | 1.621 | 1.621 | 1.621 | 1.621 | 1.621 | 1.621 | 1.621 | 1.621 | Short-term assets | 2.621 | 3.621 | 4.621 | 5.621 | 6.621 | 7.621 | 8.621 | 9.621 | 10.621
Long-term assets |  | 0.4 | 10.493 | 96.0133 | 89.1838 | 82.3543 | 75.5248 | 68.6952 | 61.8657 | 55.0362 | 48.2067 | 41.3771 | Long-term assets | 34.5476 | 27.7181 | 20.8886 | 14.059 | 7.2295 | 0.4 | -6.4295 | -13.259 | -20.0886
Total assets |  | 0.4 | 10.493 | 96.9049 | 90.8048 | 83.9753 | 77.1457 | 70.3162 | 63.4867 | 56.6572 | 49.8276 | 42.9981 | Total assets | 37.1686 | 31.3391 | 25.5095 | 19.68 | 13.8505 | 8.021 | 2.1914 | -3.6381 | -9.4676
Equity capital |  | 0.5 | 1.5922 | 10.0254 | 8.9076 | 12.368 | 16.0352 | 20.0784 | 23.4213 | 26.164 | 29.2792 | 32.7657 | Equity capital | 36.622 | 40.8469 | 45.4389 | 50.3965 | 56.458 | 62.4843 | 70.4013 | 78.3184 | 86.2354
Acumulated profit (loss) |  | -0.4078 | -0.56676 | -1.1178 | 3.4604 | 3.6672 | 4.0431 | 3.3429 | 2.7427 | 3.1152 | 3.4864 | 3.8564 | Acumulated profit (loss) | 4.2249 | 4.592 | 4.9575 | 6.0616 | 6.0263 | 7.917 | 7.917 | 7.917 | 7.917
Equity capital | 0 | 0.0922 | 1.0254 | 8.9076 | 12.368 | 16.0352 | 20.0784 | 23.4213 | 26.164 | 29.2792 | 32.7657 | 36.622 | Equity capital | 40.8469 | 45.4389 | 50.3965 | 56.458 | 62.4843 | 70.4013 | 78.3184 | 86.2354 | 94.1525
Long-term debt |  | 0 | 9.0837 | 92.1986 | 85.2723 | 78.3461 | 71.4199 | 64.4936 | 57.5674 | 50.6411 | 43.7149 | 36.7886 | Long-term debt | 29.8624 | 22.9362 | 16.0099 | 0 | 0 | 0 | 0 | 0 | 0
Other liability |  |  | 0 | 0.13596 | 0.2472 | 0.2472 | 0.2472 | 0.2472 | 0.2472 | 0.2472 | 0.2472 | 0.2472 | Other liability | 0.2472 | 0.2472 | 0.2472 | 0.2472 | 0.2472 | 0.2472 | 0.2472 | 0.2472 | 0.2472
Necessary finnasing/free money |  | 0.3078 | 0.38386 | -4.3373 | -7.0827 | -10.6533 | -14.5997 | -17.8459 | -20.4919 | -23.5104 | -26.9001 | -30.6598 | Necessary finnasing/free money | -33.7879 | -37.2832 | -41.144 | -37.0252 | -48.881 | -62.6276 | -76.3741 | -90.1207 | -103.8673
Total assets |  | 0.4 | 10.493 | 96.9049 | 90.8048 | 83.9753 | 77.1457 | 70.3162 | 63.4867 | 56.6572 | 49.8276 | 42.9981 | Total assets | 37.1686 | 31.3391 | 25.5095 | 19.68 | 13.8505 | 8.021 | 2.1914 | -3.6381 | -9.4676
Cash flow statement | [12 empty] | Cash flow statement
Profit |  | -0.4078 | -0.56676 | -1.1178 | 3.4604 | 3.6672 | 4.0431 | 3.3429 | 2.7427 | 3.1152 | 3.4864 | 3.8564 | Profit | 4.2249 | 4.592 | 4.9575 | 6.0616 | 6.0263 | 7.917 | 7.917 | 7.917 | 7.917
Depreciation |  | 0 | 0 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | Depreciation | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295
Other liability |  |  | 0 | 0.13596 | 0.11124 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Other liability | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Shareholdes contribution (own capital) |  | 0.5 | 1.5 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Shareholdes contribution (own capital)
Loan |  | 0 | 9.0837 | 83.1149 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Loan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total financial reserve |  | 0.0922 | 10.0169 | 97.9626 | 10.4011 | 10.4968 | 10.8727 | 10.1725 | 9.5722 | 9.9447 | 10.316 | 10.6859 | Total financial reserve | 11.0544 | 11.4215 | 11.7871 | 12.8911 | 12.8558 | 14.7466 | 14.7466 | 14.7466 | 14.7466
Cash payments | [12 empty] | Cash payments
Long-term assets |  | -0.4 | -10.093 | -92.3499 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Long-term assets | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debts |  |  | 0 | -0.89153 | -0.72944 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Debts | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Loan redemption |  | 0 | 0 | 0 | -6.9262 | -6.9262 | -6.9262 | -6.9262 | -6.9262 | -6.9262 | -6.9262 | -6.9262 | Loan redemption | -6.9262 | -6.9262 | -6.9262 | 0 | 0 | 0 | 0 | 0 | 0
Net cash payments |  | -0.4 | -10.093 | -93.2414 | -7.6557 | -6.9262 | -6.9262 | -6.9262 | -6.9262 | -6.9262 | -6.9262 | -6.9262 | Net cash payments | -6.9262 | -6.9262 | -6.9262 | 0 | 0 | 0 | 0 | 0 | 0
Cash flow |  | -0.3078 | -0.076061 | 4.7211 | 2.7455 | 3.5705 | 3.9464 | 3.2462 | 2.646 | 3.0185 | 3.3897 | 3.7596 | Cash flow | 4.1282 | 4.4953 | 4.8608 | 12.8911 | 12.8558 | 14.7466 | 14.7466 | 14.7466 | 14.7466
Cumulative cash flow |  | -0.3078 | -0.38386 | 4.3373 | 7.0827 | 10.6533 | 14.5997 | 17.8459 | 20.4919 | 23.5104 | 26.9001 | 30.6598 | Cumulative cash flow | 34.7879 | 39.2832 | 44.144 | 57.0351 | 69.8909 | 84.6375 | 99.3841 | 114.1306 | 128.8772
Prijungimo mokestis uz 1MW | 506000 | 2008 2: Pajamos skaiciuojamos nuo 2009 metų rugsėjo mėnesio, (už 3 mėnesius)
|  | 2017 11: 17 | [10 empty] | 18
EBITDA (with CO2) |  | -0.4078 | -0.4078 | 8.9387 | 16.5256 | 17.0527 | 17.0262 | 15.6875 | 14.4707 | 14.4401 | 14.408 | 14.3743 | EBITDA (with CO2) | 14.3389 | 14.3017 | 14.2627 | 14.2217 | 14.1786 | 16.4845 | 16.4845 | 16.4845 | 16.4845
EBITDA (without CO2) |  | -0.4078 | -0.4078 | 8.9387 | 15.9813 | 15.865 | 15.8385 | 14.4998 | 14.4707 | 14.4401 | 14.408 | 14.3743 | EBITDA (without CO2) | 14.3389 | 14.3017 | 14.2627 | 14.2217 | 14.1786 | 16.4845 | 16.4845 | 16.4845 | 16.4845
Profit before TAX (with CO2) |  | -0.4078 | -0.56676 | -1.1178 | 3.4604 | 4.4722 | 4.9307 | 4.0768 | 3.3448 | 3.799 | 4.2518 | 4.7029 | Profit before TAX (with CO2) | 5.1523 | 5.6 | 6.0458 | 7.3922 | 7.3491 | 9.6549 | 9.6549 | 9.6549 | 9.6549
Profit before TAX (without CO2) |  | -0.4078 | -0.56676 | -1.1178 | 2.916 | 3.2845 | 3.743 | 2.8891 | 3.3448 | 3.799 | 4.2518 | 4.7029 | Profit before TAX (without CO2) | 5.1523 | 5.6 | 6.0458 | 7.3922 | 7.3491 | 9.6549 | 9.6549 | 9.6549 | 9.6549
Taxes (with CO2) |  | 0 | 0 | 0 | 0 | 0.805 | 0.88752 | 0.73382 | 0.60206 | 0.68383 | 0.76532 | 0.84652 | Taxes (with CO2) | 0.92742 | 1.008 | 1.0882 | 1.3306 | 1.3228 | 1.7379 | 1.7379 | 1.7379 | 1.7379
Taxes (without CO2) |  | 0 | 0 | 0 | 0.52488 | 0.59122 | 0.67373 | 0.52003 | 0.60206 | 0.68383 | 0.76532 | 0.84652 | Taxes (without CO2) | 0.92742 | 1.008 | 1.0882 | 1.3306 | 1.3228 | 1.7379 | 1.7379 | 1.7379 | 1.7379
Profit after TAX (with CO2) |  | -0.4078 | -0.56676 | -1.1178 | 3.4604 | 3.6672 | 4.0431 | 3.3429 | 2.7427 | 3.1152 | 3.4864 | 3.8564 | Profit after TAX (with CO2) | 4.2249 | 4.592 | 4.9575 | 6.0616 | 6.0263 | 7.917 | 7.917 | 7.917 | 7.917
Profit after TAX (without CO2) |  | -0.4078 | -0.56676 | -1.1178 | 2.3911 | 2.6933 | 3.0692 | 2.369 | 2.7427 | 3.1152 | 3.4864 | 3.8564 | Profit after TAX (without CO2) | 4.2249 | 4.592 | 4.9575 | 6.0616 | 6.0263 | 7.917 | 7.917 | 7.917 | 7.917
Cash flow (with CO2) |  | -0.4078 | -0.56676 | 5.7117 | 3.3637 | 4.3755 | 4.8339 | 3.98 | 3.2481 | 3.7023 | 4.155 | 4.6062 | Cash flow (with CO2) | 5.0556 | 5.5033 | 5.9491 | 14.2217 | 14.1786 | 16.4845 | 16.4845 | 16.4845 | 16.4845
Cash flow (without CO2) |  | -0.4078 | -0.56676 | 5.7117 | 2.2749 | 2.0001 | 2.4586 | 1.6047 | 3.2481 | 3.7023 | 4.155 | 4.6062 | Cash flow (without CO2) | 5.0556 | 5.5033 | 5.9491 | 14.2217 | 14.1786 | 16.4845 | 16.4845 | 16.4845 | 16.4845
Cumulative (with CO2) |  | -0.4078 | -0.97456 | 4.7371 | 8.1008 | 12.4763 | 17.3103 | 21.2903 | 24.5384 | 28.2407 | 32.3957 | 37.0019 | Cumulative (with CO2) | 42.0575 | 47.5607 | 53.5098 | 67.7315 | 81.9101 | 98.3946 | 114.879 | 131.3635 | 147.8479
Cumulative (without CO2) |  | -0.4078 | -0.97456 | 4.7371 | 7.0121 | 9.0122 | 11.4707 | 13.0754 | 16.3235 | 20.0258 | 24.1808 | 28.787 | Cumulative (without CO2) | 33.8426 | 39.3458 | 45.2949 | 59.5166 | 73.6952 | 90.1797 | 106.6641 | 123.1486 | 139.633
-102.74 | 0 | -0.4078 | -0.4078 | 8.9387 | 16.5256 | 16.2476 | 16.1387 | 14.9537 | 13.8686 | 13.7563 | 13.6427 | 13.5277 |  | 13.4114 | 13.2937 | 13.1744 | 12.8911 | 12.8558 | 14.7466 | 14.7466 | 14.7466 | 14.7466
-102.74 | 0 | -0.4078 | -0.4078 | 8.9387 | 15.4564 | 15.2737 | 15.1648 | 13.9798 | 13.8686 | 13.7563 | 13.6427 | 13.5277 |  | 13.4114 | 13.2937 | 13.1744 | 12.8911 | 12.8558 | 14.7466 | 14.7466 | 14.7466 | 14.7466
PROJECT IRR (with CO2), % | #N/A | #N/A | #N/A | -46.21% | -26.03% | -16.04% | -9.684% | -5.535% | -2.649% | -0.4329% | 1.298% | 2.671% | PROJECT IRR (with CO2), % | 3.775% | 4.671% | 5.408% | 6.01% | 6.517% | 7.008% | 7.421% | 7.772% | 8.071%
PROJECT IRR (without CO2), % | #N/A | #N/A | #N/A | -46.21% | -26.78% | -16.89% | -10.54% | -6.401% | -3.331% | -0.9976% | 0.8129% | 2.243% | PROJECT IRR (without CO2), % | 3.388% | 4.317% | 5.079% | 5.702% | 6.226% | 6.732% | 7.159% | 7.521% | 7.83%
-102.74 | 0 | -0.9078 | -1.9078 | -0.061349 | 16.5256 | 16.2476 | 16.1387 | 14.9537 | 13.8686 | 13.7563 | 13.6427 | 13.5277 |  | 13.4114 | 13.2937 | 13.1744 | 12.8911 | 12.8558 | 14.7466 | 14.7466 | 14.7466 | 14.7466
-102.74 | 0 | -0.9078 | -1.9078 | -0.061349 | 15.4564 | 15.2737 | 15.1648 | 13.9798 | 13.8686 | 13.7563 | 13.6427 | 13.5277 |  | 13.4114 | 13.2937 | 13.1744 | 12.8911 | 12.8558 | 14.7466 | 14.7466 | 14.7466 | 14.7466
EQUITY IRR (with CO2), % | #N/A | #N/A | #N/A | #N/A | -31.67% | -19.41% | -12.14% | -7.527% | -4.357% | -1.939% | -0.05902% | 1.428% | EQUITY IRR (with CO2), % | 2.621% | 3.59% | 4.386% | 5.038% | 5.587% | 6.118% | 6.566% | 6.946% | 7.272%
EQUITY IRR (without CO2), % | #N/A | #N/A | #N/A | #N/A | -32.62% | -20.36% | -13.07% | -8.445% | -5.065% | -2.517% | -0.5506% | 0.9972% | EQUITY IRR (without CO2), % | 2.235% | 3.239% | 4.061% | 4.734% | 5.301% | 5.848% | 6.31% | 6.702% | 7.037%
Note on E12: Accumulated energy production during period 03 2009 - 12 2009 (the start-up time is different)

## Sensitivity
Sensitivity analysis
Energy production varaition range | -10% | -5% | 0% | 5% | 10%
Energy output, MWh/year | 49453.2 | 52200.6 | 54948 | 57695.4 | 60442.8
Project IRR (without ERUs income) | 6.89 | 7.37 | 7.83 | 8.27 | 8.7
Equity IRR (without ERUs income) | 6.09 | 6.57 | 7.04 | 7.48 | 7.92
ERUs price variation range | 0% | 10% | 20% | 30% | 40%
ERUs price, Euro | 10 | 11 | 12 | 13 | 14
Project IRR (including ERUs income) | 8.07 | 8.09 | 8.11 | 8.13 | 8.15
Equity IRR (including ERUs income) | 7.27 | 7.29 | 7.31 | 7.33 | 7.35
Energy output, MWh/year | 60442.8
ERUs price, Euro | 14
Project IRR (including ERUs income) | 9.04

## Long-term financing
1000000
Exchange |  |  |  | 3.4528 | Depr.period | Depr.value | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 |  | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
| Number | Price, EUR | Total, EUR | Total, LTL | Total, EUR | Total, EUR
Turbines E- 82 + elevator | 10 | 2112900 | 21129000 | 72.9542 |  |  | 2008: 7.2954; 2009: 65.6588 | Turbines E- 82 + elevator
600/10 kV Transformator | 10 | 61000 | 610000 | 2.1062 |  |  | 2008: 0.21062; 2009: 1.8956 | 600/10 kV Transformator
Transportation | 10 | 110500 | 1105000 | 3.8153 |  |  | 2008: 0.38153; 2009: 3.4338 | Transportation
Foundation | 10 | 82500 | 825000 | 2.8486 |  |  | 2008: 0.28486; 2009: 2.5637 | Foundation
Roads | 10 | 34755 | 347550 | 1.2 |  |  | 2008: 0.60001; 2009: 0.60001 | Roads
Designing | 10 | 15000 | 150000 | 0.51792 |  |  | 2008: 0.25896; 2009: 0.25896 | Designing
Grid connection fee | 20 | 146547.7294 | 2930954.5876 | 10.12 |  |  | 2009: 10.12 | Grid connection fee
Transformator substation erection | 1 | 1605000 | 1605000 | 5.5417 |  |  | 2008: 0.83126; 2009: 4.7105 | Transformator substation erection
20 kV cables | 10 | 30000 | 300000 | 1.0358 |  |  | 2009: 1.0358 | 20 kV cables
Crane, crane transportation | 10 | 66700 | 667000 | 2.303 |  |  | 2008: 0.2303; 2009: 2.0727; 2010: 0 | Crane, crane transportation
Documentation | 1 | 115848.0074 | 115848.0074 | 0.4 |  |  | 2007: 0.4 | Documentation
Total long-term assets |  |  | 29785352.595 | 102.8429 |  | 0 | 0.4 | 10.093 | 92.3499 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Total long-term assets | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Turbines E- 82 + elevator | 10 | 2112900 | 21129000 | 72.9542 | 15 | 4.8636 |  |  | 4.8636 | 4.8636 | 4.8636 | 4.8636 | 4.8636 | 4.8636 | 4.8636 | 4.8636 | 4.8636 | 4.8636 | Turbines E- 82 + elevator | 4.8636 | 4.8636 | 4.8636 | 4.8636 | 4.8636 | 4.8636 | 4.8636 | 4.8636 | 4.8636 | 4.8636
600/10 kV Transformator | 10 | 61000 | 610000 | 2.1062 | 15 | 0.14041 |  |  | 0.14041 | 0.14041 | 0.14041 | 0.14041 | 0.14041 | 0.14041 | 0.14041 | 0.14041 | 0.14041 | 0.14041 | 600/10 kV Transformator | 0.14041 | 0.14041 | 0.14041 | 0.14041 | 0.14041 | 0.14041 | 0.14041 | 0.14041 | 0.14041 | 0.14041
Transportation | 10 | 110500 | 1105000 | 3.8153 | 15 | 0.25436 |  |  | 0.25436 | 0.25436 | 0.25436 | 0.25436 | 0.25436 | 0.25436 | 0.25436 | 0.25436 | 0.25436 | 0.25436 | Transportation | 0.25436 | 0.25436 | 0.25436 | 0.25436 | 0.25436 | 0.25436 | 0.25436 | 0.25436 | 0.25436 | 0.25436
Foundation | 10 | 82500 | 825000 | 2.8486 | 15 | 0.1899 |  |  | 0.1899 | 0.1899 | 0.1899 | 0.1899 | 0.1899 | 0.1899 | 0.1899 | 0.1899 | 0.1899 | 0.1899 | Foundation | 0.1899 | 0.1899 | 0.1899 | 0.1899 | 0.1899 | 0.1899 | 0.1899 | 0.1899 | 0.1899 | 0.1899
Roads | 10 | 34755 | 347550 | 1.2 | 15 | 0.080001 |  |  | 0.080001 | 0.080001 | 0.080001 | 0.080001 | 0.080001 | 0.080001 | 0.080001 | 0.080001 | 0.080001 | 0.080001 | Roads | 0.080001 | 0.080001 | 0.080001 | 0.080001 | 0.080001 | 0.080001 | 0.080001 | 0.080001 | 0.080001 | 0.080001
Designing | 10 | 15000 | 150000 | 0.51792 | 15 | 0.034528 |  |  | 0.034528 | 0.034528 | 0.034528 | 0.034528 | 0.034528 | 0.034528 | 0.034528 | 0.034528 | 0.034528 | 0.034528 | Designing | 0.034528 | 0.034528 | 0.034528 | 0.034528 | 0.034528 | 0.034528 | 0.034528 | 0.034528 | 0.034528 | 0.034528
Grid connection fee | 20 | 146547.7294 | 2930954.5876 | 10.12 | 15 | 0.67467 |  |  | 0.67467 | 0.67467 | 0.67467 | 0.67467 | 0.67467 | 0.67467 | 0.67467 | 0.67467 | 0.67467 | 0.67467 | Grid connection fee | 0.67467 | 0.67467 | 0.67467 | 0.67467 | 0.67467 | 0.67467 | 0.67467 | 0.67467 | 0.67467 | 0.67467
Transformator substation erection | 1 | 1605000 | 1605000 | 5.5417 | 15 | 0.36945 |  |  | 0.36945 | 0.36945 | 0.36945 | 0.36945 | 0.36945 | 0.36945 | 0.36945 | 0.36945 | 0.36945 | 0.36945 | Transformator substation erection | 0.36945 | 0.36945 | 0.36945 | 0.36945 | 0.36945 | 0.36945 | 0.36945 | 0.36945 | 0.36945 | 0.36945
20 kV cables | 10 | 30000 | 300000 | 1.0358 | 15 | 0.069056 |  |  | 0.069056 | 0.069056 | 0.069056 | 0.069056 | 0.069056 | 0.069056 | 0.069056 | 0.069056 | 0.069056 | 0.069056 | 20 kV cables | 0.069056 | 0.069056 | 0.069056 | 0.069056 | 0.069056 | 0.069056 | 0.069056 | 0.069056 | 0.069056 | 0.069056
Crane, crane transportation | 10 | 66700 | 667000 | 2.303 | 15 | 0.15353 |  |  | 0.15353 | 0.15353 | 0.15353 | 0.15353 | 0.15353 | 0.15353 | 0.15353 | 0.15353 | 0.15353 | 0.15353 | Crane, crane transportation | 0.15353 | 0.15353 | 0.15353 | 0.15353 | 0.15353 | 0.15353 | 0.15353 | 0.15353 | 0.15353 | 0.15353
Documentation | 1 | 115848.0074 | 115848.0074 | 0.4 | [14 empty] | Documentation
Depreciation |  |  | 29785352.595 | 102.8429 |  | 6.8295 | 0 | 0 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | Depreciation | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295
Residual balance value | [6 empty] | 0.4 | 10.493 | 96.0133 | 89.1838 | 82.3543 | 75.5248 | 68.6952 | 61.8657 | 55.0362 | 48.2067 | 41.3771 | 34.5476 | Residual balance value | 27.7181 | 20.8886 | 14.059 | 7.2295 | 0.4 | -6.4295 | -13.259 | -20.0886 | -26.9181 | -33.7476
[7 empty] | 2018: 19 | [11 empty] | 20

## Financing
1000000
Value of money | 7
| 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Total long-term assets | 0.4 | 10.093 | 92.3499 | 0 | 0 | 0
Financing rate % |  | 90 | 90 |  | 80 | 80
Loan size |  | 9.0837 | 83.1149 | 0 | 0 | 0
Loan period |  | 12 | 12 |  | 9 | 8
Loan in beginning of year |  | 9.0837 | 92.1986 | 92.1986 | 85.2723 | 78.3461 | 71.4199 | 64.4936 | 57.5674 | 50.6411 | 43.7149 | 36.7886 | 29.8624 | 22.9362
Loan redemption |  |  |  | 6.9262 | 6.9262 | 6.9262 | 6.9262 | 6.9262 | 6.9262 | 6.9262 | 6.9262 | 6.9262 | 6.9262 | 6.9262
Loan residue |  | 9.0837 | 92.1986 | 85.2723 | 78.3461 | 71.4199 | 64.4936 | 57.5674 | 50.6411 | 43.7149 | 36.7886 | 29.8624 | 22.9362 | 16.0099
Sum of value of money |  | 0.15896 | 3.227 | 6.2357 | 5.7509 | 5.266 | 4.7812 | 4.2964 | 3.8115 | 3.3267 | 2.8419 | 2.357 | 1.8722 | 1.3874
Company's fund | 0.5 | 9 | 9
Loan | 0
Shareholders contribution | 0.5 | 1.5 | 9
Own capital | 0.5 | 1.5 | 10.5
21
Note on C20: Dell: Interst for 3 months
Note on D20: Dell: Interest for 5 months

## Operation_exp
1000000
|  |  | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
LTL
O&M warranty (Enercon) | 131100 | 10 | 2012: 1311000; 2013: 1311000; 2014: 1311000 | O&M warranty (Enercon) | 1311000 | 1311000 | 1311000 | 1311000 | 1311000 | 1311000 | 1311000
Yearly expences rise % | 5 |  |  |  | 5 | 5 | 5 | 5 | 5 | 5 | Yearly expences rise % | 5 | 5 | 5 | 5 | 5 | 5 | 5
Wages | 5000 | 12 | 60000 | 60000 | 63000 | 66150 | 69457.5 | 72930.375 | 76576.8938 | 80405.7384 | Wages | 84426.0254 | 88647.3266 | 93079.693 | 97733.6776 | 102620.3615 | 107751.3796 | 113138.9485
Social taxes | 31 |  | 18600 | 18600 | 19530 | 20506.5 | 21531.825 | 22608.4162 | 23738.8371 | 24925.7789 | Social taxes | 26172.0679 | 27480.6713 | 28854.7048 | 30297.4401 | 31812.3121 | 33402.9277 | 35073.074
Exploatation of vehicle | 4000 | 12 | 48000 | 48000 | 50400 | 52920 | 55566 | 58344.3 | 61261.515 | 64324.5908 | Exploatation of vehicle | 67540.8203 | 70917.8613 | 74463.7544 | 78186.9421 | 82096.2892 | 86201.1036 | 90511.1588
Mobile phone | 100 | 12 | 1200 | 1200 | 1260 | 1323 | 1389.15 | 1458.6075 | 1531.5379 | 1608.1148 | Mobile phone | 1688.5205 | 1772.9465 | 1861.5939 | 1954.6736 | 2052.4072 | 2155.0276 | 2262.779
Ofice phone | 500 | 10 |  |  | 5000 | 5250 | 5512.5 | 5788.125 | 6077.5312 | 6381.4078 | Ofice phone | 6700.4782 | 7035.5021 | 7387.2772 | 7756.6411 | 8144.4731 | 8551.6968 | 8979.2816
Insuarance | 7000 | 10 |  |  | 70000 | 73500 | 77175 | 81033.75 | 85085.4375 | 89339.7094 | Insuarance | 93806.6948 | 98497.0296 | 103421.8811 | 108592.9751 | 114022.6239 | 119723.7551 | 125709.9428
Other taxes | 3000 | 10 | 30000 |  | 31500 | 33075 | 34728.75 | 36465.1875 | 38288.4469 | 40202.8692 | Other taxes | 42213.0127 | 44323.6633 | 46539.8465 | 48866.8388 | 51310.1807 | 53875.6898 | 56569.4743
Land lease | 8286 | 11 |  |  |  | 91146 | 91146 | 91146 | 91146 | 91146 | Land lease | 91146 | 91146 | 91146 | 91146 | 91146 | 91146 | 91146
Unpredicted expences | 25000 | 10 | 250000 |  | 262500 | 275625 | 289406.25 | 303876.5625 | 319070.3906 | 335023.9102 | Unpredicted expences | 351775.1057 | 369363.8609 | 387832.054 | 407223.6567 | 427584.8395 | 448964.0815 | 471412.2856
Net operation expences | 184022 | 97 | 407800 | 127800 | 503195 | 619500.5 | 645917.975 | 1984656.3237 | 2013781.5899 | 2044363.1194 | Net operation expences | 2076473.7254 | 2110189.8617 | 2145591.8048 | 2182763.845 | 2221794.4872 | 2262776.6616 | 2305807.9447
Net operation expences | 0.18402 | 9.7e-05 | 0.4078 | 0.1278 | 0.50319 | 0.6195 | 0.64592 | 1.9847 | 2.0138 | 2.0444 | Net operation expences | 2.0765 | 2.1102 | 2.1456 | 2.1828 | 2.2218 | 2.2628 | 2.3058
Interest |  |  | 0 | 0.15896 | 3.227 | 6.2357 | 5.7509 | 5.266 | 4.7812 | 4.2964 | Interest | 3.8115 | 3.3267 | 2.8419 | 2.357 | 1.8722 | 1.3874 | 0
Depreciation |  |  | 0 | 0 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | Depreciation | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295 | 6.8295
Total company's expences |  |  | 0.4078 | 0.28676 | 10.5597 | 13.6847 | 13.2263 | 14.0802 | 13.6245 | 13.1703 | Total company's expences | 12.7175 | 12.2664 | 11.817 | 11.3693 | 10.9235 | 10.4797 | 9.1353
|  |  | 2014: 22 | [8 empty] | 23

## Baseline
| 482.0017 | 1 WEC's production, MWh/month
| 5784.02 | 1 WEC's production, MWh/year
| 57840.2 | Park's production, MWh/year
| 0.95 | Loses
| 54948.19 | Output into grid, MWh/year
| 4579.0158 | MWh/month |  | 0.626 | tCO2/MWh
WEC No. | Start-up | Operating months | MWh
1 | July | 6 | 2892.01
2 | August | 5 | 2410.0083
3 | September | 4 | 1928.0067
4 | September | 4 | 1928.0067
5 | July | 6 | 2892.01
6 | July | 6 | 2892.01
7 | July | 6 | 2892.01
8 | July | 6 | 2892.01
9 | July | 6 | 2892.01
10 | July | 6 | 2892.01
|  | Total: | 26510.0917
|  | Total with losses: | 25184.5871
| Year | Months | MWh | tCO2
| 2008 | 0 | 0 | 0
| 2009 | 6 | 25184.5871 | 15765.5515
| 2010 | 12 | 54948.19 | 34397.5669
| 2011 | 12 | 54948.19 | 34397.5669
| 2012 | 12 | 54948.19 | 34397.5669
| Total | 42 | 190029.1571 | 118958.2523
| Average |  |  | 33988.0721
AB Lietuvos elektrine
| MWh | tCO2
2002 | 736604 | 464522 | 0.63063
2003 | 723858 | 442824 | 0.61176
2004 | 745372 | 470712 | 0.63151
2005 | 1072814 | 677290 | 0.63132
Vidurkis | 819662 | 513837 | 0.6263
[5 empty] | MWh | MWh | tCO2 | tCO2
2008 | 819662 | 513837 | 0.6263 |  | 0 | 819662 | 513837 | 0
2009 | 819662 | 513837 | 0.6263 |  | 25184.5871 | 794477.4129 | 498071.4485 | 15765.5515
2010 | 819662 | 513837 | 0.6263 |  | 54948.19 | 764713.81 | 479439.4331 | 34397.5669
2011 | 819662 | 513837 | 0.6263 |  | 54948.19 | 764713.81 | 479439.4331 | 34397.5669
2012 | 819662 | 513837 | 0.6263 |  | 54948.19 | 764713.81 | 479439.4331 | 34397.5669
Note on B3: user: Enercon data