## ER-KD-MR002
Emission Reduction - from 04/11/2009 to 31/10/2010
[7 empty] | P1 | P2 | P3 | P4 | P5 | P8 | P11 | P12 | P13 | P14 | P15 | P16 | P17 | P18 | P19 | P23 | P24 | P25 | P26 | P27 | P28 | B1 | B3 | B4 | B14 | B18 | B19 | B46 | B47 | B49 | B55 | B57
[6 empty] | ER | PE | PEME | PEMD | PEUM | CONSELEC,PJ | CEFELEC,PJ | MDFL | MMFL | EffFL | MDELEC | MMELEC | EffELEC | MDHEAT | MMHEAT | EffHEAT | CEFCH4 | CEFNMHC | PCCH4 | PCNMHC | r | GWPCH4 | BE | BEMR | BEUse | CMMPJ | GWPCH4 | CEFCH4 | GEN | HEAT | EFelec | EFCO2,Coal | Effheat | h3, M | h3, total | h4, M | h4, total | PM | Ptotal | EffM | EffSB
Date | methane amount destroyed by Flare 3 | methane amount destroyed by Flare 4 | methane amount sent to Flare 3 | methane amount sent to Flare 4 | methane concen-tration | Emission reductions | Project emissions | Project emissions from energy use to capture and use methane | Project emissions from methane destroyed | Project emissions from uncombusted methane | Additional electricity consumption by project | Carbon emission factor of CONSELEC,PJ | Methane destroyed by flare | Methane sent to flare | Flare combustion efficiency, determined by the flame temperature and opera-tion hours | Methane destroyed by power generation | Methane sent to power plant | Efficiency of methane destruction / oxidation in power plant | Methane destroyed by heat generation | Methane sent to boiler | Efficiency of methane destruction / oxidation in heat plant | Carbon emission factor for combusted methane | Carbon emission factor for combusted non methane hydrocarbons (various) | Concentration of methane in extracted gas | NMHC concentration in coal mine gas | Relative proportion of NMHC compared to methane | Global warming potential of methane | Baseline emissions | Baseline emissions from release of methane into the atmosphere that is avoided by the project activity | Baseline emissions from the production of power, heat or supply to gas grid replaced by the project activity | CMM captured in the project activity | Global warming potential of methane | Carbon emission factor for combusted methane | Electricity generation by project | Heat generation by project | CO2 emission factor of the grid | CO2 emission factor of fuel used for captive power or heat | Energy efficiency of heat plant | operation hours of compressor from flare 3 | operation hours of flare 3 (operation + standby) | operation hours of compressor from flare 4 | operation hours of flare 4 (operation + standby) | motor capacity | total capacity of the flare unit | effective load of electric motor | effective load of the flare unit during standby | Additional electricity consumption by flare 3 | Additional electricity consumption by flare 4
| kg CH4/mon | kg CH4/mon | kg CH4/mon | kg CH4/mon | % | t CO2eq | t CO2eq | t CO2eq | t CO2eq | t CO2eq | MWh | t CO2eq | t CH4 | t CH4 | % | t CH4 | t CH4 | % | t CH4 | t CH4 | % | t CO2eq / t CH4 | t CO2eq / t NMHC | % | % | - | t CO2eq / t CH4 | t CO2eq | t CO2eq | t CO2eq | t CH4 | t CO2eq / t CH4 | t CO2eq / t CH4 | MWh | MWh | t CO2 / MWh | tCO2/MWh | % | h | h | h | h | KW | KW | % | % | kWh | kWh
2009-11-01 | 241043.544 | 193651.452 | 244799.1 | 204417 | 46.2502 | 7903.4405 | 1530.0976 | 29.7432 | 1195.4112 | 304.9432 | 43.74 | 0.68 | 434.695 | 449.2161 | 96.77% | 0 | 0 | 99.5% | 0 |  | 99.5% | 2.75 | 0 | 46.25% | 0 | 0 | 21 | 9433.5381 | 9433.5381 | 0 | 449.2161 | 21 | 2.75 | 0 | 0 | 0.68 | 0.3406 | 91% | 648 | 648 | 648 | 648 | 45 | 60 | 75% | 45% | 21870 | 21870
2009-12-01 | 274482.999 | 259903.134 | 278471.7 | 274545.9 | 42.8143 | 9718.3973 | 1894.9723 | 34.1496 | 1469.5619 | 391.2608 | 50.22 | 0.68 | 534.3861 | 553.0176 | 96.63% | 0 | 0 | 99.5% | 0 |  | 99.5% | 2.75 | 0 | 42.81% | 0 | 0 | 21 | 11613.3696 | 11613.3696 | 0 | 553.0176 | 21 | 2.75 | 0 | 0 | 0.68 | 0.3406 | 91% | 744 | 744 | 744 | 744 | 45 | 60 | 75% | 45% | 25110 | 25110
Total 2009 | 515526.543 | 453554.586 | 523270.8 | 478962.9 | 44.5323 | 17621.8378 | 3425.0699 | 63.8928 | 2664.9731 | 696.204 | 93.96 | 0.68 | 969.0811 | 1002.2337 | 96.7% | 0 | 0 | 99.5% | 0 |  | 99.5% | 2.75 | 0 | 44.53% | 0 | 0 | 21 | 21046.9077 | 21046.9077 | 0 | 1002.2337 | 21 | 2.75 | 0 | 0 | 0.68 | 0.3406 | 91% | 1392 | 1392 | 1392 | 1392 | 45 | 60 | 75% | 45% | 46980 | 46980
2010-01-01 | 154685.7495 | 195863.8185 | 175998.6 | 206833.5 | 39.7605 | 7317.7447 | 1798.8891 | 33.4465 | 1082.9455 | 682.4971 | 50.22 | 0.666 | 350.5496 | 382.8321 | 91.57% | 0 | 0 | 99.5% | 43.2488 | 43.4661 | 99.5% | 2.75 | 0 | 39.76% | 0 | 0 | 21 | 9116.6338 | 8952.2625 | 164.3713 | 426.2982 | 21 | 2.75 | 0 | 439.16 | 0.666 | 0.3406 | 91% | 744 | 744 | 744 | 744 | 45 | 60 | 75% | 45% | 25110 | 25110
2010-02-01 | 166435.722 | 106129.2465 | 173174.4 | 107972.1 | 35.2699 | 10962.7138 | 1737.5049 | 30.2098 | 1498.349 | 208.9462 | 45.36 | 0.666 | 272.565 | 281.1465 | 96.95% | 0 | 0 | 99.5% | 272.2892 | 273.6575 | 99.5% | 2.75 | 0 | 35.27% | 0 | 0 | 21 | 12700.2188 | 11650.8839 | 1049.3349 | 554.804 | 21 | 2.75 | 0 | 2803.5666 | 0.666 | 0.3406 | 91% | 672 | 672 | 672 | 672 | 45 | 60 | 75% | 45% | 22680 | 22680
2010-03-01 | 252250.8795 | 226386.612 | 255636 | 234213.3 | 43.5889 | 14701.7502 | 2361.4183 | 33.4465 | 2063.8363 | 264.1355 | 50.22 | 0.666 | 478.6375 | 489.8493 | 97.71% | 0 | 0 | 99.5% | 271.8484 | 273.2145 | 99.5% | 2.75 | 0 | 43.59% | 0 | 0 | 21 | 17063.1686 | 16024.3401 | 1038.8285 | 763.0638 | 21 | 2.75 | 0 | 2775.496 | 0.666 | 0.3406 | 91% | 744 | 744 | 744 | 744 | 45 | 60 | 75% | 45% | 25110 | 25110
2010-04-01 | 228803.8455 | 206567.8515 | 233498.7 | 209039.4 | 40.7046 | 13572.4726 | 2102.4541 | 32.3676 | 1892.8983 | 177.1882 | 48.6 | 0.666 | 435.3717 | 442.5381 | 98.38% | 0 | 0 | 99.5% | 252.955 | 254.2261 | 99.5% | 2.75 | 0 | 40.7% | 0 | 0 | 21 | 15674.9266 | 14632.0478 | 1042.8788 | 696.7642 | 21 | 2.75 | 0 | 2786.3174 | 0.666 | 0.3406 | 91% | 720 | 720 | 720 | 720 | 45 | 60 | 75% | 45% | 24300 | 24300
2010-05-01 | 211205.3715 | 212667.849 | 224927.1 | 214581.6 | 38.7288 | 10229.0861 | 1825.994 | 7.7722 | 1477.8948 | 340.327 | 11.67 | 0.666 | 423.8732 | 439.5087 | 96.44% | 0 | 0 | 99.5% | 113.5431 | 114.1136 | 99.5% | 2.75 | 0 | 38.73% | 0 | 0 | 21 | 12055.0801 | 11626.0689 | 429.0112 | 553.6223 | 21 | 2.75 | 0 | 1146.213 | 0.666 | 0.3406 | 91% | [8 empty] | 5982 | 5688
2010-06-01 | 192972.519 | 204642.495 | 198032.4 | 206227.8 | 33.4101 | 7248.442 | 1241.0222 | 8.032 | 1093.4413 | 139.5489 | 12.06 | 0.666 | 397.615 | 404.2602 | 98.36% | 0 | 0 | 99.5% | 0 |  | 99.5% | 2.75 | 0 | 33.41% | 0 | 0 | 21 | 8489.4642 | 8489.4642 | 0 | 404.2602 | 21 | 2.75 | 0 |  | 0.666 | 0.3406 | 91% | [8 empty] | 5760 | 6300
2010-07-01 | 140655.492 | 109317.0015 | 147292.2 | 115624.8 | 30.4119 | 4907.3123 | 1013.8583 | 6.2537 | 733.9833 | 273.6213 | 9.39 | 0.666 | 249.9725 | 262.917 | 95.08% | 0 | 0 | 99.5% | 16.9305 | 17.0156 | 99.5% | 2.75 | 0 | 30.41% | 0 | 0 | 21 | 5921.1706 | 5878.5848 | 42.5859 | 279.9326 | 21 | 2.75 | 0 | 113.7791 | 0.666 | 0.3406 | 91% | [8 empty] | 5190 | 4200
2010-08-01 | 219645.126 | 261907.8525 | 241811.1 | 263761.2 | 44.1695 | 8778.8514 | 1838.1669 | 9.4905 | 1324.2707 | 504.4058 | 14.25 | 0.666 | 481.553 | 505.5723 | 95.25% | 0 | 0 | 99.5% | 0 |  | 99.5% | 2.75 | 0 | 44.17% | 0 | 0 | 21 | 10617.0183 | 10617.0183 | 0 | 505.5723 | 21 | 2.75 | 0 |  | 0.666 | 0.3406 | 91% | [8 empty] | 6210 | 8040
2010-09-01 | 233375.4855 | 244283.247 | 240403.5 | 245754.9 | 40.6868 | 8719.9676 | 1502.2388 | 8.6913 | 1314.9993 | 178.5482 | 13.05 | 0.666 | 477.6587 | 486.1584 | 98.25% | 0 | 0 | 99.5% | 0.52285 | 0.52547 | 99.5% | 2.75 | 0 | 40.69% | 0 | 0 | 21 | 10222.2065 | 10220.3613 | 1.8451 | 486.6839 | 21 | 2.75 | 0 | 4.9297 | 0.666 | 0.3406 | 91% | [8 empty] | 5970 | 7080
2010-10-01 | 212965.8345 | 215151.354 | 234682.2 | 218118.6 | 38.5923 | 9068.7737 | 1873.3 | 7.8122 | 1340.8566 | 524.6313 | 11.73 | 0.666 | 428.1172 | 452.8008 | 94.55% | 0 | 0 | 99.5% | 59.467 | 59.7659 | 99.5% | 2.75 | 0 | 38.59% | 0 | 0 | 21 | 10942.0738 | 10763.8998 | 178.174 | 512.5667 | 21 | 2.75 | 0 | 476.0374 | 0.666 | 0.3406 | 91% | [8 empty] | 5790 | 5940
Total 2010 | 2012996.025 | 1982917.3275 | 2125456.2 | 2022127.2 | 38.5323 | 95507.1145 | 17294.8467 | 177.5223 | 13823.475 | 3293.8494 | 266.55 | 0.666 | 3995.9134 | 4147.5834 | 96.25% | 0 | 0 | 99.5% | 1030.8048 | 1035.9848 | 99.5% | 2.75 | 0 | 38.53% | 0 | 0 | 21 | 112801.9613 | 108854.9316 | 3947.0297 | 5183.5682 | 21 | 2.75 | 0 | 10545.4992 | 0.666 | 0.3406 | 91% | 2880 | 2880 | 2880 | 2880 | 45 | 60 | 75% | 45% | 132102 | 134448
Total Monitoring Period | 2528522.568 | 2436471.9135 | 2648727 | 2501090.1 | 39.5323 | 113129 | 20719.9166 | 241.4151 | 16488.4482 | 3990.0534 | 360.51 | n.a. | 4964.9945 | 5149.8171 | 96.33% | 0 | 0 | 99.5% | 1030.8048 | 1035.9848 | 99.5% | 2.75 | 0 | 39.53% | 0 | 0 | 21 | 133848.869 | 129901.8393 | 3947.0297 | 6185.8019 | 21 | 2.75 | 0 | 10545.4992 | n.a. | 0.3406 | 91% | 4272 | 4272 | 4272 | 4272 |  |  |  |  | 179082 | 181428
colour codes
green | input data
yellow | data no used, project parts not installed yet
white | calculated data
blue | Values put into MR
data sources:
KD-F3_Data_2009-11-04 to 2010-10-31_V2b.xls
KD-F4_Data_2009-11-04 to 2010-10-31_V2b.xls
KD-B1+B2_Data Gas and Steam_2010-01-28 to 2010-10-31_V2b.xls
Note on M10: Adam Hadulla: 2008 := 0.695 tCO2eq/MWh 2009 := 0.680 2010 := 0.666 2011 := 0.651 2012 := 0.636 [SenterNovem]
Note on N7: Adam Hadulla: The methane amount destroyed by flaring has been calculated using the complete monitored data (15 min. intervall storage). The data are calculated using three different combustion efficiencies, depending on the flame temperature: 0% below 500°C 90% 500°C to 850°C 99.5% above 850°C This calculation can't be done with monthly sums. See xls-files (data sources) for details
Note on Q10: Adam Hadulla: 0 for the whole monitoring period
Note on R10: Adam Hadulla: 0 for the whole monitoring period
Note on S10: Adam Hadulla: not required because MMELEC=0 for the whole monitoring period
Note on V10: Adam Hadulla: ex-ante value constant
Note on W10: Adam Hadulla: ex-ante value constant
Note on AB7: Adam Hadulla: ex-ante value constant
Note on AG10: Adam Hadulla: ex-ante value constant
Note on AL10: Adam Hadulla: ex-ante value constant IPCC 2006
Note on AI10: Adam Hadulla: 0 for the whole monitoring period
Note on AH10: Adam Hadulla: ex-ante value constant
Note on AK10: Adam Hadulla: 2008 := 0.695 tCO2eq/MWh 2009 := 0.680 2010 := 0.666 2011 := 0.651 2012 := 0.636 [SenterNovem]
Note on K7: Adam Hadulla: Formula modified, uncombusted methane from flaring = MMFL-MDFL
Note on AM10: Adam Hadulla: ex-ante value constant manufacturer date boiler pass
Note on P5: Adam Hadulla: The monthly values of EffFL represents monthly average values for information only - MDFL has been calculated using the excat values in 15 min cycles within the KD-Data sheets.
Note on AN9: Adam Hadulla: no data available, max value taken into account
Note on AO9: Adam Hadulla: no data available, max value taken into account
Note on AP9: Adam Hadulla: no data available, max value taken into account
Note on AQ9: Adam Hadulla: no data available, max value taken into account
Note on AN22: Adam Hadulla: no data available until April 2010, max value taken into account
Note on AW10: Adam Hadulla: no data available, max value taken into account
Note on AV10: Adam Hadulla: no data available, max value taken into account
Note on AV11: Adam Hadulla: no data available, max value taken into account
Note on AW11: Adam Hadulla: no data available, max value taken into account
Note on AW12: Adam Hadulla: no data available, max value taken into account
Note on AW13: Adam Hadulla: no data available, max value taken into account
Note on AV13: Adam Hadulla: no data available, max value taken into account
Note on AV12: Adam Hadulla: no data available, max value taken into account
Note on AO22: Adam Hadulla: no data available until April 2010, max value taken into account
Note on AP22: Adam Hadulla: no data available until April 2010, max value taken into account
Note on AQ22: Adam Hadulla: no data available until April 2010, max value taken into account
Note on AV7: Adam Hadulla: no data available, max value taken into account
Note on AW7: Adam Hadulla: no data available, max value taken into account
Note on AV8: Adam Hadulla: no data available, max value taken into account
Note on AW8: Adam Hadulla: no data available, max value taken into account
Note on AV9: Adam Hadulla: no data available, max value taken into account
Note on AW9: Adam Hadulla: no data available, max value taken into account
Note on AV22: Adam Hadulla: no data available until April 2010, max value taken into account
Note on AW22: Adam Hadulla: no data available until April 2010, max value taken into account